## Cover Page
Almeley Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Almeley Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough lane
HEREFORD
HR4 0LE

## Summary Info
Almeley Primary School
Summary Report
Summary of Headline Information
[11 empty] | Distribution of Children Attending School or Where it is the Nearest School | Key Services Within 2 Mile Radius of School
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 2988.53 |  |  |  | Current Capacity (PAN 11):- |  |  |  | 77
Insurance Asset Value (£000):- |  | 481999 |  |  |  | Allocated Capacity Size (PAN 10):- |  |  |  | 70
Land Asset Value (£000):- |  | 247852 |  |  |  | Current Occupancy:- |  |  |  | 61
Land Ownership:- | Buildings leasehold, field owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 11
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 16
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-12-20
Backlog Maintenance Total (£000):- | [6 empty] | 25.9305
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 26.5067
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 44.9462
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 7.491
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 3 | Required Building Footprint (M2):- |  | 694.28
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 547.106
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 33.3333 | Area Shortfall (M2):- |  | 147.174
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 49.1143 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 78.8019
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 2
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 4177.12
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 250 | Current Net Site Area (M2):- |  | 2441.424
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 1735.696
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 58.4475
Disability Access
Rating:- | 3 |  | Details:- |  |  |  | Fully accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 401.9322
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 57
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 63.6364
Total Number of Children within Catchment:- | [6 empty] | 34
Total Number of Children at School from Catchment:- | [6 empty] | 24
Percentage of Catchment at School:- | [6 empty] | 40.678
Percentage of Catchment Going to School:- | [6 empty] | 70.5882

## Report
|  |  | Almeley Primary School | [6 empty] | Almeley Primary School | [14 empty] | Almeley Primary School | [7 empty] | Almeley Primary School |  |  |  |  | Almeley Primary School |  | Almeley Primary School |  |  |  |  | Almeley Primary School | [5 empty] | Almeley Primary School |  |  | Almeley Primary School | [8 empty] | Almeley Primary School |  | Almeley Primary School |  | Almeley Primary School |  | Almeley Primary School |  | Almeley Primary School |  |  | Almeley Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Almeley Primary School |  |  | Survey Date:- | 2011-12-20 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2012-07-03 | [5 empty] | Areas | Standard Criteria (M2) (PAN 10) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 401.9322 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr M Maund | DFE Number:- | 2001 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 186 | 144.54 | 77.7097 |  |  |  | 11 | 77 | 11 | 77 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 3
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 68.76 | 49.1143 | [17 empty] | PAN | 9 | 9 | 9 | 11 | 11 | 11
Address:- | Almeley Primary School, Hereford HR3 6LH | Email:- | admin@almeley.hereford.sch.uk | Backlog | 25.9305 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 56 | 48.95 | 87.4107 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 10.98 | 9 | 7.29 | 9.9 | 6.996 | 7 | [10 empty] | Details: | Fully accessible
|  |  |  | 2015 | 14.4058 |  |  | 25.9305 |  |  | Backlog | 0 | 0 | 0 | 5.7623 | 0 | 5.7623 | 0 | 6.9148 | 0 | 0 | 7.491 | 0 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 66 | 51.01 | 77.2879 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 64 | 71 | 75 | [5 empty] | Percentage | 122 | 100 | 81 | 90 | 63.6 | 63.6364
|  |  |  | 2016 | 12.1009 |  |  | 14.4058 |  |  | 2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.4058 | 0 | 0 | 0 | 0 | C2 | 2 |  |  | 1 | 2 | 2 |  | Learning Resource | 53 | 92.64 | 174.7925 |  |  |  | 2008 / 2009 | 69 | 63 | 6 | 0 | 2013 | 93 | 71 | 75 | [22 empty] | Description: | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
|  |  |  | 2017 | Not Available |  |  | 12.1009 |  |  | 2016 | 0 | 3.4574 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6435 | 0 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 69 | 63 | 6 | 0 | 2014 | 57 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01544 327267 F: 01544 327267 | School Cluster:- | Kington District- Lady Hawkins' Academy and Sixth Form Centre | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 193.28 | 141.206 | 73.0577 |  |  |  | 2010 / 2011 | 74 | 63 | 11 | 0 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 694.28 | 547.106 | 78.8019 |  |  |  | 2011 / 2012 | 74 | 77 | 0 | 3 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 36 | 38 | 40 | 41 | 34
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 74 | 77 | 0 | 3 | [12 empty] | Number at School from Catchment | 28 | 32 | 32 | 32 | 24
School Type:- | Community | Building Number:- | PAAU | Total | 52.4372 | [5 empty] | Totals | 0 | 3.4574 | 0 | 5.7623 | 0 | 5.7623 | 0 | 6.9148 | 0 | 23.0493 | 7.491 | 0 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 4871.4 | 2988.53 | 61.3485 |  |  |  | 2013 / 2014 | 59 | 77 | 0 | 18 | Pupils eligible for KS2 assessment |  |  |  | 7 | [7 empty] | Percentage at School from Catchment | 40.5797 | 43.2432 | 43.2432 | 43.2432 | 40.678
Current Capacity:- | 77 | Site Area:- | 2988.53 | [30 empty] | Net Site Area (less the building area) | 4177.12 | 2441.424 | 58.4475 |  |  |  | Current Occupancy | 61 | 77 | 0 | 16 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 14 | [7 empty] | Percentage of Catchment Going to School | 77.7778 | 84.2105 | 80 | 78.0488 | 70.5882
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 44.9462 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 57
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 29 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 3 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 0 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 3.4574 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 7.491 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 8 | 0 | 3 |  | Percentage making expected progress in reading |  |  |  | 86 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 61; Parental First Preference Applications 2013: 61
|  |  |  | Roof Works |  | 5.7623 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 33.3333 |  |  | One | 6 | 0 | 5 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 32; Parental First Preference Applications 2013: 58
|  |  |  | External Walls |  | 5.7623 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 66.6667 |  |  | Two | 8 | 0 | 3 |  | Percentage making expected progress in maths |  |  |  | 86 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 25; Parental First Preference Applications 2013: 37
|  |  |  | Windows and Doors |  | 6.9148 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 9 | 0 | 2 |  | Average point score |  |  |  | 25.9 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 40.9836; Parental First Preference Applications 2013: 60.6557
|  |  |  | Internal Works |  | 23.0493 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 2 |  |  | Four | 8 | 0 | 3 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 78.125; Parental First Preference Applications 2013: 63.7931
Asset Summary |  |  |  | Mechanical and Electrical |  | 7.491 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 13 | 2 | 0 |  | Latest Ofsted Report Date:- |  | 2014-01-30
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 250 |  |  | Six | 9 | 0 | 2 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 481.999 | [38 empty] | Total | 61 | 0 | 16
Asset Value - Land (£000):- |  | 247.852 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Buildings leasehold, field owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | None | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision
Land ownership queried by school and being investigated by Herefordshire councils estates team.

## Feedback
|  | Almeley Primary School |  |  | Almeley Primary School |  |  | Almeley Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | PAAU
Site Area:- | 2988.53
Asset Value (Insurance):- | 481999
Asset Value (Land):- | 247852
Land owner:- | Buildings leasehold, field owned by the Local Authority
Lease agreement / notes:- | Not known
DEC rating:- | C
Electric consumption 2014/child:- | 401.9322
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance and Condition Summary |  |  |  | BCIS Quarter | 4Q2011 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-12-20 |  | BCIS Uplift | 1.1525 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [15 empty] | 25930.4933 | 25930.4933 | Backlog | 0 | 0 | 0 | 5762.3318 | 0 | 5762.3318 | 0 | 6914.7982 | 0 | 0 | 7491.0314 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 14405.8296 | 14405.8296 | 2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14405.8296 | 0 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 12100.8969 | 12100.8969 | 2016 | 0 | 3457.3991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8643.4978 | 0 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | Y | Y | Y | N | N | N | School Costs | [6 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
| PAAU/AA | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | 2.1.1 | Main roof | Repair | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 0 | 3457.3991 | 0 | 5762.3318 | 0 | 5762.3318 | 0 | 6914.7982 | 0 | 23049.3274 | 7491.0314 | 0 | 0 | 0 | 1Q2011 | 1.1735
e | 2.2.1 | Walls | Repair | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
w | 2.2.2 | Glazing | Renew | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
g | 2.2.6 | Fences | Repair | 3000 | 0 |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
i | 2.2.7 | Decorations | Renew | 2500 | 0 | 2500 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 3457.3991 | 3457.3991 | [12 empty] | 1Q2012 | 1.1953
i | 2.3.5 | Decorations | Renew | 4000 | 0 |  | 4000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 5762.3318 | 5762.3318 | [12 empty] | 2Q2012 | 1.1174
| PAAU/BA |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 5762.3318 | 5762.3318 | [12 empty] | 3Q2012 | 1.1525
i | 2.2.7 | Decorations | Renew | 3000 | 0 | 3000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 6914.7982 | 6914.7982 | [12 empty] | 4Q2012 | 1.1473
i | 2.3.5 | Decorations | Renew | 5000 | 0 | 5000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 23049.3274 | 23049.3274 | [12 empty] | 1Q2013 | 1.0983
i | 2.3.11 | Decorations | Renew | 2000 | 0 | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 7491.0314 | 7491.0314 | [12 empty] | 2Q2013 | 1.089
| ZZFP |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
w | 2.2.2 | Glazing | Renew | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
i | 2.3.6 | Decorations | Renew | 3500 | 0 |  | 3500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 52437.2197 | 52437.2197 | [12 empty] | 1Q2014 | 1.0447
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
m | 3.01.1.c | Heating | Main form of heating in Classroom 3 is via Fan Convertors, however there is a small radiator located under the existing computer desk that does not have a LFT cover. Fit LST Cover | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
m | 3.01.1.d | Heating pipework | Damage to insulation on pipework in corridor outside toilets | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
m | 3.03.1.a | Switchgear | No indication on site as to the last time the electrical installation was tested. Test should be carried out . All switchgear clearly labelled and in a fair condition. | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
m | 3.03.1.c | Fire Alarm | Produce a zone chart diagram for school and install next to main fire alarm panel. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.03.3.a | Lighting | Various fitting with lamps not working or missing diffusers. Toilet area 1 fitting not working, corridor outside toilet diffuser missing, Lamps to fittings within main classroom require replacement | 2000 | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0
m | 3.03.3.b | Lighting | Replace faulty switch in classroom - Heath and safety issue, possibility of electric shock from switch | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
m | 3.03.3.d | Emergency Lighting | No emergency provision within toilets | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0
m | 3.03.5.b | Emergency Lighting | No emergency provisions within first floor store | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  | 2014-09-22 | c | 2 | Electrical services, Lighting system, Main school | m | mc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Floors, Carpet, Main school | i | ic2 | C2 | 2 | 0 | 0 | 1 | 2 | 2 | 0
|  |  |  | c | 2 | Internal, Painted walls, Main school | i | ic2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Internal, Windows/doors etc, generally, main school | w | wc2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Hot and cold water system, Generally inc heat source, main school | m | mc2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | External areas, roaads and car parks, Tarmac | g | gc2
|  |  |  | c | 2 | External areas, Paths, pedestrians paved area, in situ concrete | g | gc2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [10 empty] | Compliance Comparison |  |  | 1/3 | Form of entry | PAN | 10
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [9 empty] | Total area | Shortfall | Surplus | 2015 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 52 | General classroom | 63 | [8 empty] | 63 | 0 | 1
|  | Classroom - Year 1 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 2 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 41 | General classroom | 40.77 | [8 empty] | 40.77 | 21.23 | 0 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 3 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 42 | General classroom | 40.77 | [8 empty] | 40.77 | 21.23 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0 | 33.33% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0 | 66.67% | of classrooms are small
[5 empty] | 186 | [11 empty] | 144.54 | 42.46 | 1 | 77.71% | of the recommended basic teaching space required
[19 empty] | 143.54 | 77.17% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [19 empty] | 22.83% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 3 | Hall | 68.76 | [8 empty] | 68.76 | 71.24 | 0
[5 empty] | 140 | [11 empty] | 68.76 | 71.24 | 0 | 49.11% | of the recommended hall size
Storage | [19 empty] | 50.89% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 53 | Cloakroom (shared 2 classes) | 7.68 | [8 empty] | 7.68 | 0 | 4.68
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 53 | Cloakroom (shared 2 classes) | 7.68 | [8 empty] | 7.68 | 0 | 4.68
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 49 | Store room | 2.1 | [8 empty] | 2.1 | 0 | 0.1
| 9 | Teaching storage - Year 1 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 41a | Store room | 2.88 | [8 empty] | 2.88 | 0 | 0.88
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 42a | Store room | 2.88 | [8 empty] | 2.88 | 0 | 0.88
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | 11a | Store room | 5.1 | [8 empty] | 5.1 | 0 | 0.1
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [11 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 25, 48 | Store room | 11.53 | 1.8 | [7 empty] | 13.33 | 0 | 9.33
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [11 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 19 | Cleaners store room | 2 | [8 empty] | 2 | 1 | 0
| 23 | Table and chair store | 1 | 5 | 5 | [11 empty] | 0 | 5 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | 44 | Store room | 5.3 | [8 empty] | 5.3 | 0 | 1.3
|  | Mobility equipment store | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 56 | [11 empty] | 48.95 | 29 | 21.95 | 87.41% | of the recommended storage space required
Staff and admin | [19 empty] | 51.79% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 46 | Heads office | 13.7 | [8 empty] | 13.7 | 0 | 1.7
| 3 | Staff room work and social | 1 | 17 | 17 | 22, 22a, 24a | Staffroom | 13.07 | 1.74 | 2.5 | [6 empty] | 17.31 | 0 | 0.31
|  | Staff PPA | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [11 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 45 | Reception (office) | 10.5 | [8 empty] | 10.5 | 0 | 2.5
| 8 | Secure reception | 1 | 4 | 4 | 43 | Entrance | 9.5 | [8 empty] | 9.5 | 0 | 5.5
| 9 | Reprographics room | 1 | 6 | 6 | [11 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [11 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
[5 empty] | 66 | [11 empty] | 51.01 | 25 | 10.01 | 77.29% | of the recommended staff and admin space required
Learning resource area | [19 empty] | 37.88% | shortfall
| 1 | Library (learning resource centre) | 1 | 18 | 18 | [11 empty] | 0 | 18 | 0
| 3 | Small group room | 1 | 11 | 11 | 1, 15, 17, 54 | Small group room | 14.35 | 33.72 | 16.07 | 28.5 | [5 empty] | 92.64 | 0 | 81.64
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
[5 empty] | 53 | [11 empty] | 92.64 | 42 | 81.64 | 174.8% | of the recommended learning resource areas
Supplementary area | [19 empty] | 79.25% | shortfall
| 1 |  | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 0 | [11 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [19 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [11 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 4 | 2 | 8 | 12,13,13a, 39, 39a, 39b, 40, 40a, 40b | Pupil WC's (7 wcs, 2 urinals, 1 wc) | 2.3 | 2.43 | 2.31 | 1.92 | 1.28 | 1.28 | 1.92 | 1.28 | 1.28 | 16 | 0 | 8 | 10 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 10, 23 | Staff wc x 2 (doubles as cleaners store) | 2.1 | 1.66 | [7 empty] | 3.76 | 0.24 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 50 | Disabled w.c. (1 wc) | 3.4 | [8 empty] | 3.4 | 0 | 0.4 | 250% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | 9 | Hygiene Room | 7.8 | [8 empty] | 7.8 | 4.2 | 0
| 4 | Kitchen facilities (servery) | 1 | 20 | 20 | [11 empty] | 0 | 20 | 0
| 5 | Corridors | - | 22.5% | 112.725 | 2, 8, 8a, 8b, 11, 11b, 11c, 14, 16, 18, 18a, 14a,20,20a,20b, 20c, 20d, 20e, 21, 24, 38, 47, 51 | Corridor | 87.91 | [8 empty] | 87.91 | 24.815 | 0
| 6 | Boiler room | 1 | 1.5% | 7.515 | 26 | Boiler room | 6.1 | [8 empty] | 6.1 | 1.415 | 0
| 7 | Server | in boiler | [13 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 20.04 |  |  | 16.236 | [8 empty] | 16.236 | 3.804 | 0
[5 empty] | 193.28 | [11 empty] | 141.206 | 60.474 | 8.4 | 73.06% | of the recommended non net area
Additional area | [19 empty] | 31.29% | shortfall
|  | Nursery class | 1 | 62 | 62 | [11 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [11 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [11 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [11 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[20 empty] | 100% | shortfall
Total Net area |  |  |  |  | 501 | [11 empty] | 405.9
Total Non-Net area |  |  |  |  | 193.28 | [11 empty] | 141.206
Gross (total build) area - excluding nursery |  |  |  |  | 694.28 | [11 empty] | 547.106 |  |  | 78.8% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 787.1475 | [11 empty] | 547.106
Net Area Range |  |  |  |  | 637.0-715.0
Mid Range |  |  |  |  | 676
Total Site Area Range |  |  |  |  | 4329.0-5413.8
Mid Range |  |  |  |  | 4871.4
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
11 | 77 | 11 | 77
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 69 | 69 | 74 | 74 | 74 | 59
Maximum Capacity | 63 | 63 | 63 | 77 | 77 | 77
Number of Surplus Places | 0 | 0 | 0 | 3 | 3 | 18
% of surplus places | 0 | 0 | 0 | 3.9 | 3.9 | 23.3766
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 8 | 6 | 8 | 9 | 8 | 13 | 9 | 61

## School stats
Current Ofsted | Year
Good | 2014-01-30
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 64% | 93% | 57%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 7
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 14% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 57% | SUPP | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 29% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 0% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 86% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 86% | SUPP | SUPP | SUPP
Average point score | 25.9
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.6 | 98.2 | 101 | 100%
Reading value added measure | 99.4 | 97.9 | 100.9 | 100%
Writing TA value added measure | 100 | 98.5 | 101.6 | 100%
Maths value added measure | 99.6 | 97.9 | 101.4 | 100%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 29% | 14% | 57% | 29%
Percentage achieving Level 4 or above | 71% | 86% | 43% | 71%
Percentage achieving Level 4b or above | 29% | 57% | 29% | NA
Percentage achieving Level 5 or above | 14% | 0% | 14% | 0%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 3.9% | 4.8%
Persistent absence: around 15% + | 0% | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 59
Percentage of pupils eligible for Free School Meals (FSM) | 10.2%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 6659 (99%) | 4525 | 4016 | 4325
Self generated income | 80 (1%) | 144 | 142 | 127
Total income | 6738 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 182 (3%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 201 (3%) | 181 | 174 | 184
ICT learning resources | 123 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 250 (4%) | 88 | 59 | 67
Back office (incl. Staff costs) | 754 (12%) | 406 | 334 | 351
Catering (incl. Staff costs) | 31 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 339 (5%) | 259 | 275 | 301
Other staff costs | 203 (3%) | 153 | 133 | 142
Energy | 88 (1%) | 68 | 62 | 65
Other expenditure | 162 (3%) | 94 | 85 | 88
Total expenditure | 6368 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2832 | 3041 | 3203 | SUPP
Supply staff | 395 | 195 | 257 | 182
Back office (incl. Staff costs) | 484 | 561 | 569 | 754
Energy | 68 | 66 | 78 | 88
Total expenditure | 4536 | 4940 | 5168 | 6368
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 5 | 236728
Headcount of all teaching assistants in a school | 7 | 239340
Headcount of all support (exc. auxillary) staff in a school | 3 | 77335
Full-time equivalent number of all teachers in a school | 4.5 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 3.5 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.1 | 51728.3
Ratio of pupils to teachers in a school | 13.1 | 20.5
Average gross salary of all teachers in a school | 33440 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 69 | 74 | 74 | 74 | 59 |  |  |  | NOR |  |  |  | 61 | 61
PAN | 9 | 9 | 9 | 11 | 11 | 11 |  |  |  |  | Number | 28 | 32 | 32 | 32 | 24 |  |  |  | Total in area |  |  |  | 32 | 58
No. | 10.98 | 9 | 7.29 | 9.9 | 6.996 | 7 |  |  |  |  | % | 40.5797 | 43.2432 | 43.2432 | 43.2432 | 40.678 |  |  |  | Number at School from area |  |  |  | 25 | 37
% | 122 | 100 | 81 | 90 | 63.6 | 63.6364 | [13 empty] | % at School |  |  |  | 40.9836 | 60.6557
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  | 78.125 | 63.7931
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 36 | 38 | 40 | 41 | 34
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Almeley | Clifford | Kington | Leominster Infants’ School | Shobdon | Wellington | Weobley | Canon Pyon C E | Eardisley C E | Stretton Sugwas C E | Kingsland C E | Pembridge C E | Staunton-on-Wye Endowed | Out of County | Grand Total
2001 | Almeley | Number | 24 | 0 | 23 | 0 | 0 | 0 | 4 | 0 | 7 | 0 | 0 | 0 | 0 | 1 | 59
2001 | Almeley | % | 40.678 | 0 | 38.9831 | 0 | 0 | 0 | 6.7797 | 0 | 11.8644 | 0 | 0 | 0 | 0 | 1.6949 | 100
2096 | Kington | Number | 0 | 0 | 192 | 0 | 1 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 8 | 206
2096 | Kington | % | 0 | 0 | 93.2039 | 0 | 0.48544 | 0.48544 | 0 | 0 | 1.9417 | 0 | 0 | 0 | 0 | 3.8835 | 100
3035 | Eardisley C E | Number | 2 | 1 | 14 | 0 | 0 | 0 | 5 | 0 | 58 | 1 | 0 | 0 | 2 | 4 | 87
3035 | Eardisley C E | % | 2.2989 | 1.1494 | 16.092 | 0 | 0 | 0 | 5.7471 | 0 | 66.6667 | 1.1494 | 0 | 0 | 2.2989 | 4.5977 | 100
3366 | Pembridge C E | Number | 2 | 0 | 11 | 2 | 1 | 0 | 6 | 2 | 0 | 0 | 2 | 56 | 0 | 3 | 85
3366 | Pembridge C E | % | 2.3529 | 0 | 12.9412 | 2.3529 | 1.1765 | 0 | 7.0588 | 2.3529 | 0 | 0 | 2.3529 | 65.8824 | 0 | 3.5294 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Almeley | Burghill Community | Clifford | Lord Scudamore | Kington | Leominster Infants’ | Leominster Junior | Shobdon | Wellington | Weobley | Wigmore | St Mary’s C E, Credenhill | Dilwyn | Eardisley C E | Stretton Sugwas C E | St James’ C E, Hereford | St Pauls CE | Kingsland C E | Pembridge C E | Staunton-on-Wye Endowed | Grand Total
2001 | Almeley | Number | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 3 | 2 | 0 | 1 | 0 | 0 | 2 | 0 | 34
2001 | Almeley | % | 70.5882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9412 | 0 | 2.9412 | 8.8235 | 5.8824 | 0 | 2.9412 | 0 | 0 | 5.8824 | 0 | 100
2096 | Kington | Number | 23 | 1 | 0 | 0 | 192 | 0 | 0 | 5 | 0 | 5 | 1 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 11 | 0 | 252
2096 | Kington | % | 9.127 | 0.39683 | 0 | 0 | 76.1905 | 0 | 0 | 1.9841 | 0 | 1.9841 | 0.39683 | 0 | 0 | 5.5556 | 0 | 0 | 0 | 0 | 4.3651 | 0 | 100
3035 | Eardisley C E | Number | 7 | 0 | 3 | 1 | 4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 58 | 2 | 0 | 1 | 0 | 0 | 5 | 84
3035 | Eardisley C E | % | 8.3333 | 0 | 3.5714 | 1.1905 | 4.7619 | 0 | 0 | 0 | 0 | 2.381 | 0 | 0 | 1.1905 | 69.0476 | 2.381 | 0 | 1.1905 | 0 | 0 | 5.9524 | 100
3366 | Pembridge C E | Number | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 8 | 2 | 6 | 2 | 1 | 7 | 0 | 0 | 0 | 0 | 2 | 56 | 0 | 89
3366 | Pembridge C E | % | 0 | 0 | 0 | 0 | 0 | 1.1236 | 4.4944 | 8.9888 | 2.2472 | 6.7416 | 2.2472 | 1.1236 | 7.8652 | 0 | 0 | 0 | 0 | 2.2472 | 62.9213 | 0 | 100

## Disability access
Physical Accessibility Rating | 3
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly