## Cover Page
Ashfield Park Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Ashfield Park Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchment Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Ashfield Park Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 26714.56 |  |  |  | Current Capacity (PAN 60):- |  |  |  | 420
Insurance Asset Value (£000):- |  | 3071068.3188 |  |  |  | Allocated Capacity Size (PAN 60):- |  |  |  | 420
Land Asset Value (£000):- |  | 1641664 |  |  |  | Current Occupancy:- |  |  |  | 312
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 60
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 108
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-19
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 699.2764
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 691.5356
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 7.7408
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 14 | Required Building Footprint (M2):- |  | 2111.08
Actual Number of Classrooms:- | [6 empty] | 14 | Current Building Area (M2):- |  | 2650.6892
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 135.888 | Area Surplus (M2):- |  | 539.6092
Number of Temporary Buildings on Site:- |  |  |  |  | 2 |  |  | Total Percentage Compliance:- |  | 125.5608
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 2
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 66.6667 | Required Net Site Area (M2):- |  | 15871.92
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 255.5556 | Current Net Site Area (M2):- |  | 24063.8708
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 8191.9508
[8 empty] | Total Percentage Compliance:- |  | 151.6129
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | Not Available
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 74
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 75
Total Number of Children within Catchment:- | [6 empty] | 646
Total Number of Children at School from Catchment:- | [6 empty] | 265
Percentage of Catchment at School:- | [6 empty] | 86.3192
Percentage of Catchment Going to School:- | [6 empty] | 41.0217

## Report
|  |  | Ashfield Park Primary School | [6 empty] | Ashfield Park Primary School | [14 empty] | Ashfield Park Primary School | [7 empty] | Ashfield Park Primary School |  |  |  |  | Ashfield Park Primary School |  | Ashfield Park Primary School |  |  |  |  | Ashfield Park Primary School | [5 empty] | Ashfield Park Primary School |  |  | Ashfield Park Primary School | [8 empty] | Ashfield Park Primary School |  | Ashfield Park Primary School |  | Ashfield Park Primary School |  | Ashfield Park Primary School |  | Ashfield Park Primary School |  |  | Ashfield Park Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Ashfield Park Primary School |  |  | Survey Date:- | 2014-09-19 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-06-10 | [5 empty] | Areas | Standard Criteria (M2) (PAN 60) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | Not Available |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr G Mills | DFE Number:- | 2138 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 868 | 941.33 | 108.4482 |  |  |  | 60 | 420 | 59 | 413 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 250 | 339.72 | 135.888 | [17 empty] | PAN | 68 | 68 | 68 | 60 | 60 | 60
Address:- | Ashfield Park Primary School, Redhill Road, Ross-on-Wye, Herefordshire HR9 5AU | Email:- | admin@ashfieldpark.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 154 | 230.98 | 149.987 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 30.6 | 31.96 | 56.44 | 46.8 | 34.02 | 45 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015 | 168.3093 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 165 | 123.54 | 74.8727 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 88 | 71 | 75 | [5 empty] | Percentage | 45 | 47 | 83 | 78 | 56.7 | 75
|  |  |  | 2016 | 120.4816 |  |  | 168.3093 |  |  | 2015 | 0 | 102.8514 | 0.1028 | 0 | 0 | 0 | 0 | 0 | 0.0257 | 41.1714 | 0 | 22.873 | 0 | 1.285 | C2 | 1 | 1 | 2 | 1 | 2 | 2 |  | Learning Resource | 124 | 85.9 | 69.2742 |  |  |  | 2008 / 2009 | 312 | 476 | 0 | 164 | 2013 | 66 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017 | 381.5987 |  |  | 120.4816 |  |  | 2016 | 0 | 0.0514 | 1.0794 | 59.11 | 0 | 0.8224 | 0 | 0 | 0.1028 | 17.5274 | 0 | 41.7882 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 360.26 | - |  |  |  | 2009 / 2010 | 295 | 476 | 0 | 181 | 2014 | 74 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01989 562738 F: 01989 762089 | School Cluster:- | Ross-on-Wye District- John Kyrle High School and Sixth Form Centre | 2018 | 0.8224 |  |  | 381.5987 |  |  | 2017 | 0 | 8.0184 | 5.0629 | 0 | 1.1616 | 0.3084 | 0 | 0.3084 | 0 | 51.7598 | 0 | 57.4652 | 0 | 257.514 | D2 | [7 empty] | Non Net Area | 550.08 | 568.9592 | 103.4321 |  |  |  | 2010 / 2011 | 284 | 476 | 0 | 192 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | 28.0644 |  |  | 0.8224 |  |  | 2018 | 0 | 0.0514 | 0.1028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6682 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 2111.08 | 2650.6892 | 125.5608 |  |  |  | 2011 / 2012 | 302 | 420 | 0 | 118 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 641 | 637 | 647 | 663 | 646
[8 empty] | 28.0644 |  |  | 2019 | 0 | 15.4714 | 0.1028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.4902 | 0 | 0 | [15 empty] | 2012 / 2013 | 313 | 420 | 0 | 107 | [12 empty] | Number at School from Catchment | 258 | 251 | 270 | 275 | 265
School Type:- | Community | Building Number:- | GAA3 | Total | 699.2764 | [5 empty] | Totals | 0 | 126.444 | 6.4507 | 59.11 | 1.1616 | 1.1308 | 0 | 0.3084 | 0.1285 | 110.4586 | 0 | 135.2848 | 0 | 258.799 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 17983 | 26714.56 | 148.5545 |  |  |  | 2013 / 2014 | 307 | 420 | 0 | 113 | Pupils eligible for KS2 assessment |  |  |  | 57 | [7 empty] | Percentage at School from Catchment | 87.4576 | 88.3803 | 89.404 | 87.8594 | 86.3192
Current Capacity:- | 420 | Site Area:- | 26714.56 | [30 empty] | Net Site Area (less the building area) | 15871.92 | 24063.8708 | 151.6129 |  |  |  | Current Occupancy | 312 | 420 | 0 | 108 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 7 | [7 empty] | Percentage of Catchment Going to School | 40.2496 | 39.4035 | 41.7311 | 41.4781 | 41.0217
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 691.5356 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 74
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 61 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 14 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 19 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 126.444 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 7.7408 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 14 |  |  | Reception | 57 | 0 | 3 |  | Percentage making expected progress in reading |  |  |  | 85 | [7 empty] | NOR | 312 | 312
|  |  |  | Roof Works |  | 65.5607 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 39 | 0 | 21 |  | Percentage making expected progress in writing |  |  |  | 92 | [7 empty] | Total in Area | 675 | 236
|  |  |  | External Walls |  | 2.2924 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 53 | 0 | 7 |  | Percentage making expected progress in maths |  |  |  | 90 | [7 empty] | Number at School from Area | 269 | 109
|  |  |  | Windows and Doors |  | 0.3084 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 2 |  |  | Three | 48 | 0 | 12 |  | Average point score |  |  |  | 28.8 | [7 empty] | Percentage at School | 86.2179 | 34.9359
|  |  |  | Internal Works |  | 110.5871 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 2 |  |  | Four | 36 | 0 | 24 | [13 empty] | Percentage of area going to School | 39.8519 | 46.1864
Asset Summary |  |  |  | Mechanical and Electrical |  | 135.2848 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 66.6667 |  |  | Five | 33 | 0 | 27 |  | Latest Ofsted Report Date:- |  | 2012-03-20
|  |  |  | Other (e.g. ancillary buildings) |  | 258.799 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 255.5556 |  |  | Six | 46 | 0 | 14 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 3071.0683 | [38 empty] | Total | 312 | 0 | 108
Asset Value - Land (£000):- |  | 1641.664 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | LA Maintained Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Ashfield Park Primary School |  |  | Ashfield Park Primary School |  |  | Ashfield Park Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | GAA3
Site Area:- | 26714.56
Asset Value (Insurance):- | 3071068.3188
Asset Value (Land):- | 1641664
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | Not Available
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance and Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-19 |  | BCIS Uplift | 1.028 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 168309.3 | 168309.3 | 2015 | 0 | 102851.4 | 102.8 | 0 | 0 | 0 | 0 | 0 | 25.7 | 41171.4 | 0 | 22873 | 0 | 1285 | 3Q2009 | 1.1898
[18 empty] | 120481.6 | 120481.6 | 2016 | 0 | 51.4 | 1079.4 | 59110 | 0 | 822.4 | 0 | 0 | 102.8 | 17527.4 | 0 | 41788.2 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 381598.74 | 381598.74 | 2017 | 0 | 8018.4 | 5062.9 | 0 | 1161.64 | 308.4 | 0 | 308.4 | 0 | 51759.8 | 0 | 57465.2 | 0 | 257514 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 822.4 | 822.4 | 2018 | 0 | 51.4 | 102.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 668.2 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 28064.4 | 28064.4 | 2019 | 0 | 15471.4 | 102.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12490.2 | 0 | 0 | 3Q2010 | 1.1735
r | 1060633 | Flat Roof | Flat roofs are covered almost entirely with three layer built up roofing felt. Some sections appear to have been re-covered in past years forming a warm deck roof with insulation directly below the felt covering whilst other areas of the roof have either no insulation or cold deck roofing with felt applied directly to plywood. There are various internal water outlets with some sections of gutter and downpipe between differing roof levels and some hopper head outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | 1060633 | Flat Roof | Flat Roof 1 (see plan): Eighteen squared translucent plastic roof lights, one spray coated aluminium dome and eight spray painted aluminium pyramid roof lights. All are generally in fair order although there are some missing cappings to fixings which require replacement in future years. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0 |  |  |  | Individual Category totals | 0 | 126444 | 6450.7 | 59110 | 1161.64 | 1130.8 | 0 | 308.4 | 128.5 | 110458.6 | 0 | 135284.8 | 0 | 258799 | 1Q2011 | 1.1735
r | 1060633 | Flat Roof | Flat Roof 6 (see plan): Fifteen plastic dome roof lights of more recent installation on powder coated aluminium frames. In good order. There are fourteen powder coated aluminium pyramid roof lights of slightly older age with some break down of spray coating but generally in fair order. Overhaul in future years. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | 1060633 | Flat Roof | Flat Roof 1 (see plan): One open vent pipe requires cowl. | 25 |  |  | 25 |  |  |  | 0 | 0 | 25 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | 1060633 | Flat Roof | Flat Roof 1 (see plan): One capped vent pipe requires removal of temporary capping and provision of cowl. | 25 |  |  | 25 |  |  |  | 0 | 0 | 25 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | 1060633 | Flat Roof | Flat Roof 1 (see plan): One steel cowl ventilation unit. In order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 126444 | 126444 | [12 empty] | 1Q2012 | 1.1953
r | 1060633 | Flat Roof | Flat Roof 5 (see plan): Two areas of blistered felt requiring repair. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0 |  |  | Roof Works |  | 65560.7 | 65560.7 | [12 empty] | 2Q2012 | 1.1174
r | 1060633 | Flat Roof | All roofs: Moss growth. Clear all moss growth from surfaces. | 500 |  | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 100 | 100 | 100 | 100 |  |  | External Walls |  | 2292.44 | 2292.44 | [12 empty] | 3Q2012 | 1.1525
r | 1060633 | Flat Roof | Flat Roof 1 (see plan): Roof badly blistered with loss of adhesion to grey hatched area of roof shown on plan. Flat roof one as shown on roof plan. Roof coverings will require complete replacement. Area approx. 575m. | 57500 |  |  | 57500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 308.4 | 308.4 | [12 empty] | 4Q2012 | 1.1473
r | 1060633 | Flat Roof | Flat Roof 7 – Felt becoming brittle and failing at junction with chimney stack. Replace felt 3 years. Area approx. 15m. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0 |  |  | Internal Works |  | 110587.1 | 110587.1 | [12 empty] | 1Q2013 | 1.0983
r | 1060634 | Pitched Roof | Mono pitched roof with felt covering to shed 111 attached to main building. Lead flashing at head of roof at abutment with main building. Felt shows signs of cracking and will shortly require replacement. Area approx. 18m. | 1800 |  |  |  | 1800 |  |  | 0 | 0 | 0 | 1800 | 0 | 0 |  |  | Mechanical & Electrical |  | 135284.8 | 135284.8 | [12 empty] | 2Q2013 | 1.089
r | 1060668 | Rainwater Goods | There are limited areas of rainwater goods as the majority of rainwater is discharging via internal gullies to the flat roofs. There is however a small number of uPVC gutters and downpipes over the main reception area to the school and from the upper roofs to the lower roofs. All in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 258799 | 258799 | [12 empty] | 3Q2013 | 1.0983
r | 1060668 | Rainwater Goods | Small section of uPVC gutter and downpipe to shed 111. Broken eared brackets to downpipe require replacement. | 25 |  |  |  | 25 |  |  | 0 | 0 | 0 | 25 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
r | 1060664 | Chimneystacks | One brick chimneystack to plant room to flat roof 7. Two stainless steel flues to boiler room to chimneystack. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 699276.44 | 699276.44 | [12 empty] | 1Q2014 | 1.0447
e | 1060671 | Redecoration | No redecoration required to external parts of the main body of the building. Small amount of decoration to external parts of shed (111). | 300 |  |  |  | 300 |  |  | 0 | 0 | 0 | 300 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
e | 1060673 | Walls | Brickwork: Walls to external parts of the building are formed in one brick thick 225mm brickwork. Consequently there is no cavity to the brickwork. It has therefore been necessary internally to line the walls to guard against penetrating damp and some problems are experienced internally (see elsewhere in this report). A damp proof course is provided. The damp proof course is located above the internal floor level and it appears in some areas internally that the damp proof membrane does not extend from the damp proof course to the floor membrane causing problems. brickwork has recessed pointing and is generally in fair order. See costs identified elsewhere in this schedule. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
e | 1060673 | Walls | Between sections of brickwork walls there are a large expanses of curtain walling formed with steel posts with powder coated aluminium infill panels / doors / windows. All such units appear to have been replaced in the relatively recent past and are in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
e | 1060673 | Walls | Vinyl coated aluminium clad tank room above boiler room under flat roof 7 (see plan). In fair condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
e | 1060673 | Walls | At entrance 1, 9, 15, 65, 78, 86 & 97 the covered entrance area has a quarry tiled floor. Eight damaged quarry tiles damaged and require replacement. | 80 |  |  |  | 80 |  |  | 0 | 0 | 0 | 80 | 0 | 0
e | 1060673 | Walls | Walls to shed 111 formed in timber frame with tongued and grooved boarding to external face. Extensive rot evident requiring overhaul. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0
r | 1060674 | Fascias | Fascias have generally been replaced with powder coated aluminium fascias when curtain walling works have previously been carried out. However there do remain two sections of timber fascia above the doors to room 70 & 79. These fascias are rotten and require replacement with similar fascias to those elsewhere in the property. | 400 |  |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
w | 1060675 | Windows | All windows have been replaced with powder coated aluminium double glazed units. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1060676 | Doors | Doors have been almost wholly replaced with powder coated double glazed aluminium doors. A number of doors have fully glazed panels while some doors have lower fixed panels. Three of the kitchen doors have full panels with no glazing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 1060677 | Doors | Plant room doors have two pairs of powder coated aluminium doors with inset louvered panels. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | No previous ref. | General | Powder coated steel frame canopy in front of rooms 13 & 14 with double deck roof Perspex covering. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | No previous ref. | General | Two large powder coated steel umbrella canopies with high tensile material structure. Lighting to underside of canopy. uPVC gutters and downpipes for rainwater run off. In good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 1060676 | Walls | The property is constructed with a steel column grid system (portal frame) which is in-filled with timber studwork throughout and clad almost entirely with v-jointed boarding. Where external walls are curtain walling they are formed with infill window and door systems as described externally. Where walls are one brick thick walls they are dry lined internally with v-boarding and it is presumed that a membrane is provided behind the wall boarding. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1060676 | Walls | Classroom 14 is suffering from damp penetration through the external walls and into the floor screed. This appears to have been caused due to the breakdown of any membrane behind the wall. The wall covering requires removal and the membrane requires replacement. It needs to be ensured that any new membrane meets the floor membrane to remove the damp issues that have been experienced in the floor. | 5000 |  | 5000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 1060676 | Walls | Wall boarding damaged to Store 25 due to water leakage through rain water outlet. Replace damaged boarding. | 100 |  |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
i | No previous ref. | Doors | Doors to classrooms and common corridor areas are not half hour fire doors. They should be replaced with half hour fire doors with overhead door closers, intumescent smoke oblique head seals, and all door furniture. 40 doors. | 20000 |  | 20000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | No previous ref. | Doors | The remaining doors to building are a mixture of hollow core flush doors, some with part glazing and some with overhead door closers. Generally of age although in fair condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | No previous ref. | Doors | A number of doors to the school are fitted with finger guards, although this is not apparent to all doors. Allow to check all doors and fix finger guards where necessary. | 2000 |  |  |  | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 1060682 | Floors | Floors are constructed in solid construction throughout with areas of quarry floor tiling to some toilets and general areas, thermoplastic floor tiles to general areas, non-slip floor coverings to part toilets, carpets to classrooms with some areas of vinyl sheet floor coverings to classrooms. Laminate timber floor to lower and upper hall floors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1060682 | Floors | Thermoplastic floor tiles throughout the building are in poor order with large areas damaged and missing and all thermoplastic floor tile coverings require replacement. | 15000 |  | 15000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | 1060682 | Floors | Damaged quarry tiling in area 86. Replace two damaged tiles. | 25 |  | 25 |  |  |  |  | 0 | 25 | 0 | 0 | 0 | 0
i | 1060686 | Ceilings | Ceilings have a mix of finishes, with stippled artex ceilings on plasterboard, board finish plaster on plasterboard, ceiling tiles with hidden grid systems and ceiling tiles in exposed grid systems. Numerous ceiling have been damaged by previous and current water penetration though the roof structures requiring replacement as follows: | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 1060686 | Ceilings | The following areas have artex ceiling plaster, which is of age but not damaged, but should ideally be skimmed: Rooms 33, 34, 37, 38, 48, 51, 52, 63, 69, 70, 73, 75, 77, 79, 85, 86, 92, 93 and 98 | 10000 |  |  |  | 10000
i | 1060686 | Ceilings | Ceiling grid systems to two halls (31 and 50) of some age. Small number of damaged panels require replacement. Furthermore there are damp stained ceiling tiles. | 250 |  |  | 250
i | 1060686 | Ceilings | Toilet 3 – Damaged around water outlet. Repair. | 100 |  |  | 100
i | 1060686 | Ceilings | Take down and replace ceiling, classroom 5. | 2000 |  |  | 2000
i | 1060686 | Ceilings | Take down and replace ceiling, classroom 6. | 2000 |  |  | 2000
i | 1060686 | Ceilings | Classroom 13 – Old stippled ceiling of age, possible replacement. Slight damage around water outlet. Consider replacement. | 2000 |  |  | 2000
i | 1060686 | Ceilings | Area 17 – Stippled artex peeling due to leakage through roof coverings. Replace ceiling. | 300 |  |  | 300
i | 1060686 | Ceilings | Ceiling 19 – Damp staining to ceiling around roof lights. Ceiling aged. Replace ceiling. | 1000 |  |  | 1000
i | 1060686 | Ceilings | Area 24 – Artex ceiling damaged by water penetration through roof structure. The ceiling is aged and requires replacement. | 5000 |  |  | 5000
i | 1060686 | Ceilings | Store Room 25 – Ceiling damaged by water penetration through rain water outlet. Repair. | 100 |  |  | 100
i | 1060686 | Ceilings | Office 35 – Ceiling damaged by water penetration around roof outlet. Replace ceiling. | 200 |  |  | 200
i | 1060686 | Ceilings | Staff Room 54 – Damaged grid tiles require replacement. Consider replacement of ceiling. | 1500 |  |  |  | 1500
i | 1060686 | Ceilings | Office 58 – Antiquated style tiling. Replace ceiling. | 500 |  |  |  | 500
i | 1060686 | Ceilings | Office 59 – Damp stained and cracked ceiling tiles require replacement. | 100 |  |  |  | 100
i | 1060686 | Ceilings | Room 65 - Poor quality grid system tiling. Replace with new ceiling. | 500 |  |  |  | 500
i | 1060686 | Ceilings | Classroom 84 - Take down and replace ceiling. | 2000 |  |  | 2000
i | 1060686 | Ceilings | Classroom 94 - Take down and replace ceiling. | 2000 |  |  | 2000
i | 1060686 | Ceilings | Room 109 - Ceiling requires repair. | 100 |  |  | 100
i | No previous ref. | Joinery | Softwood skirtings throughout property. Softwood door linings and architraves throughout property. In fair order. | 0
i | No previous ref. | Decoration | Include for cyclical decoration. | 35000 |  |  |  | 35000
m | No previous ref. | Toilets | Toilets 2,3,11,12 and 29: Floors are formed in solid concrete with quarry tile floor coverings which are in fair order. walls are formed with PVC wall boarding up to 1500mm height to cubicle areas, with the remainder of walls formed with v-jointed boarding to stud walls. External walls formed with part PVC faced boarding and part vinyl faced infill panels to windows. Boys Toilets - one low level vitreous china WC suite with plastic cistern and vitreous china urinal bowl and cistern (stainless steel urinal through in room 3) with two wash hand basins. Girls Toilet - Two low level vitreous china WC suites with plastic cistern and two wash hand basin. Tiled splash backs to wash hand basins, no extractor fans to toilets. Areas of walls to toilet 11 have suffered from damp penetration through roof structure. Cubicles to all toilets are of some age and antiquated. Toilet 3 has vitreous china drink station. Damaged quarry tile skirtings to room 2. Toilets would benefit from complete refurbishment. | 15000 |  |  |  | 15000
m | No previous ref. | Toilets | Toilets 71, 72, 80 and 81: Floors formed with non-slip vinyl floor coverings with coved up stands. Walls formed with PVC faced boarding up to approx. 1500mm height. Walls in plasterboard above with battened joints to plasterboard. Ceilings formed in plasterboard with board finish plaster. Melamine cubicle partitions generally in good order. Boys Toilet - Sanitary ware comprises one vitreous china WC pan with concealed cistern, stainless steel urinal trough with plastic cistern, and two vitreous china wash hand basins. Girls Toilet - Sanitary ware comprises two vitreous china WC pans with concealed cistern and two vitreous china wash hand basins. Toilets are in a better condition than other toilets but would benefit from complete re-fit. | 12000 | [5 empty] | 12000
m | No previous ref. | Toilets | Toilets 88, 89, 95 and 96: Toilets similarly formed with non-slip vinyl floor coverings with coved up stands which are generally in fair order. Walls are lined to external walls with PVC boarding. All internal walls are timber frame construction. Internal walls are lined with PVC boarding up to approx. 1500mm height with taped joints. Ceilings are formed in plasterboard with board finish plaster. Cubicle partitions are formed with melamine faced partition systems, in fair order. Boys Toilet - Sanitary ware comprises one vitreous china close coupled WC suite, one vitreous china urinal with vitreous china cistern and two vitreous china wash hand basins. Girls Toilet - Sanitary ware comprises two vitreous china close coupled WC suite and two vitreous china was hand basins. Toilets somewhat antiquated and would benefit from complete re-fit. | 12000 |  |  |  | 12000
m | No previous ref. | Toilets | Toilet 17b and 21: External walls formed in a mixture of PVC faced boarding and vinyl faced infill panels to windows. Internal walls formed in studwork and clad with v-jointed boarding. Antiquated cubicle partition system to toilets. Ceiling formed with plasterboard and board finish plaster. Sanitary ware comprises of two low level vitreous china suites with plastic cisterns and two vitreous china wash hand basins, in fair order. Belfast sink provided to the toilet. Wall hung baby change unit to room. Ventilation inoperable and requires replacement. Toilets would benefit from complete refurbishment. Glazed tile splash back to Belfast sink. | 6000 |  |  |  | 6000
m | No previous ref. | Toilets | Staff Toilets 56 and 60: Floors constructed in solid construction with non-slip vinyl flooring with coved up stands. Walls formed with v-jointed boarding on timber studwork. Cubicle partitions formed in the studwork with standard flush doors set in softwood frames. Ceilings formed with plasterboard and board finish plaster. Gents toilet - One low level WC suite with two vitreous china wash hand basins set into inbuilt vanity unit of poor quality. Ladies toilet - Two low level WC suites with two vitreous china wash hand basins set into inbuilt vanity unit of poor quality. Tiled splash back to vanity units. Pre-room to Ladies toilet has base units with Formica worktop with tiled splash backs. Toilets are in poor order and would benefit from complete refurbishment. | 6000 |  |  |  | 6000
m | No previous ref. | Reception Area | Extremely tight space causing blockages at busy times of day. Extension required to improve blockage issue. | 15000 |  |  |  | 15000
m | No previous ref. | Catering Kitchen | Catering kitchen totally refurbished including all adjoining rooms during the summer of 2014. In good order. | 0
m | No previous ref. | Disabled Access | The site has no access or facilities for disabled children. Improvements required to provide access between different levels of school and toilet and care facilities required. | 40000 |  |  | 40000
m | No previous ref. | Fixtures and Fittings | Store 1B – Vitreous china Belfast cleaners sink in fair order. | 0
m | No previous ref. | Fixtures and Fittings | Store 7 - Vitreous china Belfast cleaners sink in fair order. | 0
m | No previous ref. | Fixtures and Fittings | Room 9 - One stainless steel water drinking point. In fair order. | 0
m | No previous ref. | Fixtures and Fittings | Room 19 - Range of kitchen base units and wall hung units with inset stainless steel single sink drainer. In good order. | 0
m | No previous ref. | Fixtures and Fittings | Room 24A - Two steel sinks with poor quality and damaged Formica work tops. Replace worktops. | 300 |  |  |  | 300
m | No previous ref. | Fixtures and Fittings | Hall / Gym 31 – Various climbing frames and rope frames. In good order. | 0
m | No previous ref. | Fixtures and Fittings | Room 45 - WC off of kitchen has new vitreous china low level cistern and wash hand basin. In good order. | 0
m | No previous ref. | Fixtures and Fittings | Room 46 - Shower Room adjacent to kitchen has new shower and vitreous china wash hand basin. All in good order. | 0
m | No previous ref. | Fixtures and Fittings | Hall / Gym 50 – Various climbing frames and rope frames. In good order. | 0
m | No previous ref. | Fixtures and Fittings | Hall/Gym 50 – A small sink area with Belfast sink on chrome legs with worktop. | 0
m | No previous ref. | Fixtures and Fittings | Hall / Gym 50 – Various stage lighting. A small sink area with Belfast sink on chrome legs with worktop. | 0
m | No previous ref. | Fixtures and Fittings | Staff Room 54 – Basic range of kitchen base units and wall hung units with stainless steel single sink with double drainer. | 0
m | No previous ref. | Fixtures and Fittings | Staff Room 54 – Wall water heater for tea / coffee in working order. | 0
m | No previous ref. | Fixtures and Fittings | Area 75 – Two stainless steel single cowl single drainer sinks with kitchen base units and tiled splash back. In good order. | 0
m | No previous ref. | Fixtures and Fittings | Classroom 84 – Stainless steel sink set in worktop. Worktop in poor order | 100 |  |  |  | 100
m | No previous ref. | Fixtures and Fittings | Store 91 – Vitreous china Belfast sink. Cleaners store. In fair order. | 0
m | No previous ref. | Fixtures and Fittings | Area 98B – Stainless steel water drink point. In fair order. | 0
m | No previous ref. | Fixtures and Fittings | Area 98C – Stainless steel single sink double drainer inset to worktop. Worktop of poor quality. Replace worktop. | 300 |  |  |  | 300
m | No previous ref. | Fixtures and Fittings | Area 98C – Second stainless steel single sink inset into worktop. Worktop of poor quality. Replace worktop. | 100 |  |  |  | 100
m | No previous ref. | Fixtures and Fittings | Store 102 – IT server. In good order. | 0
m | No previous ref. | Fixtures and Fittings | Room 108 - Stainless steel sink in worktop of some age although adequate. | 0
m | No previous ref. | Fixtures and Fittings | WC 110- Low level vitreous china WC suite. | 0
m | No previous ref. | Fixtures and Fittings | Store 146 – Vitreous china Belfast cleaners sink in fair order. | 0
m | No previous ref. | Lighting | Mix of fluorescent, vapour proof, 2RD bulkhead light fittings throughout. A number of diffusers are missing from fluorescent lights. | 0
m | 1054933 | Boilers | Two Buderus Logano GE 315-200/8 boilers controlling heating. Last serviced 14/07/2014. Each boiler fitted with a Nu-Way pump. | 0
m | 1054933 | Boilers | Boilers controlled by control panel to wall. | 0
m | 1054933 | Boilers | Four Gamak pumps to boiler room, each pump serves both boilers. | 0
m | 1054934 | Heating | Heating is provided throughout the school with gas central heating with convector radiators. There are a small number of steel panel radiators. | 0
m | 1054935 | Hot Water | Hamworthy hot water heater located to boiler room. Gas powered water heater. Two pumps to hot water distribution. | 0
m | 1054936 | Water | Two water tanks located to upper plant roof to flat roof 3. No full access to water tanks. | 0
m | 1054937 | Gas | Incoming gas supply. Capacity 2296 ft^3 per hour. | 0
m | No previous ref. | Gas | Gas certification for statutory compliance. Last certificate dated 16/7/14. | 500 |  | 100 | 100 | 100 | 100 | 100
m | 1054938 | Electrics | Electric – incoming mains and distribution boards located in Store 145. Three-phase 415 volt supply. | 0
m | 1054938 | Electrics | Electrics: One distribution board to boiler room | 0
m | No previous ref. | Electric | Electrical certification for statutory compliance. Current certificate dated 31/02/10 (should be five yearly but states next inspection 12 months). | 2000 |  | 2000
m | No previous ref. | Electric Appliances | Portable Appliance Testing certification for statutory compliance. Current certificate dated 28/9/13. | 1000 |  |  | 500 |  | 500
m | 1054941 | Fire Alarm | Fire alarm – main isolator located to Store 145. Main fire alarm panel located to Room 133A. Smoke detection is very limited throughout the site. Improved smoke detection is required throughout. | 10000 |  | 10000
m | No previous ref. | Fire Alarm | Quarterly certification for statutory compliance by Tann Synchronome. Current certificate dated 29/5/14. | 250 |  | 50 | 50 | 50 | 50 | 50
m | No previous ref. | Emergency Lighting | Emergency Lighting – emergency lighting is very limited to the site. Improved emergency lighting required through the site. No current certification for emergency lighting. | 10000 |  | 10000
m | 1054944 | Communications System | Telecoms system. | 0
m | No previous ref. | Ventilation | Kitchen – mechanical extract ventilation extract fan to kitchen in working order. Recent installation. | 0
m | No previous ref. | Ventilation | Mechanical ventilation extract fan to IT room 84. | 0
m | No previous ref. | Ventilation | Ceiling mechanical ventilation extract to the Reception Office 59. | 0
m | No previous ref. | Intruder Alarm | Intruder alarm – main keypad appears to be located to Store 145. Passive movement detectors throughout. | 0
m | No previous ref. | Drainage | Mains drainage. Drainage not inspected as part of survey. | 0
m | No previous ref. | Drainage | French drain installed to playing field to stop excess water flooding the top playground and school. Whilst the French drain has been installed no finish has been applied and top soil and grass or a proprietary finish is required. | 500 |  |  |  | 500
m | No previous ref. | School Bell | School Bell – Damphos 841 unit located in Room 59. | 0
m | No previous ref. | Wi-Fi | Wi-Fi provided throughout the school. | 0
r | 1060755 | Roofs | Roofs are covered with three layer high tensile roofing felt. Generally in sound condition | 0
r | 1060755 | Roofs | Building ZZZ2 has two spray coated aluminium dome roof lights. Generally in good order. | 0
r | 1060755 | Roofs | Building ZZZ2 has two vent cowls to the roof. | 0
r | 1060758 | Gutters and Downpipes | uPVC gutters and downpipes. Some slight signs of warping to gutters but generally in order. | 0
e | 1060759 | Redecoration | Painted doors only. | 300 |  |  |  | 300
e | 1060760 | Walls | Walls in timber frame. Walls formed with plastic coated boarding. Plastic coated boarding fascias with plastic cover strips to fascias and edge trims to corners of walls and to isolated joints. | 0
e | 1060760 | Walls | Lower sections of walls to building ZZZ0 are in filled with ply panelling. Some panelling damaged requiring replacement to the right hand side of the entrance doors and on the north elevation. | 300 |  |  | 300
e | 1060760 | Walls | Walls to ZZZ2 at the lower level are formed with hit and miss softwood timber boarding. Sections have collapsed and require reforming and realigning. Replace sections where missing. | 500 |  |  | 500
w | 1060761 | Windows | uPVC windows throughout. In good order. | 0
w | 1060762 | Doors | Each building has two main entrance doors which are in a 2XG style. Generally in fair order. Each building has two emergency escape doors which have flush timber doors set in powder coated aluminium frames. In fair order. | 0
w | No previous ref. | General | Raised platform to emergency escape doors to north side of both units formed in timber to bridge bank. In good order. | 0
w | No previous ref. | General | Each building has stepped and ramped access formed in timber with timber hand rails. Generally in sound order. | 0
w | No previous ref. | General | To the south side of each building is an emergency escape with timber staircases and balustrades. | 0
w | No previous ref. | Redecoration | Redecorate entrance doors. | 300 |  |  |  | 300
i | 1060763 | Walls | Walls are formed in timber frame construction throughout. Walls are clad with vinyl faced plasterboard with plastic cover strips to joints. Generally in sound condition. | 0
i | 1060765 | Floors | Floors formed in suspended timber throughout. | 0
i | 1060765 | Floors | Poor joint between carpet and floor covering covered with duct tape to classroom 124. Provide proprietary cover. | 50 |  | 50
i | 1060765 | Floors | Floors to toilets and entrances are formed with non-slip vinyl floor coverings. Black coved skirtings to toilets. Generally in sound order. | 0
i | 1060765 | Floors | Classrooms 121, 124, 139 and 141 have area of vinyl flooring to wet area, remainder in carpet. In fair order. | 0
i | 1060768 | Ceilings | Ceilings are a mix of steel sheets with powder coated finish with similarly finished cover strips and plastic coated plasterboard with plastic cover strip to joints. Generally in fair order. | 0
i | No previous ref. | Doors | Internal doors are all half hour doors. Classroom doors have vision panels. Intumescent smoke seals are provided to all fire doors. Overhead door closers to classroom doors and store doors but not to toilet doors. | 0
i | No previous ref. | Doors | External fire doors are all formed with push bar door furniture. | 0
i | No previous ref. | Joinery | Joinery to doors, frames, architraves, skirtings and windows is in good order. | 0
i | No previous ref. | Redecoration | Redecorate joinery. | 750 |  |  |  | 750
m | No previous ref. | Toilets | One set of girls and boys toilets to each of the two blocks. Each toilet has three cubicles with proprietary cubicle partitions, three close coupled WC’s with vitreous china pans and plastic cisterns. Two wash hand basins with glazed splash back to each toilet. | 0
m | No previous ref. | Fixtures and Fittings | Fluorescent strip lighting is provided throughout. | 0
m | No previous ref. | Fixtures and Fittings | Stainless steel sink and base unit with small worktop area to classroom 124. | 0
m | No previous ref. | Fixtures and Fittings | Basic range of base units and worktops with inset stainless steel single drainer sink and cooking range to classroom 121. | 0
m | No previous ref. | Fixtures and Fittings | Classroom 139 & 141: Stainless steel single drainer sink and base unit. | 0
m | 1056232 | Heating | Each classroom is fitted with an electric convector heater and fire guard (Dru Electric heaters to ZZZ0. Electric heaters to ZZZ2 are Rinnai Energy Saver 556T electric heater). | 0
m | 1056236 | Hot Water | 2 no. Zip Aquapoint III electric water heater and expansion vessel to storerooms 122 and storeroom 125. | 0
m | 1056236 | Hot Water | Toilets have Santon Aqualine electric water heaters. | 0
m | 1056238 | Ventilation | Extract to room 126 inoperable. Replace. | 150 |  |  |  | 150
m | 1056238 | Ventilation | Mechanical ventilation extract to each toilet. Two ventilation extract fans to toilets 135 and 136 not operating requiring replacement. | 300 |  |  |  | 300
m | 1056240 | Electrics | Distribution boards to storeroom 122 and storeroom 138.. | 0
m | 1056243 | Intruder Alarm | Intruder alarm with passive movement detection. | 0
m | 1056245 | Emergency Lighting | Emergency Lighting: Non-maintained emergency lighting provided throughout building. | 0
m | No previous ref. | Fire Alarm | Fire alarm call points provided although no smoke detection provided to any areas. | 0
o | No previous ref. | Building | Timber frame structure over main swimming pool area with external walls clad in plywood and translucent corrugated sheeting. Pitched roofs over main swimming pool formed with plywood boarding and felt coverings with part corrugated translucent sheeting. Toilet block and service plant room formed under flat roof construction with walls constructed in timber frame and clad in plywood and part in solid brickwork with pointed joints. Various timber doors and uPVC windows. Internal walls formed part in studwork lined with plywood and part in brickwork. Internally the area around the swimming pool is formed with paving slabs. Boys and girls changing facilities provided, each facility having one WC cubicle. Finishes throughout the swimming pool are poor and the structure is of a temporary nature which has been in place for some 30+ years. The structure is poorly insulated, giving rise to problems in the winter as there is no heating to the building. The structure is past its useful life. Furthermore changing facilities are antiquated and limited with no shower provision. It is recommended that the structure is completely rebuilt surrounding the swimming pool to provide a modern facility. | 250000 |  |  |  | 250000
o | No previous ref. | Swimming Pool | The swimming pool is a lined pool. It is understood the membrane has been replaced recently and the pool appears in good order. | 0
m | No previous ref. | Services | There is second mains gas supply to swimming pool. Capacity 16m^3/hour. | 0
m | No previous ref. | Swimming Pool Filtration Unit | Filtration unit to swimming pool Triton TR-100 filtration unit with Hayward pump. | 0
m | No previous ref. | Boiler | Boiler to heated swimming pool. Lite 2 Jandy boiler to heat water for swimming pool. Leakage evident to supply pipework. Repair and overhaul. | 100 |  | 100
g | 1060695 | Roads and Car Parks | Tarmac staff and visitor parking. General wear to wearing course tarmac although generally in fair condition. | 0
g | 1060696 | Playground | The top playground is formed with a wearing course tarmac finish which has some slight wear and the wearing course is beginning to deteriorate. Replacement of the wearing course will need to be considered in future years. Area approx. 600m. | 15000 | [5 empty] | 15000
g | 1060696 | Playground | The lower playground is formed with a wearing course tarmac which is in fair order. | 0
g | No previous ref. | Play Areas | Play equipment formed in area with rubber safety floor. Play equipment will require annual ROSPA certification. Last ROSPA certification 17/4/14. | 250 |  | 50 | 50 | 50 | 50 | 50
g | 1060699 | Paths & Pedestrian Paved Areas | Various tarmac paths all in good order. | 0
g | 1060699 | Paths & Pedestrian Paved Areas | Various concrete paved slab paths. Generally in good order. | 0
g | 1060699 | Paths & Pedestrian Paved Areas | It is noted that in a number of ACO drainage channels have been installed. It is understood that these have been installed to restrict flooding into the school which has occurred on a number of previous occasions. | 0
o | 106710 | Ancillary Buildings | External covered seating area to lower playground: Unit constructed in timber with timber posts supporting timber trusses and timber roof structure with lower timber panels and bench seating formed on timber floor. Roof covered with felt in a slate style finish. Generally in fair order although requiring redecoration. | 500 |  |  |  | 500
o | 106710 | Ancillary Buildings | Shed adjoining top playground constructed with concrete posts and concrete panels with dual pitched corrugated asbestos roof with two powder coated aluminium doors set in timber frames. Built on concrete base. In good order. | 0
o | 106710 | Ancillary Buildings | Shed 112: Timber framed shed with dual pitched felted roof on concrete base with timber floor raised above concrete base. Shed beyond economic repair requiring replacement. | 1250 |  | 1250
g | 1060704 | Site Boundaries | Two steel gates to entrance to car park. In good order. | 0
g | 1060704 | Site Boundaries | 1500mm high powder coated steel fencing either side of main entrance with further similar fencing to 1200mm height surrounding the front entrance to playground. Gates to both sections of fencing. Small amount of 1500mm high powder coated steel fencing to right hand boundary. | 0
g | 1060704 | Site Boundaries | Around the three long sides of the playing field there is concrete post chain link fencing. Approx. 1500mm high, problems are experienced with children entering the school during times of closure and it is advised that all fencing should be replaced with 1800mm high minimum powder coated fencing. Approx. 500m. | 100000 |  | 100000
g | 1060704 | Site Boundaries | Chain link fencing with concrete posts to roadside boundary largely hidden by vegetation and tree growth and therefore not causing such a risk to the site. | 0
g | 1060705 | Internal Fencing | Various sections of galvanised steel post and steel mesh fencing and gates through internal areas of property. Generally in good order. | 0
g | 1060705 | Internal Fencing | Concrete post and timber panel fencing surrounding reception class play areas. All in good condition. | 0
g | 1060705 | General | Garden area: Timber pergola with lattice infill panels. In fair order. | 0
g | 1060706 | Internal Brickwork Walls | Brickwork retaining walls to planting areas adjoining main entrance. Brickwork and coping stone disturbed due to root growth to planting bed. small section of wall requires rebuilding. | 250 |  |  |  | 250
g | 1060706 | Internal Brickwork Walls | Various brick retaining walls with concrete copings to paved areas. Various sets of steps formed in brickwork with concrete paving slabs. Pointing to brickwork generally in fair order. Powder coated steel handrails and galvanised tubular steel handrails to raised pathways. In fair order. Ramped access is provided between areas of different levels for disabled access, although it is noted that the ramps are at a steep gradient. | 0
g | 1060706 | Internal Brickwork Walls | Some deterioration of brickwork to retaining wall to upper play area where some re-pointing work has been carried out. Some isolated repointing works have been carried out to the wall for no apparent reason as the pointing joints are deeply recessed. However pointing joints have opened up in various locations. There has been some subsidence of the wall and some further re-pointing works are required. Possible inclusion of ACO drainage channel at junction between playground and retaining wall to remove excess water where pointing joints have opened up to wall. Length 50m. | 7500 |  |  |  | 7500
g | No previous ref. | Pond Area | Pond area to the front of premises with post and rail fence. Some deterioration to paving surrounding pond and pond largely overgrown. Fencing secure. | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Floors and stairs, Floor screed and finish, Vinyl/rubber/sheet, Main school | i | ic2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Heating distribution emitters and controls,Generally, Main school | m | mc2 | C2 | 1 | 1 | 2 | 1 | 2 | 2 | 0
|  |  |  | c | 2 | Roofs, Drainage, Flat roof-Plastic, Main school | r | rc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services, Heating distribution, emitters and controls, Generally, Swimming pool | m | mc2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Redecorations, External windows,doors, Timber, Mobile | w | wc2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | External walls windows and doors, Walls-external finishes, Timber cladding, Mobile | e | ec2
|  |  |  | c | 2 | Floors and stairs, Floors, Vinyl/Ruber/Sheet, Mobile | i | ic2
|  |  |  | c | 2 | Redecorations, External windows and doors, TImber, Mobile | e | ec2
|  |  |  | c | 2 | External areas, Roads and car parks, Tarmac | g | gc2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [18 empty] | Compliance Comparison |  |  | 2 | Form of entry | PAN | 60
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [17 empty] | Total area | Shortfall | Surplus | 2015 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 13 | General classroom | 51.55 | [16 empty] | 51.55 | 10.45 | 0
|  |  | 1 | 62 | 62 | 14 | General classroom | 52.27 | [16 empty] | 52.27 | 9.73 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 5 | General classroom | 51.91 | [16 empty] | 51.91 | 10.09 | 0 | 2 | No. Temp Buildings on Site
|  |  | 1 | 62 | 62 | 6 | General classroom | 51.91 | [16 empty] | 51.91 | 10.09 | 0
|  | Classroom - Year 2 | 1 | 62 | 62 | 69 | General classroom | 52.52 | [16 empty] | 52.52 | 9.48 | 0 | 2 | No. of Classrooms in Temporary Buildings
|  |  | 1 | 62 | 62 | 73 | General classroom | 51.62 | [16 empty] | 51.62 | 10.38 | 0
|  | Classroom - Year 3 | 1 | 62 | 62 | 77 | General classroom | 51.84 | [16 empty] | 51.84 | 10.16 | 0 | 14 | No. of Classrooms
|  |  | 1 | 62 | 62 | 82 | General classroom | 55.94 | [16 empty] | 55.94 | 6.06 | 0
|  | Classroom - Year 4 | 1 | 62 | 62 | 85 | General classroom | 51.41 | [16 empty] | 51.41 | 10.59 | 0 | 14 | Required No. of Classroooms
|  |  | 1 | 62 | 62 | 92 | General classroom | 51.7 | [16 empty] | 51.7 | 10.3 | 0
|  | Classroom - Year 5 | 1 | 62 | 62 | 93 | General classroom | 52.06 | [16 empty] | 52.06 | 9.94 | 0
|  |  | 1 | 62 | 62 | 94 | General classroom | 52.13 | [16 empty] | 52.13 | 9.87 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 124 | General classroom | 46.64 | [16 empty] | 49 | 13 | 0
|  |  | 1 | 62 | 62 | 139 | General classroom | 60.8 | [16 empty] | 60.8 | 1.2 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 24a, 24b | Practical area | 30 | [16 empty] | 30 | 0 | 30 | 0% | of classrooms are the recommended size
|  |  | 0 | 0 | 0 | 75 | Practical area | 46.12 | [16 empty] | 46.12 | 0 | 46.12
|  |  | 0 | 0 | 0 | 19 | Practical area | 25.61 | [16 empty] | 25.61 | 0 | 25.61
|  |  | 0 | 0 | 0 | 121 | Food technology area | 46.64 | [16 empty] | 46.64 | 0 | 46.64
|  | ICT base | 0 | 0 | 0 | 84 | IT room | 56.3 | [16 empty] | 56.3 | 0 | 56.3 | 100% | of classrooms are small
[5 empty] | 868 | [19 empty] | 941.33 | 131.34 | 204.67 | 108.4% | of the recommended basic teaching space required
[27 empty] | 736.66 | 84.87% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [27 empty] | 15.13% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180+70 | 250 | 31, 50 | Hall | 157.43 | 182.29 | [15 empty] | 339.72 | 0 | 89.72
[5 empty] | 250 | [19 empty] | 339.72 | 0 | 89.72 | 135.9% | of the recommended hall size
Storage | [27 empty] | 0% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 2 | 3 | 6 | 9a, 17, 17a | Cloakroom | 10.42 | 6.17 | 3.76 | [14 empty] | 20.35 | 0 | 14.35
| 2 | Coat and bag storage - Year 1 | 2 | 3 | 6 | 1a | Cloakroom | 1.54 | [16 empty] | 1.54 | 4.46 | 0
| 3 | Coat and bag storage - Year 2 | 2 | 3 | 6 | 70 | Cloakroom | 16.7 | [16 empty] | 16.7 | 0 | 10.7
| 4 | Coat and bag storage - Year 3 | 2 | 3 | 6 | 79 | Cloakroom | 16.93 | [16 empty] | 16.93 | 0 | 10.93
| 5 | Coat and bag storage - Year 4 | 2 | 3 | 6 | 86a | Cloakroom | 1.58 | [16 empty] | 1.58 | 4.42 | 0
| 6 | Coat and bag storage - Year 5 | 2 | 3 | 6 | 97 | Cloakroom | 18.41 | [16 empty] | 18.41 | 0 | 12.41
| 7 | Coat and bag storage - Year 6 | 2 | 3 | 6 | 140 | Entrance | 18.28 | [16 empty] | 18.28 | 0 | 12.28
| 8 | Teaching storage - Year R | 2 | 2 | 4 | 10, 18 | Store room | 1.13 | 1.18 | [15 empty] | 2.31 | 1.69 | 0
| 9 | Teaching storage - Year 1 | 2 | 2 | 4 | 142, UN6, 27 | Store room | 1.52 | 1 | 0.97 | [14 empty] | 3.49 | 0.51 | 0
| 10 | Teaching storage - Year 2 | 2 | 2 | 4 | 74 | Store room | 1.5 | 1.07 | [15 empty] | 2.57 | 1.43 | 0
| 11 | Teaching storage - Year 3 | 2 | 2 | 4 | 78 | Store room | 1.69 | [16 empty] | 1.69 | 2.31 | 0
| 12 | Teaching storage - Year 4 | 2 | 2 | 4 | 90 | Store room | 0.95 | [16 empty] | 0.95 | 3.05 | 0
| 13 | Teaching storage - Year 5 | 2 | 2 | 4 | 134 | Store room | 1.98 | [16 empty] | 1.98 | 2.02 | 0
| 14 | Teaching storage - Year 6 | 2 | 2 | 4 | 125, 137 | Store room | 4.04 | 4.31 | [15 empty] | 8.35 | 0 | 4.35
| 15 | Specialist walk in stores | 4 | 5 | 20 | 38a,101, 107, 138, 144, | Store room | 1.67 | 4.54 | 6.3 | 4.3 | 7.05 | [12 empty] | 23.86 | 0 | 3.86
| 18 | Indoor PE equipment storage | 1 | 25 | 25 | 51 | Store room | 6 | [16 empty] | 6 | 19 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [19 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 55, 62 | Store room | 4.07 |  | 5.07 | [14 empty] | 9.14 | 0 | 5.14
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | 108, 109, 110, 115 | Caretakers room | 6.12 | 7.93 | 1.27 | 9.54 | [13 empty] | 24.86 | 0 | 19.86
| 22 | Cleaning store | 2 | 3 | 6 | 1b, 7, 91 | Cleaners store room | 0.95 | 0.95 | 0.91 | [14 empty] | 2.81 | 3.19 | 0
| 23 | Table and chair store | 1 | 16 | 16 | 33, 36, 34, 52 | Store room (chairs) | 6.18 | 4.38 | 8.17 | 12.42 | [13 empty] | 31.15 | 0 | 15.15
| 25 | Staging/ appliance store | 1 | 4 | 4 | 111 | Store room | 18.03 | [16 empty] | 18.03 | 0 | 14.03
|  | Mobility equipment store | 2 | 2 | 4 | [19 empty] | 0 | 4 | 0
| 24 | Store for community | 0 | 0 | 0 | [19 empty] | 0 | 0 | 0
[5 empty] | 154 | [19 empty] | 230.98 | 46.08 | 123.06 | 150% | of the recommended storage space required
Staff and admin | [27 empty] | 29.92% | shortfall
| 1 | Heads office | 1 | 16 | 16 | 58 | Heads office | 12.67 | [16 empty] | 12.67 | 3.33 | 0
| 3 | Staff room work and social | 1 | 61 | 61 | 54 | Staffroom | 38.81 | [16 empty] | 38.81 | 22.19 | 0
|  | Staff PPA | 1 | 20 | 20 | 38, 38b | Staffroom (PPA) | 32.45 | 9.88 | [15 empty] | 42.33 | 0 | 22.33
| 4 | Senior management office | 1 | 12 | 12 | 35 | Deputy heads office (1 offices) | 5.07 | [16 empty] | 5.07 | 6.93 | 0
| 7 | General office (reception) | 1 | 12 | 12 | 59 | Reception (office) | 12.46 | [16 empty] | 12.46 | 0 | 0.46
| 8 | Secure reception | 1 | 6 | 6 | 130 | Entrance | 12.2 | [16 empty] | 12.2 | 0 | 6.2
| 9 | Reprographics room | 1 | 9 | 9 | [19 empty] | 0 | 9 | 0
| 10 | Meeting room | 1 | 16 | 16 | [19 empty] | 0 | 16 | 0
| 11 | Sick bay | 1 | 3 | 3 | [19 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 10 | 10 | [19 empty] | 0 | 10 | 0
[5 empty] | 165 | [19 empty] | 123.54 | 70.45 | 28.99 | 74.87% | of the recommended staff and admin space required
Learning resource area | [27 empty] | 42.7% | shortfall
| 1 | Library (learning resource centre) | 1 | 45 | 45 | 24, 83, 98b | Library | 19.64 | 37.32 | 28.94 | [14 empty] | 85.9 | 0 | 40.9
| 3 | Small group room | 5 | 11 | 55 | [19 empty] | 0 | 55 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [19 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [19 empty] | 0 | 12 | 0
[5 empty] | 124 | [19 empty] | 85.9 | 79 | 40.9 | 69.27% | of the recommended learning resource areas
Supplementary area | [27 empty] | 63.71% | shortfall
| 1 |  | 0 | 0 | 0 | 30 | SEN classroom | 51.98 | [16 empty] | 51.98 | 0 | 51.98
|  |  | 0 | 0 | 0 | 120, 120a, 120b, 120c, 120d, 118 | Swimming pool | 76.63 | 53.74 | 11.58 | 29.34 | 21.73 | 5.17 | [11 empty] | 198.19 | 0 | 198.19
|  |  | 0 | 0 | 0 | 117 | Male pupil changing | 14.6 | [16 empty] | 14.6 | 0 | 14.6
|  |  | 0 | 0 | 0 | 119 | Female pupil changing | 14.52 | [16 empty] | 14.52 | 0 | 14.52
|  |  | 0 | 0 | 0 | 141 | Music classroom | 47.26 | [16 empty] | 47.26 | 0 | 47.26
|  |  | 0 | 0 | 0 | 98c | Stage area | 27.53 | [16 empty] | 27.53 | 0 | 27.53
|  |  | 0 | 0 | 0 | 76 | Kiln room | 6.18 | [16 empty] | 6.18 | 0 | 6.18
|  |  | 0 | 0 | 0 | [19 empty] | 0 | 0 | 0
[5 empty] | 0 | [19 empty] | 360.26 | 0 | 360.26 | - | of the recommended supplementary areas
Non net areas | [27 empty] | - | shortfall
| 1 | Reception toilets | 6 | 2 | 12 | 17b, 21 | Pupil wc multisex (4WC's) Outside classroom, not direct access shared with Nursery class | 6.05 | 6.44 | [15 empty] | 12.49 | 0 | 0.49 | 4 | Number of reception toilets
| 1 | Pupils toilets | 18 | 2 | 36 | 2,3, 11,12, 29, 71, 72, 88, 89, 95, 96, 126, 126a, 135, 136, UN8, UN9, 80, 81 | Pupils WC's (40 WC, 6 urinal) | 5.02 | 5.04 | 5.09 | 5.07 | 5.09 | 5.1 | 5.07 | 5.06 | 5.22 | 5.06 | 5.1 | 6.48 | 6.48 | 8 | 5 | 5.06 | 5.06 | 92 | 0 | 56 | 46 | Number of other pupil toilets
| 2 | Staff toilets | 3 | 2 | 6 | 56, 56a, 60, 60a | Staff wc (3 WCs, 1 urinal) | 4.05 | 6.14 | 2.99 | 6.11 | [13 empty] | 19.29 | 0 | 13.29 | 66.67% | % of recommended reception toilets
| 3 | Accessible toilet | 2 | 3 | 6 | [19 empty] | 0 | 6 | 0 | 255.6% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [19 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 41 | 41 | 40,41,42, UN13, 48, 43,44,45, 46, 47, 47a, 116, 143, 49 | Kitchen (included dedicated kitchen office space and WC's etc) | 6.56 | 6.31 | 27.75 | 3 | 35.4 | 6.22 | 2.96 | 2.96 | 2.96 | 8.31 | 4.65 | 4.37 | 3.04 | 10.3 |  |  |  | 124.79 | 0 | 83.79
| 5 | Corridors | - | 22.5% | 351.225 | 1, 8, 9, 15, 25, 37, 63, 64, 65, 65a, 66, 98, 98a, 99, 123, UN10, UN11, 86+87 | Corridors | 189.95 | [16 empty] | 189.95 | 161.275 | 0
| 6 | Boiler room | 1 | 1.5% | 23.415 | 114, 102, 104, 145 | Boiler room and server | 39.25 | 2.97 | 3.6 | 1.35 | [13 empty] | 47.17 | 0 | 23.755
| 7 | Server | in boiler | [21 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 62.44 |  |  | 83.2692 | [16 empty] | 83.2692 | 0 | 20.8292
[5 empty] | 550.08 | [19 empty] | 568.9592 | 179.275 | 198.1542 | 103.4% | of the recommended non net area
Additional area | [27 empty] | 32.59% | shortfall
|  | Nursery class | 1 | 62 | 62 | 20 | Nursery classroom | 51.91 | [16 empty] | 51.91 | 10.09 | 0
|  | Quiet room | 1 | 8 | 8 | [19 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 16, UN7 | Store room | 0.95 | 1 | [15 empty] | 1.95 | 0.05 | 0
|  | Nursery office | 1 | 8 | 8 | [19 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 22 | Cloakroom | 7.85 | [16 empty] | 7.85 | 0 | 4.85
|  | Nursery pupils toilets | 3 | 2 | 6 | [19 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [19 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [19 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [19 empty] | 61.71 | 36.0075 | 4.85 | 66.45% | of the recommended additional area
[28 empty] | 38.77% | shortfall
Total Net area |  |  |  |  | 1561 | [19 empty] | 2081.73
Total Non-Net area |  |  |  |  | 550.08 | [19 empty] | 568.9592
Gross (total build) area - excluding nursery |  |  |  |  | 2111.08 | [19 empty] | 2650.6892 |  |  | 125.6% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 2203.9475 | [19 empty] | 2712.3992
Net Area Range |  |  |  |  | 2072.0-2290.0
Mid Range |  |  |  |  | 2181.5
Total Site Area Range |  |  |  |  | 15984.0-19983.0
Mid Range |  |  |  |  | 17983
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
60 | 420 | 59 | 413
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 312 | 295 | 284 | 302 | 313 | 307
Maximum Capacity | 476 | 476 | 476 | 420 | 420 | 420
Number of Surplus Places | 164 | 181 | 192 | 118 | 107 | 113
% of surplus places | 34.4538 | 38.0252 | 40.3361 | 28.1 | 25.5 | 26.9048
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 57 | 39 | 53 | 48 | 36 | 33 | 46 | 312

## School stats
Current Ofsted | Year
Good | 2012-03-20
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 88% | 66% | 74%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 57
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 7% | 31% | 0% | 0%
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 74% | 31% | 79% | 100%
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 61% | 8% | 63% | 100%
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 19% | 8% | 8% | 50%
Percentage of pupils making at least 2 levels of progress in reading | 85% | 62% | 96% | 88%
Percentage of pupils making at least 2 levels of progress in writing TA | 92% | 92% | 92% | 94%
Percentage of pupils making at least 2 levels of progress in maths | 90% | 83% | 88% | 100%
Average point score | 28.8
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 11% | 6%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 56% | 77%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 44% | 65%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 11% | 21%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | 75% | 87%
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | 75% | 96%
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 88% | 91%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.1 | 99.5 | 100.7 | 93%
Reading value added measure | 99.9 | 99.2 | 100.6 | 93%
Writing TA value added measure | 100.4 | 99.7 | 101.2 | 93%
Maths value added measure | 100 | 99.2 | 100.8 | 93%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 12% | 16% | 32% | 19%
Percentage achieving Level 4 or above | 88% | 84% | 68% | 81%
Percentage achieving Level 4b or above | 79% | 72% | 61% | NA
Percentage achieving Level 5 or above | 54% | 46% | 54% | 35%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.8% | 4.8%
Persistent absence: around 15% + | 3.7% | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 328
Percentage of pupils eligible for Free School Meals (FSM) | 12.7%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4037 (96%) | 4525 | 4016 | 4325
Self generated income | 177 (4%) | 144 | 142 | 127
Total income | 4214 | 4723 | 4183 | 4479
Teaching staff | 2168 (53%) | 2277 | 2045 | 2106
Supply Staff | 105 (3%) | 87 | 118 | 127
Education support staff | 672 (16%) | 689 | 650 | 733
Learning resources (not ICT equipment) | 144 (4%) | 181 | 174 | 184
ICT learning resources | 58 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 58 (1%) | 88 | 59 | 67
Back office (incl. Staff costs) | 298 (7%) | 406 | 334 | 351
Catering (incl. Staff costs) | 44 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 242 (6%) | 259 | 275 | 301
Other staff costs | 141 (3%) | 153 | 133 | 142
Energy | 42 (1%) | 68 | 62 | 65
Other expenditure | 101 (2%) | 94 | 85 | 88
Total expenditure | 4071 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2719 | 2711 | 2654 | 2840
Supply staff | 136 | 43 | 68 | 105
Back office (incl. Staff costs) | 257 | 251 | 273 | 298
Energy | 52 | 42 | 60 | 42
Total expenditure | 3906 | 3729 | 3790 | 4071
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 18 | 236728
Headcount of all teaching assistants in a school | 17 | 239340
Headcount of all support (exc. auxillary) staff in a school | 8 | 77335
Full-time equivalent number of all teachers in a school | 16.1 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 9.5 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 4 | 51728.3
Ratio of pupils to teachers in a school | 20.3 | 20.5
Average gross salary of all teachers in a school | 35834 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 295 | 284 | 302 | 313 | 307 |  |  |  | NOR |  |  |  |  | 312 | 312
PAN | 68 | 68 | 68 | 60 | 60 | 60 |  |  |  |  | Number | 258 | 251 | 270 | 275 | 265 |  |  |  | Total in area |  |  |  |  | 675 | 236
No. | 30.6 | 31.96 | 56.44 | 46.8 | 34.02 | 45 |  |  |  |  | % | 87.4576 | 88.3803 | 89.404 | 87.8594 | 86.3192 |  |  |  | Number at School from area |  |  |  |  | 269 | 109
% | 45 | 47 | 83 | 78 | 56.7 | 75 | [13 empty] | % at School |  |  |  |  | 86.2179 | 34.9359
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 39.8519 | 46.1864
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 641 | 637 | 647 | 663 | 646
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Garway | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Ledbury | Ashfield Park | St Weonards | Walford | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | Lea C E | Llangrove C E | Much Marcle C E | Weston-under-Penyard C E | Whitchurch C E | Out of County | Grand Total
2094 | Kings Caple | Number | 1 | 0 | 8 | 2 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 8 | 1 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 38
2094 | Kings Caple | % | 2.6316 | 0 | 21.0526 | 5.2632 | 13.1579 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 5.2632 | 2.6316 | 21.0526 | 2.6316 | 5.2632 | 18.4211 | 0 | 0 | 0 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 265 | 3 | 9 | 3 | 1 | 0 | 0 | 1 | 8 | 4 | 0 | 1 | 3 | 0 | 2 | 0 | 2 | 307
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.32573 | 1.3029 | 0 | 0 | 86.3192 | 0.9772 | 2.9316 | 0.9772 | 0.32573 | 0 | 0 | 0.32573 | 2.6059 | 1.3029 | 0 | 0.32573 | 0.9772 | 0 | 0.65147 | 0 | 0.65147 | 100
2152 | St Weonards | Number | 4 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 35
2152 | St Weonards | % | 11.4286 | 5.7143 | 2.8571 | 0 | 0 | 0 | 0 | 0 | 65.7143 | 0 | 2.8571 | 0 | 0 | 0 | 5.7143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7143 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 107 | 3 | 54 | 0 | 2 | 0 | 0 | 0 | 2 | 2 | 1 | 2 | 2 | 0 | 9 | 0 | 8 | 194
2155 | Walford | % | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 55.1546 | 1.5464 | 27.8351 | 0 | 1.0309 | 0 | 0 | 0 | 1.0309 | 1.0309 | 0.51546 | 1.0309 | 1.0309 | 0 | 4.6392 | 0 | 4.1237 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 1 | 13 | 64 | 1 | 0 | 0 | 2 | 3 | 2 | 0 | 0 | 5 | 0 | 1 | 6 | 5 | 115
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4348 | 0.86957 | 11.3043 | 55.6522 | 0.86957 | 0 | 0 | 1.7391 | 2.6087 | 1.7391 | 0 | 0 | 4.3478 | 0 | 0.86957 | 5.2174 | 4.3478 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 38 | 0 | 1 | 1 | 62 | 0 | 0 | 2 | 14 | 3 | 0 | 6 | 0 | 4 | 6 | 0 | 56 | 197
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 2.0305 | 0 | 0 | 19.2893 | 0 | 0.50761 | 0.50761 | 31.4721 | 0 | 0 | 1.0152 | 7.1066 | 1.5228 | 0 | 3.0457 | 0 | 2.0305 | 3.0457 | 0 | 28.4264 | 100
3305 | Brampton Abbotts CE | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111
3305 | Brampton Abbotts CE | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.991 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2072 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3307 | Bridstow CE | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 27 | 3 | 1 | 1 | 0 | 0 | 1 | 1 | 5 | 40 | 0 | 0 | 1 | 0 | 1 | 2 | 2 | 89
3307 | Bridstow CE | % | 0 | 0 | 0 | 0 | 3.3708 | 1.1236 | 0 | 30.3371 | 3.3708 | 1.1236 | 1.1236 | 0 | 0 | 1.1236 | 1.1236 | 5.618 | 44.9438 | 0 | 0 | 1.1236 | 0 | 1.1236 | 2.2472 | 2.2472 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 59 | 0 | 0 | 9 | 0 | 22 | 99
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0303 | 0 | 2.0202 | 2.0202 | 1.0101 | 0 | 0 | 0 | 0 | 1.0101 | 0 | 59.596 | 0 | 0 | 9.0909 | 0 | 22.2222 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 33 | 0 | 0 | 1 | 3 | 45
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6667 | 0 | 2.2222 | 0 | 0 | 0 | 0 | 4.4444 | 4.4444 | 0 | 0 | 73.3333 | 0 | 0 | 2.2222 | 6.6667 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 19 | 0 | 4 | 45
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.6667 | 0 | 4.4444 | 2.2222 | 4.4444 | 0 | 0 | 0 | 2.2222 | 4.4444 | 0 | 4.4444 | 0 | 0 | 42.2222 | 0 | 8.8889 | 100
3385 | Whitchurch C E | Number | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 15 | 2 | 6 | 6 | 3 | 0 | 0 | 0 | 3 | 5 | 0 | 0 | 11 | 0 | 0 | 46 | 36 | 136
3385 | Whitchurch C E | % | 0 | 0.73529 | 0 | 1.4706 | 0 | 0 | 0 | 11.0294 | 1.4706 | 4.4118 | 4.4118 | 2.2059 | 0 | 0 | 0 | 2.2059 | 3.6765 | 0 | 0 | 8.0882 | 0 | 0 | 33.8235 | 26.4706 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Garway | Kings Caple | Kingstone & Thruxton | Ashfield Park | St Weonards | Walford | Colwall C E | Goodrich C E | Gorsley Goffs Endowed | Holmer C E | Little Dewchurch CE | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | St Pauls CE | Lea C E | Llangrove C E | Much Marcle C E | St Josephs RC | Weston-under-Penyard C E | Whitchurch C E | Grand Total
2094 | Kings Caple | Number | 0 | 0 | 5 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 6 | 0 | 3 | 5 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 32
2094 | Kings Caple | % | 0 | 0 | 15.625 | 0 | 12.5 | 0 | 0 | 0 | 0 | 12.5 | 0 | 0 | 18.75 | 0 | 9.375 | 15.625 | 3.125 | 0 | 0 | 12.5 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 2 | 265 | 0 | 107 | 0 | 12 | 38 | 0 | 0 | 0 | 101 | 27 | 0 | 0 | 3 | 0 | 4 | 60 | 12 | 15 | 646
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.3096 | 41.0217 | 0 | 16.5635 | 0 | 1.8576 | 5.8824 | 0 | 0 | 0 | 15.6347 | 4.1796 | 0 | 0 | 0.4644 | 0 | 0.6192 | 9.2879 | 1.8576 | 2.322 | 100
2152 | St Weonards | Number | 0 | 7 | 0 | 0 | 3 | 23 | 3 | 0 | 1 | 0 | 0 | 0 | 15 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 2 | 62
2152 | St Weonards | % | 0 | 11.2903 | 0 | 0 | 4.8387 | 37.0968 | 4.8387 | 0 | 1.6129 | 0 | 0 | 0 | 24.1935 | 1.6129 | 4.8387 | 0 | 0 | 0 | 4.8387 | 0 | 1.6129 | 0 | 3.2258 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 9 | 0 | 54 | 0 | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 6 | 89
2155 | Walford | % | 0 | 0 | 0 | 0 | 10.1124 | 0 | 60.6742 | 0 | 14.6067 | 1.1236 | 0 | 0 | 0 | 0 | 1.1236 | 0 | 0 | 2.2472 | 0 | 0 | 1.1236 | 2.2472 | 6.7416 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 64 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 6 | 80
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 3.75 | 1.25 | 0 | 0 | 80 | 1.25 | 0 | 0 | 0 | 0 | 1.25 | 0 | 0 | 2.5 | 1.25 | 0 | 0 | 1.25 | 7.5 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 3 | 74
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 1.3514 | 0 | 2.7027 | 1.3514 | 1.3514 | 83.7838 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3514 | 0 | 0 | 1.3514 | 2.7027 | 4.0541 | 100
3305 | Brampton Abbotts CE | Number | 4 | 0 | 1 | 0 | 8 | 0 | 2 | 0 | 3 | 14 | 1 | 0 | 0 | 8 | 5 | 1 | 0 | 0 | 2 | 1 | 3 | 1 | 3 | 57
3305 | Brampton Abbotts CE | % | 7.0175 | 0 | 1.7544 | 0 | 14.0351 | 0 | 3.5088 | 0 | 5.2632 | 24.5614 | 1.7544 | 0 | 0 | 14.0351 | 8.7719 | 1.7544 | 0 | 0 | 3.5088 | 1.7544 | 5.2632 | 1.7544 | 5.2632 | 100
3307 | Bridstow CE | Number | 0 | 0 | 2 | 0 | 4 | 0 | 2 | 0 | 2 | 3 | 0 | 2 | 2 | 1 | 40 | 0 | 0 | 1 | 2 | 0 | 2 | 2 | 5 | 70
3307 | Bridstow CE | % | 0 | 0 | 2.8571 | 0 | 5.7143 | 0 | 2.8571 | 0 | 2.8571 | 4.2857 | 0 | 2.8571 | 2.8571 | 1.4286 | 57.1429 | 0 | 0 | 1.4286 | 2.8571 | 0 | 2.8571 | 2.8571 | 7.1429 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 59 | 0 | 0 | 0 | 2 | 0 | 72
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 1.3889 | 0 | 2.7778 | 0 | 0 | 8.3333 | 0 | 0 | 0 | 0 | 0 | 2.7778 | 0 | 81.9444 | 0 | 0 | 0 | 2.7778 | 0 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 11 | 55
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 5.4545 | 0 | 3.6364 | 0 | 9.0909 | 0 | 0 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 20 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 9 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 0 | 0 | 6 | 19 | 0 | 53
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 3.7736 | 0 | 16.9811 | 0 | 1.8868 | 11.3208 | 0 | 0 | 0 | 0 | 1.8868 | 0 | 0 | 16.9811 | 0 | 0 | 11.3208 | 35.8491 | 0 | 100
3385 | Whitchurch C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 46 | 55
3385 | Whitchurch C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9091 | 0 | 0 | 0 | 0 | 0 | 3.6364 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 83.6364 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly