## Cover Page
Clehonger CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Clehonger CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Clehonger CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 5106.94 |  |  |  | Current Capacity (PAN 21):- |  |  |  | 147
Insurance Asset Value (£000):- |  | 806181 |  |  |  | Allocated Capacity Size (PAN 20):- |  |  |  | 140
Land Asset Value (£000):- |  | 383021 |  |  |  | Current Occupancy:- |  |  |  | 116
Land Ownership:- | School owns |  |  |  |  | Current Planned Admission No.:- |  |  |  | 21
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 31
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 311.434
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 286.3204
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 25.1136
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 5 | Required Building Footprint (M2):- |  | 974.92
Actual Number of Classrooms:- | [6 empty] | 5 | Current Building Area (M2):- |  | 921.1888
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 60 | Area Shortfall (M2):- |  | 53.7312
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 63.4611 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 94.4887
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 33.3333 | Required Net Site Area (M2):- |  | 6518.88
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 233.3333 | Current Net Site Area (M2):- |  | 4185.7512
Nursery on Site:- | No | [6 empty] | Area Shortfall (M2):- |  | 2333.1288
[8 empty] | Area Surplus (M2):- |  | 0
[8 empty] | Total Percentage Compliance:- |  | 64.2097
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 232.4538
Gas Consumption 2014/Child:- |  |  |  |  | 484.5714
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 79
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 38.0952
Total Number of Children within Catchment:- | [6 empty] | 75
Total Number of Children at School from Catchment:- | [6 empty] | 43
Percentage of Catchment at School:- | [6 empty] | 36.1345
Percentage of Catchment Going to School:- | [6 empty] | 57.3333

## Report
|  |  | Clehonger CE Primary School | [6 empty] | Clehonger CE Primary School | [14 empty] | Clehonger CE Primary School | [7 empty] | Clehonger CE Primary School |  |  |  |  | Clehonger CE Primary School |  | Clehonger CE Primary School |  |  |  |  | Clehonger CE Primary School | [5 empty] | Clehonger CE Primary School |  |  | Clehonger CE Primary School | [8 empty] | Clehonger CE Primary School |  | Clehonger CE Primary School |  | Clehonger CE Primary School |  | Clehonger CE Primary School |  | Clehonger CE Primary School |  |  | Clehonger CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Clehonger CE Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-06-11 | [5 empty] | Areas | Standard Criteria (M2) (PAN 20) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 232.4538 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr A Parsonage | DFE Number:- | 3021 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 310 | 363.43 | 117.2355 |  |  |  | 21 | 147 | 21 | 147 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 484.5714 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 180 | 114.23 | 63.4611 | [17 empty] | PAN | 28 | 28 | 28 | 21 | 21 | 21
Address:- | Clehonger C E Primary School, Gosmore Road, Clehonger, Hereford HR2 9SN | Email:- | admin@clehonger.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 76 | 83.54 | 109.9211 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 5.88 | 14.84 | 23.8 | 15.96 | 12.999 | 8 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 1.1728 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 78 | 83.65 | 107.2436 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 75 | 71 | 75 | [5 empty] | Percentage | 21 | 53 | 85 | 76 | 61.9 | 38.0952
|  |  |  | 2016 | 22.0541 |  |  | 1.1728 |  |  | 2015 | 0.35694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81587 | 0 | 0 | 0 | C2 | [5 empty] | 2 |  | Learning Resource | 70 | 85.09 | 121.5571 |  |  |  | 2008 / 2009 | 125 | 196 | 0 | 71 | 2013 | 82 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 28.5556 |  |  | 22.0541 |  |  | 2016 | 0 | 0 | 2.1162 | 0 | 0.71389 | 0 | 1.8357 | 0 | 1.0963 | 15.2976 | 0.99435 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 50.53 | - |  |  |  | 2009 / 2010 | 119 | 196 | 0 | 77 | 2014 | 79 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01981 250218 F: 01981 251409 | School Cluster:- | Kingstone District- Kingstone High School | 2018 | 20.4478 |  |  | 28.5556 |  |  | 2017 | 0 | 0 | 1.5298 | 0 | 0 | 0 | 1.5298 | 0 | 1.7847 | 15.2976 | 3.3145 | 0 | 0 | 5.0992 | D2 | [7 empty] | Non Net Area | 260.92 | 140.7188 | 53.9318 |  |  |  | 2010 / 2011 | 117 | 196 | 0 | 79 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | 239.2038 |  |  | 20.4478 |  |  | 2018 | 0 | 0 | 0.58641 | 0 | 0 | 3.5694 | 0 | 0 | 0 | 5.0992 | 0.99435 | 10.1984 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 974.92 | 921.1888 | 94.4887 |  |  |  | 2011 / 2012 | 116 | 147 | 0 | 31 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 81 | 88 | 83 | 72 | 75
[8 empty] | 239.2038 |  |  | 2019 | 0 | 0 | 0 | 48.9524 | 0 | 104.5337 | 0 | 0 | 4.7423 | 15.0427 | 2.1927 | 63.2302 | 0.50992 | 0 | [15 empty] | 2012 / 2013 | 117 | 147 | 0 | 30 | [12 empty] | Number at School from Catchment | 43 | 43 | 44 | 43 | 43
School Type:- | Voluntary Controlled | Building Number:- | YBAN | Total | 311.434 | [5 empty] | Totals | 0.35694 | 0 | 4.2323 | 48.9524 | 0.71389 | 108.1032 | 3.3655 | 0 | 7.6233 | 50.7371 | 8.3117 | 73.4286 | 0.50992 | 5.0992 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 7493.8 | 5106.94 | 68.1489 |  |  |  | 2013 / 2014 | 119 | 147 | 0 | 28 | Pupils eligible for KS2 assessment |  |  |  | 19 | [7 empty] | Percentage at School from Catchment | 36.1345 | 36.7521 | 37.931 | 36.7521 | 36.1345
Current Capacity:- | 147 | Site Area:- | 5106.94 | [30 empty] | Net Site Area (less the building area) | 6518.88 | 4185.7512 | 64.2097 |  |  |  | Current Occupancy | 116 | 147 | 0 | 31 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 16 | [7 empty] | Percentage of Catchment Going to School | 53.0864 | 48.8636 | 53.012 | 59.7222 | 57.3333
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 286.3204 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 79
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 63 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 5 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 16 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 0.35694 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 25.1136 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 5 |  |  | Reception | 14 | 0 | 7 |  | Percentage making expected progress in reading |  |  |  | 88 | [7 empty] | NOR | 116 | 116
|  |  |  | Roof Works |  | 53.1847 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 60 |  |  | One | 23 | 2 | 0 |  | Percentage making expected progress in writing |  |  |  | 88 | [7 empty] | Total in Area | 71 | 123
|  |  |  | External Walls |  | 108.8171 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 40 |  |  | Two | 15 | 0 | 6 |  | Percentage making expected progress in maths |  |  |  | 88 | [7 empty] | Number at School from Area | 37 | 47
|  |  |  | Windows and Doors |  | 3.3655 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 16 | 0 | 5 |  | Average point score |  |  |  | 27.5 | [7 empty] | Percentage at School | 31.8966 | 40.5172
|  |  |  | Internal Works |  | 58.3604 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 21 | 0 | 0 | [13 empty] | Percentage of area going to School | 52.1127 | 38.2114
Asset Summary |  |  |  | Mechanical and Electrical |  | 81.7403 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 33.3333 |  |  | Five | 10 | 0 | 11 |  | Latest Ofsted Report Date:- |  | 2013-03-19
|  |  |  | Other (e.g. ancillary buildings) |  | 5.6091 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 233.3333 |  |  | Six | 17 | 0 | 4 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 806.181 | [38 empty] | Total | 116 | 0 | 31
Asset Value - Land (£000):- |  | 383.021 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | School owns | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | None | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Clehonger CE Primary School |  |  | Clehonger CE Primary School |  |  | Clehonger CE Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | YBAN
Site Area:- | 5106.94
Asset Value (Insurance):- | 806181
Asset Value (Land):- | 383021
Land owner:- | School owns
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 232.4538
Gas consumption 2014/child:- | 484.5714

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 1172.8175 | 1172.8175 | 2015 | 356.9444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 815.873 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 22054.0675 | 22054.0675 | 2016 | 0 | 0 | 2116.1706 | 0 | 713.8889 | 0 | 1835.7143 | 0 | 1096.3294 | 15297.619 | 994.3452 | 0 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 28555.5556 | 28555.5556 | 2017 | 0 | 0 | 1529.7619 | 0 | 0 | 0 | 1529.7619 | 0 | 1784.7222 | 15297.619 | 3314.4841 | 0 | 0 | 5099.2063 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 20447.8175 | 20447.8175 | 2018 | 0 | 0 | 586.4087 | 0 | 0 | 3569.4444 | 0 | 0 | 0 | 5099.2063 | 994.3452 | 10198.4127 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 239203.7698 | 239203.7698 | 2019 | 0 | 0 | 0 | 48952.381 | 0 | 104533.7302 | 0 | 0 | 4742.2619 | 15042.6587 | 2192.6587 | 63230.1587 | 509.9206 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | Main Hall at high level, with mushroom vents, has been recovered in recent years but some minor leaks are now beginning to be reported. Undertake repairs to leaks as part of any roof guarantee or allow for in reactive budget. | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Flat | Insulated high tensile felt roof to remaining part of single storey of Main Block with felted up stands to higher section and lead covering flashings at abutments. | 40000 | [5 empty] | 40000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 356.9444 | 0 | 4232.3413 | 48952.381 | 713.8889 | 108103.1746 | 3365.4762 | 0 | 7623.3135 | 50737.1032 | 8311.7063 | 73428.5714 | 509.9206 | 5099.2063 | 1Q2011 | 1.1735
r | Roofs | Chimneys | 2 no. stainless steel flues serving Boiler Room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Rooflights | 2 no. blanked off and obsolete roof lights to Higher Hall section. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Rooflights | Polycarbonate and aluminium large roof lights on Eastern section with felted up stands. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | Roofs | Rooflights | 1 no. barrel vaulted roof light with unfinished aluminium trims and mullions and fibreglass domed cover; generally obscured, with felted up stands. Allow for replacement within 5 years or with any new roof works. | 3000 | [5 empty] | 3000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 356.9444 | 356.9444 | [12 empty] | 1Q2012 | 1.1953
r | Roofs | Rooflights | 4 no. large, (2 no. smaller) powder coated aluminium roof lights above Staff Room and ‘Withdrawal’ areas, with felted up stands. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 53184.7222 | 53184.7222 | [12 empty] | 2Q2012 | 1.1174
r | Roofs | Roof Drainage | Lined gutters to Hall, plastic downpipes to other areas allow for regular clearing. | 1000 |  |  | 500 |  | 500 |  | 0 | 0 | 500 | 0 | 500 | 0 |  |  | External Walls |  | 108817.0635 | 108817.0635 | [12 empty] | 3Q2012 | 1.1525
r | Roofs | Roof Drainage | Lined gutters to single storey extension roofs, discharging to internal outlets. Infrequent reports of leakage internally and therefore recommend replace with an external system at the time of any future re- roofing works. | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 3365.4762 | 3365.4762 | [12 empty] | 4Q2012 | 1.1473
r | Roofs | Other | 1.5m UPVC fascia panels to higher section Hall, replaced with new roof in recent years. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 58360.4167 | 58360.4167 | [12 empty] | 1Q2013 | 1.0983
r | Roofs | Other | Coated GRP fascia panels on South elevation classrooms with new curtain walling system. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 81740.2778 | 81740.2778 | [12 empty] | 2Q2013 | 1.089
r | Roofs | Other | Varnished weather boarded soffits over North elevation of Hall. Allow for decorative treatment. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0 |  |  | Other |  | 5609.127 | 5609.127 | [12 empty] | 3Q2013 | 1.0983
e | Redecoration | External | Painted timber curtain walling sections (Hall), eaves, external timber doors - Allow for decoration | 3500 |  |  |  |  | 3500 |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling to extended entrance section only, with polythene damp proof course and engineering brickwork below. Some minor brick damage noted to corners at low level, allow for repair. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0 |  |  | Total |  | 311434.0278 | 311434.0278 | [12 empty] | 1Q2014 | 1.0447
e | External walls, windows and doors | External Structural Frame | Exposed tubular steel column framing evident at front porch and generally at back. Allow for re-painting/coating of columns with any external decoration works. | 2500 | [5 empty] | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
e | External walls, windows and doors | External Structural Frame | Steel column framing at approx. 2.5m spans. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
e | External walls, windows and doors | External Structural Frame | Designated fire exit points incorporated within curtain walling sections fitted with ‘Strand FEB’ panic bars/ATEF operating mechanisms. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
w | External walls, windows and doors | Windows & Doors | Double glazed powder coated aluminium fixed clerestory lights at high level to Hall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
w | External walls, windows and doors | Windows & Doors | Powder coated double glazed windows to extended front section fitted with trickle vents. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Fully glazed powder coated aluminium doors with fixed transom lights above, all glazing to BS6206. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | 2 no. single glazed metal windows on West elevation to Kitchen Area 34A. Allow for replacement to match standards of all others windows. | 1800 |  |  | 1800 |  |  |  | 0 | 0 | 1800 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Stained softwood doors with aluminium louvers to Boiler Room doors. Consider for replacement. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
w | External walls, windows and doors | Glazed Screen & Curtain Walling | Non-load bearing curtain walling to original part comprising powder coated double glazed aluminium windows fitted with trickle vents, top hung opening casements and lower infill panels (All fitted within last 10 years). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry internal partitions generally with painted fair-faced brickwork within sections, particularly Library. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Small section of timber boarded partitioning within Staff Room.- decoration allowed for in line above | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | 2-course ceramic tile splash back to Kitchen/Staff Room area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Armitage Shanks cubicle partitions to Boys and Girls Toilets. Of varying ages, allow for upgrade of older areas. | 10000 |  |  |  | 10000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Solid flush timber fire doors with Georgian- wired vision panels, plastic kick and push plates, overhead closers and combined in tumescent fire seals generally fitted to classrooms and main circulation doors. These are now dated and consideration to replace to improve fire safety standards should be considered. Full review of FRA should be undertaken to determine full requirement. | 15000 |  |  | 15000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Fully glazed timber doors with single glazed side panels to Hall with Georgian- wired fixed light above, although gap in one of the transom lights, possible break to fire compartmentation. Please refer to line above for recommendations. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor generally fitted with carpet to classrooms, IT areas, with sheet vinyl to Main Hall. Allow for phased replacements and address minor patch repairs. | 6500 |  |  | 500 | 2000 | 2000 | 2000 | 0 | 0 | 500 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Solid concrete floor to Staff Room with carpet and vinyl sheet finish. | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 | 750
i | Floors and stairs | Floors (including finishes) | Non-slip safety vinyl with coved up stands and welded perimeter seal to Children’s Toilets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Suspended ceilings generally comprising 1200mm/600mm x 600mm mineral fibre tiles in exposed aluminium T-section grid. With reinforced wood-wool/stramm board roof decking above ceilings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Historic damp staining evident in Classroom 3 to a couple of tiles. Allow to replace tiles | 75 |  |  | 75 |  |  |  | 0 | 0 | 75 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skimmed ceiling to Staff Room area. Allow for cyclical decoration | 150 |  |  |  | 150 |  |  | 0 | 0 | 0 | 150 | 0 | 0
i | Ceilings | All types | A number of very discoloured translucent ceiling panels exist below roof, recommend replacement or removal to enhance natural daylight to these areas. | 2500 | [5 empty] | 2500 | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Varnished timber weather boarded ceiling to Main Hall. Allow for decoration. | 3500 | [5 empty] | 3500 | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Melamine veneered worktop and under storage cupboards to wet area with inset sinks to classrooms | 2500 | [5 empty] | 2500 | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Melamine faced veneered worktop and under storage area to Kitchen/Staff Room area. | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500
i | Redecoration | Internal | Emulsion walls and ceilings generally. Allow for cyclical decoration of surfaces on a rolling programme. | 6000 |  |  |  | 3000 | 3000 |  | 0 | 0 | 0 | 0 | 0 | 0
o | Sanitary services | Fittings | 1 no. high level vitreous china WC suite with ‘Shires’ cistern (possibly of asbestos content) to Staff Toilet. - Allow for replacement by year 5. | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | 500
o | Sanitary services | Fittings | Inset stainless steel sinks to wet areas of classrooms. Replace when units are changed | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
o | Sanitary services | Fittings | Inset stainless steel sink to Staff Room. Replace when units are changed | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
o | Sanitary services | Fittings | Low level vitreous china W.C. suites, stainless steel urinals, wash hand basins to Children’s Toilets. Allow for refurbishment of older facilities. | 5000 |  |  |  | 5000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Plastic wastes. All visible connections were satisfactory where observed. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 no. gas fired Clyde G07E 70.5kW boilers with new associated pumps and pressurisation system. Boilers are reaching the end of their life cycle, allow for replacement by year 5. Continue with PPM | 35600 |  | 150 | 150 | 150 | 150 | 35000 | 0 | 150 | 150 | 150 | 150 | 0
m | Mechanical services | Heating Distribution | Mix of copper and black iron pipework. Majority replaced approx. 8 years ago and some un-insulated. Increase insulation to unprotected pipes. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0
m | Mechanical services | Heating Distribution | Heating is delivered around the school by a mix of steel panel radiators or fan convector units. Consider replacement of old units when boilers are replaced | 10000 | [5 empty] | 10000 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Basic control of boilers allow for new controls package with any boiler replacement works. Local control of heaters. | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework - generally satisfactory | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local extract ventilation in staff room (rm. 33) and ablutions. Allow for cleaning on a regular basis | 300 |  |  | 150 |  | 150 |  | 0 | 0 | 150 | 0 | 150 | 0
m | Mechanical services | Gas Distribution | Gas supply to boilers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Distribution boards in WC (rm. 32), store (rm. 9) and electrical cupboard (rm. 20). All in sound condition but some redundant switchgear from night storage heating retained. Allow for 5 yearly check/s and PPM checks. In the medium term consider phased replacement of old equipment. | 1400 |  | 100 | 100 | 1000 | 100 | 100 | 0 | 100 | 100 | 1000 | 100 | 100
m | Electrical services | Power and Associated Fittings | Mix of flush and surface PVC and metal clad fittings. Also noted was reliance on 4 way extension leads in classroom although useable if not over loaded, this indicates that a lack of power supplies exist, consideration to small power improvements should be given over the coming years. | 10000 | [5 empty] | 10000 | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Mix of compact and baton fluorescent luminaires and GLS luminaires and more modern recessed fittings in suspended ceilings. Allow for PPM checks and revamping. | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Electrical services | Fire Alarms | Break glass call points and bells throughout. Fire alarm panel in school office, Fire check concept with basic zone control. Non Addressable, consider upgrade to auto detection system. | 10000 |  |  |  |  | 10000 |  | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Security Alarms / CCTV | Cirrus System key pad (TS 2200) in office (rm. 17). Passive infra red detectors throughout. Allow PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Communications Systems | Telephones in offices (rms. 17 & 18). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Exit and emergency luminaires throughout. Allow for PPM testing | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Electrical Heating | Fan heaters in rms. 2, 3, 5 & 6. units are now old look to improve with any heating upgrades noted above. | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500
m | Electrical services | Other | Water heaters in ablutions and kitchen. - Allow for cyclical PPM checks | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
r | Roofs | Flat | Uninsulated high tensile roofing felt with felt up stands and lead cover flashings to external edges with GRP trim. 2 no. ventilation pipes with felt up stands, one cover missing. Ongoing roof leaks being reported | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
r | Roofs | Rooflights | 2 no. aluminium and clear polycarbonate roof lights with felted up stands. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | 2 no. white painted aluminium hopper heads and downpipes. Allow for regular clearing. | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
e | Redecoration | External | Nil painted surfaces. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walls with dpc two courses above external ground levels (weepholes evident) | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Windows & Doors | Powder coated double glazed aluminium windows with top hung opening lights, trickle vents. One case noted with failed seal, replace. | 200 |  |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
e | External walls, windows and doors | Windows & Doors | Powder coated aluminium doors with glazed panels, aluminium door furniture, ATEF locks and draught seals. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Dry lined internal masonry walls. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Glossed timber fire door with 5no. strengthened glass panes, aluminium handle. Glossed timber disabled toilet door. Allow for redecoration | 650 | [5 empty] | 650 | 0 | 0 | 0 | 0 | 0 | 650
i | Floors and stairs | Floors (including finishes) | Solid ground bearing concrete, mainly carpeted, non slip vinyl to wet area, lobby and WC area. Renew coverings year 5 | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard and skim - Allow for redecoration, once leaks on roof have been cured due a number of water stains already present | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 | 750
i | Fixed furniture and fittings | All types | Laminated board worktop and low level cupboards. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls, ceilings, gloss internal joinery - Allow for redecoration | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | 1000
o | Sanitary services | Fittings | 1no. stainless steel sink and taps, | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 40mm uPVC wastepipes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Copper pipes to fan assisted and steel panel emitters. Pipes new and un-insulated. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Local control of emitters. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local extract in WC (rm. 43). Allow for cleaning | 50 |  |  | 25 |  | 25 |  | 0 | 0 | 25 | 0 | 25 | 0
m | Electrical services | Power and Associated Fittings | Flush PVC fittings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Compact and baton fluorescent luminaires. Allow for PPM relamping | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Fire Alarms | Break glass call points and bells in rms. 41 & 44. Part of main school system. PPM checks to be included with main system check. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Security Alarms / CCTV | Passive infra red detector in entrance (rm. 44).PPM checks to be included with main system check. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Exit luminaires in rms. 41 & 44. Carryout PPM checks as part of whole school system maintenance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | Insulated high tensile felt, in three sections and welted felt drip, No leaks observed internally. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Black uPVC gutter and downpipes. Allow for regular clearing. | 50 |  |  | 25 |  | 25 |  | 0 | 0 | 25 | 0 | 25 | 0
e | Redecoration | External | Poor due to condition of cladding panels, see next line below. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Steel frame on concrete pads, stippled paint effect panels. Delaminating unit end of life within 5 year period if not addressed. Cost for replacement classroom in a single unit. | 100000 | [5 empty] | 100000 | 0 | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Windows & Doors | Glossed softwood door with 2 no. strengthened glazed panels, aluminium handle. Fire Exit door, glossed softwood with aluminium push pad. uPVC single glazed windows, hinged to the top with restrictors. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Vinyl coated timber partitions. Re-decorate to prolong life. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Suspended timber floor, carpeted with non slip vinyl to lobby and WC area. Replace floor coverings if unit to remain past five tears | 2250 | [5 empty] | 2250 | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Staircases (including finishes) | Stained timber ramp, balustrades and handrails. Allow for treatment of timbers and replacement of non slip surface to both ramp and fire escape stairs at rear. Also include skirt to unit in this work. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
i | Ceilings | All types | Vinyl coated boarded ceilings. Re-decorate to prolong life. | 500 |  |  |  | 500 |  |  | 0 | 0 | 0 | 500 | 0 | 0
i | Redecoration | Internal | Minimal painted surfaces. Stained internal doors only. Re decorate. | 100 |  |  |  | 100 |  |  | 0 | 0 | 0 | 100 | 0 | 0
m | Sanitary services | Fittings | 2 no. vitreous china W.C. suites and wash hand basin and cubicles. Looking dated only replace if unit is to remain past five years | 2000 | [5 empty] | 2000 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 40mm uPVC drainpipe. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Power and Associated Fittings | 100A DB Fitted dated but functional - Include with 5 yearly electrical check | 50 |  |  |  | 50 |  |  | 0 | 0 | 0 | 50 | 0 | 0
m | Electrical services | Power and Associated Fittings | PVC socket outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent batons surface fixed to ceilings, with bulkhead emergency lights, Allow for PPM relamping and checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Fire Alarms | Break glass call point and bell and detector. Linked to main school system. Allow for PPM checks | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | Passive infra red detector in classroom. Allow for check with main school system. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m |  | Electrical Heating | Electric Stanton 7l water heater and one further unit under classroom sink - Allow for PPM check | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Gas Heating | Gas fired floor standing heaters and guarded. Allow for PPM checks. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
g | External areas | Roads and Car Parks | Tarmac staff car parking area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Roads and Car Parks | Tarmaced access path on West elevation. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Hard Playing Areas | Tarmac hard play area, with partial finish now in rubberised surface. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Concrete paved perimeter paths. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Ramped concrete platforms to designated fire exits to give flush access, although no tanking or Aco drainage facility. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Newly constructed ramped and stepped approach to main entrance comprising tactile paviours, colour contrasted nosing's, steel balustrade and engineering copings, incorporating Aco grill threshold. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Timber pale and thick hedgerow site boundaries enclosing the playing field at South. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Recent red powder coated fencing and gates have been added to the front of the school for added security | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Stone walling on North boundary, roadway, with concrete copings or single chain and hedgerow between concrete posts. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Non-site boundary timber panel fencing by staff car parking. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 3 no. timber sheds with felted roofs. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | Additional metal shed. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | Timber log planters to play area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | Mains drainage. No obvious faults or blockages were known or reported at time of survey. However a number of surface ACCO drains around the school require lifting and cleaning out. | 350 |  | 350 |  |  |  |  | 0 | 350 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | C | 2 | Mechanical services, Heat source and equipment, Generally, Main school | M | MC2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | Mechanical services, Heat Source and equipment, Generally, Mobile | M | MC2 | C2 | 0 | 0 | 0 | 0 | 0 | 2 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [8 empty] | Compliance Comparison |  |  | 2/THIRD | Form of entry | PAN | 20
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [7 empty] | Total area | Shortfall | Surplus | 2011 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 22, 24 | General classroom | 66.54 | 4.19 | [5 empty] | 70.73 | 0 | 8.73
|  | Classroom - Year 1 | 1 | 62 | 62 | 27, 26 | General classroom | 58 | 4.25 | [5 empty] | 62.25 | 0 | 0.25 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [9 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 7 | General classroom | 52.72 | [6 empty] | 52.72 | 9.28 | 0 | 5 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [9 empty] | 0 | 0 | 0 | 5 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 1 | General classroom | 52.7 | [6 empty] | 52.7 | 9.3 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 41, 42, 42a | General classroom | 41.59 | 22.97 | inc |  |  |  |  | 64.56 | 0 | 2.56
|  | Practical area / food bay | 0 | 0 | 0 | 8 | Practical area | 5.11 | [6 empty] | 5.11 | 0 | 5.11 | 60% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 14 | IT room | 55.36 | [6 empty] | 55.36 | 0 | 55.36 | 40% | of classrooms are small
[5 empty] | 310 | [9 empty] | 363.43 | 18.58 | 72.01 | 117.2% | of the recommended basic teaching space required
[17 empty] | 291.42 | 94.01% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [17 empty] | 5.994% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180 | 180 | 4 | Hall | 114.23 | [6 empty] | 114.23 | 65.77 | 0
[5 empty] | 180 | [9 empty] | 114.23 | 65.77 | 0 | 63.46% | of the recommended hall size
Storage | [17 empty] | 36.54% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 23 | Cloakroom | 4.82 | [6 empty] | 4.82 | 0 | 1.82
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | [9 empty] | 0 | 3 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [9 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 5 | Cloakroom | 16.4 | [6 empty] | 16.4 | 0 | 13.4
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [9 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 2 | Cloakroom | 7.67 | [6 empty] | 7.67 | 0 | 4.67
| 7 | Coat and bag storage - Year 6 | 1 | 3 | 3 | 46 | Cloakroom | 5.15 | [6 empty] | 5.15 | 0 | 2.15
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [9 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 9 | Store room | 5 | 5 | [5 empty] | 10 | 0 | 8
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [9 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 9 | Store room | 5 | 4 | [5 empty] | 9 | 0 | 7
| 14 | Teaching storage - Year 6 | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | 42b | Store room | 5 | [6 empty] | 5 | 5 | 0
| 18 | Indoor PE equipment storage | 1 | 18 | 18 | UN7 | Store room | 12.72 | [6 empty] | 12.72 | 5.28 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 11 | Store room | 1.34 | [6 empty] | 1.34 | 2.66 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [9 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 31, 57 | Cleaners store room | 2.23 | 2.96 | [5 empty] | 5.19 | 0 | 2.19
| 23 | Table and chair store | 1 | 6 | 6 | 12 | Store room | 6.25 | [6 empty] | 6.25 | 0 | 0.25
| 25 | Staging/ appliance store | 1 | 4 | 4 | [9 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
[5 empty] | 76 | [9 empty] | 83.54 | 31.94 | 39.48 | 109.9% | of the recommended storage space required
Staff and admin | [17 empty] | 42.03% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 18, 19 | Heads office | 13.45 | 4.25 | [5 empty] | 17.7 | 0 | 5.7
| 3 | Staff room work and social | 1 | 25 | 25 | 34 | Staffroom | 18.7 | [6 empty] | 18.7 | 6.3 | 0
|  | Staff PPA | 1 | 10 | 10 | 33 |  | 12.01 | [6 empty] | 12.01 | 0 | 2.01
| 4 | Senior management office | 0 | 10 | 0 | [9 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 17 | Reception (office) | 12.34 | [6 empty] | 12.34 | 0 | 4.34
| 8 | Secure reception | 1 | 4 | 4 | 51 | Entrance | 22.9 | [6 empty] | 22.9 | 0 | 18.9
| 9 | Reprographics room | 1 | 8 | 8 | [9 empty] | 0 | 8 | 0
| 10 | Meeting room | in head | 0 | 0 | [9 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [9 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [9 empty] | 0 | 8 | 0
[5 empty] | 78 | [9 empty] | 83.65 | 25.3 | 30.95 | 107.2% | of the recommended staff and admin space required
Learning resource area | [17 empty] | 32.44% | shortfall
| 1 | Library (learning resource centre) | 1 | 24 | 24 | [9 empty] | 0 | 24 | 0
| 3 | Small group room | 2 | 11 | 22 | 10 | Small group room | 55.08 | [6 empty] | 55.08 | 0 | 33.08
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | UN6, UN8 | Withdrawal room x 2 | 14.45 | 15.56 | [5 empty] | 30.01 | 0 | 18.01
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [9 empty] | 0 | 12 | 0
[5 empty] | 70 | [9 empty] | 85.09 | 36 | 51.09 | 121.6% | of the recommended learning resource areas
Supplementary area | [17 empty] | 51.43% | shortfall
| 1 |  | 0 | 0 | 0 | 56 | Music classroom | 50.53 | [6 empty] | 50.53 | 0 | 50.53
|  |  | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
[5 empty] | 0 | [9 empty] | 50.53 | 0 | 50.53 | - | of the recommended supplementary areas
Non net areas | [17 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 47 | WC (1 wc) | 7.06 | [6 empty] | 7.06 | 0 | 1.06 | 1 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 48, 53, 53a, 54, 55, 3, 6 | Pupil WC's (12 wc's, 2 urinals) | 7.39 | 2.73 | 2.45 | 1.28 | 1.32 | 7.98 | 8.12 | 31.27 | 0 | 19.27 | 14 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 16, 16a, 32 | Staff w.c. (2 wc) | 2.27 | 0.99 | 4.88 |  |  |  |  | 8.14 | 0 | 4.14 | 33.33% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 43 | Disabled w.c. | 3.34 | [6 empty] | 3.34 | 0 | 0.34 | 233.3% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [9 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 24 | 24 | 34a | Kitchen | 12.84 | [6 empty] | 12.84 | 11.16 | 0
| 5 | Corridors | - | 22.5% | 160.65 | 13, 15,25, 44,45,50, 52, | Corridor | 9.41 | 6.34 | 4.9 | 3.37 | 2.74 | 5.08 | 7.17 | 39.01 | 121.64 | 0
| 6 | Boiler room | 1 | 1.5% | 10.71 | 35, 49, 20 | Boiler | 6.32 | 0.45 | 1.07 |  |  |  |  | 7.84 | 2.87 | 0
| 7 | Server | in boiler | [11 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 28.56 |  |  | 31.2188 | [6 empty] | 31.2188 | 0 | 2.6588
[5 empty] | 260.92 | [9 empty] | 140.7188 | 147.67 | 27.4688 | 53.93% | of the recommended non net area
Additional area | [17 empty] | 56.6% | shortfall
|  | Nursery class | 1 | 62 | 62 | [9 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [9 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [9 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [9 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [9 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [9 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [9 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [9 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[18 empty] | 100% | shortfall
Total Net area |  |  |  |  | 714 | [9 empty] | 780.47
Total Non-Net area |  |  |  |  | 260.92 | [9 empty] | 140.7188
Gross (total build) area - excluding nursery |  |  |  |  | 974.92 | [9 empty] | 921.1888 |  |  | 94.49% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 1067.7875 | [9 empty] | 921.1888
Net Area Range |  |  |  |  | 924.0-1030.0
Mid Range |  |  |  |  | 977
Total Site Area Range |  |  |  |  | 6660.0-8327.5
Mid Range |  |  |  |  | 7493.8
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
21 | 147 | 21 | 147
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 125 | 119 | 117 | 116 | 117 | 119
Maximum Capacity | 196 | 196 | 196 | 147 | 147 | 147
Number of Surplus Places | 71 | 77 | 79 | 31 | 30 | 28
% of surplus places | 36.2245 | 39.2857 | 40.3061 | 21.1 | 20.4 | 19.0476
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 14 | 23 | 15 | 16 | 21 | 10 | 17 | 116

## School stats
Current Ofsted | Year
Good | 2013-03-19
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 75% | 82% | 79%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 19
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 16% | SUPP | 10% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 79% | SUPP | 90% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 63% | SUPP | 80% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 16% | SUPP | 0% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 88% | SUPP | 90% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 88% | SUPP | 90% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 88% | SUPP | 90% | SUPP
Average point score | 27.5
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.6 | 98.6 | 100.6 | 84%
Reading value added measure | 99.9 | 98.7 | 101.1 | 84%
Writing TA value added measure | 99.5 | 98.3 | 100.7 | 84%
Maths value added measure | 99.6 | 98.2 | 100.9 | 84%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 21% | 16% | 26% | 21%
Percentage achieving Level 4 or above | 79% | 84% | 74% | 79%
Percentage achieving Level 4b or above | 79% | 63% | 68% | NA
Percentage achieving Level 5 or above | 47% | 32% | 53% | 16%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.9% | 4.8%
Persistent absence: around 15% + | 3.8% | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 119
Percentage of pupils eligible for Free School Meals (FSM) | 11.8%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4496 (95%) | 4525 | 4016 | 4325
Self generated income | 221 (5%) | 144 | 142 | 127
Total income | 4717 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 164 (4%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 163 (4%) | 181 | 174 | 184
ICT learning resources | 65 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 35 (1%) | 88 | 59 | 67
Back office (incl. Staff costs) | 412 (9%) | 406 | 334 | 351
Catering (incl. Staff costs) | 33 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 236 (5%) | 259 | 275 | 301
Other staff costs | 131 (3%) | 153 | 133 | 142
Energy | 66 (1%) | 68 | 62 | 65
Other expenditure | 104 (2%) | 94 | 85 | 88
Total expenditure | 4544 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3253 | 3137 | 3158 | 3135
Supply staff | 36 | 194 | 190 | 164
Back office (incl. Staff costs) | 308 | 384 | 353 | 412
Energy | 52 | 45 | 60 | 66
Total expenditure | 4551 | 4675 | 4613 | 4544
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 10 | 236728
Headcount of all teaching assistants in a school | 10 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 6.8 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 5 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1 | 51728.3
Ratio of pupils to teachers in a school | 17.4 | 20.5
Average gross salary of all teachers in a school | 35752 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 119 | 117 | 116 | 117 | 119 |  |  |  | NOR |  |  |  |  | 116 | 116
PAN | 28 | 28 | 28 | 21 | 21 | 21 |  |  |  |  | Number | 43 | 43 | 44 | 43 | 43 |  |  |  | Total in area |  |  |  |  | 71 | 123
No. | 5.88 | 14.84 | 23.8 | 15.96 | 12.999 | 8 |  |  |  |  | % | 36.1345 | 36.7521 | 37.931 | 36.7521 | 36.1345 |  |  |  | Number at School from area |  |  |  |  | 37 | 47
% | 21 | 53 | 85 | 76 | 61.9 | 38.0952 | [13 empty] | % at School |  |  |  |  | 31.8966 | 40.5172
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 52.1127 | 38.2114
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 81 | 88 | 83 | 72 | 75
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Broadlands | Lord Scudamore | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Longtown | Lugwardine | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Clehonger C E | Holmer C E | Little Dewchurch CE | Much Birch C E | Stretton Sugwas C E | Bridstow CE | St James’ C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2046 | Ewyas Harold | Number | 0 | 88 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 12 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 4 | 114
2046 | Ewyas Harold | % | 0 | 77.193 | 1.7544 | 0 | 0 | 0.87719 | 0 | 0 | 0 | 10.5263 | 0.87719 | 0 | 0.87719 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 3.5088 | 100
2053 | Garway | Number | 0 | 11 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 48
2053 | Garway | % | 0 | 22.9167 | 56.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.5833 | 0 | 0 | 0 | 4.1667 | 0 | 0 | 0 | 0 | 0 | 2.0833 | 100
2095 | Kingstone & Thruxton | Number | 0 | 1 | 2 | 0 | 0 | 8 | 9 | 0 | 0 | 111 | 0 | 0 | 12 | 1 | 4 | 2 | 0 | 3 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 20 | 0 | 177
2095 | Kingstone & Thruxton | % | 0 | 0.56497 | 1.1299 | 0 | 0 | 4.5198 | 5.0847 | 0 | 0 | 62.7119 | 0 | 0 | 6.7797 | 0.56497 | 2.2599 | 1.1299 | 0 | 1.6949 | 0 | 0 | 1.1299 | 0.56497 | 0 | 0 | 0.56497 | 11.2994 | 0 | 100
2104 | Madley | Number | 3 | 2 | 0 | 0 | 1 | 16 | 1 | 1 | 0 | 40 | 0 | 1 | 99 | 1 | 7 | 0 | 0 | 17 | 1 | 0 | 2 | 3 | 0 | 0 | 0 | 17 | 0 | 212
2104 | Madley | % | 1.4151 | 0.9434 | 0 | 0 | 0.4717 | 7.5472 | 0.4717 | 0.4717 | 0 | 18.8679 | 0 | 0.4717 | 46.6981 | 0.4717 | 3.3019 | 0 | 0 | 8.0189 | 0.4717 | 0 | 0.9434 | 1.4151 | 0 | 0 | 0 | 8.0189 | 0 | 100
3021 | Clehonger C E | Number | 0 | 1 | 0 | 0 | 0 | 16 | 4 | 2 | 0 | 16 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 43 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 119
3021 | Clehonger C E | % | 0 | 0.84034 | 0 | 0 | 0 | 13.4454 | 3.3613 | 1.6807 | 0 | 13.4454 | 0 | 0 | 4.2017 | 0 | 0 | 0 | 0 | 36.1345 | 0.84034 | 0 | 0 | 0 | 0 | 0 | 0 | 26.0504 | 0 | 100
3079 | Much Birch C E | Number | 0 | 1 | 0 | 1 | 1 | 22 | 35 | 4 | 6 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 1 | 1 | 81 | 1 | 2 | 1 | 0 | 15 | 0 | 196
3079 | Much Birch C E | % | 0 | 0.5102 | 0 | 0.5102 | 0.5102 | 11.2245 | 17.8571 | 2.0408 | 3.0612 | 4.0816 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6531 | 0.5102 | 0.5102 | 0.5102 | 41.3265 | 0.5102 | 1.0204 | 0.5102 | 0 | 7.6531 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Burghill Community | Ewyas Harold | Garway | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kings Caple | Kingstone & Thruxton | Ledbury | Longtown | Madley | Michaelchurch Escley | Peterchurch | Ashfield Park | St Weonards | Canon Pyon C E | Clehonger C E | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Bridstow CE | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St Josephs RC | Staunton-on-Wye Endowed | St Thomas Cantilupe C E | Riverside | Grand Total
2046 | Ewyas Harold | Number | 1 | 88 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 9 | 2 | 0 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 124
2046 | Ewyas Harold | % | 0.80645 | 70.9677 | 8.871 | 0.80645 | 0 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 7.2581 | 1.6129 | 0 | 5.6452 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 0 | 0.80645 | 0 | 0 | 0 | 1.6129 | 0 | 0 | 0 | 0 | 100
2053 | Garway | Number | 0 | 2 | 27 | 0 | 0 | 2 | 1 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 42
2053 | Garway | % | 0 | 4.7619 | 64.2857 | 0 | 0 | 4.7619 | 2.381 | 0 | 2.381 | 4.7619 | 0 | 4.7619 | 0 | 0 | 0 | 0 | 9.5238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.381 | 100
2095 | Kingstone & Thruxton | Number | 0 | 12 | 0 | 1 | 1 | 6 | 3 | 2 | 0 | 111 | 2 | 1 | 40 | 1 | 5 | 0 | 0 | 0 | 16 | 0 | 0 | 1 | 0 | 8 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 214
2095 | Kingstone & Thruxton | % | 0 | 5.6075 | 0 | 0.46729 | 0.46729 | 2.8037 | 1.4019 | 0.93458 | 0 | 51.8692 | 0.93458 | 0.46729 | 18.6916 | 0.46729 | 2.3364 | 0 | 0 | 0 | 7.4766 | 0 | 0 | 0.46729 | 0 | 3.7383 | 0.46729 | 0 | 0.93458 | 0 | 0 | 0 | 0.46729 | 0 | 100
2104 | Madley | Number | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 12 | 0 | 0 | 99 | 0 | 1 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 126
2104 | Madley | % | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 0 | 0.79365 | 0 | 9.5238 | 0 | 0 | 78.5714 | 0 | 0.79365 | 0 | 0 | 0 | 3.9683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7619 | 0 | 0 | 100
3021 | Clehonger C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 17 | 1 | 1 | 0 | 0 | 1 | 43 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 2 | 75
3021 | Clehonger C E | % | 0 | 0 | 0 | 0 | 2.6667 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 22.6667 | 1.3333 | 1.3333 | 0 | 0 | 1.3333 | 57.3333 | 0 | 0 | 0 | 0 | 1.3333 | 0 | 0 | 2.6667 | 0 | 0 | 2.6667 | 0 | 2.6667 | 100
3079 | Much Birch C E | Number | 0 | 3 | 2 | 0 | 0 | 0 | 1 | 1 | 8 | 2 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 0 | 0 | 2 | 2 | 5 | 1 | 81 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 118
3079 | Much Birch C E | % | 0 | 2.5424 | 1.6949 | 0 | 0 | 0 | 0.84746 | 0.84746 | 6.7797 | 1.6949 | 0 | 0 | 1.6949 | 0 | 0 | 0.84746 | 1.6949 | 0 | 0 | 1.6949 | 1.6949 | 4.2373 | 0.84746 | 68.6441 | 0.84746 | 1.6949 | 0 | 0 | 0.84746 | 0 | 0 | 0.84746 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly