## Cover Page
Clifford Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Clifford Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Clifford Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 9262.49 |  |  |  | Current Capacity (PAN 10):- |  |  |  | 70
Insurance Asset Value (£000):- |  | 452000 |  |  |  | Allocated Capacity Size (PAN 10):- |  |  |  | 70
Land Asset Value (£000):- |  | 267321 |  |  |  | Current Occupancy:- |  |  |  | 91
Land Ownership:- | Owned by the Local Authority and short lease for nursery |  |  |  |  | Current Planned Admission No.:- |  |  |  | 10
[6 empty] | Current Number Over Capacity:- |  |  |  | 21
[6 empty] | Current Number Under Capacity:- |  |  |  | 0
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-01-13
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 57.0937
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 40.7439
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 16.3498
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 3 | Required Building Footprint (M2):- |  | 694.28
Actual Number of Classrooms:- | [6 empty] | 4 | Current Building Area (M2):- |  | 567.337
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 126.943
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 96.4286 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 81.7159
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 4177.12
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 175 | Current Net Site Area (M2):- |  | 8695.153
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 4518.033
[8 empty] | Total Percentage Compliance:- |  | 208.1614
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 239.0488
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 89
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 180
Total Number of Children within Catchment:- | [6 empty] | 70
Total Number of Children at School from Catchment:- | [6 empty] | 49
Percentage of Catchment at School:- | [6 empty] | 59.7561
Percentage of Catchment Going to School:- | [6 empty] | 70

## Report
|  |  | Clifford Primary School | [6 empty] | Clifford Primary School | [14 empty] | Clifford Primary School | [7 empty] | Clifford Primary School |  |  |  |  | Clifford Primary School |  | Clifford Primary School |  |  |  |  | Clifford Primary School | [5 empty] | Clifford Primary School |  |  | Clifford Primary School | [8 empty] | Clifford Primary School |  | Clifford Primary School |  | Clifford Primary School |  | Clifford Primary School |  | Clifford Primary School |  |  | Clifford Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Clifford Primary School |  |  | Survey Date:- | 2014-01-13 |  | Survey Company:- |  | HCC |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-17 | [5 empty] | Areas | Standard Criteria (M2) (PAN 10) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 239.0488 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs M Thomas | DFE Number:- | 2031 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 186 | 178.23 | 95.8226 |  |  |  | 10 | 70 | 14 | 98 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Shared leadership | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 135 | 96.4286 | [17 empty] | PAN | 10 | 10 | 10 | 10 | 10 | 10
Address:- | Clifford Primary School, Hardwick, Hay-on-Wye, Hereford HR3 5HA | Email:- | admin@clifford.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 56 | 71.489 | 127.6589 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 10 | 12 | 6 | 8 | 10 | 18 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 18.3348 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 66 | 44.83 | 67.9242 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 90 | 71 | 75 | [5 empty] | Percentage | 100 | 120 | 60 | 80 | 100 | 180
|  |  |  | 2016 | 23.8717 |  |  | 18.3348 |  |  | 2015 | 0 | 0 | 1.3581 | 3.1341 | 0 | 5.2236 | 0 | 0 | 2.6118 | 0 | 6.0071 | 0 | 0 | 0 | C2 | 4 |  | 4 |  |  |  |  | Learning Resource | 53 | 46.15 | 87.0755 |  |  |  | 2008 / 2009 | 59 | 70 | 0 | 11 | 2013 | 70 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | 13.1112 |  |  | 23.8717 |  |  | 2016 | 0 | 5.2236 | 0 | 0 | 1.5671 | 0 | 0 | 13.0589 | 0 | 3.1341 | 0.88801 | 0 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 64 | 70 | 0 | 6 | 2014 | 89 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01497 831202 F: 01497 831321 | School Cluster:- | Peterchurch District- Fairfield High School | 2018 | 0.88801 |  |  | 13.1112 |  |  | 2017 | 0 | 2.6118 | 0 | 0 | 0 | 0 | 0 | 5.2236 | 0 | 3.1341 | 2.1417 | 0 | 0 | 0 | D2 | [7 empty] | Non Net Area | 193.28 | 91.638 | 47.412 |  |  |  | 2010 / 2011 | 73 | 70 | 3 | 0 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | 0.88801 |  |  | 0.88801 |  |  | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88801 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 694.28 | 567.337 | 81.7159 |  |  |  | 2011 / 2012 | 72 | 70 | 2 | 0 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 54 | 61 | 59 | 62 | 70
[8 empty] | 0.88801 |  |  | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88801 | 0 | 0 | 0 | [15 empty] | 2012 / 2013 | 80 | 70 | 10 | 0 | [12 empty] | Number at School from Catchment | 45 | 50 | 46 | 47 | 49
School Type:- | Community | Building Number:- | 0BAT | Total | 57.0937 | [5 empty] | Totals | 0 | 7.8354 | 1.3581 | 3.1341 | 1.5671 | 5.2236 | 0 | 18.2825 | 2.6118 | 6.2683 | 10.8128 | 0 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 4871.4 | 9262.49 | 190.1402 |  |  |  | 2013 / 2014 | 82 | 70 | 12 | 0 | Pupils eligible for KS2 assessment |  |  |  | 9 | [7 empty] | Percentage at School from Catchment | 70.3125 | 68.4932 | 63.8889 | 58.75 | 59.7561
Current Capacity:- | 70 | Site Area:- | 9262.49 | [30 empty] | Net Site Area (less the building area) | 4177.12 | 8695.153 | 208.1614 |  |  |  | Current Occupancy | 91 | 70 | 21 | 0 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 83.3333 | 81.9672 | 77.9661 | 75.8065 | 70
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 40.7439 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 89
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 89 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 3 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 22 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 7.8354 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 16.3498 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 4 |  |  | Reception | 16 | 6 | 0 |  | Percentage making expected progress in reading |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 91; Parental First Preference Applications 2013: 91
|  |  |  | Roof Works |  | 4.4923 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 10 | 0 | 0 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 72; Parental First Preference Applications 2013: 51
|  |  |  | External Walls |  | 6.7907 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 14 | 4 | 0 |  | Percentage making expected progress in maths |  |  |  | 86 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 53; Parental First Preference Applications 2013: 41
|  |  |  | Windows and Doors |  | 18.2825 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 12 | 2 | 0 |  | Average point score |  |  |  | 29 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 58.2418; Parental First Preference Applications 2013: 45.0549
|  |  |  | Internal Works |  | 8.8801 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 10 | 0 | 0 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 73.6111; Parental First Preference Applications 2013: 80.3922
Asset Summary |  |  |  | Mechanical and Electrical |  | 10.8128 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 16 | 6 | 0 |  | Latest Ofsted Report Date:- |  | 2012-10-10
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 175 |  |  | Six | 13 | 3 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 452 | [38 empty] | Total | 91 | 21 | 0
Asset Value - Land (£000):- |  | 267.321 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority and short lease for nursery | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Clifford Primary School |  |  | Clifford Primary School |  |  | Clifford Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 0BAT
Site Area:- | 9262.49
Asset Value (Insurance):- | 452000
Asset Value (Land):- | 267321
Land owner:- | Owned by the Local Authority and short lease for nursery
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 239.0488
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary | [5 empty] | BCIS Quarter | 1Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-01-13 |  |  |  | BCIS Uplift | 1.0447 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | HCC | [17 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 18334.7561 | 18334.7561 | 2015 | 0 | 0 | 1358.1301 | 3134.1463 | 0 | 5223.5772 | 0 | 0 | 2611.7886 | 0 | 6007.1138 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 23871.748 | 23871.748 | 2016 | 0 | 5223.5772 | 0 | 0 | 1567.0732 | 0 | 0 | 13058.9431 | 0 | 3134.1463 | 888.0081 | 0 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 13111.1789 | 13111.1789 | 2017 | 0 | 2611.7886 | 0 | 0 | 0 | 0 | 0 | 5223.5772 | 0 | 3134.1463 | 2141.6667 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 888.0081 | 888.0081 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888.0081 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 888.0081 | 888.0081 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888.0081 | 0 | 0 | 0 | 3Q2010 | 1.1735
g | 2.01a | Hard play | Making good to playground | KC | 3 | 3000 |  |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.01d | Ramps, Steps and raised paving | Facing brickwork and stone | KD | 2 | 2500 |  |  |  | 2500 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 0 | 7835.3659 | 1358.1301 | 3134.1463 | 1567.0732 | 5223.5772 | 0 | 18282.5203 | 2611.7886 | 6268.2927 | 10812.8049 | 0 | 0 | 0 | 1Q2011 | 1.1735
g | 2.01e | Drainage | External drainage outside Classrooms 1and 2 | KI | 2 | 2000 |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
r | 2.02a | Roofs | Replace slipped tile to Boiler House Roof | AB | 3 | 300 |  | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | 2.02b | Fascia and Soffits | Clean out gutters decorate fascia's , soffits boarding to boiler house | AB | 2 | 3000 |  | 3000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
m | 2.02c | T.V. Arial | Re fix | AB | 1 | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 7835.3659 | 7835.3659 | [12 empty] | 1Q2012 | 1.1953
e | 2.03a | Walls | Areas of facing brickwork to rear Elevation require repair / repointing | DA | 2 | 5000 |  | 5000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 4492.2764 | 4492.2764 | [12 empty] | 2Q2012 | 1.1174
w | 2.03c | Windows | Windows require decoration or replacement | DC | 2 | 15000 |  |  | 10000 | 5000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 6790.6504 | 6790.6504 | [12 empty] | 3Q2012 | 1.1525
w | 2.03d | Doors | Decoration to doors and frames | DC | 2 | 2500 |  |  | 2500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 18282.5203 | 18282.5203 | [12 empty] | 4Q2012 | 1.1473
r | 2.03e | Rainwater downpipes | Clean out | AE | 3 | 1000 |  | 1000 |  |  |  |  | 0 | 1000 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 8880.0813 | 8880.0813 | [12 empty] | 1Q2013 | 1.0983
e | 2.03f | Lintels | Repair stone faced lintel | DA | 3 | 1500 |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 10812.8049 | 10812.8049 | [12 empty] | 2Q2013 | 1.089
i | 2.04d | Doors and Ironmongery | Adjust door to accessible toilet upgrade door to half hour fire resistant | EB | 1 | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
i | 2.04e | Floor | Provide ventilation to floor | BA | 3 | 3000 |  |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
i | 2.04j | Other joinery | Re-fix architrave to accessible toilet door | EB | 2 | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0 |  |  | Total |  | 57093.6992 | 57093.6992 | [12 empty] | 1Q2014 | 1.0447
i | 2.04k | Decoration | Decorations generally | IB | 3 | 3000 |  |  |  | 3000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
m | 2.04m | Sanitary fittings | Re-fix toilet seats, taps etc. | FA | 1 | 1500 |  | 1500 |  |  |  |  | 0 | 1500 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i | 2.04q | Walls | Carry out repairs to walls at Landing | EA | 2 | 1500 |  | 1500 |  |  |  |  | 0 | 1500 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
m | 3.01c | Gas distribution | Annual testing | GG | 1 | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150 | [18 empty] | 1Q2015 | 1
m | 3.02a | Distribution system | Fire stop required in incoming mains cupboard between cupboard and roof space. | CA | 1 | 900 |  | 900 |  |  |  |  | 0 | 900 | 0 | 0 | 0 | 0
m | 3.02d | Small power distribution | Replace fuse board with 17th.edition compliant RCD board | HB | 1 | 1500 |  | 1500 |  |  |  |  | 0 | 1500 | 0 | 0 | 0 | 0
m | 3.02h | Fire alarm system | Annual test and inspection | HD | 1 | 2500 |  | 500 | 500 | 500 | 500 | 500 | 0 | 500 | 500 | 500 | 500 | 500
m | 3.02g | Emergency lighting | Emergency light testing | HH | 1 | 1000 |  | 200 | 200 | 200 | 200 | 200 | 0 | 200 | 200 | 200 | 200 | 200
m | 3.02i | Electrical distribution system | 5 Year test and inspection | HL | 3 | 1200 |  |  |  | 1200 |  |  | 0 | 0 | 0 | 1200 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | C | 2 | Exteral walls windows and doors, Walls structure, Brick/block, Main school | E | EC2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External walls windowsn and doros, Wall-structure, Stone, Main school | E | EC2 | C2 | 4 | 0 | 4 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External walls, windows and doors, Windows and doors, Timber, Main school | E | EC2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | Redecorations, External Windows, doors timber, Main school | E | EC2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External areas, Drainage, generally | G | GC2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External ares, Pather and pedestrian paved areas and play areas, Tarmac | G | GC2
|  |  |  | C | 2 | External areas, Other walls and fences, Generally | G | GC2
|  |  |  | C | 2 | External areas, treatment plant, Generally | G | GC2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes |  |  | Clifford Primary School
[6 empty] | Suitability Data | [12 empty] | Compliance Comparison |  |  | 1/THIRD | Form of entry | PAN | 10
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [11 empty] | Total area | Shortfall | Surplus | 2012 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 7, 7a | General classroom | 43.05 | inc | [9 empty] | 43.05 | 18.95 | 0
|  | Classroom - Year 1 | 0 | 62 | 0 | [13 empty] | 0 | 0 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [13 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 6, 6a | General classroom | 50.84 | inc | [9 empty] | 50.84 | 11.16 | 0 | 4 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [13 empty] | 0 | 0 | 0 | 3 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 9, UNC | General classroom | 45.51 | inc | [9 empty] | 45.51 | 16.49 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | 10 | General classroom | 38.83 | [10 empty] | 38.83 | 0 | 38.83
|  | Practical area / food bay | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0 | 100% | of classrooms are small
[5 empty] | 186 | [13 empty] | 178.23 | 46.6 | 38.83 | 95.82% | of the recommended basic teaching space required
[21 empty] | 139.4 | 74.95% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [21 empty] | 25.05% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 30 | Hall (shared ownership with Community Centre) | 135 | [10 empty] | 135 | 5 | 0
[5 empty] | 140 | [13 empty] | 135 | 5 | 0 | 96.43% | of the recommended hall size
Storage | [21 empty] | 3.571% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [13 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 13 | Cloakroom (shared) | 7.69 | [10 empty] | 7.69 | 0 | 7.69
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 13 | Cloakroom (shared) | 3 | [10 empty] | 3 | 0 | 3
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [13 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | UNI | Store room | 3.219 | [10 empty] | 3.219 | 0 | 3.219
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 8 | Store room | 8.75 | [10 empty] | 8.75 | 0 | 8.75
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [13 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | 22, 19 | Store room | 16.45 | 0.51 | [9 empty] | 16.96 | 0 | 16.96
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | 32 | Store room (in community centre) | 16.32 | [10 empty] | 16.32 | 0 | 16.32
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | [13 empty] | 0 | 4 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [13 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | UNH, UNA | Cleaners store room | 2 | 1 | [9 empty] | 3 | 0 | 3
| 23 | Table and chair store | 1 | 5 | 5 | 31 | Store room (in community centre) | 12.55 | [10 empty] | 12.55 | 0 | 12.55
| 25 | Staging/ appliance store | 1 | 4 | 4 | [13 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
[5 empty] | 56 | [13 empty] | 71.489 | 19 | 71.489 | 127.7% | of the recommended storage space required
Staff and admin | [21 empty] | 33.93% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 24 | Heads office | 14.3 | [10 empty] | 14.3 | 0 | 14.3
| 3 | Staff room work and social | 1 | 17 | 17 | 2 | Staffroom | 11.97 | [10 empty] | 11.97 | 5.03 | 0
|  | Staff PPA | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [13 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 1 | Reception (office) | 14.46 | [10 empty] | 14.46 | 0 | 14.46
| 8 | Secure reception | 1 | 4 | 4 | [13 empty] | 0 | 4 | 0
| 9 | Reprographics room | 1 | 6 | 6 | 23 | Photocopying room | 4.1 | [10 empty] | 4.1 | 1.9 | 0
| 10 | Meeting room | in head | 0 | 0 | [13 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [13 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
[5 empty] | 66 | [13 empty] | 44.83 | 29.93 | 28.76 | 67.92% | of the recommended staff and admin space required
Learning resource area | [21 empty] | 45.35% | shortfall
| 1 | Library (learning resource centre) | 1 | 18 | 18 | 6b | Library | 21.72 | [10 empty] | 21.72 | 0 | 21.72
| 3 | Small group room | 1 | 11 | 11 | 4 | Small group room | 24.43 | [10 empty] | 24.43 | 0 | 24.43
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [13 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [13 empty] | 0 | 12 | 0
[5 empty] | 53 | [13 empty] | 46.15 | 24 | 46.15 | 87.08% | of the recommended learning resource areas
Supplementary area | [21 empty] | 45.28% | shortfall
| 1 |  | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
[5 empty] | 0 | [13 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [21 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [13 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 4 | 2 | 8 | 15,16 | Pupil toilets (5WC's 2 urinals) | 6.92 | 5.98 | [9 empty] | 12.9 | 0 | 12.9 | 7 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 20,21, 21a | Staff wc (2 wc's) | 3.72 | 6.05 | 0.73 | [8 empty] | 10.5 | 0 | 10.5 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 14 | Disabled w.c. | 3.2 | [10 empty] | 3.2 | 0 | 3.2 | 175% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [13 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 20 | 20 | [13 empty] | 0 | 20 | 0
| 5 | Corridors | - | 22.5% | 112.725 | 3,3a,11,11a, 12, 17, 18, 18a, 18b, UND, UNE, UN8 | Corridor | 2.55 | 5.53 | 5.15 | 3.33 | 7.78 | 1.15 | 1.89 | 2.63 | 4 | 2 | 2 | 38.01 | 74.715 | 0
| 6 | Boiler room | 1 | 1.5% | 7.515 | UNB | Boiler room | 8 | [10 empty] | 8 | 0 | 8
| 7 | Server | in boiler | [15 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 20.04 |  |  | 19.028 | [10 empty] | 19.028 | 1.012 | 0
[5 empty] | 193.28 | [13 empty] | 91.638 | 113.727 | 34.6 | 47.41% | of the recommended non net area
Additional area | [21 empty] | 58.84% | shortfall
|  | Nursery class | 1 | 62 | 62
|  | Quiet room | 1 | 8 | 8
|  | Nursery store room | 1 | 2 | 2
|  | Nursery office | 1 | 8 | 8
|  | Nursery cloakroom | 1 | 3 | 3
|  | Nursery pupils toilets | 3 | 2 | 6
|  | Nursery staff toilets | 1 | 2 | 2
|  | Nursery entrance | 1 | 22.5% | 1.8675
[5 empty] | 92.8675 | [13 empty] | 0 | 0 | 0 | 0% | of the recommended additional area
[22 empty] | 0% | shortfall
Total Net area |  |  |  |  | 501 | [13 empty] | 475.699
Total Non-Net area |  |  |  |  | 193.28 | [13 empty] | 91.638
Gross (total build) area - excluding nursery |  |  |  |  | 694.28 | [13 empty] | 567.337 |  |  | 81.72% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 787.1475 | [13 empty] | 567.337
Net Area Range |  |  |  |  | 637.0-715.0
Mid Range |  |  |  |  | 676
Total Site Area Range |  |  |  |  | 4329.0-5413.8
Mid Range |  |  |  |  | 4871.4
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
10 | 70 | 14 | 98
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 59 | 64 | 73 | 72 | 80 | 82
Maximum Capacity | 70 | 70 | 70 | 70 | 70 | 70
Number of Surplus Places | 11 | 6 | 0 | 0 | 0 | 0
% of surplus places | 15.7 | 8.6 | 0 | 0 | 0 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 16 | 10 | 14 | 12 | 10 | 16 | 13 | 91

## School stats
Current Ofsted | Year
Good | 2012-10-10
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 90% | 70% | 89%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 9
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 89% | SUPP | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 89% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 22% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 86% | SUPP | SUPP | SUPP
Average point score | 29
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.3 | 97.9 | 100.7 | 78%
Reading value added measure | 100.1 | 98.6 | 101.6 | 78%
Writing TA value added measure | 99.3 | 97.8 | 100.9 | 78%
Maths value added measure | 99 | 97.2 | 100.7 | 78%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 0% | 22% | 11%
Percentage achieving Level 4 or above | 100% | 100% | 78% | 89%
Percentage achieving Level 4b or above | 100% | 89% | 67% | NA
Percentage achieving Level 5 or above | 67% | 22% | 44% | 33%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.2% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 82
Percentage of pupils eligible for Free School Meals (FSM) | SUPP
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4347 (96%) | 4525 | 4016 | 4325
Self generated income | 204 (4%) | 144 | 142 | 127
Total income | 4551 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 280 (6%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 87 (2%) | 181 | 174 | 184
ICT learning resources | 49 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 199 (4%) | 88 | 59 | 67
Back office (incl. Staff costs) | 337 (7%) | 406 | 334 | 351
Catering (incl. Staff costs) | -12 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 202 (4%) | 259 | 275 | 301
Other staff costs | 105 (2%) | 153 | 133 | 142
Energy | 104 (2%) | 68 | 62 | 65
Other expenditure | 93 (2%) | 94 | 85 | 88
Total expenditure | 4737 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3036 | 3404 | 3354 | 3294
Supply staff | 156 | 193 | 213 | 280
Back office (incl. Staff costs) | 324 | 363 | 330 | 337
Energy | 101 | 94 | 112 | 104
Total expenditure | 4461 | 5048 | 4869 | 4737
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 5 | 236728
Headcount of all teaching assistants in a school | 5 | 239340
Headcount of all support (exc. auxillary) staff in a school | 1 | 77335
Full-time equivalent number of all teachers in a school | 5 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 2.8 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.7 | 51728.3
Ratio of pupils to teachers in a school | 16.4 | 20.5
Average gross salary of all teachers in a school | 34845 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 64 | 73 | 72 | 80 | 82 |  | NOR | 91 | 91
PAN | 10 | 10 | 10 | 10 | 10 | 10 |  |  |  |  | Number | 45 | 50 | 46 | 47 | 49 |  | Total in area | 72 | 51
No. | 10 | 12 | 6 | 8 | 10 | 18 |  |  |  |  | % | 70.3125 | 68.4932 | 63.8889 | 58.75 | 59.7561 |  | Number at School from area | 53 | 41
% | 100 | 120 | 60 | 80 | 100 | 180 | [11 empty] | % at School | 58.2418 | 45.0549
[11 empty] | Total number in Catchment | [6 empty] | % of area going to School | 73.6111 | 80.3922
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 54 | 61 | 59 | 62 | 70
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Garway | Lord Scudamore | Marlbrook | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Canon Pyon C E | Clehonger C E | Eardisley C E | Out of County | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 13 | 1 | 0 | 3 | 11 | 82
2031 | Clifford | % | 59.7561 | 0 | 0 | 0 | 0 | 0 | 4.878 | 0 | 1.2195 | 15.8537 | 1.2195 | 0 | 3.6585 | 13.4146 | 100
2101 | Longtown | Number | 0 | 9 | 2 | 1 | 0 | 1 | 40 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 56
2101 | Longtown | % | 0 | 16.0714 | 3.5714 | 1.7857 | 0 | 1.7857 | 71.4286 | 0 | 5.3571 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 15 | 3 | 0 | 1 | 0 | 0 | 20
2116 | Michaelchurch Escley | % | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 75 | 15 | 0 | 5 | 0 | 0 | 100
2122 | Peterchurch | Number | 3 | 7 | 0 | 0 | 2 | 5 | 0 | 1 | 15 | 85 | 0 | 1 | 0 | 2 | 121
2122 | Peterchurch | % | 2.4793 | 5.7851 | 0 | 0 | 1.6529 | 4.1322 | 0 | 0.82645 | 12.3967 | 70.2479 | 0 | 0.82645 | 0 | 1.6529 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Clifford | Ewyas Harold | Kingstone & Thruxton | Longtown | Madley | Michaelchurch Escley | Peterchurch | Eardisley C E | Staunton-on-Wye Endowed | Grand Total
2031 | Clifford | Number | 49 | 0 | 0 | 0 | 3 | 0 | 3 | 1 | 14 | 70
2031 | Clifford | % | 70 | 0 | 0 | 0 | 4.2857 | 0 | 4.2857 | 1.4286 | 20 | 100
2101 | Longtown | Number | 4 | 1 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 45
2101 | Longtown | % | 8.8889 | 2.2222 | 0 | 88.8889 | 0 | 0 | 0 | 0 | 0 | 100
2116 | Michaelchurch Escley | Number | 1 | 2 | 1 | 3 | 1 | 15 | 15 | 0 | 3 | 41
2116 | Michaelchurch Escley | % | 2.439 | 4.878 | 2.439 | 7.3171 | 2.439 | 36.5854 | 36.5854 | 0 | 7.3171 | 100
2122 | Peterchurch | Number | 13 | 0 | 4 | 0 | 7 | 3 | 85 | 0 | 2 | 114
2122 | Peterchurch | % | 11.4035 | 0 | 3.5088 | 0 | 6.1404 | 2.6316 | 74.5614 | 0 | 1.7544 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly