## Cover Page
Leintwardine CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Leintwardine CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Leintwardine CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 8227.35 |  |  |  | Current Capacity (PAN 15):- |  |  |  | 105
Insurance Asset Value (£000):- |  | 490930.8955 |  |  |  | Allocated Capacity Size (PAN 20):- |  |  |  | 140
Land Asset Value (£000):- |  | 11420 |  |  |  | Current Occupancy:- |  |  |  | 88
Land Ownership:- | Buildings diocese, field council owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 15
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 17
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-11-17
Backlog Maintenance Total (£000):- | [6 empty] | 36.3027
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 8.5283
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 19.0157
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 25.8152
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 816.76
Actual Number of Classrooms:- | [6 empty] | 4 | Current Building Area (M2):- |  | 608.6506
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 208.1094
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 89.3786 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 74.5201
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 1
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 6677.04
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 216.6667 | Current Net Site Area (M2):- |  | 7618.6994
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 941.6594
[8 empty] | Total Percentage Compliance:- |  | 114.1029
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 559.14
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 79
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 53.3333
Total Number of Children within Catchment:- | [6 empty] | 83
Total Number of Children at School from Catchment:- | [6 empty] | 68
Percentage of Catchment at School:- | [6 empty] | 68
Percentage of Catchment Going to School:- | [6 empty] | 81.9277

## Report
|  |  | Leintwardine CE Primary School | [6 empty] | Leintwardine CE Primary School | [14 empty] | Leintwardine CE Primary School | [7 empty] | Leintwardine CE Primary School |  |  |  |  | Leintwardine CE Primary School |  | Leintwardine CE Primary School |  |  |  |  | Leintwardine CE Primary School | [5 empty] | Leintwardine CE Primary School |  |  | Leintwardine CE Primary School | [8 empty] | Leintwardine CE Primary School |  | Leintwardine CE Primary School |  | Leintwardine CE Primary School |  | Leintwardine CE Primary School |  | Leintwardine CE Primary School |  |  | Leintwardine CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Leintwardine CE Primary School |  |  | Survey Date:- | 2011-11-17 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 20) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 559.14 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs A Brandrick | DFE Number:- | 3348 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 252.036 | 101.6274 |  |  |  | 15 | 105 | 16 | 112 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 125.13 | 89.3786 | [17 empty] | PAN | 15 | 15 | 15 | 15 | 15 | 15
Address:- | Leintwardine C E Primary School, Craven Arms, Shropshire SY7 0LB | Email:- | admin@leintwardine.hereford.sch.uk | Backlog | 36.3027 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 67 | 87.55 | 130.6716 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 10.95 | 7.95 | 10.95 | 7.95 | 9 | 8 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 3.2269 |  |  | 36.3027 |  |  | Backlog | 5.1861 | 0 | 4.4946 | 0 | 0 | 0 | 0 | 0 | 1.383 | 0 | 8.5283 | 16.7108 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 70 | 52.774 | 75.3914 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 80 | 71 | 75 | [5 empty] | Percentage | 73 | 53 | 73 | 53 | 60 | 53.3333
|  |  |  | 2016 | 5.3013 |  |  | 3.2269 |  |  | 2015 | 1.1525 | 0 | 0.11525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9592 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 67 | 0 | 0 |  |  |  | 2008 / 2009 | 104 | 105 | 0 | 1 | 2013 | 64 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | Not Available |  |  | 5.3013 |  |  | 2016 | 1.1525 | 0 | 0.11525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7287 | 2.3049 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 97 | 105 | 0 | 8 | 2014 | 79 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01547 540641 F: 01547 540641 | School Cluster:- | Wigmore District- Wigmore School Academy | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 224.76 | 91.1606 | 40.5591 |  |  |  | 2010 / 2011 | 101 | 105 | 0 | 4 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 816.76 | 608.6506 | 74.5201 |  |  |  | 2011 / 2012 | 99 | 105 | 0 | 6 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 74 | 83 | 85 | 87 | 83
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 97 | 105 | 0 | 8 | [12 empty] | Number at School from Catchment | 67 | 74 | 69 | 68 | 68
School Type:- | Voluntary Aided | Building Number:- | NEAW | Total | 44.8309 | [5 empty] | Totals | 7.491 | 0 | 4.7251 | 0 | 0 | 0 | 0 | 0 | 1.383 | 0 | 12.2161 | 19.0157 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 7493.8 | 8227.35 | 109.7888 |  |  |  | 2013 / 2014 | 100 | 105 | 0 | 5 | Pupils eligible for KS2 assessment |  |  |  | 14 | [7 empty] | Percentage at School from Catchment | 69.0722 | 73.2673 | 69.697 | 70.1031 | 68
Current Capacity:- | 105 | Site Area:- | 8227.35 | [30 empty] | Net Site Area (less the building area) | 6677.04 | 7618.6994 | 114.1029 |  |  |  | Current Occupancy | 88 | 105 | 0 | 17 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 90.5405 | 89.1566 | 81.1765 | 78.1609 | 81.9277
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 19.0157 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 79
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 64 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 29 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 7.491 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 25.8152 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 4 |  |  | Reception | 9 | 0 | 6 |  | Percentage making expected progress in reading |  |  |  | 100 | [7 empty] | NOR | 88 | 88
|  |  |  | Roof Works |  | 4.7251 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 11 | 0 | 4 |  | Percentage making expected progress in writing |  |  |  | 100 | [7 empty] | Total in Area | 86 | 95
|  |  |  | External Walls |  | 0 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 13 | 0 | 2 |  | Percentage making expected progress in maths |  |  |  | 92 | [7 empty] | Number at School from Area | 66 | 71
|  |  |  | Windows and Doors |  | 0 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 15 | 0 | 0 |  | Average point score |  |  |  | 28.8 | [7 empty] | Percentage at School | 75 | 80.6818
|  |  |  | Internal Works |  | 1.383 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 1 |  |  | Four | 12 | 0 | 3 | [13 empty] | Percentage of area going to School | 76.7442 | 74.7368
Asset Summary |  |  |  | Mechanical and Electrical |  | 31.2318 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 15 | 0 | 0 |  | Latest Ofsted Report Date:- |  | 2013-03-07
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 216.6667 |  |  | Six | 13 | 0 | 2 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 490.9309 | [38 empty] | Total | 88 | 0 | 17
Asset Value - Land (£000):- |  | 11.42 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Buildings diocese, field council owned | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Leintwardine CE Primary School |  |  | Leintwardine CE Primary School |  |  | Leintwardine CE Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | NEAW
Site Area:- | 8227.35
Building Type:- | Not Known
Asset Value (Insurance):- | 490930.8955
Asset Value (Land):- | 11420
Land owner:- | Buildings diocese, field council owned
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 559.14
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 4Q2011 | [13 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-11-17 |  | BCIS Uplift | 1.1525 | [17 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 36302.6906 | 36302.6906 | Backlog | 5186.0987 | 0 | 4494.6188 | 0 | 0 | 0 | 0 | 0 | 1382.9596 | 0 | 8528.2511 | 16710.7623 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 3226.9058 | 3226.9058 | 2015 | 1152.4664 | 0 | 115.2466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1959.1928 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 5301.3453 | 5301.3453 | 2016 | 1152.4664 | 0 | 115.2466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1728.6996 | 2304.9327 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | Y | Y | Y | Y/N | Y/N | Y/N | School Costs | [8 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 1905-07-07 | 1905-07-08 | 1905-07-09 | 1905-07-10 | 1905-07-11 |  |  |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
g | 2.01.2 | Soft play area | Good condition. Carry out ROSPA inspection on all play equipment and carry out necessary repairs. £1000 annually. | 5000 | 3000 | 1000 | 1000 |  |  |  | 3000 | 1000 | 1000 | 0 | 0 | 0 | [20 empty] | 4Q2010 | 1.1682
g | 2.01.5 | Timber fencing and gates | Minor repairs and re-decoration required. | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Individual Category totals | 7491.0314 | 0 | 4725.1121 | 0 | 0 | 0 | 0 | 0 | 1382.9596 | 0 | 12216.1435 | 19015.6951 | 0 | 0 | 1Q2011 | 1.1735
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 2Q2011 | 1.1525
r | 2.02.1 | Main roof - flat roof | No access was obtainable on the day, a survey should be undertaken to fully assess the condition of the roof covering. We were informed that there is a general build up of moss on the roof that is cleared once yearly. The moss had been know to freeze in extreme weather and, when thawed overflow the guttering, which has caused a slight damp ingress over the sports hall. | 1500 | 1300 | 100 | 100 |  |  |  | 1300 | 100 | 100 | 0 | 0 | 0 | [6 empty] | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | 2.02.2 | Main roof - pitched | No access was obtainable on the day, a survey should be undertaken to fully assess the condition of the roof covering. | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 4Q2011 | 1.1525
r | 2.02.3 | Main roof - fascia and soffits | Some minor timber repairs needed | 850 | 850 | [5 empty] | 850 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | External Grounds |  | 7491.0314 | 7491.0314 | [12 empty] | 1Q2012 | 1.1953
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Roof Works |  | 4725.1121 | 4725.1121 | [12 empty] | 2Q2012 | 1.1174
i | 2.4.2 | Plastered, painted wall finish to offices, and library area | Walls signs of general war and tear, patches repaired fill to plaster | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | External Walls |  | 0 | 0 | [12 empty] | 3Q2012 | 1.1525
i | 2.04.5 | Doors and Ironmongery | Timber framed doors with paint finish | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Windows & Doors |  | 0 | 0 | [12 empty] | 4Q2012 | 1.1473
i | 2.04.7 | White ceramic toilets, sinks to girls and boys toilets. Stainless steel urinal to boys toilets. | Urinal to boys toilet showing some signs of rusting and general wear and tear. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Internal Works |  | 1382.9596 | 1382.9596 | [12 empty] | 1Q2013 | 1.0983
r | 2.05.2 | Main roof - flat roof | No access was obtainable on the day, a survey should be undertaken to fully assess the condition of the roof covering. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Mechanical & Electrical |  | 31231.8386 | 31231.8386 | [12 empty] | 2Q2013 | 1.089
r | 2.05.3 | Main roof - fascia and soffits | Signs of wear and tear one minor timber repairs needed | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
m | 3.1.1.c | Girls WC - Extract Fan | Extract fan is old, currently serviceable. Replace as necessary. Allowance made for an annual expenditure. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 4Q2013 | 1.0798
m | 3.1.1.d | External Louvered grilles | External louvers of ventilation grilles are old and some are missing, requires replacement | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Total |  | 44830.9417 | 44830.9417 | [12 empty] | 1Q2014 | 1.0447
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 2Q2014 | 1.0198
m | 3.1.2.c | Vertical Fan Convectors - Throughout building | The vertical fan convectors are old, currently serviceable but at the end of there life expectancy. Replace units as necessary. Allowance made for an annual expenditure. | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 3Q2014 | 1.028
m | 3.1..2.d | Reception - Radiator | The radiators are old, currently serviceable but at the end of there life expectancy. Replace units as necessary. Allowance made for an annual expenditure. | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 4Q2014 | 1.0078
m | 3.1..2.e | Nursery - Radiators | LTHW radiator with LST cover (actual radiator has debris which has fallen through the LST cover, requires cleaning removing of the debris) | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0 | [20 empty] | 1Q2015 | 1
m | 3.1.2.g | Reception Office - Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.e | Roof void - Cold Water Storage Tank | Cold water storage tank has no insulation and cover is not secure, therefore needs upgrading/replacement to meet regulation requirements. | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.g | Girls WC - HWS | Hot water heater is old, currently serviceable. Replace individual unit a necessary. Allowance made for an annual expenditure. | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.h | Staff Toilet - HWS | Hot water heater is old, currently serviceable. Replace individual unit a necessary. Allowance made for an annual expenditure. | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.a | Classroom - Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1..3.b | Outside Drainage Pipework | Drainage pipework is in good working order and will require general maintenance | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.A | Switchgear | Some isolators showing signs of age. Still serviceable but can consider replacing in future. | 1500 | 0 |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0 | 0
m | 3.3.2.A | Lighting | Yellowing diffusers and general wear and tear on luminaires within classroom 11 and WC areas. | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.C | External Lighting | Replace few luminaires showing signs of age, dirt and yellowing diffusers. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.A | Small Power/ Data Outlets | Metal cald isolator seving heater and fan still serviceable, but replacement would be advisable. | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.6.C | Lightning Protection | Investigation needed to assess the need for lightning protection. | 3500 | 3500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.1.A | Lighting | Yellowing diffusers and general wear and tear on luminaires within classroom 11 and WC areas. | 1200 | 0 | 1200 |  |  |  |  | 0 | 1200 | 0 | 0 | 0 | 0
m | 3.4.1.B | Emergency Lighting | Test and inspect luminaires. Red LED indicator lamp showing battery is not charging properly. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.4.1.C | External Lighting | Replace few luminaires showing signs of age, dirt and yellowing diffusers. | 500 | 0 | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
m | 3.4.2.A | Small Power/ Data Outlets | Replce TSSO and FCUs. Still in serviceable condition but can be updated | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0
m | 3.4.3.B | White PVC surface mounted conduit | General wear and tear. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.4.4.A | Data points | General wear and tear. | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
[15 empty] | openings |  | internal | Services
[15 empty] | 0 |  | 0 | 0
[15 empty] | 0 |  | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [6 empty] | Compliance Comparison |  |  | 2/THIRD | Form of entry | PAN | 20
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [5 empty] | Total area | Shortfall | Surplus | 2010 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 20, 20a, 20b, 16 | General classroom | 57.09 | inc | inc | inc |  | 57.09 | 4.91 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 1, 1a, 1b, 1c, 8 | General classroom | 16.24 | 7.57 | 18.05 | 3.59 | 9.67 | 55.12 | 6.88 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 1 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 11, 11a, 15 | General classroom | 15.3 | inc | 41.38 |  |  | 56.68 | 5.32 | 0 | 4 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 4 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 41 | General classroom | 48.09 |  |  |  |  | 48.09 | 13.91 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 25, 25 a -d | Practical area | 35.056 | inc |  |  |  | 35.056 | 0 | 35.056 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 100% | of classrooms are small
[5 empty] | 248 | [7 empty] | 252.036 | 31.02 | 35.056 | 101.6% | of the recommended basic teaching space required
[15 empty] | 216.98 | 87.49% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [15 empty] | 12.51% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 32 | Hall | 125.13 |  |  |  |  | 125.13 | 14.87 | 0
[5 empty] | 140 | [7 empty] | 125.13 | 14.87 | 0 | 89.38% | of the recommended hall size
Storage | [15 empty] | 10.62% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 24 | Cloakroom | 9.51 |  |  |  |  | 9.51 | 0 | 6.51
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 5 | Cloakroom | 11.7 |  |  |  |  | 11.7 | 0 | 8.7
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 38 | Cloakroom | 4.14 |  |  |  |  | 4.14 | 0 | 1.14
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 43 | Store room | 12.86 |  |  |  |  | 12.86 | 0 | 10.86
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 46 | Store room | 1.41 |  |  |  |  | 1.41 | 0.59 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 9, 14 | Store room | 1.32 | 1.32 |  |  |  | 2.64 | 0 | 0.64
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 40 | Store room | 4.32 |  |  |  |  | 4.32 | 0 | 2.32
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | 22 | Store room | 1.68 |  |  |  |  | 1.68 | 8.32 | 0
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | 42 | Store room | 12.86 |  |  |  |  | 12.86 | 1.14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | UNF | Store room | 4 |  |  |  |  | 4 | 0 | 4
|  | Bulk stock store | 1 | 4 | 4 | 30 | Store room | 4.84 |  |  |  |  | 4.84 | 0 | 0.84
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 23 | Table and chair store | 1 | 6 | 6 | UNB | Store room | 10.24 |  |  |  |  | 10.24 | 0 | 4.24
| 25 | Staging/ appliance store | 1 | 4 | 4 | 32a | Store room | 7.35 |  |  |  |  | 7.35 | 0 | 3.35
|  | Mobility equipment store | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
[5 empty] | 67 | [7 empty] | 87.55 | 22.05 | 42.6 | 130.7% | of the recommended storage space required
Staff and admin | [15 empty] | 32.91% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 31 | Heads office | 10.29 |  |  |  |  | 10.29 | 1.71 | 0
| 3 | Staff room work and social | 1 | 21 | 21 | UNE | Staffroom | 22.014 |  |  |  |  | 22.014 | 0 | 1.014
|  | Staff PPA | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [7 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 28 | Secretary office | 7.34 |  |  |  |  | 7.34 | 0.66 | 0
| 8 | Secure reception | 1 | 4 | 4 | 26 | Entrance | 13.13 |  |  |  |  | 13.13 | 0 | 9.13
| 9 | Reprographics room | 1 | 6 | 6 | [7 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
[5 empty] | 70 | [7 empty] | 52.774 | 27.37 | 10.144 | 75.39% | of the recommended staff and admin space required
Learning resource area | [15 empty] | 39.1% | shortfall
| 1 | Library (learning resource centre) | 1 | 21 | 21 | [7 empty] | 0 | 21 | 0
| 3 | Small group room | 2 | 11 | 22 | [7 empty] | 0 | 22 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
[5 empty] | 67 | [7 empty] | 0 | 67 | 0 | 0% | of the recommended learning resource areas
Supplementary area | [15 empty] | 100% | shortfall
| 1 |  | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
[5 empty] | 0 | [7 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [15 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [7 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 6,7,18,19,39 | 9 wc's, 4 urinals | 7.1 | 7.98 | 7.95 | 7.13 | 4.18 | 34.34 | 0 | 22.34 | 13 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 29 | Staff wc (multi-sex) 1 wc | 4.38 |  |  |  |  | 4.38 | 0 | 0.38 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 4 | Disabled w.c. | 5.39 |  |  |  |  | 5.39 | 0 | 2.39 | 216.7% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 22 | 22 | [7 empty] | 0 | 22 | 0
| 5 | Corridors | - | 22.5% | 133.2 | 17, 27 | corridor | 11.78 | 9.65 |  |  |  | 21.43 | 111.77 | 0
| 6 | Boiler room | 1 | 1.5% | 8.88 | 44,45, 12, 42 |  | 0.8 | 0.8 | 2.6 | 0.721 |  | 4.921 | 3.959 | 0
| 7 | Server | in boiler | [9 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 23.68 |  |  | 20.6996 |  |  |  |  | 20.6996 | 2.9804 | 0
[5 empty] | 224.76 | [7 empty] | 91.1606 | 158.7094 | 25.11 | 40.56% | of the recommended non net area
Additional area | [15 empty] | 70.61% | shortfall
|  | Nursery class | 1 | 62 | 62 | 34, 34a | Community use | 45.103 |  |  |  |  | 45.103 | 16.897 | 0
|  | Quiet room | 1 | 8 | 8 | UNC | Community use | [5 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 33a | Community use | 5.59 |  |  |  |  | 5.59 | 0 | 3.59
|  | Nursery office | 1 | 8 | 8 | 33 | Community use | 7.33 |  |  |  |  | 7.33 | 0.67 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 38 | Cloakroom | 4.14 |  |  |  |  | 4.14 | 0 | 1.14
|  | Nursery pupils toilets | 3 | 2 | 6 | 35 | Community use | 8.45 |  |  |  |  | 8.45 | 0 | 2.45
|  | Nursery staff toilets | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | 35a | Community use | 5.88 |  |  |  |  | 5.88 | 0 | 4.0125
[5 empty] | 92.8675 | [7 empty] | 76.493 | 27.567 | 11.1925 | 82.37% | of the recommended additional area
[16 empty] | 29.68% | shortfall
Total Net area |  |  |  |  | 592 | [7 empty] | 517.49
Total Non-Net area |  |  |  |  | 224.76 | [7 empty] | 91.1606
Gross (total build) area - excluding nursery |  |  |  |  | 816.76 | [7 empty] | 608.6506 |  |  | 74.52% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 909.6275 | [7 empty] | 685.1436
Net Area Range |  |  |  |  | 924.0-1030.0
Mid Range |  |  |  |  | 977
Total Site Area Range |  |  |  |  | 6660.0-8327.5
Mid Range |  |  |  |  | 7493.8
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
15 | 105 | 16 | 112
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 104 | 97 | 101 | 99 | 97 | 100
Maximum Capacity | 105 | 105 | 105 | 105 | 105 | 105
Number of Surplus Places | 1 | 8 | 4 | 6 | 8 | 5
% of surplus places | 1 | 7.6 | 3.8 | 5.7 | 7.6 | 4.7619
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 9 | 11 | 13 | 15 | 12 | 15 | 13 | 88

## School stats
Current Ofsted | Year
Good | 2013-03-07
2014 KS2 Performance Tables last update : (15 Sep 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 80% | 64% | 79%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 14
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | SUPP | 0% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 79% | SUPP | 89% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 64% | SUPP | 67% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 29% | SUPP | 22% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | SUPP | 100% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 92% | SUPP | 89% | SUPP
Average point score | 28.8
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.7 | 99.5 | 101.8 | 93%
Reading value added measure | 100.4 | 99.1 | 101.6 | 93%
Writing TA value added measure | 101.2 | 99.9 | 102.5 | 93%
Maths value added measure | 100.4 | 99 | 101.9 | 93%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 14% | 14% | 21% | 7%
Percentage achieving Level 4 or above | 86% | 86% | 79% | 93%
Percentage achieving Level 4b or above | 71% | 79% | 71% | NA
Percentage achieving Level 5 or above | 64% | 29% | 64% | 50%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.8% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 100
Percentage of pupils eligible for Free School Meals (FSM) | 6%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4276 (98%) | 4525 | 4016 | 4325
Self generated income | 92 (2%) | 144 | 142 | 127
Total income | 4369 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 63 (1%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 165 (4%) | 181 | 174 | 184
ICT learning resources | 41 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 80 (2%) | 88 | 59 | 67
Back office (incl. Staff costs) | 349 (8%) | 406 | 334 | 351
Catering (incl. Staff costs) | 41 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 164 (4%) | 259 | 275 | 301
Other staff costs | 168 (4%) | 153 | 133 | 142
Energy | 67 (2%) | 68 | 62 | 65
Other expenditure | 48 (1%) | 94 | 85 | 88
Total expenditure | 4241 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2776 | 2906 | 2944 | SUPP
Supply staff | 48 | 70 | 114 | 63
Back office (incl. Staff costs) | 372 | 362 | 377 | 349
Energy | 62 | 67 | 76 | 67
Total expenditure | 4028 | 4099 | 4217 | 4241
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 8 | 236728
Headcount of all teaching assistants in a school | 6 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 5.6 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 2.9 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 0.9 | 51728.3
Ratio of pupils to teachers in a school | 18 | 20.5
Average gross salary of all teachers in a school | 32652 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 97 | 101 | 99 | 97 | 100 |  |  |  | NOR | 88 | 88
PAN | 15 | 15 | 15 | 15 | 15 | 15 |  |  |  |  | Number | 67 | 74 | 69 | 68 | 68 |  |  |  | Total in area | 86 | 95
No. | 10.95 | 7.95 | 10.95 | 7.95 | 9 | 8 |  |  |  |  | % | 69.0722 | 73.2673 | 69.697 | 70.1031 | 68 |  |  |  | Number at School from area | 66 | 71
% | 73 | 53 | 73 | 53 | 60 | 53.3333 | [13 empty] | % at School | 75 | 80.6818
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School | 76.7442 | 74.7368
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 74 | 83 | 85 | 87 | 83
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Hampton Dene | Kington | Leominster Infants’ School | Luston | Shobdon | Stoke Prior | Wellington | Weobley | Wigmore | Orleton C E | St James’ C E, Kimbolton | Kingsland C E | Leintwardine Endowed | Ivington C E | Pembridge C E | Out of County | Grand Total
2146 | Shobdon | Number | 0 | 5 | 3 | 1 | 52 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 8 | 2 | 73
2146 | Shobdon | % | 0 | 6.8493 | 4.1096 | 1.3699 | 71.2329 | 0 | 0 | 0 | 1.3699 | 0 | 0 | 1.3699 | 0 | 0 | 10.9589 | 2.7397 | 100
2159 | Wigmore | Number | 2 | 1 | 9 | 4 | 6 | 0 | 2 | 0 | 92 | 0 | 0 | 5 | 15 | 0 | 2 | 38 | 176
2159 | Wigmore | % | 1.1364 | 0.56818 | 5.1136 | 2.2727 | 3.4091 | 0 | 1.1364 | 0 | 52.2727 | 0 | 0 | 2.8409 | 8.5227 | 0 | 1.1364 | 21.5909 | 100
3083 | Orleton C E | Number | 0 | 0 | 3 | 17 | 0 | 2 | 0 | 0 | 1 | 118 | 0 | 2 | 0 | 0 | 0 | 27 | 170
3083 | Orleton C E | % | 0 | 0 | 1.7647 | 10 | 0 | 1.1765 | 0 | 0 | 0.58824 | 69.4118 | 0 | 1.1765 | 0 | 0 | 0 | 15.8824 | 100
3342 | Kingsland C E | Number | 0 | 0 | 56 | 17 | 6 | 0 | 0 | 4 | 7 | 0 | 1 | 55 | 0 | 3 | 2 | 0 | 151
3342 | Kingsland C E | % | 0 | 0 | 37.0861 | 11.2583 | 3.9735 | 0 | 0 | 2.649 | 4.6358 | 0 | 0.66225 | 36.4238 | 0 | 1.9868 | 1.3245 | 0 | 100
3348 | Leintwardine Endowed | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 68 | 0 | 0 | 24 | 100
3348 | Leintwardine Endowed | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 68 | 0 | 0 | 24 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Hampton Dene | Kington | Leominster Infants’ | Luston | Shobdon | Stoke Prior | Weobley | Wigmore | Holmer C E | Orleton C E | St Francis Xaviers RC | St James’ C E, Kimbolton | Kingsland C E | Leintwardine Endowed | Ivington C E | Pembridge C E | Grand Total
2146 | Shobdon | Number | 0 | 1 | 0 | 0 | 52 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 1 | 66
2146 | Shobdon | % | 0 | 1.5152 | 0 | 0 | 78.7879 | 0 | 0 | 9.0909 | 0 | 0 | 0 | 0 | 9.0909 | 0 | 0 | 1.5152 | 100
2159 | Wigmore | Number | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 92 | 1 | 1 | 0 | 0 | 7 | 8 | 0 | 0 | 111
2159 | Wigmore | % | 0 | 0 | 0 | 0 | 0.9009 | 0.9009 | 0 | 82.8829 | 0.9009 | 0.9009 | 0 | 0 | 6.3063 | 7.2072 | 0 | 0 | 100
3083 | Orleton C E | Number | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 118 | 0 | 2 | 0 | 0 | 0 | 0 | 123
3083 | Orleton C E | % | 0.81301 | 0 | 0.81301 | 0 | 0 | 0.81301 | 0 | 0 | 0 | 95.935 | 0 | 1.626 | 0 | 0 | 0 | 0 | 100
3342 | Kingsland C E | Number | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 5 | 0 | 2 | 3 | 0 | 55 | 0 | 2 | 2 | 72
3342 | Kingsland C E | % | 0 | 0 | 0 | 1.3889 | 1.3889 | 0 | 1.3889 | 6.9444 | 0 | 2.7778 | 4.1667 | 0 | 76.3889 | 0 | 2.7778 | 2.7778 | 100
3348 | Leintwardine Endowed | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 68 | 0 | 0 | 83
3348 | Leintwardine Endowed | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.0723 | 0 | 0 | 0 | 0 | 0 | 81.9277 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly