## Cover Page
St James' CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St James' CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St James' CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 6564.85 |  |  |  | Current Capacity (PAN 15):- |  |  |  | 105
Insurance Asset Value (£000):- |  | 595201.5996 |  |  |  | Allocated Capacity Size (PAN 15):- |  |  |  | 105
Land Asset Value (£000):- |  | 22112 |  |  |  | Current Occupancy:- |  |  |  | 71
Land Ownership:- | Part buildings school owned, rest council owned |  |  |  |  | Current Planned Admission No.:- |  |  |  | 15
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 34
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2012-11-01
Backlog Maintenance Total (£000):- | [6 empty] | 36.829
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 27.1915
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 45.6634
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 18.3571
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 816.76
Actual Number of Classrooms:- | [6 empty] | 4 | Current Building Area (M2):- |  | 434.7062
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 382.0538
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 0 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 53.2232
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 100 | Required Net Site Area (M2):- |  | 5365.84
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 100 | Current Net Site Area (M2):- |  | 6130.1438
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 764.3038
[8 empty] | Total Percentage Compliance:- |  | 114.2439
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 623.1081
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 100
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 80
Total Number of Children within Catchment:- | [6 empty] | 34
Total Number of Children at School from Catchment:- | [6 empty] | 24
Percentage of Catchment at School:- | [6 empty] | 32.4324
Percentage of Catchment Going to School:- | [6 empty] | 70.5882

## Report
|  |  | St James' CE Primary School | [6 empty] | St James' CE Primary School | [14 empty] | St James' CE Primary School | [7 empty] | St James' CE Primary School |  |  |  |  | St James' CE Primary School |  | St James' CE Primary School |  |  |  |  | St James' CE Primary School | [5 empty] | St James' CE Primary School |  |  | St James' CE Primary School | [8 empty] | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  | St James' CE Primary School |  |  | St James' CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St James' CE Primary School |  |  | Survey Date:- | 2012-11-01 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 15) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 623.1081 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr A Breakwell - Executive Headteacher | DFE Number:- | 3341 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 217.973 | 87.8923 |  |  |  | 15 | 105 | 15 | 105 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Shared head with Orleton. | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 0 | 0 | [17 empty] | PAN | 15 | 15 | 15 | 15 | 15 | 15
Address:- | St James' C E Primary School, Kimbolton, Leominster, Herefordshire HR6 0HQ | Email:- | admin@kimbolton-st-james.hereford.sch.uk | Backlog | 36.829 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 67 | 13.934 | 20.797 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 9.9 | 16.95 | 12.9 | 12.9 | 7.995 | 12 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015 | 7.4576 |  |  | 36.829 |  |  | Backlog | 0.11473 | 0 | 2.0652 | 17.3246 | 1.8357 | 6.3103 | 0 | 0 | 0.3442 | 4.5893 | 4.2451 | 0 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 70 | 51.374 | 73.3914 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | SUPP | 71 | 75 | [5 empty] | Percentage | 66 | 113 | 86 | 86 | 53.3 | 80
|  |  |  | 2016 | 9.408 |  |  | 7.4576 |  |  | 2015 | 0 | 0 | 0 | 0 | 1.721 | 0 | 0 | 0 | 0 | 2.2946 | 3.442 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 67 | 37.499 | 55.9687 |  |  |  | 2008 / 2009 | 84 | 105 | 0 | 21 | 2013 | 75 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017 | 10.3259 |  |  | 9.408 |  |  | 2016 | 0 | 0 | 0 | 0 | 1.721 | 0 | 0 | 0 | 0 | 4.5893 | 0 | 3.0978 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 84 | 105 | 0 | 21 | 2014 | 100 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01568 612691 F: 01568 612691 | School Cluster:- | Leominster District- Earl Mortimer College (and Sixth Form Centre) | 2018 | Not Available |  |  | 10.3259 |  |  | 2017 | 0 | 0 | 0 | 0 | 1.721 | 0 | 0 | 0 | 0 | 2.2946 | 1.1473 | 5.1629 | 0 | 0 | D2 | [7 empty] | Non Net Area | 224.76 | 113.9262 | 50.6879 |  |  |  | 2010 / 2011 | 92 | 105 | 0 | 13 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 816.76 | 434.7062 | 53.2232 |  |  |  | 2011 / 2012 | 90 | 105 | 0 | 15 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 45 | 46 | 45 | 43 | 34
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 83 | 105 | 0 | 22 | [12 empty] | Number at School from Catchment | 32 | 31 | 31 | 27 | 24
School Type:- | Voluntary Aided | Building Number:- | FEA8 | Total | 64.0205 | [5 empty] | Totals | 0.11473 | 0 | 2.0652 | 17.3246 | 6.9987 | 6.3103 | 0 | 0 | 0.3442 | 13.7679 | 8.8344 | 8.2607 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 6182.6 | 6564.85 | 106.1827 |  |  |  | 2013 / 2014 | 74 | 105 | 0 | 31 | Pupils eligible for KS2 assessment |  |  |  | 6 | [7 empty] | Percentage at School from Catchment | 38.0952 | 33.6957 | 34.4444 | 32.5301 | 32.4324
Current Capacity:- | 105 | Site Area:- | 6564.85 | [30 empty] | Net Site Area (less the building area) | 5365.84 | 6130.1438 | 114.2439 |  |  |  | Current Occupancy | 71 | 105 | 0 | 34 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 0 | [7 empty] | Percentage of Catchment Going to School | 71.1111 | 67.3913 | 68.8889 | 62.7907 | 70.5882
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 45.6634 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 100
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 100 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 67 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 0.11473 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 18.3571 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 4 |  |  | Reception | 12 | 0 | 3 |  | Percentage making expected progress in reading |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 71; Parental First Preference Applications 2013: 71
|  |  |  | Roof Works |  | 19.3897 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 10 | 0 | 5 |  | Percentage making expected progress in writing |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 42; Parental First Preference Applications 2013: 34
|  |  |  | External Walls |  | 13.3089 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 11 | 0 | 4 |  | Percentage making expected progress in maths |  |  |  | 100 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 27; Parental First Preference Applications 2013: 23
|  |  |  | Windows and Doors |  | 0 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 7 | 0 | 8 |  | Average point score |  |  |  | 32.3 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 38.0282; Parental First Preference Applications 2013: 32.3944
|  |  |  | Internal Works |  | 14.1121 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 | Category | Areas Included | Four | 14 | 0 | 1 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 64.2857; Parental First Preference Applications 2013: 67.6471
Asset Summary |  |  |  | Mechanical and Electrical |  | 17.0951 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 100 | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas | Five | 6 | 0 | 9 |  | Latest Ofsted Report Date:- |  | 2013-07-03
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 100 | Hall and Studio | Halls, Dining Areas | Six | 11 | 0 | 4 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 595.2016 | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment | Total | 71 | 0 | 34
Asset Value - Land (£000):- |  | 22.112 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
[39 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
Land Owner:- |  | Part buildings school owned, rest council owned
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | St James' CE Primary School (3341) |  |  | St James' CE Primary School (3341) |  |  | St James' CE Primary School (3341)
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | FEA8
Site Area:- | 6564.85
Asset Value (Insurance):- | 595201.5996
Asset Value (Land):- | 22112
Land owner:- | Part buildings school owned, rest council owned
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 623.1081
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary | [5 empty] | BCIS Quarter | 4Q2012 | [12 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2012-11-01 |  |  |  | BCIS Uplift | 1.1473 | [16 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [18 empty] | 36829.0179 | 36829.0179 | Backlog | 114.7321 | 0 | 2065.1786 | 17324.5536 | 1835.7143 | 6310.2679 | 0 | 0 | 344.1964 | 4589.2857 | 4245.0893 | 0 | 0 | 0 | 2Q2009 | 1.1898
[21 empty] | 7457.5893 | 7457.5893 | 2015 | 0 | 0 | 0 | 0 | 1720.9821 | 0 | 0 | 0 | 0 | 2294.6429 | 3441.9643 | 0 | 0 | 0 | 3Q2009 | 1.1898
[19 empty] | accepted ok LG 16/03/2015 | CHECK | 9408.0357 | 9408.0357 | 2016 | 0 | 0 | 0 | 0 | 1720.9821 | 0 | 0 | 0 | 0 | 4589.2857 | 0 | 3097.7679 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | Y | N | N | School Costs | [7 empty] | 10325.8929 | 10325.8929 | 2017 | 0 | 0 | 0 | 0 | 1720.9821 | 0 | 0 | 0 | 0 | 2294.6429 | 1147.3214 | 5162.9464 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[21 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
|  | EXTERNAL GROUNDS FEA8 | [10 empty] | 0 | [24 empty] | 4Q2010 | 1.1682
g | 2.0.4 | Paths | Rebed uneven slabs | KD | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Individual Category totals | 114.7321 | 0 | 2065.1786 | 17324.5536 | 6998.6607 | 6310.2679 | 0 | 0 | 344.1964 | 13767.8571 | 8834.375 | 8260.7143 | 0 | 0 | 1Q2011 | 1.1735
|  | ROOF FEA8/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 2Q2011 | 1.1525
r | 2.1.1 | Roof | Repair or Renew section of rotten barge boars and fascia with cyclical re decorations every 3 Years to all external timber work | AB | 2 | 5100 | 5100 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | 2.1.2 | Rain Water Goods | Re connect and annually cleaning necessary | AE | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2011 | 1.1525
|  | EXTERNAL ELEVATIONS FEA8/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | External Grounds |  | 114.7321 | 114.7321 | [12 empty] | 1Q2012 | 1.1953
e | 2.2.1 | Walls | Monitor vertical crack and replace the spalled brickwork and stones to the base to include pointing. | DB | 3 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Roof Works |  | 19389.7321 | 19389.7321 | [12 empty] | 2Q2012 | 1.1174
e | 2.2.4 | External Redecorations | Cyclical re decorations every 3 years in stages | 1A | 3 | 6500 | 2000 | 1500 | 1500 | 1500 |  |  | 1500 | 1500 | 1500 | 1500 | 0 | 0 |  |  |  | External Walls |  | 13308.9286 | 13308.9286 | [12 empty] | 3Q2012 | 1.1525
|  | INTERNAL FEA8/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Windows & Doors |  | 0 | 0 | [12 empty] | 4Q2012 | 1.1473
i | 2.3.1 | Ceiling Tiles | Some ceiling tiles are missalighed and un even but accepable, would benefit for re newing in two or three years. | CA | 3 | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Internal Works |  | 14112.0536 | 14112.0536 | [12 empty] | 1Q2013 | 1.0983
i | 2.3.7 | Internal Redecorations | Cyclical redecorations every 5 years in stages | 1B | 3 | 10000 | 4000 | 2000 | 2000 | 2000 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Mechanical & Electrical |  | 17095.0893 | 17095.0893 | [12 empty] | 2Q2013 | 1.089
|  | ROOF FEA8/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
r | 2.4.2 | High Level Timber Cladding | Renew the cladding to the top of wall & roof junction with Upvc cladding to match the rest of the school | DB | 2 | 1200 | 1200 | [5 empty] | 1200 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2013 | 1.0798
r | 2.4.3 | Mono Pitched Hall Building | This part of the building was built to infill to form a Hall. The profiled metal deck roof on timber purlins is of a poor construction quality, although there was no evidence of leaking at time of survey. | DB | 2 | 10000 | 10000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Total |  | 64020.5357 | 64020.5357 | [12 empty] | 1Q2014 | 1.0447
r | 2.4.4 | Rain Water Goods | Clean out the blockages and annual cleaning | AE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 2Q2014 | 1.0198
|  | ROOF FEA8/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 3Q2014 | 1.028
r | 2.7.3 | Rain Water Goods | No gutters but rain exit s into hoppers and down pipes, some evidence of blockages and water running down outer side of walls. | AE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2014 | 1.0078
|  | EXTERNAL ELEVATIONS FEA8/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 1Q2015 | 1
e | 2.8.3 | General Maintenance | Monitor for maintenance works cyclical | DA | 4 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
|  | INTERNAL FEA8/AC |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.9.1 | Roof Leak Damage & Repair | Attend to leak problem in Nursery classroom and replace damaged tile | CA | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
i | 2.9.3 | Missing Window Catch in Nursary | Replace the missing catch spacers to nursery windows. | DC | 4 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3.1.1 | Ventilation - FEA8/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.a | Girls & Boys WC - Extract Ventilation | The fan is not working and requires further investigation and repair. | GE | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.3 | Domestic Water & Drainage - FEA8/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.a | Classroom 21 - Hot Water Heater | The unit is not working and requires further investigation and repair. | GD | 1 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.b | Girls & Boys WC - Hot Water Heater | The unit is old, currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GD | 1 | 300 | 0 | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
| 3.2.1 | Ventilation - FEA8/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.1.a | Mens WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 3 | 300 | 0 | 300 |  |  |  |  | 0 | 300 | 0 | 0 | 0 | 0
m | 3.2.1.b | Boys WC - Extract Ventilation | The unit is in good working order and should be for the next few years, however an allowance should be made for mainantence over the next few years. | GE | 2 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.2.1.c | Girls WC - Extract Ventilation | The fan is not working and requires further investigation and repair. | GE | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
| 3.2.3 | Domestic Water & Drainage - FEA8/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.3.b | Boys WC - Hot Water Heater | The units are currently servicable, however nearing the end of its plant operational life expectancy. Replace individual units as necessary. Allowance made for an annual expenditure. | GD | 2 | 400 | 0 | 400 |  |  |  |  | 0 | 400 | 0 | 0 | 0 | 0
m | 3.2.3.c | Classroom 6 - Hot Water Heater | The unit is not working and requires further investigation and repair. | GD | 1 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.1.A | Switchgear | Replace DB1 to ensure no loss of service or deteriation in service in the future. | HA | 3 | 4500 | 0 |  |  | 4500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.2.A | Lighting | Replace lighting too IT room, corr 18, staff rm, WC's. Check levels within Hall area and add additional if needed. | HC | 3 | 3000 | 300 |  | 2700 |  |  |  | 300 | 0 | 0 | 0 | 0 | 0
m | 3.4.2.C | External Lighting | Replace/remove and make safe broken luminaire. | HC | 3 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
m | 3.4.3.A | Small Power/ Data Outlets | Replace sockets to IT room, Corr 11, practical room and FCU to water heater & extract fan within WC. | HB | 3 | 700 | 700 | [5 empty] | 700 | 0 | 0 | 0 | 0 | 0
m | 3.4.3.B | DB Board/switchgear | DB & FCU to close to sink. Install drop plate and extend flexable connections to FCU to separate DB & FCU from sink. | HA | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.4.4.A | White PVC surface mounted conduit and mini trunking. | Replace various conduit within school. | HB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.4.4.B | White PVC surface mounted Dado trunking | Replace trunking with new. Existing is falling apart and exposed in some areas. | HB | 3 | 400 | 200 | 200 |  |  |  |  | 200 | 200 | 0 | 0 | 0 | 0
m | 3.4.6.C | Security | Replace microwave sensors with new. Existing sensors are past useful life. | HE | 3 | 1000 | 0 |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0
m | 3.5.1.A | Lighting | Replace lighting classrooms. Yellowing diffusers, bad light quality. | HC | 3 | 1800 | 0 | 1800 |  |  |  |  | 0 | 1800 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [7 empty] | Compliance Comparison |  |  | 1/half | Form of entry | PAN | 15
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [6 empty] | Total area | Shortfall | Surplus | 2013 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 1 | General classroom | 46.613 | [5 empty] | 46.613 | 15.387 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 5 | General Classroom | 40.53 | [5 empty] | 40.53 | 21.47 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 6 | General Classroom | 42.71 | [5 empty] | 42.71 | 19.29 | 0 | 4 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 4 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 15 | General classroom | 55.38 | [5 empty] | 55.38 | 6.62 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 3 | Practical area | 32.74 | [5 empty] | 32.74 | 0 | 32.74 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 100% | of classrooms are small
[5 empty] | 248 | [8 empty] | 217.973 | 62.767 | 32.74 | 87.89% | of the recommended basic teaching space required
[16 empty] | 185.233 | 74.69% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [16 empty] | 25.31% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | [8 empty] | 0 | 140 | 0
[5 empty] | 140 | [8 empty] | 0 | 140 | 0 | 0% | of the recommended hall size
Storage | [16 empty] | 100% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 1c | Cloakroom shared with nursery | 5.4 | [5 empty] | 5.4 | 0 | 2.4
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 1a | Store room | 2 | [5 empty] | 2 | 0 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 15a | Store room | 1.83 | [5 empty] | 1.83 | 0.17 | 0
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | [8 empty] | 0 | 10 | 0
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [8 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 17,17a,17b | Store room | 1 | 1 | 1 |  |  |  | 3 | 1 | 0
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [8 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 11A, 13 | Cleaners store room | 0.704 | 1 |  |  |  |  | 1.704 | 1.296 | 0
| 23 | Table and chair store | 1 | 6 | 6 | [8 empty] | 0 | 6 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [8 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
[5 empty] | 67 | [8 empty] | 13.934 | 55.466 | 2.4 | 20.8% | of the recommended storage space required
Staff and admin | [16 empty] | 82.79% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 7 | Heads office | 8.6 | [5 empty] | 8.6 | 3.4 | 0
| 3 | Staff room work and social | 1 | 21 | 21 | 4 | Staffroom | 12.914 | [5 empty] | 12.914 | 8.086 | 0
|  | Staff PPA | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [8 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 14 | Reception (office) | 15.88 | [5 empty] | 15.88 | 0 | 7.88
| 8 | Secure reception | 1 | 4 | 4 | 8 | Entrance | 13.98 | [5 empty] | 13.98 | 0 | 9.98
| 9 | Reprographics room | 1 | 6 | 6 | [8 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
[5 empty] | 70 | [8 empty] | 51.374 | 36.486 | 17.86 | 73.39% | of the recommended staff and admin space required
Learning resource area | [16 empty] | 52.12% | shortfall
| 1 | Library (learning resource centre) | 1 | 21 | 21 | 2 | Library | 25.94 | [5 empty] | 25.94 | 0 | 4.94
| 3 | Small group room | 2 | 11 | 22 | 9 | Small group room | 11.559 | [5 empty] | 11.559 | 10.441 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
[5 empty] | 67 | [8 empty] | 37.499 | 34.441 | 4.94 | 55.97% | of the recommended learning resource areas
Supplementary area | [16 empty] | 51.4% | shortfall
| 1 |  | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
[5 empty] | 0 | [8 empty] | 0 | 0 | 0
[14 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [16 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 1b | Pupil wc (multi-sex) | 10.175 | [5 empty] | 10.175 | 0 | 4.175 | 3 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 11, 12 | Pupil WC's 4, 2 urinals | 8.7 | [5 empty] | 8.7 | 3.3 | 0 | 6 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 10 | Staff wc (multi-sex) | 1.38 | [5 empty] | 1.38 | 2.62 | 0 | 100% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0 | 100% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 22 | 22 | [8 empty] | 0 | 22 | 0
| 5 | Corridors | - | 22.5% | 133.2 | 16a, 18, 19, 2a, 2b, 2c | Corridor | 10 | 2 | 25 | 5 | 15 | 23.84 | 80.84 | 52.36 | 0
| 6 | Boiler room | 1 | 1.5% | 8.88 | [8 empty] | 0 | 8.88 | 0
| 7 | Server | in boiler | [10 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 23.68 |  |  | 12.8312 | [5 empty] | 12.8312 | 10.8488 | 0
[5 empty] | 224.76 | [8 empty] | 113.9262 | 115.0088 | 4.175 | 50.69% | of the recommended non net area
Additional area | [16 empty] | 51.17% | shortfall
|  | Nursery class | 1 | 62 | 62 | 16 | Community use | 42.53 | [5 empty] | 42.53 | 19.47 | 0
|  | Quiet room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 1c | cloakroom (shared) | 5.4 | [5 empty] | 5.4 | 0 | 2.4
|  | Nursery pupils toilets | 3 | 2 | 6 | [8 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [8 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [8 empty] | 47.93 | 47.3375 | 2.4
Total Net area |  |  |  |  | 592 | [8 empty] | 320.78
Total Non-Net area |  |  |  |  | 224.76 | [8 empty] | 113.9262
Gross (total build) area - excluding nursery |  |  |  |  | 816.76 | [8 empty] | 434.7062 |  |  | 53.22% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 909.6275 | [8 empty] | 482.6362
Net Area Range |  |  |  |  | 780.5-872.5
Mid Range |  |  |  |  | 826.5
Total Site Area Range |  |  |  |  | 5494.5-6870.6
Mid Range |  |  |  |  | 6182.6
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
15 | 105 | 15 | 105
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 84 | 84 | 92 | 90 | 83 | 74
Maximum Capacity | 105 | 105 | 105 | 105 | 105 | 105
Number of Surplus Places | 21 | 21 | 13 | 15 | 22 | 31
% of surplus places | 20 | 20 | 12.4 | 14.3 | 21 | 29.5238
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 12 | 10 | 11 | 7 | 14 | 6 | 11 | 71

## School stats
Current Ofsted | Year
Good | 2013-07-03
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | SUPP | 75% | 100%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 6
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 0% | NA | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 100% | NA | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 100% | NA | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 67% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 100% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 100% | NA | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 100% | NA | SUPP | SUPP
Average point score | 32.3
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100.7 | 99.3 | 102.2 | 100%
Reading value added measure | 100.2 | 98.6 | 101.7 | 100%
Writing TA value added measure | 100.2 | 98.6 | 101.9 | 100%
Maths value added measure | 101.2 | 99.3 | 103 | 100%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 0% | 0% | 0% | 0%
Percentage achieving Level 4 or above | 100% | 100% | 100% | 100%
Percentage achieving Level 4b or above | 100% | 100% | 67% | NA
Percentage achieving Level 5 or above | 83% | 83% | 67% | 67%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 3.5% | 4.8%
Persistent absence: around 15% + | 0% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 74
Percentage of pupils eligible for Free School Meals (FSM) | 5.4%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5154 (91%) | 4525 | 4016 | 4325
Self generated income | 503 (9%) | 144 | 142 | 127
Total income | 5657 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 67 (1%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 304 (6%) | 181 | 174 | 184
ICT learning resources | 102 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 136 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 566 (11%) | 406 | 334 | 351
Catering (incl. Staff costs) | 19 (0%) | 35 | 53 | 75
Premises (incl. Staff costs) | 353 (7%) | 259 | 275 | 301
Other staff costs | 228 (4%) | 153 | 133 | 142
Energy | 97 (2%) | 68 | 62 | 65
Other expenditure | 57 (1%) | 94 | 85 | 88
Total expenditure | 5358 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2729 | 2748 | 3231 | SUPP
Supply staff | 94 | -5 | -10 | 67
Back office (incl. Staff costs) | 383 | 408 | 502 | 566
Energy | 46 | 42 | 40 | 97
Total expenditure | 4069 | 4126 | 4680 | 5358
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 6 | 236728
Headcount of all teaching assistants in a school | 5 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 4.3 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 2.8 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.4 | 51728.3
Ratio of pupils to teachers in a school | 17.3 | 20.5
Average gross salary of all teachers in a school | 34720 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 84 | 92 | 90 | 83 | 74 |  |  |  | NOR |  |  |  |  | 71 | 71
PAN | 15 | 15 | 15 | 15 | 15 | 15 |  |  |  |  | Number | 32 | 31 | 31 | 27 | 24 |  |  |  | Total in area |  |  |  |  | 42 | 34
No. | 9.9 | 16.95 | 12.9 | 12.9 | 7.995 | 12 |  |  |  |  | % | 38.0952 | 33.6957 | 34.4444 | 32.5301 | 32.4324 |  |  |  | Number at School from area |  |  |  |  | 27 | 23
% | 66 | 113 | 86 | 86 | 53.3 | 80 | [13 empty] | % at School |  |  |  |  | 38.0282 | 32.3944
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 64.2857 | 67.6471
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 45 | 46 | 45 | 43 | 34
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | Leominster Infants’ | Luston | Marden | Stoke Prior | Sutton | Wellington | Wigmore | Withington | Burley Gate C E | Canon Pyon C E | St Mary’s C E, Credenhill | Orleton C E | St Michael's C E, Bodenham | St James’ C E, Kimbolton | Kingsland C E | Ivington C E | Pembridge C E | St Thomas Cantilupe C E | Out of County | Grand Total
2099 | Leominster Infants’ | Number | 0 | 0 | 0 | 0 | 245 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 1 | 1 | 0 | 1 | 255
2099 | Leominster Infants’ | % | 0 | 0 | 0 | 0 | 96.0784 | 0.78431 | 0 | 0.39216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.39216 | 0.78431 | 0.39216 | 0 | 0.39216 | 0.39216 | 0 | 0.39216 | 100
2100 | Leominster Junior | Number | 0 | 0 | 0 | 1 | 301 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 4 | 4 | 0 | 0 | 319
2100 | Leominster Junior | % | 0 | 0 | 0 | 0.31348 | 94.3574 | 0.31348 | 0 | 0.31348 | 0 | 0 | 0 | 0.31348 | 0 | 0 | 0 | 0 | 1.5674 | 0.31348 | 0 | 1.2539 | 1.2539 | 0 | 0 | 100
2103 | Luston | Number | 0 | 0 | 0 | 0 | 55 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 3 | 90
2103 | Luston | % | 0 | 0 | 0 | 0 | 61.1111 | 31.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1111 | 2.2222 | 1.1111 | 0 | 0 | 0 | 3.3333 | 100
2148 | Stoke Prior | Number | 0 | 0 | 0 | 0 | 41 | 1 | 0 | 33 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 5 | 2 | 0 | 4 | 0 | 0 | 0 | 88
2148 | Stoke Prior | % | 0 | 0 | 0 | 0 | 46.5909 | 1.1364 | 0 | 37.5 | 0 | 0 | 1.1364 | 0 | 0 | 0 | 0 | 1.1364 | 5.6818 | 2.2727 | 0 | 4.5455 | 0 | 0 | 0 | 100
3304 | St Michael's C E, Bodenham | Number | 6 | 2 | 0 | 0 | 7 | 0 | 9 | 3 | 3 | 1 | 0 | 5 | 6 | 0 | 0 | 0 | 53 | 0 | 0 | 2 | 0 | 1 | 0 | 98
3304 | St Michael's C E, Bodenham | % | 6.1224 | 2.0408 | 0 | 0 | 7.1429 | 0 | 9.1837 | 3.0612 | 3.0612 | 1.0204 | 0 | 5.102 | 6.1224 | 0 | 0 | 0 | 54.0816 | 0 | 0 | 2.0408 | 0 | 1.0204 | 0 | 100
3341 | St James’ C E, Kimbolton | Number | 0 | 0 | 0 | 0 | 41 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 24 | 0 | 0 | 0 | 0 | 3 | 74
3341 | St James’ C E, Kimbolton | % | 0 | 0 | 0 | 0 | 55.4054 | 2.7027 | 0 | 2.7027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7027 | 0 | 32.4324 | 0 | 0 | 0 | 0 | 4.0541 | 100
3349 | Ivington C E | Number | 0 | 0 | 1 | 1 | 77 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 0 | 0 | 2 | 14 | 0 | 0 | 0 | 101
3349 | Ivington C E | % | 0 | 0 | 0.9901 | 0.9901 | 76.2376 | 0 | 0 | 0.9901 | 0 | 0 | 0 | 0 | 0 | 2.9703 | 1.9802 | 0 | 0 | 0 | 1.9802 | 13.8614 | 0 | 0 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Bredenbury | Brockhampton | St Peter's, Bromyard | Hampton Dene | St Martin’s | Trinity | Leominster Infants’ | Leominster Junior | Luston | Marden | Shobdon | Stoke Prior | Sutton | Wellington | Weobley | Wigmore | Canon Pyon C E | Dilwyn | Mordiford C E | Orleton C E | St Michael's C E, Bodenham | St Francis Xaviers RC | St Pauls CE | St James’ C E, Kimbolton | Kingsland C E | Ivington C E | Pembridge C E | Pencombe C E | Grand Total
2099 | Leominster Infants’ | Number | 2 | 0 | 0 | 1 | 0 | 0 | 245 | 301 | 55 | 2 | 3 | 41 | 0 | 1 | 19 | 9 | 1 | 5 | 0 | 3 | 7 | 1 | 0 | 41 | 56 | 77 | 2 | 0 | 872
2099 | Leominster Infants’ | % | 0.22936 | 0 | 0 | 0.11468 | 0 | 0 | 28.0963 | 34.5183 | 6.3073 | 0.22936 | 0.34404 | 4.7018 | 0 | 0.11468 | 2.1789 | 1.0321 | 0.11468 | 0.57339 | 0 | 0.34404 | 0.80275 | 0.11468 | 0 | 4.7018 | 6.422 | 8.8303 | 0.22936 | 0 | 100
2103 | Luston | Number | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 28 | 0 | 1 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 2 | 17 | 0 | 0 | 0 | 73
2103 | Luston | % | 0 | 0 | 0 | 0 | 0 | 0 | 2.7397 | 1.3699 | 38.3562 | 0 | 1.3699 | 1.3699 | 0 | 0 | 0 | 5.4795 | 0 | 0 | 0 | 23.2877 | 0 | 0 | 0 | 2.7397 | 23.2877 | 0 | 0 | 0 | 100
2148 | Stoke Prior | Number | 8 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 1 | 2 | 0 | 1 | 0 | 5 | 59
2148 | Stoke Prior | % | 13.5593 | 0 | 3.3898 | 0 | 0 | 0 | 1.6949 | 1.6949 | 0 | 0 | 0 | 55.9322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3898 | 5.0847 | 0 | 1.6949 | 3.3898 | 0 | 1.6949 | 0 | 8.4746 | 100
3304 | St Michael's C E, Bodenham | Number | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 5 | 1 | 5 | 0 | 5 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
3304 | St Michael's C E, Bodenham | % | 0 | 0 | 0 | 0 | 1.25 | 2.5 | 2.5 | 6.25 | 1.25 | 6.25 | 0 | 6.25 | 2.5 | 3.75 | 0 | 0 | 0 | 0 | 1.25 | 0 | 66.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3341 | St James’ C E, Kimbolton | Number | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 1 | 0 | 0 | 0 | 34
3341 | St James’ C E, Kimbolton | % | 5.8824 | 2.9412 | 0 | 0 | 0 | 0 | 2.9412 | 2.9412 | 5.8824 | 0 | 0 | 5.8824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70.5882 | 2.9412 | 0 | 0 | 0 | 100
3349 | Ivington C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3 | 14 | 0 | 0 | 34
3349 | Ivington C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 2.9412 | 11.7647 | 0 | 0 | 0 | 11.7647 | 0 | 0 | 5.8824 | 0 | 11.7647 | 0 | 0 | 0 | 5.8824 | 0 | 0 | 0 | 8.8235 | 41.1765 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly