## Cover Page
St Martin's Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St Martin's Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 2
|  | Distribution of Children Attending School or Where it is the Nearest School | 16 | 2
|  | Key Services Within 2 Mile Radius of School | 18 | 1
|  | Key Services Adjacent to School | 19 | 1
|  | Disability Access | 20 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St Martin's Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 21156.99 |  |  |  | Current Capacity (PAN 60):- |  |  |  | 420
Insurance Asset Value (£000):- |  | 2676123 |  |  |  | Allocated Capacity Size (PAN 60):- |  |  |  | 420
Land Asset Value (£000):- |  | Not Known |  |  |  | Current Occupancy:- |  |  |  | 323
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 60
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 97
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-09-03
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 926.2794
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 887.678
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 38.6014
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 14 | Required Building Footprint (M2):- |  | 2111.08
Actual Number of Classrooms:- | [6 empty] | 15 | Current Building Area (M2):- |  | 2416.5292
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 127.188 | Area Surplus (M2):- |  | 305.4492
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 114.4689
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 100 | Required Net Site Area (M2):- |  | 15871.92
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 172.2222 | Current Net Site Area (M2):- |  | 18740.4608
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 2868.5408
[8 empty] | Total Percentage Compliance:- |  | 118.0731
Disability Access
Rating:- | 3 |  | Details:- |  |  |  | Fully accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | 331.343
Gas Consumption 2014/Child:- |  |  |  |  | 568.4786
School Statistics
Ofsted Results:- | [8 empty] | Requires Improvement
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 67
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 56.6667
Total Number of Children within Catchment:- | [6 empty] | 810
Total Number of Children at School from Catchment:- | [6 empty] | 232
Percentage of Catchment at School:- | [6 empty] | 67.4419
Percentage of Catchment Going to School:- | [6 empty] | 28.642

## Report
|  |  | St Martin's Primary School | [6 empty] | St Martin's Primary School | [14 empty] | St Martin's Primary School | [7 empty] | St Martin's Primary School |  |  |  |  | St Martin's Primary School |  | St Martin's Primary School |  |  |  |  | St Martin's Primary School | [5 empty] | St Martin's Primary School |  |  | St Martin's Primary School | [8 empty] | St Martin's Primary School |  | St Martin's Primary School |  | St Martin's Primary School |  | St Martin's Primary School |  | St Martin's Primary School |  | St Martin's Primary School |  | St Martin's Primary School |  |  | St Martin's Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Resident in its Catchment Area (continued) |  | Distribution of Children Attending School or Where it is the Nearest School |  | Distribution of Children Attending School or Where it is the Nearest School (continued) |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St Martin's Primary School |  |  | Survey Date:- | 2014-09-03 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2012-07-05 | [5 empty] | Areas | Standard Criteria (M2) (PAN 60) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 331.343 |  |  | Parental First Preference Applications | [19 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs V Walker | DFE Number:- | 2067 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 868 | 798.22 | 91.9608 |  |  |  | 60 | 420 | 63 | 441 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | 568.4786 |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [14 empty] | Rating: | 3
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 250 | 317.97 | 127.188 | [17 empty] | PAN | 70 | 70 | 70 | 60 | 60 | 60
Address:- | St Martin's Primary School, Hollybush Walk, Hereford HR2 6AF | Email:- | admin@st-martins.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 154 | 195.84 | 127.1688 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 31.5 | 63 | 58.1 | 39 | 28.98 | 34 | [14 empty] | Details: | Fully accessible
|  |  |  | 2015-09-03 | 3.7008 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 165 | 299.04 | 181.2364 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 64 | 71 | 75 | [5 empty] | Percentage | 45 | 90 | 83 | 65 | 48.3 | 56.6667
|  |  |  | 2016-09-02 | 697.1125 |  |  | 3.7008 |  |  | 2015-09-03 | 0 | 0 | 0.6682 | 0 | 0 | 0 | 0 | 0 | 1.028 | 0 | 2.0046 | 0 | 0 | 0 | C2 |  | 2 |  |  | 5 | 3 |  | Learning Resource | 124 | 132.08 | 106.5161 |  |  |  | 2008 / 2009 | 338 | 490 | 0 | 152 | 2013 | 55 | 71 | 75 | [26 empty] | Description: | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
|  |  |  | 2017-09-02 | 126.2127 |  |  | 697.1125 |  |  | 2016-09-02 | 0 | 0 | 0.4369 | 626.566 | 0 | 3.598 | 0 | 0 | 1.542 | 9.252 | 3.8036 | 51.914 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 4.83 | - |  |  |  | 2009 / 2010 | 307 | 490 | 0 | 183 | 2014 | 67 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01432 273633 F: 01432 277162 | School Cluster:- | Hereford District- The Hereford Academy | 2018-09-02 | 17.5017 |  |  | 126.2127 |  |  | 2017-09-02 | 0 | 0 | 0.5911 | 0 | 1.542 | 2.056 | 0.771 | 0 | 7.453 | 12.85 | 2.7756 | 98.174 | 0 | 0 | D2 | [7 empty] | Non Net Area | 550.08 | 668.5492 | 121.5367 |  |  |  | 2010 / 2011 | 319 | 490 | 0 | 171 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019-09-02 | 81.7517 |  |  | 17.5017 |  |  | 2018-09-02 | 0 | 0 | 0.9509 | 0 | 0 | 0 | 0 | 0 | 5.14 | 9.252 | 2.1588 | 0 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 2111.08 | 2416.5292 | 114.4689 |  |  |  | 2011 / 2012 | 321 | 420 | 0 | 99 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 671 | 724 | 742 | 791 | 810
[8 empty] | 81.7517 |  |  | 2019-09-02 | 0 | 0 | 0.5911 | 46.26 | 0 | 0 | 0 | 3.341 | 5.14 | 16.448 | 2.0046 | 7.967 | 0 | 0 | [15 empty] | 2012 / 2013 | 320 | 420 | 0 | 100 | [12 empty] | Number at School from Catchment | 196 | 216 | 207 | 214 | 232
School Type:- | Community | Building Number:- | IDAF | Total | 926.2794 | [5 empty] | Totals | 0 | 0 | 3.2382 | 672.826 | 1.542 | 5.654 | 0.771 | 3.341 | 20.303 | 47.802 | 12.7472 | 158.055 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 17983 | 21156.99 | 117.6499 |  |  |  | 2013 / 2014 | 344 | 420 | 0 | 76 | Pupils eligible for KS2 assessment |  |  |  | 57 | [7 empty] | Percentage at School from Catchment | 63.8436 | 67.7116 | 64.486 | 66.875 | 67.4419
Current Capacity:- | 420 | Site Area:- | 21156.99 | [30 empty] | Net Site Area (less the building area) | 15871.92 | 18740.4608 | 118.0731 |  |  |  | Current Occupancy | 323 | 420 | 0 | 97 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 14 | [7 empty] | Percentage of Catchment Going to School | 29.2101 | 29.8343 | 27.8976 | 27.0544 | 28.642
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 887.678 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 67
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 51 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 14 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 12 | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 0 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 38.6014 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 15 |  |  | Reception | 46 | 0 | 14 |  | Percentage making expected progress in reading |  |  |  | 86 | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 323; Parental First Preference Applications 2013: 323
|  |  |  | Roof Works |  | 676.0642 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 52 | 0 | 8 |  | Percentage making expected progress in writing |  |  |  | 84 | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 840; Parental First Preference Applications 2013: 205
|  |  |  | External Walls |  | 7.196 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 45 | 0 | 15 |  | Percentage making expected progress in maths |  |  |  | 85 | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 218; Parental First Preference Applications 2013: 87
|  |  |  | Windows and Doors |  | 4.112 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 58 | 0 | 2 |  | Average point score |  |  |  | 27.1 | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 67.4923; Parental First Preference Applications 2013: 26.935
|  |  |  | Internal Works |  | 68.105 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 45 | 0 | 15 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 25.9524; Parental First Preference Applications 2013: 42.439
Asset Summary |  |  |  | Mechanical and Electrical |  | 170.8022 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 100 |  |  | Five | 28 | 0 | 32 |  | Latest Ofsted Report Date:- |  | 2013-02-13
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 172.2222 |  |  | Six | 49 | 0 | 11 |  | Ofsted Result:- |  | Requires Improvement
Asset Value - Insurance (£000):- |  | 2676.123 | [38 empty] | Total | 323 | 0 | 97
Asset Value - Land (£000):- |  | Not Known | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | LA Maintained Nursery and PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | St Martin's Primary School |  |  | St Martin's Primary School |  |  | St Martin's Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | IDAF
Site Area:- | 21156.99
Asset Value (Insurance):- | 2676123
Asset Value (Land):- | Not Known
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | C
Electric consumption 2014/child:- | 331.343
Gas consumption 2014/child:- | 568.4786

## Maintenance
Maintenance and Condition Summary |  |  |  | BCIS Quarter | 3Q2014 | [11 empty] | Check | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-09-03 |  | BCIS Uplift | 1.028 | [16 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [16 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
Surveyor:- | [18 empty] | 3700.8 | 3700.8 | 2015-09-03 | 0 | 0 | 668.2 | 0 | 0 | 0 | 0 | 0 | 1028 | 0 | 2004.6 | 0 | 0 | 0 | 3Q2009 | 1.1898
[19 empty] | 697112.5 | 697112.5 | 2016-09-02 | 0 | 0 | 436.9 | 626566 | 0 | 3598 | 0 | 0 | 1542 | 9252 | 3803.6 | 51914 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [7 empty] | 126212.7 | 126212.7 | 2017-09-02 | 0 | 0 | 591.1 | 0 | 1542 | 2056 | 771 | 0 | 7453 | 12850 | 2775.6 | 98174 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-09-03 | 2016-09-02 | 2017-09-02 | 2018-09-02 | 2019-09-02 | Backlog | 2015-09-03 | 2016-09-02 | 2017-09-02 | 2018-09-02 | 2019-09-02 |  |  | 17501.7 | 17501.7 | 2018-09-02 | 0 | 0 | 950.9 | 0 | 0 | 0 | 0 | 0 | 5140 | 9252 | 2158.8 | 0 | 0 | 0 | 2Q2010 | 1.1789
[19 empty] | 81751.7 | 81751.7 | 2019-09-02 | 0 | 0 | 591.1 | 46260 | 0 | 0 | 0 | 3341 | 5140 | 16448 | 2004.6 | 7967 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | Insulated mineral felt roofing renewed 2004/2005. Satisfactory Condition - allow for phased replacements after 5 years. | 15000 | [5 empty] | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2010 | 1.1682
r | Roofs | Flat | Lead flat roofs present above dormers with rolls present at joints in sheets. Satisfactory, but allow for replacement in the medium term. | 15000 | [5 empty] | 15000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Individual Category totals | 0 | 0 | 3238.2 | 672826 | 1542 | 5654 | 771 | 3341 | 20303 | 47802 | 12747.2 | 158055 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Pitched | Interlocking profiled tiles to all pitched roofs. The tiled roofs are in original condition and should be replaced to match the other areas already completed on Block AB. | 450000 |  |  | 450000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 2Q2011 | 1.1525
r | Roofs | Pitched | Roof structure is iron trussed with intermediate purlins, roof pitches are boarded to underside. Roof void insulated with 150mm fibre glass quilt to ceilings. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Chimneys | 2 no. brick chimneys present - Satisfactory undertake any identified repairs when roof replacement is undertaken. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2011 | 1.1525
r | Roofs | Roof lights | Aluminium framed pyramid shaped roof lights present to flat roofed areas - all appear in satisfactory condition. UPVC domed roof lights renewed with roofing. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | External Grounds |  | 0 | 0 | [12 empty] | 1Q2012 | 1.1953
r | Roofs | Roof Drainage | Gutters and downpipes are cast iron ogee to the pitched roofs. Leaks at joints. Aluminium half round gutters and downpipes allow for replacement of guttering/downpipes to all older sections with any new roof works and continue with ongoing clearing/cleaning to all areas, addressing any localised joint leaks as required. | 7000 |  | 500 | 5000 | 500 | 500 | 500 | 0 | 500 | 0 | 500 | 500 | 500 |  |  |  | Roof Works |  | 676064.2 | 676064.2 | [12 empty] | 2Q2012 | 1.1174
r | Roofs | Other | Timber fascia's and soffits to all pitched roofs; gloss painted white - some minor repairs have been effected in part. Paint peeling in some sections to all original timber. Allow for decoration below and for replacement with any new roof works. | 20000 |  |  | 20000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | External Walls |  | 7196 | 7196 | [12 empty] | 3Q2012 | 1.1525
e | Redecoration | External | External decoration in need of attention to all timberwork. | 3500 |  |  | 3500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Windows & Doors |  | 4112 | 4112 | [12 empty] | 4Q2012 | 1.1473
e | External walls, windows and doors | Walls (including finishes) | Timber weather boarding to stores adjacent to main hall; some deterioration noted together with peeling paint - needs decoration to arrest any deterioration. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Internal Works |  | 68105 | 68105 | [12 empty] | 1Q2013 | 1.0983
e | External walls, windows and doors | Walls (including finishes) | Main walls are of brick/blockwork cavity construction and are in good order. Lead cladding to dormer cheeks appear to be in a satisfactory order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Mechanical & Electrical |  | 170802.2 | 170802.2 | [12 empty] | 2Q2013 | 1.089
e | External walls, windows and doors | Walls (including finishes) | Facing brick/block cavity walls to new link corridors. Satisfactory condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
w | External walls, windows and doors | Windows & Doors | Steel casements in s/w frames to high level areas. Timber beginning to rot to SW elevation. Beading loose in some areas. Steel casement windows to classroom throughout original fabric of building, in reasonable condition but inefficient regarding energy loss. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2013 | 1.0798
w | External walls, windows and doors | Windows & Doors | Hardwood doors appear in a satisfactory. Softwood doors fitted with SAA furniture and self closing mechanisms; panic bolts fitted where doors are used as fire exits or are locked during the school day. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Total |  | 926279.4 | 926279.4 | [12 empty] | 1Q2014 | 1.0447
w | External walls, windows and doors | Windows & Doors | UPVC / Aluminium double glazed doors and windows to all areas and in a satisfactory condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 2Q2014 | 1.0198
i | Internal walls and doors | Walls & Partitions (including finishes) | Internal walls in reasonable condition, some fair face brickwork present, some painted brickwork present. Brick built cross walls also present, some walls are plastered. Bush board WC cubicles to boy's and girl's toilets. Fibreboard partition present at first floor level between kitchen and WC areas. Ceramic wall tiling splash backs to wash hand basins. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 3Q2014 | 1.028
i | Internal walls and doors | Doors & Glazed Screens | Hardwood doors pre finished and with vision panels to refurbished classrooms fitted with a mixture of aluminium and steel ironmongery. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 4Q2014 | 1.0078
i | Floors and stairs | Floors (including finishes) | Ground floor to hall is polished parquet. Granolithic flooring to storerooms showing minor cracking. First floors are of timber construction finished with contract quality carpets to all areas except wet areas which have vinyl in place. Ground floors are cast in situ concrete with contract quality carpets to all areas except wet areas which are treated with non-slip welded vinyl. General wear was noted to all areas, allow for phased replacement of floor finishes as required, cost allowance made from year 2 onwards. | 8000 |  |  | 2000 | 2000 | 2000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | [19 empty] | 1Q2015 | 1
i | Floors and stairs | Staircases (including finishes) | Timber stairs covered in contract quality carpet with aluminium nosings to treads. These lead to first floor room/s, the use of these rooms in terms of occupancy levels is unknown, but with only a single access route to these areas and possible room within room situations the FRA should be reviewed and appropriate management systems in place to address this issue. | 500 |  | 500 |  |  |  |  | 0 | 500 | 0 | 0 | 0 | 0
i | Ceilings | All types | Fibreboard ceilings jointed to underside with timber battens. Some discolouration in main hall, due to apparent leaks. Acoustic ceiling tiles are in place in the nursery suspended in aluminium grid; some tiles are damaged, some are curling, ceiling is insulated by fibreglass quilt in plastic covering. Allowance to be made for isolated repairs. | 750 |  |  |  | 750 |  |  | 0 | 0 | 0 | 750 | 0 | 0
i | Fixed furniture and fittings | All types | All fixed cupboards, benching and tables etc. are in a satisfactory to poor condition or aged. Allow for phased replacements from year 3. | 3000 |  |  |  | 1000 | 1000 | 1000 | 0 | 0 | 0 | 1000 | 1000 | 1000
i | Fixed furniture and fittings | All types | Benching to ICT suite is in a satisfactory condition. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Decoration is in a satisfactory to poor condition dependant upon use of rooms and general wear and tear throughout to walls and ceilings (the fibreboard ceiling to the main hall is discoloured). Phased programme of decoration to be planned from year 2. | 10000 |  |  | 2500 | 2500 | 2500 | 2500 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Vitreous china WCs and wash hand basins to all toilets. Stainless steel sinks fitted to classrooms. Stainless steel urinals in boys toilets fitted with cistermiser. Allow for phased replacement from year 5 onwards. | 3750 | [5 empty] | 3750 | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | Exposed UPVC waste pipes to sanitary installations; bottle traps to sinks. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 no. CF 407, 174kW gas fired boilers with Nuway burners. These boilers are nearing the end of their life cycle and consideration should be given to renewal within 3 to 5 years. | 60000 |  |  |  | 60000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Single pipe black iron distribution to steel panel emitters and cast iron radiators. Generally satisfactory but becoming aged, especially the original cast iron radiators. Review condition and consider for renewal when boilers are renewed - provisional cost for year 3 only. | 15000 |  |  |  | 15000 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | New trend bus outstation in boiler panel. Satisfactory but will require updating with any new boilers. Provisional cost for year 3 only. | 7500 |  |  |  | 7500 |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework throughout. Where visible generally satisfactory. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Toilet extracts. Allow for cleaning by local site team. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Mechanical services | Gas Distribution | Gas meter in room 47. Pipework to cellar only. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Main incoming switchgear and distribution board in cellar. 12 way TPN crabtree merling gerin board in excellence cluster & room 68. Allow for PPM checks. | 750 |  | 100 | 100 | 350 | 100 | 100 | 0 | 100 | 100 | 350 | 100 | 100
m | Electrical services | Power and Associated Fittings | Metal clad surface mounted fittings. For lighting, PVC socket outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Mostly strip fluorescent luminaires. Some older pendant drop fittings. 2D fittings on corridors. Allow for PPM relamping and checks. | 750 |  | 150 | 150 | 150 | 150 | 150 | 0 | 150 | 150 | 150 | 150 | 150
m | Electrical services | Fire Alarms | Fire alarm panel 205 system appears upgraded. Break glass call points & sounders in corridor. Consideration to be given to upgrade fire alarm system to provide auto detection and addressable panel, this should include for review of fire strategy / FRA of the building at the same time. Continue with PPM of current system. | 20400 |  | 100 | 20000 | 100 | 100 | 100 | 0 | 100 | 0 | 100 | 100 | 100
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors throughout. Keypad at entrance. Allow for PPM checks | 375 |  | 75 | 75 | 75 | 75 | 75 | 0 | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | Telephone in nursery area. IT points in classrooms. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Exit and emergency luminaires were noted to some areas. A full review of system should be undertaken to ensure adequate provision is provided, this needs to be done in conjunction with the fire detection system. Continue with PPM checks of current fittings | 5400 |  | 100 | 5000 | 100 | 100 | 100 |  | 100 | 0 | 100 | 100 | 100
m | Electrical services | Electrical Heating | Hotspot wall mounted heaters in corridors 83 & 81. Allow for PPM check. | 50 |  |  | 25 |  | 25 |  |  | 0 | 25 | 0 | 25 | 0
r | Roofs | Flat | Built up felt roof over rooms 11 and 41; some repairs have been carried out; silver surface solution has been applied. Built up felt above cloaks to east end of block appears in satisfactory condition. Allow for new coverings by year 5. | 5000 | [5 empty] | 5000 |  | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | Unable to assess condition of lead flat roofs over dormer windows. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Flat | Insulated mineral felt to link corridor laid 2004/05. Allow for renewal after year 5. | 10000 | [5 empty] | 10000 |  | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Interlocking profiled tiles to all pitched roofs. The tiled roofs in original condition and should be replaced to match the other areas already completed on this Block. | 125000 |  |  | 125000 |  |  |  |  | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Cast iron ogee profile gutters and downpipes. Leaks to joints. Allow for replacement with any roof works, remaining guttering to re-roofed areas is a an good condition. | 3000 |  |  | 3000 |  |  |  |  | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Aluminium half round gutters and downpipes to link corridors. Allow for regular clearing. | 200 |  |  | 100 |  | 100 |  |  | 0 | 100 | 0 | 100 | 0
r | Roofs | Other | Softwood eaves, soffits and fascia's, gloss painted white - Fascia's rotting where gutter joints leaking. These require replacement with any new roof works to remaining original rooflines. All other boards have been replaced with new roof works. | 6500 |  |  | 6500 |  |  |  |  | 0 | 0 | 0 | 0 | 0
e | Redecoration | External | Exposed joinery to be decorated on a cyclical basis. | 2000 |  |  |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing external brickwork in a satisfactory order. Natural stone slab adjacent to front entrance door on South elevation. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | UPVC double glazed windows to all elevations and south elevation additional solar reflective coating. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Timber entrance doors in satisfactory condition but will require decoration to prolong life, consider changing to UPVC in medium term. | 3250 | [5 empty] | 3250 |  | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Ceramic tile splash backs to wash hand basins and sink units and to staff kitchen. Fair faced, painted brickwork to classrooms. Internal solid walls with plaster finish; plain emulsion. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Bush board toilet cubicles to all children's toilets in good order. Mild steel doors to storerooms off library/visual display area. Softwood entrance doors to classrooms, in good condition. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Carpet to solid concrete floors to all internal areas, contract quality; vinyl flooring in all wet areas with welded joints as necessary. Timber first floor construction with close boarded deck; carpeted to all areas except toilets and kitchen where vinyl is placed. Cast in situ concrete on ground floor, granolithic finish to all store rooms. General wear was noted to all areas, allow for phased replacement of floor finishes as required, cost allowance made from year 2. | 8000 |  |  | 2000 | 2000 | 2000 | 2000 |  | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Staircases (including finishes) | Timber stairs covered in contract quality carpet with aluminium nosings to treads. These lead to first floor room/s including staffroom and kitchen, the use of these rooms in terms of occupancy levels is unknown, but with only a single access route to these areas and possible room within room situations the FRA should be reviewed and appropriate management systems in place to address this issue. | 500 |  | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0
i | Ceilings | All types | 1.5m approx wide wood fibre panels jointed with timber battens to underside, painted white, discolouration noted to both staff toilets on first floor. Plasterboard and skim horizontal ceilings. Aluminium grid and acoustic tile suspended ceiling to library/visual display area, slight discolouration noted to tiles adjacent to cloaks. Allowance to made for isolated repairs. | 750 |  |  |  | 750 |  |  |  | 0 | 0 | 750 | 0 | 0
i | Fixed furniture and fittings | All types | All fixed benching, worktops, cupboards to classrooms and circulation areas appear in satisfactory condition. Kitchen units to staff kitchen in satisfactory condition. Allow for phased replacements from year 3. | 4500 |  |  |  | 1500 | 1500 | 1500 |  | 0 | 0 | 1500 | 1500 | 1500
i | Redecoration | Internal | Decoration is in a satisfactory to poor condition dependant upon use of rooms and general wear and tear throughout to walls and ceilings (the fibreboard ceiling to the main hall is discoloured). Phased programme of decoration to be planned from year 2. | 10000 |  |  | 2500 | 2500 | 2500 | 2500 |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Vitreous china sanitary fittings to all toilets. Stainless steel urinal to West wing toilets. Stainless steel sinks set in base unit to staff kitchen and classrooms. Allow for phased replacement from year 5 onwards. | 2000 | [5 empty] | 2000 |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All above ground drainage and waste pipes in reasonable condition, some slight discolouration to joints noted. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Black iron single pipe system supplying mix of cast iron and steel panel radiators. Generally satisfactory but becoming aged, especially the original cast iron radiators. Review condition and consider for renewal when boilers are renewed - provisional cost for year 3 only. | 10000 |  |  |  | 10000 |  |  |  | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework in ablutions and first floor kitchen. Electric storage heaters in ground floor toilets (room 80) and first floor kitchen. Room 10. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local extract fans in ablutions. Allow for cleaning by local site team. | 100 |  |  | 50 |  | 50 |  |  | 0 | 50 | 0 | 50 | 0
m | Electrical services | Control Gear and Equipment | Local distribution boards in rooms 40, 17, 11, 32. & first floor offices. Allow for PPM checks. | 750 |  | 100 | 100 | 350 | 100 | 100 |  | 100 | 100 | 350 | 100 | 100
m | Electrical services | Power and Associated Fittings | Mostly surface mounted metal clad fittings. Old but no signs of damage or arcing. PVC socket outlets. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Part upgraded in some classrooms & new luminaries in corridor. Mix of fluorescent batten and pendant drop fittings. 2D fittings on corridor. Allow for re-lamping PPM | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Fire Alarms | Appear part upgraded. 7 zone fire alarm panel located in corridor (room 23). Break glass & sounders on corridor. Consideration to be given to upgrade fire alarm system to provide auto detection and addressable panel, this should include for review of fire strategy / FRA of the building at the same time. Continue with PPM of current system. | 15400 |  | 100 | 15000 | 100 | 100 | 100 |  | 100 | 0 | 100 | 100 | 100
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors throughout. Keypad at entrance. Allow for PPM checks | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Electrical services | Communications Systems | Telephone, IT outlets in classrooms & corridor. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Exit and emergency luminaires were noted to some areas. A full review of system should be undertaken to ensure adequate provision is provided, this needs to be done in conjunction with the fire detection system. Continue with PPM checks of current fittings | 5400 |  | 100 | 5000 | 100 | 100 | 100 |  | 100 | 0 | 100 | 100 | 100
m | Electrical services | Electrical Heating | Corridor heating appear recent. Located in office (room 21), first floor kitchen, corridor & IT hub room 12. Allow for PPM check | 50 |  |  | 25 |  | 25 |  |  | 0 | 25 | 0 | 25 | 0
m | Electrical services | Other | Electric water storage heaters in toilets and first floor kitchen. Allow for PPM check. | 50 |  |  | 25 |  | 25 |  |  | 0 | 25 | 0 | 25 | 0
r | Roofs | Flat | Built up felt flat roofing this has been replaced in recent years, unable to fully inspect but assumed to be in a satisfactory condition with no leaks being reported. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | Osma roof drainage downpipe and hopper fixed to South elevation of building. Internal downpipes blocked off. Allow for regular cleaning. | 500 |  |  | 250 |  | 250 |  |  | 0 | 250 | 0 | 250 | 0
r | Redecoration | External | Curtain walling self-finished. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | External masonry walls are in good order, presumed brick and block cavity construction. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | UPVC double glazed. Windows and doors. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Glazed Screen & Curtain Walling | UPVC curtain walling installed 2003. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Walls & Partitions (including finishes) | Ceramic tiling to toilets. Plasterboard stud partition between toilets and cloakrooms. Glazed partition to cloakrooms from circulation spaces; safety film to glazing generally in a satisfactory order. Allow for decorations as noted below. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Timber internal doors to classrooms, cloaks and toilet areas. SAA furniture to doors appears in a satisfactory order. Include with decorations. Consider upgrading to new doors as part of any refurbishment works. | 5000 | [5 empty] | 5000 |  | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Timber first floor construction with contract quality carpets to all areas except wet areas where vinyl is placed. Ground floor is cast in situ concrete with contract quality carpet to all areas except wet areas where vinyl flooring is in place. RM 4 - sink moved when new curtain walling installed - no vinyl around sink. Allow for phased replacement of floor coverings. | 3000 |  |  |  | 1000 | 1000 | 1000 |  | 0 | 0 | 1000 | 1000 | 1000
i | Floors and stairs | Staircases (including finishes) | Timber staircase clad in carpet with anti- slip nosings and horizontal timber balustrades. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plaster ceilings to all classrooms, circulation areas and toilets. Minor damp stains to first floor toilet monitor. | 250 |  |  |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0
i | Fixed furniture and fittings | All types | All fixed cupboards, benching and tables etc. are in a satisfactory to poor condition or aged. Allow for phased replacements from year 3. | 1500 |  |  |  | 500 | 500 | 500 |  | 0 | 0 | 500 | 500 | 500
i | Redecoration | Internal | Spray applied flock paint finish to plasterwork internally in classrooms and circulation areas. First floor cloaks and girls toilets. Decoration is in a satisfactory to poor condition dependant upon use of rooms and general wear and tear throughout to walls and ceilings. Phased programme of decoration to be planned from year 2. | 5000 |  |  | 1500 | 1500 | 1000 | 1000 |  | 0 | 1500 | 1500 | 1000 | 1000
m | Sanitary services | Fittings | Vitreous China Sanitary fittings. Allow for replacements after year 5. | 2000 | [5 empty] | 2000 |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All visible pipework in functional condition - no leaks noted. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Single pipe black iron distribution to steel panel emitters. Generally satisfactory but becoming aged, especially the original cast iron radiators. Review condition and consider for renewal when boilers are renewed - provisional cost for year 3 only. | 3000 |  |  |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Ventilation | Toilet extracts. Allow for cleaning by local site team. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Control Gear and Equipment | Distribution board '1B' in room 9. Allow for PPM checks | 750 |  | 100 | 100 | 350 | 100 | 100 |  | 100 | 100 | 350 | 100 | 100
m | Electrical services | Power and Associated Fittings | Surface PVC fittings. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Strip fluorescent fittings throughout. Allow for re-lamping PPM. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Fire Alarms | Break glass point and bell at exit. Consideration to be given to upgrade fire alarm system to provide auto detection and addressable panel, this should include for review of fire strategy / FRA of the building at the same time. Continue with PPM of current system. | 3900 |  | 100 | 3500 | 100 | 100 | 100 |  | 100 | 0 | 100 | 100 | 100
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors throughout. Keypad at entrance. Allow for PPM checks | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Electrical services | Emergency Lighting | Exit and emergency luminaires were noted to some areas. A full review of system should be undertaken to ensure adequate provision is provided, this needs to be done in conjunction with the fire detection system. Continue with PPM checks of current fittings. | 1400 |  | 100 | 1000 | 100 | 100 | 100 |  | 100 | 1000 | 100 | 100 | 100
r | Roofs | Flat | Built up felt roof to link between Year 6 Block and South Wing - warm deck construction. Satisfactory condition. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Pitched | Profiled interlocking clay tiles approx 30 degree pitch. Satisfactory condition. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | Small pyramid profile roof light approx 450mm x 1000mm to flat roof. Velux roof lights present in West slope of roof to provide light to classrooms. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | White powder coated 100mm half round aluminium gutters to flat and pitched roofs discharging to aluminium downpipes. Build up of debris, allow for cleaning and address any leaks in year 1 | 450 |  | 150 | 75 | 75 | 75 | 75 |  | 150 | 75 | 75 | 75 | 75
e | Redecoration | External | Softwood soffits and barge boards. Generally satisfactory and continue with cyclical decoration. | 1500 |  |  |  | 1500 |  |  |  | 0 | 0 | 1500 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Brick/blockwork cavity wall, stretcher bond; intermediate piers are present. Timber tongue and grove panels to East elevation, painted green. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Green powder coated windows; bottom hung lights; double glazed. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | External doors, timber - good quality of manufacture, painted green. Allow for decoration. | 750 |  |  |  | 750 |  |  |  | 0 | 0 | 750 | 0 | 0
e | Internal walls and doors | Walls & Partitions (including finishes) | All internal walls plastered and skimmed; walls adjacent to timber cladding are timber framed construction. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | Timber entrance doors to classrooms fitted with self closing mechanisms. Partially glazed screens to classrooms from corridors. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Floors (including finishes) | Cast insitu concrete floors with vinyl flooring to North entry door, anti-slip flooring to sink area and contract quality carpets elsewhere. Allow for phased replacement of finishes in a phased approach from year 5. | 2000 | [5 empty] | 2000 |  | 0 | 0 | 0 | 0 | 0
i | Ceilings | All types | Plasterboard ceilings throughout; light shafts constructed to service Velux roof lights in classrooms; white painted skimmed finish. Ceilings insulated with blown wool insulation. Some old leaks/stains address at time of next redecoration. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Wooden shelves, cupboards etc. in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Walls emulsion painted white; ceramic tiled areas adjacent to sink units. Allow for cyclical decorations | 3500 |  |  |  | 3500 |  |  |  | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | 2 no. stainless steel sink units present, 3 no. 200mm ceramic tile splash backs present; hot water supplied by Solectra RCH electric water heater. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | two pipe black iron system supplying steel panel emitters. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework. Electric water heater in corridor. PPM check for water heater. | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Control Gear and Equipment | Distribution board '11' in room 97a. Allow for PPM checks | 125 |  | 25 | 25 | 25 | 25 | 25 |  | 25 | 25 | 25 | 25 | 25
m | Electrical services | Power and Associated Fittings | PVC fittings throughout. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent luminaires throughout. Allow for re-lamping PPM. | 250 |  | 50 | 50 | 50 | 50 | 50 |  | 50 | 50 | 50 | 50 | 50
m | Electrical services | Security Alarms / CCTV | Passive infra red detectors throughout. Keypad at entrance. Allow for PPM checks. | 375 |  | 75 | 75 | 75 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75
m | Electrical services | Emergency Lighting | Exit and emergency luminaires were noted to some areas. A full review of system should be undertaken to ensure adequate provision is provided, this needs to be done in conjunction with the fire detection system. Continue with PPM checks of current fittings. | 1150 |  | 100 | 750 | 100 | 100 | 100 |  | 100 | 750 | 100 | 100 | 100
m | Electrical services | Fire Alarms | Break glass call points and bells in main room plus smoke detectors. No control panel found so may be part of main school system. Consideration to be given to upgrade fire alarm system to provide auto detection and addressable panel, this should include for review of fire strategy / FRA of the building at the same time. Continue with PPM of current system. | 2400 |  | 100 | 2000 | 100 | 100 | 100 |  | 100 | 0 | 100 | 100 | 100
m | Electrical services | Emergency Lighting | Exit and emergency luminaires were noted to some areas. A full review of system should be undertaken to ensure adequate provision is provided, this needs to be done in conjunction with the fire detection system. Continue with PPM checks of current fittings. | 1150 |  | 100 | 750 | 100 | 100 | 100 |  | 100 | 750 | 100 | 100 | 100
m | Electrical services | Electrical Heating | 3 no. electric heaters in main room. Fan heater in toilet. 2 no. electric heaters in conservatory. Allow for PPM check. | 50 |  |  | 25 |  | 25 |  |  | 0 | 25 | 0 | 25 | 0
g | External areas | Roads and Car Parks | Tarmac coated parking areas in a satisfactory order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Hard Playing Areas | Tarmac coated hard play areas, some paint has been applied and is fading, otherwise in a satisfactory condition. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Larch lap panel fencing reinforced to bottom with 1.2m high plywood. Steel bow top railings between west end of South block and perimeter fence; including double steel gate. Metal railings to Western perimeter and path to Ross Road supported in part on concrete posts. Stone wall to boundary with Church approx 1.5m high. 3m and 2m steel weldmesh fencing to eastern boundary on angle iron posts. 3m high chain-link fence to eastern boundary. 2m high bow top railings and gate to east of North wing to give access to quadrangle - self coloured galvanised finish. Approx 1.5m high chain-link fencing supported by concrete posts; metal entrance gate to vehicular access all in good order. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 2 no. brick built out buildings with built up felt flat roofs - appear to be satisfactory. No problems reported. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | No problems reported. | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Mechanical services- heating distribution, emitters and controls- generally (block AA) | m | mc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Roofs- drainage- Pitched roof- cast iron (block AA) | r | rc2 | C2 | 0 | 2 | 0 | 0 | 5 | 3 | 0
|  |  |  | c | 2 | Fixed furniture and fittings- Teaching- other- generally (block AB) | i | ic2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | floors and stairs- Screed and finish- carpet (block AB) | i | ic2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Staircases- Treads and risers- Vinyl/rubber/cork/carpet in tiles (block AB) | i | ic2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Mechanical services- Heating distribution emitters and controls- Generally (block AB) | m | mc2
|  |  |  | c | 2 | Roofs- Drainage- Pitched roof- Cast iron (block AB) | r | rc2
|  |  |  | c | 2 | Floors and stairs- Screed and finish- carpet- (block AC) | i | ic2
|  |  |  | c | 2 | Internal walls and doors- Doors- timber (block AC) | i | ic2
|  |  |  | c | 2 | Mechanical services - heating distribution, emitters and controls- generally (block AC) | m | mc2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [12 empty] | Compliance Comparison |  |  | 2 | Form of entry | PAN | 60
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [11 empty] | Total area | Shortfall | Surplus | 2011 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 6 | General classroom | 57.3 | [10 empty] | 57.3 | 4.7 | 0
|  |  | 1 | 62 | 62 | 8 | General classroom | 57 | [10 empty] | 57 | 5 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 1 | General classroom | 56.02 | [10 empty] | 56.02 | 5.98 | 0 | 1 | No. Temp Buildings on Site
|  |  | 1 | 62 | 62 | 4 | General classroom | 56.93 | [10 empty] | 56.93 | 5.07 | 0
|  | Classroom - Year 2 | 1 | 62 | 62 | 11, 100 | General classroom | 48.78 | 0.89 | [9 empty] | 49.67 | 12.33 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  |  | 1 | 62 | 62 | 12 | General classroom | 46.74 | [10 empty] | 46.74 | 15.26 | 0 | 15 | No. of Classrooms
|  | Classroom - Year 3 | 1 | 62 | 62 | 13 | General classroom | 55.7 | [10 empty] | 55.7 | 6.3 | 0 | 14 | Required No. of Classroooms
|  |  | 1 | 62 | 62 | 39 | General classroom | 46.89 | [10 empty] | 46.89 | 15.11 | 0
|  | Classroom - Year 4 | 1 | 62 | 62 | 40 | General classroom | 46.73 | [10 empty] | 46.73 | 15.27 | 0
|  |  | 1 | 62 | 62 | 41, 42, 101 | General classroom | 47.18 | 9.24 | 0.87 | [8 empty] | 57.29 | 4.71 | 0
|  | Classroom - Year 5 | 1 | 62 | 62 | 63 | General classroom | 46.04 | [10 empty] | 46.04 | 15.96 | 0
|  |  | 1 | 62 | 62 | 64 | General classroom | 46.41 | [10 empty] | 46.41 | 15.59 | 0
|  | Classroom - Year 6 | 1 | 62 | 62 | 95 | General classroom | 58.4 | [10 empty] | 58.4 | 3.6 | 0
|  |  | 1 | 62 | 62 | 96 | General classroom | 58.46 | [10 empty] | 58.46 | 3.54 | 0
|  |  | 0 | 0 | 0 | 97 | General classroom | 58.64 | [10 empty] | 58.64 | 0 | 58.64
|  | Practical area / food bay | 0 | 0 | 0 | 98a, 98c | Practical area | 6.01 | 5.64 | [9 empty] | 0 | 0 | 0 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 65 | IT room | 57.23 | [10 empty] | 0 | 0 | 0 | 100% | of classrooms are small
[5 empty] | 868 | [13 empty] | 798.22 | 128.42 | 58.64 | 91.96% | of the recommended basic teaching space required
[21 empty] | 739.58 | 85.21% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [21 empty] | 14.79% | shortfall in basic teaching space
| 1 | Main hall | 1 | 180+70 | 250 | 44, 56 | Hall | 192.66 | 125.31 | [9 empty] | 317.97 | 0 | 67.97
[5 empty] | 250 | [13 empty] | 317.97 | 0 | 67.97 | 127.2% | of the recommended hall size
Storage | [21 empty] | 0% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 2 | 3 | 6 | [13 empty] | 0 | 6 | 0
| 2 | Coat and bag storage - Year 1 | 2 | 3 | 6 | 2 | Cloakroom | 9.49 | [10 empty] | 9.49 | 0 | 3.49
| 3 | Coat and bag storage - Year 2 | 2 | 3 | 6 | [13 empty] | 0 | 6 | 0
| 4 | Coat and bag storage - Year 3 | 2 | 3 | 6 | 98 | Cloakroom in corridor recess | 3 | [10 empty] | 3 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 2 | 3 | 6 | 19a | Cloakroom | 10.21 | [10 empty] | 10.21 | 0 | 4.21
| 6 | Coat and bag storage - Year 5 | 2 | 3 | 6 | 57 | Cloakroom | 14.85 | [10 empty] | 14.85 | 0 | 8.85
| 7 | Coat and bag storage - Year 6 | 2 | 3 | 6 | 99 | Cloakroom | 13.44 | [10 empty] | 13.44 | 0 | 7.44
| 8 | Teaching storage - Year R | 2 | 2 | 4 | [13 empty] | 0 | 4 | 0
| 9 | Teaching storage - Year 1 | 2 | 2 | 4 | [13 empty] | 0 | 4 | 0
| 10 | Teaching storage - Year 2 | 2 | 2 | 4 | [13 empty] | 0 | 4 | 0
| 11 | Teaching storage - Year 3 | 2 | 2 | 4 | [13 empty] | 0 | 4 | 0
| 12 | Teaching storage - Year 4 | 2 | 2 | 4 | [13 empty] | 0 | 4 | 0
| 13 | Teaching storage - Year 5 | 2 | 2 | 4 | [13 empty] | 0 | 4 | 0
| 14 | Teaching storage - Year 6 | 2 | 2 | 4 | 118 | Store room | 2.01 | [10 empty] | 2.01 | 1.99 | 0
| 15 | Specialist walk in stores | 4 | 5 | 20 | 50, 51, 30, 31, 35, 22, 31, 67b, 89a, | Store room | 9.72 | 13.29 | 10.91 | 4.06 | 1.55 | 1.47 | 4.06 | 6.5 | 6.2 |  |  | 57.76 | 0 | 37.76
| 18 | Indoor PE equipment storage | 1 | 25 | 25 | 54 | Store room | 12.37 | [10 empty] | 12.37 | 12.63 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | 43 | Store room | 8.78 | [10 empty] | 8.78 | 0 | 8.78
|  | Bulk stock store | 1 | 4 | 4 | UNE, 24a | Store room |  | 1.53 | [9 empty] | 1.53 | 2.47 | 0
| 21 | Caretakers and maintenance store | 1 | 5 | 5 | 75, 26 | Caretakers room | 19.81 | 3.72 | [9 empty] | 23.53 | 0 | 18.53
| 22 | Cleaning store | 2 | 3 | 6 | 17, 102, 58 | Cleaners store room | 1.54 | 0.91 | 18.28 | [8 empty] | 20.73 | 0 | 14.73
| 23 | Table and chair store | 1 | 16 | 16 | 46 | Store room | 18.14 | [10 empty] | 18.14 | 0 | 2.14
| 25 | Staging/ appliance store | 1 | 4 | 4 | [13 empty] | 0 | 4 | 0
|  | Mobility equipment store | 2 | 2 | 4 | [13 empty] | 0 | 4 | 0
| 24 | Store for community | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
[5 empty] | 154 | [13 empty] | 195.84 | 64.09 | 105.93 | 127.2% | of the recommended storage space required
Staff and admin | [21 empty] | 41.62% | shortfall
| 1 | Heads office | 1 | 16 | 16 | 24 | Heads office | 20.59 | [10 empty] | 20.59 | 0 | 4.59
| 3 | Staff room work and social | 1 | 61 | 61 | 28, 33, 34 | Staffroom | 10.81 | 35.39 | 19.75 | [8 empty] | 65.95 | 0 | 4.95
|  | Staff PPA | 1 | 20 | 20 | [13 empty] | 0 | 20 | 0
| 4 | Senior management office | 1 | 12 | 12 | 21, 68e, 45, 60, 66/66a/67/67a | office x 5 | 25.44 | 13.15 | 9.53 | 18.82 | 4.87 | 4.96 | 3.03 | 1.35 |  |  |  | 81.15 | 0 | 69.15
| 7 | General office (reception) | 1 | 12 | 12 | 68f | Reception (office) | 25.5 | [10 empty] | 25.5 | 0 | 13.5
| 8 | Secure reception | 1 | 6 | 6 | UNA | Entrance | 23.31 | [10 empty] | 23.31 | 0 | 17.31
| 9 | Reprographics room | 1 | 9 | 9 | UNB | Photocopying room | 15.57 | [10 empty] | 15.57 | 0 | 6.57
| 10 | Meeting room | 1 | 16 | 16 | 68, 68d, 49 | Meeting room x 2 | 8.27 | 12.37 | 46.33 | [8 empty] | 66.97 | 0 | 50.97
| 11 | Sick bay | 1 | 3 | 3 | [13 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 10 | 10 | [13 empty] | 0 | 10 | 0
[5 empty] | 165 | [13 empty] | 299.04 | 33 | 167.04 | 181.2% | of the recommended staff and admin space required
Learning resource area | [21 empty] | 20% | shortfall
| 1 | Library (learning resource centre) | 1 | 45 | 45 | 16 | Library | 34.49 | [10 empty] | 34.49 | 10.51 | 0
| 3 | Small group room | 5 | 11 | 55 | 19, 89, 48 | Small group room x 3 | 9.44 | 12.51 | 46.56 | [8 empty] | 68.51 | 0 | 13.51
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | UNC | General office | 10.33 | [10 empty] | 10.33 | 1.67 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | 18, 18a, 20 | MI room - changing bed sink, 1 wc | 13.74 | 2.89 | 2.12 | [8 empty] | 18.75 | 0 | 6.75
[5 empty] | 124 | [13 empty] | 132.08 | 12.18 | 20.26 | 106.5% | of the recommended learning resource areas
Supplementary area | [21 empty] | 9.823% | shortfall
| 1 |  | 0 | 0 | 0 | 103 | Utility room | 4.83 | [10 empty] | 4.83 | 0 | 4.83
|  |  | 0 | 0 | 0 | [13 empty] | 0 | 0 | 0
|  |  | 0 | 0 | 0 | [13 empty] | 4.83 | 0 | 4.83 | - | of the recommended supplementary areas
Non net areas | [21 empty] | - | shortfall
| 1 | Reception toilets | 6 | 2 | 12 | 7a,9,128 | 6 wc's | inc | 21.14 | [9 empty] | 21.14 | 0 | 9.14 | 6 | Number of reception toilets
| 1 | Pupils toilets | 18 | 2 | 36 | 3,10,55a,55b, 57a, 57b, 80,80a,80c | 23 wc's 8 urinals | 7.42 | 20.5 | 9.17 | 13.33 | 9.61 | 11.44 | 11.83 | 4.23 |  |  |  | 87.53 | 0 | 51.53 | 31 | Number of other pupil toilets
| 2 | Staff toilets | 3 | 2 | 6 | 25,24b,25a,29,29a,36,36a,52,61,68b,68c | Staff wc's | 1.85 | 2.15 | 2.22 | 2.11 | 2.09 | 2.6 | 2.46 | 4.79 | 4.58 | 1.65 | 1.64 | 28.14 | 0 | 22.14 | 100% | % of recommended reception toilets
| 3 | Accessible toilet | 2 | 3 | 6 | [13 empty] | 0 | 6 | 0 | 172.2% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [13 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 41 | 41 | 59 | Kitchen | 7.26 | [10 empty] | 7.26 | 33.74 | 0
| 5 | Corridors | - | 22.5% | 351.225 | 5,7,7b,7c,14,16a,23,23a,27,27a,32,32a,52a,53,53a,53b,55,80b,81,81a,82,82a,83,83a,84,84a,84b,98,98b,117,121,55c,55d,61a,62,68a,122,123,124,125,126,UND, UNK | Corridors | 447.3 | [10 empty] | 447.3 | 0 | 96.075
| 6 | Boiler room | 1 | 1.5% | 23.415 | 119, 120, 97a | Boiler room | 0.71 | 0.7 | 0.51 | [8 empty] | 1.92 | 21.495 | 0
| 7 | Server | in boiler |  |  | 37 | IT Server room | 5.34 | [10 empty] | 5.34 | 0 | 5.34
|  | Walls | - | 4% | 62.44 |  |  | 69.9192 | [10 empty] | 69.9192 | 0 | 7.4792
[5 empty] | 550.08 | [13 empty] | 668.5492 | 73.235 | 191.7042 | 121.5% | of the recommended non net area
Additional area- School Nursery Class | [21 empty] | 13.31% | shortfall
|  | Nursery class | 1 | 62 | 62 | 86, 86a | Nursery classroom | 23.3 | 61.78 | [9 empty] | 85.08 | 0 | 23.08
|  | Quiet room | 1 | 8 | 8 | 47 | Kitchen | 4.98 | [10 empty] | 4.98 | 3.02 | 0
|  | Nursery store room | 1 | 2 | 2 | 87, 88, 115 | Store room | 4.68 | 7.73 | 19.73 | [8 empty] | 32.14 | 0 | 30.14
|  | Nursery office | 1 | 8 | 8 | 129 | Store room | 1.69 | [10 empty] | 1.69 | 6.31 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 104 | Cloakroom | 12.68 | [10 empty] | 12.68 | 0 | 9.68
|  | Nursery pupils toilets | 3 | 2 | 6 | 93 | 5 wcs | 11.43 | [10 empty] | 11.43 | 0 | 5.43
|  | Nursery staff toilets | 1 | 2 | 2 | 102a | 1 wc | 2.96 | [10 empty] | 2.96 | 0 | 0.96
|  | Nursery entrance | 1 | 22.5% | 1.8675 | 114 | Entrance | 7.23 | [10 empty] | 7.23 | 0 | 5.3625
[5 empty] | 92.8675 | [13 empty] | 158.19 | 9.33 | 74.6525
Additional area- Play and Learn PVI | [21 empty] | 10.05% | shortfall
|  | Nursery class | 1 | 62 | 62 | 103-113a | Nursery | 201 | 61.78 | [9 empty] | 262.78 | 0 | 200.78
|  | Quiet room | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 |  |  |  | 7.73 | [9 empty] | 7.73 | 0 | 5.73
|  | Nursery office | 1 | 8 | 8 | [13 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [13 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [13 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [13 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [13 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [13 empty] | 270.51 | 28.8675 | 206.51
Total Net area |  |  |  |  | 1561 | [13 empty] | 1747.98
Total Non-Net area |  |  |  |  | 550.08 | [13 empty] | 668.5492
Gross (total build) area - excluding nursery |  |  |  |  | 2111.08 | [13 empty] | 2416.5292 |  |  | 114.5% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 2296.815 | [13 empty] | 2845.2292
Net Area Range |  |  |  |  | 2072.0-2290.0
Mid Range |  |  |  |  | 2181.5
Total Site Area Range |  |  |  |  | 15984.0-19983.0
Mid Range |  |  |  |  | 17983
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
60 | 420 | 63 | 441
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 338 | 307 | 319 | 321 | 320 | 344
Maximum Capacity | 490 | 490 | 490 | 420 | 420 | 420
Number of Surplus Places | 152 | 183 | 171 | 99 | 100 | 76
% of surplus places | 31.0204 | 37.3469 | 34.898 | 23.6 | 23.8 | 18.0952
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 46 | 52 | 45 | 58 | 45 | 28 | 49 | 323

## School stats
Current Ofsted | Year
Requires Improvement | 2013-02-13
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 64% | 55% | 67%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 57
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 14% | 27% | 14% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 67% | 18% | 82% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 51% | 0% | 64% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 12% | 0% | 5% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 86% | 91% | 86% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 84% | 91% | 82% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 85% | 82% | 86% | SUPP
Average point score | 27.1
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 15% | 13%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 58% | 74%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 31% | 68%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 8% | 16%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | 89% | 83%
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | 84% | 83%
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 85% | 84%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.5 | 98.8 | 100.3 | 63%
Reading value added measure | 98.9 | 98.1 | 99.8 | 63%
Writing TA value added measure | 99.2 | 98.3 | 100 | 63%
Maths value added measure | 100.1 | 99.1 | 101 | 63%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 23% | 19% | 37% | 30%
Percentage achieving Level 4 or above | 77% | 81% | 63% | 70%
Percentage achieving Level 4b or above | 56% | 65% | 49% | NA
Percentage achieving Level 5 or above | 26% | 37% | 32% | 12%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.8% | 4.8%
Persistent absence: around 15% + | 7.5% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 358
Percentage of pupils eligible for Free School Meals (FSM) | 21.8%
Free school meals eligibility band | MEDIUM
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4685 (97%) | 4835 | 4658 | 4325
Self generated income | 146 (3%) | 45 | 95 | 127
Total income | 4831 | 4880 | 4783 | 4479
Teaching staff | 2212 (47%) | 2495 | 2118 | 2106
Supply Staff | 94 (2%) | 79 | 133 | 127
Education support staff | 1004 (21%) | 915 | 877 | 733
Learning resources (not ICT equipment) | 202 (4%) | 137 | 193 | 184
ICT learning resources | 141 (3%) | 97 | 69 | 66
Bought in professional services - curriculum | 82 (2%) | 64 | 77 | 67
Back office (incl. Staff costs) | 303 (6%) | 303 | 358 | 351
Catering (incl. Staff costs) | 102 (2%) | 86 | 117 | 75
Premises (incl. Staff costs) | 213 (5%) | 213 | 330 | 301
Other staff costs | 223 (5%) | 156 | 154 | 142
Energy | 63 (1%) | 59 | 70 | 65
Other expenditure | 90 (2%) | 130 | 91 | 88
Total expenditure | 4729 | 4725 | 4717 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3063 | 3125 | 3361 | 3216
Supply staff | 143 | 187 | 49 | 94
Back office (incl. Staff costs) | 282 | 332 | 297 | 303
Energy | 56 | 61 | 90 | 63
Total expenditure | 4517 | 4809 | 4904 | 4729
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 22 | 236728
Headcount of all teaching assistants in a school | 26 | 239340
Headcount of all support (exc. auxillary) staff in a school | 12 | 77335
Full-time equivalent number of all teachers in a school | 18.3 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 17.3 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 6.4 | 51728.3
Ratio of pupils to teachers in a school | 19.6 | 20.5
Average gross salary of all teachers in a school | 34262 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 307 | 319 | 321 | 320 | 344 |  |  |  | NOR |  |  |  |  | 323 | 323
PAN | 70 | 70 | 70 | 60 | 60 | 60 |  |  |  |  | Number | 196 | 216 | 207 | 214 | 232 |  |  |  | Total in area |  |  |  |  | 840 | 205
No. | 31.5 | 63 | 58.1 | 39 | 28.98 | 34 |  |  |  |  | % | 63.8436 | 67.7116 | 64.486 | 66.875 | 67.4419 |  |  |  | Number at School from area |  |  |  |  | 218 | 87
% | 45 | 90 | 83 | 65 | 48.3 | 56.6667 | [13 empty] | % at School |  |  |  |  | 67.4923 | 26.935
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 25.9524 | 42.439
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 671 | 724 | 742 | 791 | 810
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | St Peter's, Bromyard | Garway | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Holme Lacy | Kingstone & Thruxton | Ledbury | Marden | Burley Gate C E | Clehonger C E | St Mary’s C E, Credenhill | Holmer C E | Little Dewchurch CE | Much Birch C E | Stretton Sugwas C E | St Michael's C E, Bodenham | Bridstow CE | St James’ C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2063 | Marlbrook | Number | 1 | 2 | 0 | 1 | 2 | 296 | 80 | 3 | 3 | 6 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 24 | 0 | 421
2063 | Marlbrook | % | 0.23753 | 0.47506 | 0 | 0.23753 | 0.47506 | 70.3088 | 19.0024 | 0.71259 | 0.71259 | 1.4252 | 0 | 0.23753 | 0 | 0 | 0 | 0 | 0.23753 | 0 | 0 | 0 | 0 | 0 | 0.23753 | 5.7007 | 0 | 100
2067 | St Martin’s | Number | 0 | 1 | 7 | 0 | 2 | 67 | 232 | 1 | 4 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 2 | 5 | 16 | 0 | 344
2067 | St Martin’s | % | 0 | 0.2907 | 2.0349 | 0 | 0.5814 | 19.4767 | 67.4419 | 0.2907 | 1.1628 | 0.87209 | 0.2907 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2907 | 0.2907 | 0.2907 | 0 | 0.5814 | 1.4535 | 4.6512 | 0 | 100
3071 | Little Dewchurch CE | Number | 0 | 0 | 1 | 0 | 0 | 1 | 28 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 5 | 0 | 0 | 2 | 0 | 0 | 8 | 0 | 71
3071 | Little Dewchurch CE | % | 0 | 0 | 1.4085 | 0 | 0 | 1.4085 | 39.4366 | 0 | 2.8169 | 1.4085 | 0 | 0 | 0 | 0 | 0 | 0 | 32.3944 | 7.0423 | 0 | 0 | 2.8169 | 0 | 0 | 11.2676 | 0 | 100
3393 | Riverside Primary | Number | 0 | 1 | 4 | 0 | 14 | 194 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 3 | 0 | 1 | 0 | 0 | 0 | 2 | 5 | 125 | 1 | 438
3393 | Riverside Primary | % | 0 | 0.22831 | 0.91324 | 0 | 3.1963 | 44.2922 | 19.4064 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45662 | 0.22831 | 0.68493 | 0 | 0.22831 | 0 | 0 | 0 | 0.45662 | 1.1416 | 28.5388 | 0.22831 | 100
Where school children in the Schools Catchment are are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Brockhampton | St Peter's, Bromyard | Burghill Community | Ewyas Harold | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kings Caple | Kingstone & Thruxton | Leominster Junior | Lugwardine | Madley | Marden | Peterchurch | Ashfield Park | St Weonards | Sutton | Weobley | Withington | Canon Pyon C E | Clehonger C E | St Mary’s C E, Credenhill | Holmer C E | Little Dewchurch CE | Mordiford C E | Much Birch C E | Stretton Sugwas C E | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St James’ C E, Hereford | St Pauls CE | Ivington C E | Pencombe C E | St Josephs RC | Whitchurch C E | St Thomas Cantilupe C E | Riverside | Grand Total
2063 | Marlbrook | Number | 0 | 0 | 3 | 0 | 1 | 0 | 5 | 50 | 296 | 67 | 8 | 0 | 8 | 1 | 0 | 16 | 0 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 16 | 1 | 14 | 1 | 1 | 22 | 0 | 0 | 95 | 4 | 6 | 4 | 1 | 0 | 0 | 1 | 16 | 194 | 843
2063 | Marlbrook | % | 0 | 0 | 0.35587 | 0 | 0.11862 | 0 | 0.59312 | 5.9312 | 35.1127 | 7.9478 | 0.94899 | 0 | 0.94899 | 0.11862 | 0 | 1.898 | 0 | 0.23725 | 0 | 0.23725 | 0.23725 | 0.23725 | 0.23725 | 0.23725 | 1.898 | 0.11862 | 1.6607 | 0.11862 | 0.11862 | 2.6097 | 0 | 0 | 11.2693 | 0.4745 | 0.71174 | 0.4745 | 0.11862 | 0 | 0 | 0.11862 | 1.898 | 23.013 | 100
2067 | St Martin’s | Number | 4 | 0 | 0 | 3 | 0 | 3 | 11 | 74 | 80 | 232 | 18 | 8 | 9 | 0 | 14 | 1 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 4 | 0 | 10 | 28 | 21 | 35 | 4 | 37 | 62 | 10 | 29 | 17 | 0 | 2 | 0 | 0 | 5 | 85 | 810
2067 | St Martin’s | % | 0.49383 | 0 | 0 | 0.37037 | 0 | 0.37037 | 1.358 | 9.1358 | 9.8765 | 28.642 | 2.2222 | 0.98765 | 1.1111 | 0 | 1.7284 | 0.12346 | 0.37037 | 0 | 0 | 0.12346 | 0 | 0 | 0 | 0 | 0.49383 | 0 | 1.2346 | 3.4568 | 2.5926 | 4.321 | 0.49383 | 4.5679 | 7.6543 | 1.2346 | 3.5802 | 2.0988 | 0 | 0.24691 | 0 | 0 | 0.61728 | 10.4938 | 100
2077 | Holme Lacy | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 22 | 4 | 1 | 8 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 56
2077 | Holme Lacy | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3571 | 7.1429 | 3.5714 | 3.5714 | 0 | 0 | 0 | 1.7857 | 0 | 0 | 1.7857 | 0 | 0 | 0 | 0 | 0 | 3.5714 | 0 | 0 | 3.5714 | 39.2857 | 7.1429 | 1.7857 | 14.2857 | 0 | 1.7857 | 0 | 1.7857 | 0 | 0 | 0 | 3.5714 | 0 | 0 | 100
3071 | Little Dewchurch CE | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 30
3071 | Little Dewchurch CE | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3333 | 0 | 0 | 6.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76.6667 | 3.3333 | 3.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6667 | 0 | 0 | 0 | 100
3393 | Riverside | Number | 0 | 1 | 0 | 1 | 0 | 2 | 4 | 38 | 24 | 16 | 7 | 0 | 20 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 9 | 8 | 0 | 15 | 2 | 2 | 24 | 4 | 4 | 5 | 0 | 0 | 0 | 0 | 6 | 125 | 365
3393 | Riverside | % | 0 | 0.27397 | 0 | 0.27397 | 0 | 0.54795 | 1.0959 | 10.411 | 6.5753 | 4.3836 | 1.9178 | 0 | 5.4795 | 0 | 0 | 4.6575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4932 | 0 | 2.4658 | 2.1918 | 0 | 4.1096 | 0.54795 | 0.54795 | 6.5753 | 1.0959 | 1.0959 | 1.3699 | 0 | 0 | 0 | 0 | 1.6438 | 34.2466 | 100

## Disability access
Physical Accessibility Rating | 3
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly