## Cover Page
St Michael's CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St Michael's CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St Michael's CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 11795.04 |  |  |  | Current Capacity (PAN 15):- |  |  |  | 105
Insurance Asset Value (£000):- |  | 519519.1479 |  |  |  | Allocated Capacity Size (PAN 15):- |  |  |  | 105
Land Asset Value (£000):- |  | 24936 |  |  |  | Current Occupancy:- |  |  |  | 96
Land Ownership:- | Buildings diocese, field owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 15
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 9
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-08-04
Backlog Maintenance Total (£000):- | [6 empty] | 98.5023
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 28.0364
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 96.1414
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 30.3973
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 816.76
Actual Number of Classrooms:- | [6 empty] | 4 | Current Building Area (M2):- |  | 697.9256
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 25 | Area Shortfall (M2):- |  | 118.8344
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 81.5 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 85.4505
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 5365.84
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 116.6667 | Current Net Site Area (M2):- |  | 11097.1144
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 5731.2744
[8 empty] | Total Percentage Compliance:- |  | 206.8104
Disability Access
Rating:- | 2 |  | Details:- |  |  |  | Mainly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 280.0612
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 82
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 40
Total Number of Children within Catchment:- | [6 empty] | 80
Total Number of Children at School from Catchment:- | [6 empty] | 53
Percentage of Catchment at School:- | [6 empty] | 54.0816
Percentage of Catchment Going to School:- | [6 empty] | 66.25

## Report
|  |  | St Michael's CE Primary School | [6 empty] | St Michael's CE Primary School | [14 empty] | St Michael's CE Primary School | [7 empty] | St Michael's CE Primary School |  |  |  |  | St Michael's CE Primary School |  | St Michael's CE Primary School |  |  |  |  | St Michael's CE Primary School | [5 empty] | St Michael's CE Primary School |  |  | St Michael's CE Primary School | [8 empty] | St Michael's CE Primary School |  | St Michael's CE Primary School |  | St Michael's CE Primary School |  | St Michael's CE Primary School |  | St Michael's CE Primary School |  |  | St Michael's CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St Michael's CE Primary School |  |  | Survey Date:- | 2011-08-04 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | Not Available | [5 empty] | Areas | Standard Criteria (M2) (PAN 15) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 280.0612 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mr T Wilson | DFE Number:- | 3304 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 280.23 | 112.996 |  |  |  | 15 | 105 | 17 | 119 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 2
Leadership:- | Stand Alone | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 114.1 | 81.5 | [17 empty] | PAN | 17 | 17 | 15 | 15 | 15 | 15
Address:- | St Michael's C E Primary School, Bodenham, Hereford HR1 3JU | Email:- | adminbodenham@st-michaels.hereford.sch.uk | Backlog | 98.5023 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 67 | 34.7 | 51.791 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 12.92 | 14.62 | 15 | 10.95 | 4.995 | 6 | [10 empty] | Details: | Mainly accessible
|  |  |  | 2015 | 15.7705 |  |  | 98.5023 |  |  | Backlog | 5.3503 | 18.1068 | 4.0594 | 2.3364 | 3.8258 | 16.3545 | 2.9789 | 0 | 5.4215 | 20.7936 | 6.425 | 12.85 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 70 | 69.55 | 99.3571 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 64 | 71 | 75 | [5 empty] | Percentage | 76 | 86 | 100 | 73 | 33.3 | 40
|  |  |  | 2016 | 12.2659 |  |  | 15.7705 |  |  | 2015 | 1.1682 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0091 | 0 | 7.5932 | 0 | 0 | C2 | [7 empty] | Learning Resource | 67 | 51.06 | 76.209 |  |  |  | 2008 / 2009 | 98 | 119 | 0 | 21 | 2013 | 50 | 71 | 75 | [22 empty] | Description: | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
|  |  |  | 2017 | Not Available |  |  | 12.2659 |  |  | 2016 | 1.1682 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5932 | 0 | 3.5045 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 100 | 119 | 0 | 19 | 2014 | 82 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01568 797241 F: 01568 797752 | School Cluster:- | Leominster District- Earl Mortimer College (and Sixth Form Centre) | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 224.76 | 148.2856 | 65.9751 |  |  |  | 2010 / 2011 | 100 | 105 | 0 | 5 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 816.76 | 697.9256 | 85.4505 |  |  |  | 2011 / 2012 | 97 | 105 | 0 | 8 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 97 | 101 | 92 | 90 | 80
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 98 | 105 | 0 | 7 | [12 empty] | Number at School from Catchment | 70 | 71 | 63 | 59 | 53
School Type:- | Voluntary Aided | Building Number:- | 4AA3 | Total | 126.5386 | [5 empty] | Totals | 7.6866 | 18.1068 | 4.0594 | 2.3364 | 3.8258 | 16.3545 | 2.9789 | 0 | 5.4215 | 35.3959 | 6.425 | 23.9477 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 6182.6 | 11795.04 | 190.778 |  |  |  | 2013 / 2014 | 98 | 105 | 0 | 7 | Pupils eligible for KS2 assessment |  |  |  | 11 | [7 empty] | Percentage at School from Catchment | 70 | 71 | 64.9485 | 60.2041 | 54.0816
Current Capacity:- | 105 | Site Area:- | 11795.04 | [30 empty] | Net Site Area (less the building area) | 5365.84 | 11097.1144 | 206.8104 |  |  |  | Current Occupancy | 96 | 105 | 0 | 9 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 9 | [7 empty] | Percentage of Catchment Going to School | 72.1649 | 70.297 | 68.4783 | 65.5556 | 66.25
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 96.1414 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 82
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 64 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 27 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 25.7935 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 30.3973 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 4 |  |  | Reception | 5 | 0 | 10 |  | Percentage making expected progress in reading |  |  |  | 80 | [7 empty] | NOR | 96 | 96
|  |  |  | Roof Works |  | 6.3958 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 25 |  |  | One | 9 | 0 | 6 |  | Percentage making expected progress in writing |  |  |  | 90 | [7 empty] | Total in Area | 81 | 73
|  |  |  | External Walls |  | 20.1803 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 75 |  |  | Two | 14 | 0 | 1 |  | Percentage making expected progress in maths |  |  |  | 80 | [7 empty] | Number at School from Area | 50 | 50
|  |  |  | Windows and Doors |  | 2.9789 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 18 | 3 | 0 |  | Average point score |  |  |  | 29.3 | [7 empty] | Percentage at School | 52.0833 | 52.0833
|  |  |  | Internal Works |  | 40.8174 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 14 | 0 | 1 | [13 empty] | Percentage of area going to School | 61.7284 | 68.4932
Asset Summary |  |  |  | Mechanical and Electrical |  | 30.3727 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 16 | 1 | 0 |  | Latest Ofsted Report Date:- |  | 2012-02-02
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 116.6667 |  |  | Six | 20 | 5 | 0 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 519.5191 | [38 empty] | Total | 96 | 0 | 9
Asset Value - Land (£000):- |  | 24.936 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Buildings diocese, field owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | St Michael's CE Primary School |  |  | St Michael's CE Primary School |  |  | St Michael's CE Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | 4AA3
Site Area:- | 11795.04
Asset Value (Insurance):- | 519519.1479
Asset Value (Land):- | 24936
Land owner:- | Buildings diocese, field owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | No data held
Electric consumption 2014/child:- | 280.0612
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary |  |  |  | BCIS Quarter | 3Q2011 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-08-04 |  | BCIS Uplift | 1.1682 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [15 empty] | 98502.2591 | 98502.2591 | Backlog | 5350.2727 | 18106.8182 | 4059.4318 | 2336.3636 | 3825.7955 | 16354.5455 | 2978.8636 | 0 | 5421.5318 | 20793.6364 | 6425 | 12850 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 15770.4545 | 15770.4545 | 1905-07-07 | 1168.1818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7009.0909 | 0 | 7593.1818 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 12265.9091 | 12265.9091 | 1905-07-08 | 1168.1818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7593.1818 | 0 | 3504.5455 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | Y | Y | Y | N | N | N | School Costs | [6 empty] | 0 | 0 | 1905-07-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 1905-07-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 0 | 0 | 1905-07-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
[5 empty] | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.1.1.d | SAFETY SURFACES | To nursery play supply and lay play safety matting | 4500 | 4500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 7686.6364 | 18106.8182 | 4059.4318 | 2336.3636 | 3825.7955 | 16354.5455 | 2978.8636 | 0 | 5421.5318 | 35395.9091 | 6425 | 23947.7273 | 0 | 0 | 1Q2011 | 1.1735
r | 2.1.1.e | RAIN WATER GULLIES | Clear debris away from gullies and flush through to ensure free flowing | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
g | 2.1.2.a | TIMBER FENCES & GATES | Generally the fences are in good condition with minor areas of deterioration to posts, recommend replace where necessary | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
g | 2.1.2.c | TIMBER FENCES & GATES | In places the feather edge boards are deteriorating due to lack of maintenance, recommend replacement of defective boards | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 25793.4545 | 25793.4545 | [12 empty] | 1Q2012 | 1.1953
g | 2.1.2.e | DECORATING | Paint and wood stain all timber fences and gates and repair where necessary replacing any rotten timber. | 6500 | 6500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 6395.7955 | 6395.7955 | [12 empty] | 2Q2012 | 1.1174
g | 2.1.2.f | DECORATING | Paint all metal gates and fences | 2500 | 2500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 20180.3409 | 20180.3409 | [12 empty] | 3Q2012 | 1.1525
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 2978.8636 | 2978.8636 | [12 empty] | 4Q2012 | 1.1473
g | 2.1.3.a | SHEDS AND STORAGE | Refurbish extenal structure | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 40817.4409 | 40817.4409 | [12 empty] | 1Q2013 | 1.0983
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 30372.7273 | 30372.7273 | [12 empty] | 2Q2013 | 1.089
g | 2.1.4.a | COLUMNS AND POSTS - METAL | To all posts within play areas supply and fit protective post covers www.safty-pads.co.uk | 330 | 330 | [5 empty] | 330 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
g | 2.1.4.b | CLIMBING FRAMES | Carry out annual ROSPA inspection on all play equipment and carry out necessary repairs to be carried out annually - £1000 per year x 5 | 5000 | 3000 | 1000 | 1000 |  |  |  | 3000 | 1000 | 1000 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 126538.6227 | 126538.6227 | [12 empty] | 1Q2014 | 1.0447
r | 2.2.c | Coping stones | Check stones to ensure securely bedded down, where loose take of and rebed. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
e | 2.3.b | Walls | Various location of perished brick pointing, this needs raking out and repointing | 6500 | 6500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
e | 2.3.c | Cladding | Most of the cladding has been water stained and requires cleaning | 850 | 850 | [5 empty] | 850 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.4.f | Windows | Ease and adjust all windows where necessary and replace defective ironmongery and winding gear to high level windows | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0
i | 2.4.k | Doors & ironmongery | Many of the doors do not conform to current standards are thus requiring replacement or refurbishing. Doors to rooms 8 & Corridor 26, 28a require intumescent fire/smoke seals and finger traps. | 225 | 225 | [5 empty] | 225 | 0 | 0 | 0 | 0 | 0
i |  |  | Doors to rooms Reception 9e (2nr), and classroom 16 need to be completely replaced with half hour fire resisting door complete with self closures, vision panel and fire smoke seals. | 1350 | 1350 | [5 empty] | 1350 | 0 | 0 | 0 | 0 | 0
i | 2.4.l | Doors & ironmongery | Doors to rooms ICT Suite, 42a, 14, 14a, 10a, & 134 need to be completely replaced with half hour fire resisting door complete with self closures, vision panel and fire smoke seals. | 2700 | 2700 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.n | Decorations | The school requires a painting programme implemented as areas of the school are looking tired. Essentially this would be carried out in the summer terms over a 5 year period starting with corridor 18 and 26 with classrooms to follow. Toilets have been newly refurbished and thus no works are required. | 27600 | 15100 | 6000 | 6500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.5.a | Pitched roofs | The roofs generally are in relative good condition with minor various repairs required, clean of roof moss to prevent gutters getting blocked, replace missing broken tiles, repoint defective missing pointing to hip tiles and verges. Access to be via access platforms, roof ladders and harness | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.5.b | Chimney stacks | Check each stack and carry out necessary repointing, reflaunching and replace defective bricks and pots. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
r | 2.5.c | Coping stones | Check stones to ensure securely bedded down, where loose take of and rebed. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
r | 2.5.d | Gutters and down pipes | Over haul and clean out all gutters, replace defective section and joints and leave in good working order and free flowing. Access to be carried out using mobile platforms | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
r | 2.5.e | Gutters and down pipes | Over haul and clean out all gutters, replace defective section and joints and leave in good working order and free flowing. In particular remove buddleia growing out of the gutter on the North elevation | 125 | 125 | [5 empty] | 125 | 0 | 0 | 0 | 0 | 0
r | 2.5.f | Decorations | Painting to all metal gutters using mobile platforms | 900 | 900 | [5 empty] | 900 | 0 | 0 | 0 | 0 | 0
e | 2.6.a | Walls | To all elevation the stonework in various is deteriorating and falling away. Recommend stone work repairs/restoration is carried out through out as there is a risk of falling debris. | 7500 | 7500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.6.b | Windows | Over haul and ease and adjust all windows, replace ironmongery and sash cords where necessary | 1100 | 1100 | [5 empty] | 1100 | 0 | 0 | 0 | 0 | 0
e | 2.6.f | Rainwater Pipes and soil pipes | Over haul all rain water pipes and soil pipes, replace defective sections, joints and brackets and flush through to ensure free flowing. | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
e | 2.6.g | Rainwater Pipes and soil pipes | Over haul all rain water pipes and soil pipes, replace defective sections, joints and brackets and flush through to ensure free flowing. | 75 | 75 | [5 empty] | 75 | 0 | 0 | 0 | 0 | 0
e | 2.6. | Decorations | Redecorate all doors and windows, include for timber care repairs to areas of defective timber | 1800 | 1800 | [5 empty] | 1800 | 0 | 0 | 0 | 0 | 0
e | 2.6.h | Decorations | Prepare and paint all previously painted metal pipes | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
w | 2.7.1.c | Windows | In fair condition, ease and adjust windows where necessary and replace missing/defective ironmongery | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
i | 2.7.1.e | Floors - Finishes | In fair condition, in Disabled WC perimeter sealant is required. | 96 | 96 | [5 empty] | 96 | 0 | 0 | 0 | 0 | 0
i | 2.7.1.f | Floors - Finishes | In front on kitchen units take up carpet and supply and fit a 1.5m wide strip of slip resistant vinyl flooring include for self levelling screed threshold strip where joins with carpet and perimeter sealant | 410 | 410 | [5 empty] | 410 | 0 | 0 | 0 | 0 | 0
i | 2.7.1.h | Doors & ironmongery | Replace door to staff room with half hour fire resisting self closing door complete with vision panel lever action lock and intumescent fire smoke seal | 375 | 375 | [5 empty] | 375 | 0 | 0 | 0 | 0 | 0
i | 2.7.1.i | Doors & ironmongery | Replace lock on inside of door with lever action type | 55 | 55 | [5 empty] | 55 | 0 | 0 | 0 | 0 | 0
i | 2.7.1.k | Disabled WC | In good condition. Hand rails do not meet DDA requirements as these should be a different colour to the walls for the 30 point luminescent scale. Either replace handrails or paint walls, also additional hand rails are required. | 480 | 480 | [5 empty] | 480 | 0 | 0 | 0 | 0 | 0
i | 2.7.1.l | Disabled WC | Supply and fit pull cord alarm in accordance with Part M of the building regulations | 450 | 450 | [5 empty] | 450 | 0 | 0 | 0 | 0 | 0
i | 2.7.1.m | Kitchen units | Kitchen units are dated are the height are below standard height. Recommend replacement with modern units including work top and sink unit. | 1200 | 1200 | [5 empty] | 1200 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.7.2.c | Windows | In fair condition, ease and adjust windows where necessary and replace missing/defective ironmongery | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.01.d | Heating | Generally within classrooms the existing wall/ floor mounted Fan convectors are coming to the end of there recommended life expectancy. | 4500 | 0 | 4500 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.01.g | Heating | Heating within the boys and girls toilets is provided by standard wall hung radiators, and TRV's no LST covers are provided. Install LST covers | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.01.h | Heating | Generally pipework at high level is un-insulated within the rear toilet areas and cloak area, as is pipework drops and low level runs. Lagg all pipework | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.02.a | Heating - circulation / staff room | Coming to the end of their recommended serviceable life expectancy | 2000 | 0 | 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.02.b | Heating - Classroom 3 | Coming to the end of their recommended serviceable life expectancy | 3000 | 0 |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.02.d | Heating - Disabled WC | Provide LST casing to existing radiator,. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.02.f | Pipework within disabled WC exposed | Insulate or boxing exposed pipework | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.03d | Lighting | The general lighting within classrooms 10, 14 and 16 are reaching the end of their recommended serviceable life expectancy. | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.03l | Emergency lighting | Install new emergency lighting provisions through out | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.03q | Boiler room lighting | Excessive rusting to light switch | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.04.c | Fire Alarm | Produce a zone chart diagram for school and install next to main fire alarm panel. | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.04.i | General lighting | Light fitting reaching the end of their recommended serviceable life expectancy. | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.04.j | Lighting Ground Floor | Fully test the existing emergency lighting installation and provide additional lighting as required. | 3000 | 3000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.04.m | Lighting First Floor | Install emergency lighting | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [11 empty] | Compliance Comparison |  |  | 1/half | Form of entry | PAN | 15
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [10 empty] | Total area | Shortfall | Surplus | 2010 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 42, 42a | General Classroom | 27.12 | 40.14 | [8 empty] | 67.26 | 0 | 5.26
|  | Classroom - Year 1 | 1 | 62 | 62 | 14, 14a, 14b | General classroom | 16.03 | 9.58 | 28.79 | [7 empty] | 54.4 | 7.6 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [12 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 10, 10a | General classroom | 33.54 | 17.4 | [8 empty] | 50.94 | 11.06 | 0 | 4 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [12 empty] | 0 | 0 | 0 | 4 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 3, 3a, 3b | General classroom | 31.14 | 4.44 | 13 | [7 empty] | 48.58 | 13.42 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [12 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 15, 20 | Practical area | 8.21 | 12.62 | [8 empty] | 20.83 | 0 | 20.83 | 25% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 28 | IT Room | 38.22 | [9 empty] | 38.22 | 0 | 38.22 | 75% | of classrooms are small
[5 empty] | 248 | [12 empty] | 280.23 | 32.08 | 64.31 | 113% | of the recommended basic teaching space required
[20 empty] | 215.92 | 87.06% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [20 empty] | 12.94% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 25, 17 | Hall | 111.67 | 2.43 | [8 empty] | 114.1 | 25.9 | 0
[5 empty] | 140 | [12 empty] | 114.1 | 25.9 | 0 | 81.5% | of the recommended hall size
Storage | [20 empty] | 18.5% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 18 | Cloakroom (shared) | 5 | [9 empty] | 5 | 0 | 2
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 18 | Cloakroom (shared) | 5 | [9 empty] | 5 | 0 | 2
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [12 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 18 | Cloakroom (shared) | 5 | [9 empty] | 5 | 0 | 2
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [12 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 4a | Corridor | 2 | [9 empty] | 2 | 1 | 0
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [12 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [12 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | UNA | Store room | [10 empty] | 0 | 2 | 0
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [12 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | 7c, 5 | Store room x 2 | 9.09 | 2.19 | [8 empty] | 11.28 | 0 | 1.28
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [12 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 1, 9c | Store room x 2 | 3.03 | 1 | [8 empty] | 4.03 | 0 | 0.03
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 17a | Cleaners store room | 2.39 | [9 empty] | 2.39 | 0.61 | 0
| 23 | Table and chair store | 1 | 6 | 6 | [12 empty] | 0 | 6 | 0
| 25 | Staging/ appliance store | 1 | 4 | 4 | [12 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | UND, UNC | Store room | [10 empty] | 0 | 0 | 0
[5 empty] | 67 | [12 empty] | 34.7 | 39.61 | 7.31 | 51.79% | of the recommended storage space required
Staff and admin | [20 empty] | 59.12% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 7 | Heads office | 12.08 | [9 empty] | 12.08 | 0 | 0.08
| 3 | Staff room work and social | 1 | 21 | 21 | 2, UN2 | Staffroom | 34.02 | [9 empty] | 34.02 | 0 | 13.02
|  | Staff PPA | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [12 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 9e | Reception (office) | 15.61 | [9 empty] | 15.61 | 0 | 7.61
| 8 | Secure reception | 1 | 4 | 4 | 9b, 9a | Entrance | 3.91 | 3.93 | [8 empty] | 7.84 | 0 | 3.84
| 9 | Reprographics room | 1 | 6 | 6 | [12 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [12 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
[5 empty] | 70 | [12 empty] | 69.55 | 25 | 24.55 | 99.36% | of the recommended staff and admin space required
Learning resource area | [20 empty] | 35.71% | shortfall
| 1 | Library (learning resource centre) | 1 | 21 | 21 | [12 empty] | 0 | 21 | 0
| 3 | Small group room | 2 | 11 | 22 | 16, 16a, 16b | Small group room | 35.57 | 8.97 | 6.52 | [7 empty] | 51.06 | 0 | 29.06
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
[5 empty] | 67 | [12 empty] | 51.06 | 45 | 29.06 | 76.21% | of the recommended learning resource areas
Supplementary area | [20 empty] | 67.16% | shortfall
| 1 |  | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0
[5 empty] | 0 | [12 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [20 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [12 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 19,21 | Pupil wc's 4 wc's 3 urinals | 13.47 | 16.52 | [8 empty] | 29.99 | 0 | 17.99 | 7 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 31 | Staff wc (multi-sex) | 2.95 | [9 empty] | 2.95 | 1.05 | 0 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | 5b | Disabled w.c. | 2.07 | [9 empty] | 2.07 | 0.93 | 0 | 116.7% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [12 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 22 | 22 | 23 | Store room | 9.43 | [9 empty] | 9.43 | 12.57 | 0
| 5 | Corridors | - | 22.5% | 133.2 | 4,4b,5a, 7a, 7b, 9d, 18a, 26,27,29 | Corridors | 10.83 | 3.37 | 3.16 | 1.84 | 3.18 | 6.55 | 12.17 | 17.76 | 2.55 | 6.66 | 68.07 | 65.13 | 0
| 6 | Boiler room | 1 | 1.5% | 8.88 | 34 | Boiler room | 13.79 | [9 empty] | 13.79 | 0 | 4.91
| 7 | Server | in boiler | [14 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 23.68 |  |  | 21.9856 | [9 empty] | 21.9856 | 1.6944 | 0
[5 empty] | 224.76 | [12 empty] | 148.2856 | 99.3744 | 22.9 | 65.98% | of the recommended non net area
Additional area | [20 empty] | 44.21% | shortfall
|  | Nursery class | 1 | 62 | 62 | 8,8a,8b,35 | Pre school | 44.88 | [9 empty] | 44.88 | 17.12 | 0
|  | Quiet room | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [12 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [12 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | 30 | Community use | 2.99 | [9 empty] | 2.99 | 3.01 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [12 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [12 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [12 empty] | 47.87 | 44.9975 | 0
Total Net area |  |  |  |  | 592 | [12 empty] | 549.64
Total Non-Net area |  |  |  |  | 224.76 | [12 empty] | 148.2856
Gross (total build) area - excluding nursery |  |  |  |  | 816.76 | [12 empty] | 697.9256 |  |  | 85.45% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 909.6275 | [12 empty] | 745.7956
Net Area Range |  |  |  |  | 780.5-872.5
Mid Range |  |  |  |  | 826.5
Total Site Area Range |  |  |  |  | 5494.5-6870.6
Mid Range |  |  |  |  | 6182.6
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
15 | 105 | 17 | 119
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 98 | 100 | 100 | 97 | 98 | 98
Maximum Capacity | 119 | 119 | 105 | 105 | 105 | 105
Number of Surplus Places | 21 | 19 | 5 | 8 | 7 | 7
% of surplus places | 17.6471 | 15.9664 | 4.8 | 7.6 | 6.7 | 6.6667
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 5 | 9 | 14 | 18 | 14 | 16 | 20 | 96

## School stats
Current Ofsted | Year
Good | 2012-02-02
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 64% | 50% | 82%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 11
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 9% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 82% | SUPP | SUPP | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 64% | SUPP | SUPP | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 27% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 80% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 90% | SUPP | SUPP | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 80% | SUPP | SUPP | SUPP
Average point score | 29.3
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99.7 | 98.5 | 100.9 | 91%
Reading value added measure | 99.3 | 97.9 | 100.6 | 91%
Writing TA value added measure | 99.4 | 98 | 100.9 | 91%
Maths value added measure | 100.1 | 98.6 | 101.7 | 91%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 18% | 9% | 9% | 18%
Percentage achieving Level 4 or above | 82% | 91% | 91% | 82%
Percentage achieving Level 4b or above | 73% | 82% | 82% | NA
Percentage achieving Level 5 or above | 55% | 45% | 55% | 45%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.7% | 4.8%
Persistent absence: around 15% + | 6.7% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 98
Percentage of pupils eligible for Free School Meals (FSM) | 5.1%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 4413 (97%) | 4525 | 4016 | 4325
Self generated income | 120 (3%) | 144 | 142 | 127
Total income | 4533 | 4723 | 4183 | 4479
Teaching staff | 2217 (52%) | 2277 | 2045 | 2106
Supply Staff | 2 (0%) | 87 | 118 | 127
Education support staff | 683 (16%) | 689 | 650 | 733
Learning resources (not ICT equipment) | 128 (3%) | 181 | 174 | 184
ICT learning resources | 82 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 56 (1%) | 88 | 59 | 67
Back office (incl. Staff costs) | 477 (11%) | 406 | 334 | 351
Catering (incl. Staff costs) | 39 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 292 (7%) | 259 | 275 | 301
Other staff costs | 117 (3%) | 153 | 133 | 142
Energy | 70 (2%) | 68 | 62 | 65
Other expenditure | 65 (2%) | 94 | 85 | 88
Total expenditure | 4229 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 2869 | 2797 | 3120 | 2900
Supply staff | 156 | 137 | 54 | 2
Back office (incl. Staff costs) | 357 | 425 | 446 | 477
Energy | 48 | 82 | 94 | 70
Total expenditure | 4622 | 4367 | 4627 | 4229
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 7 | 236728
Headcount of all teaching assistants in a school | 5 | 239340
Headcount of all support (exc. auxillary) staff in a school | 5 | 77335
Full-time equivalent number of all teachers in a school | 5.9 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 2.9 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 2.6 | 51728.3
Ratio of pupils to teachers in a school | 16.7 | 20.5
Average gross salary of all teachers in a school | 36218 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 100 | 100 | 97 | 98 | 98 |  |  |  | NOR |  |  |  |  | 96 | 96
PAN | 17 | 17 | 15 | 15 | 15 | 15 |  |  |  |  | Number | 70 | 71 | 63 | 59 | 53 |  |  |  | Total in area |  |  |  |  | 81 | 73
No. | 12.92 | 14.62 | 15 | 10.95 | 4.995 | 6 |  |  |  |  | % | 70 | 71 | 64.9485 | 60.2041 | 54.0816 |  |  |  | Number at School from area |  |  |  |  | 50 | 50
% | 76 | 86 | 100 | 73 | 33.3 | 40 | [13 empty] | % at School |  |  |  |  | 52.0833 | 52.0833
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 61.7284 | 68.4932
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 97 | 101 | 92 | 90 | 80
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | Leominster Infants’ | Luston | Marden | Stoke Prior | Sutton | Wellington | Wigmore | Withington | Burley Gate C E | Canon Pyon C E | St Mary’s C E, Credenhill | Orleton C E | St Michael's C E, Bodenham | St James’ C E, Kimbolton | Kingsland C E | Ivington C E | Pembridge C E | St Thomas Cantilupe C E | Out of County | Grand Total
2099 | Leominster Infants’ | Number | 0 | 0 | 0 | 0 | 245 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 1 | 1 | 0 | 1 | 255
2099 | Leominster Infants’ | % | 0 | 0 | 0 | 0 | 96.0784 | 0.78431 | 0 | 0.39216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.39216 | 0.78431 | 0.39216 | 0 | 0.39216 | 0.39216 | 0 | 0.39216 | 100
2100 | Leominster Junior | Number | 0 | 0 | 0 | 1 | 301 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 4 | 4 | 0 | 0 | 319
2100 | Leominster Junior | % | 0 | 0 | 0 | 0.31348 | 94.3574 | 0.31348 | 0 | 0.31348 | 0 | 0 | 0 | 0.31348 | 0 | 0 | 0 | 0 | 1.5674 | 0.31348 | 0 | 1.2539 | 1.2539 | 0 | 0 | 100
2103 | Luston | Number | 0 | 0 | 0 | 0 | 55 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 3 | 90
2103 | Luston | % | 0 | 0 | 0 | 0 | 61.1111 | 31.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1111 | 2.2222 | 1.1111 | 0 | 0 | 0 | 3.3333 | 100
2148 | Stoke Prior | Number | 0 | 0 | 0 | 0 | 41 | 1 | 0 | 33 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 5 | 2 | 0 | 4 | 0 | 0 | 0 | 88
2148 | Stoke Prior | % | 0 | 0 | 0 | 0 | 46.5909 | 1.1364 | 0 | 37.5 | 0 | 0 | 1.1364 | 0 | 0 | 0 | 0 | 1.1364 | 5.6818 | 2.2727 | 0 | 4.5455 | 0 | 0 | 0 | 100
3304 | St Michael's C E, Bodenham | Number | 6 | 2 | 0 | 0 | 7 | 0 | 9 | 3 | 3 | 1 | 0 | 5 | 6 | 0 | 0 | 0 | 53 | 0 | 0 | 2 | 0 | 1 | 0 | 98
3304 | St Michael's C E, Bodenham | % | 6.1224 | 2.0408 | 0 | 0 | 7.1429 | 0 | 9.1837 | 3.0612 | 3.0612 | 1.0204 | 0 | 5.102 | 6.1224 | 0 | 0 | 0 | 54.0816 | 0 | 0 | 2.0408 | 0 | 1.0204 | 0 | 100
3341 | St James’ C E, Kimbolton | Number | 0 | 0 | 0 | 0 | 41 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 24 | 0 | 0 | 0 | 0 | 3 | 74
3341 | St James’ C E, Kimbolton | % | 0 | 0 | 0 | 0 | 55.4054 | 2.7027 | 0 | 2.7027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7027 | 0 | 32.4324 | 0 | 0 | 0 | 0 | 4.0541 | 100
3349 | Ivington C E | Number | 0 | 0 | 1 | 1 | 77 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 0 | 0 | 0 | 2 | 14 | 0 | 0 | 0 | 101
3349 | Ivington C E | % | 0 | 0 | 0.9901 | 0.9901 | 76.2376 | 0 | 0 | 0.9901 | 0 | 0 | 0 | 0 | 0 | 2.9703 | 1.9802 | 0 | 0 | 0 | 1.9802 | 13.8614 | 0 | 0 | 0 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Bredenbury | Brockhampton | St Peter's, Bromyard | Hampton Dene | St Martin’s | Trinity | Leominster Infants’ | Leominster Junior | Luston | Marden | Shobdon | Stoke Prior | Sutton | Wellington | Weobley | Wigmore | Canon Pyon C E | Dilwyn | Mordiford C E | Orleton C E | St Michael's C E, Bodenham | St Francis Xaviers RC | St Pauls CE | St James’ C E, Kimbolton | Kingsland C E | Ivington C E | Pembridge C E | Pencombe C E | Grand Total
2099 | Leominster Infants’ | Number | 2 | 0 | 0 | 1 | 0 | 0 | 245 | 301 | 55 | 2 | 3 | 41 | 0 | 1 | 19 | 9 | 1 | 5 | 0 | 3 | 7 | 1 | 0 | 41 | 56 | 77 | 2 | 0 | 872
2099 | Leominster Infants’ | % | 0.22936 | 0 | 0 | 0.11468 | 0 | 0 | 28.0963 | 34.5183 | 6.3073 | 0.22936 | 0.34404 | 4.7018 | 0 | 0.11468 | 2.1789 | 1.0321 | 0.11468 | 0.57339 | 0 | 0.34404 | 0.80275 | 0.11468 | 0 | 4.7018 | 6.422 | 8.8303 | 0.22936 | 0 | 100
2103 | Luston | Number | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 28 | 0 | 1 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 2 | 17 | 0 | 0 | 0 | 73
2103 | Luston | % | 0 | 0 | 0 | 0 | 0 | 0 | 2.7397 | 1.3699 | 38.3562 | 0 | 1.3699 | 1.3699 | 0 | 0 | 0 | 5.4795 | 0 | 0 | 0 | 23.2877 | 0 | 0 | 0 | 2.7397 | 23.2877 | 0 | 0 | 0 | 100
2148 | Stoke Prior | Number | 8 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 0 | 1 | 2 | 0 | 1 | 0 | 5 | 59
2148 | Stoke Prior | % | 13.5593 | 0 | 3.3898 | 0 | 0 | 0 | 1.6949 | 1.6949 | 0 | 0 | 0 | 55.9322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3898 | 5.0847 | 0 | 1.6949 | 3.3898 | 0 | 1.6949 | 0 | 8.4746 | 100
3304 | St Michael's C E, Bodenham | Number | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 5 | 1 | 5 | 0 | 5 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80
3304 | St Michael's C E, Bodenham | % | 0 | 0 | 0 | 0 | 1.25 | 2.5 | 2.5 | 6.25 | 1.25 | 6.25 | 0 | 6.25 | 2.5 | 3.75 | 0 | 0 | 0 | 0 | 1.25 | 0 | 66.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3341 | St James’ C E, Kimbolton | Number | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 1 | 0 | 0 | 0 | 34
3341 | St James’ C E, Kimbolton | % | 5.8824 | 2.9412 | 0 | 0 | 0 | 0 | 2.9412 | 2.9412 | 5.8824 | 0 | 0 | 5.8824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70.5882 | 2.9412 | 0 | 0 | 0 | 100
3349 | Ivington C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3 | 14 | 0 | 0 | 34
3349 | Ivington C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 2.9412 | 11.7647 | 0 | 0 | 0 | 11.7647 | 0 | 0 | 5.8824 | 0 | 11.7647 | 0 | 0 | 0 | 5.8824 | 0 | 0 | 0 | 8.8235 | 41.1765 | 0 | 0 | 100

## Disability access
Physical Accessibility Rating | 2
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly