## Cover Page
St Weonard's Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
St Weonard's Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
St Weonard's Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 10510.49 |  |  |  | Current Capacity (PAN 15):- |  |  |  | 105
Insurance Asset Value (£000):- |  | 549874.3719 |  |  |  | Allocated Capacity Size (PAN 15):- |  |  |  | 105
Land Asset Value (£000):- |  | 262196 |  |  |  | Current Occupancy:- |  |  |  | 37
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 15
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 68
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-11-07
Backlog Maintenance Total (£000):- | [6 empty] | 58.2975
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 6.9148
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 28.8117
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 36.4007
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 804.36
Actual Number of Classrooms:- | [6 empty] | 3 | Current Building Area (M2):- |  | 619.53
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 33.3333 | Area Shortfall (M2):- |  | 184.83
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 77.2786 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 0 |  |  | Total Percentage Compliance:- |  | 77.0215
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 5378.24
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 183.3333 | Current Net Site Area (M2):- |  | 9890.96
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 4512.72
[8 empty] | Total Percentage Compliance:- |  | 183.907
Disability Access
Rating:- | 0 |  | Details:- |  |  |  | Inaccessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | E
Electric Consumption 2014/Child:- |  |  |  |  | 657.5429
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | SUPP
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 26.6667
Total Number of Children within Catchment:- | [6 empty] | 62
Total Number of Children at School from Catchment:- | [6 empty] | 23
Percentage of Catchment at School:- | [6 empty] | 65.7143
Percentage of Catchment Going to School:- | [6 empty] | 37.0968

## Report
|  |  | St Weonard's Primary School | [6 empty] | St Weonard's Primary School | [14 empty] | St Weonard's Primary School | [7 empty] | St Weonard's Primary School |  |  |  |  | St Weonard's Primary School |  | St Weonard's Primary School |  |  |  |  | St Weonard's Primary School | [5 empty] | St Weonard's Primary School |  |  | St Weonard's Primary School | [8 empty] | St Weonard's Primary School |  | St Weonard's Primary School |  | St Weonard's Primary School |  | St Weonard's Primary School |  | St Weonard's Primary School |  |  | St Weonard's Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | St Weonard's Primary School |  |  | Survey Date:- | 2011-11-07 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-05-13 | [5 empty] | Areas | Standard Criteria (M2) (PAN 15) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 657.5429 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Miss M Newton | DFE Number:- | 2152 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 215.52 | 86.9032 |  |  |  | 15 | 105 | 12 | 84 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 0
Leadership:- | Leadership from Lord Scudamore Federation | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 108.19 | 77.2786 | [17 empty] | PAN | 15 | 15 | 15 | 15 | 15 | 15
Address:- | St Weonard's Primary School, Mount Way, St Weonard's, Hereford HR2 8NN | Email:- | admin@st-weonards.hereford.sch.uk | Backlog | 58.2975 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 62 | 62.33 | 100.5323 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 6 | 7.95 | 4.95 | 4.95 | 4.995 | 4 | [10 empty] | Details: | Inaccessible
|  |  |  | 2015 | 1.1525 |  |  | 58.2975 |  |  | Backlog | 4.0336 | 0.57623 | 1.7287 | 8.6435 | 1.0948 | 0 | 1.7287 | 0 | 12.7175 | 8.6435 | 10.4874 | 8.6435 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 70 | 57.3 | 81.8571 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 86 | 71 | 75 | [5 empty] | Percentage | 40 | 53 | 33 | 33 | 33.3 | 26.6667
|  |  |  | 2016 | 5.7623 |  |  | 1.1525 |  |  | 2015 | 1.1525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C2 |  | 1 |  | 1 |  | 1 |  | Learning Resource | 67 | 8.31 | 12.403 |  |  |  | 2008 / 2009 | 48 | 105 | 0 | 57 | 2013 | SUPP | 71 | 75 | [22 empty] | Description: | No level access into building and/or no disabled toilet
|  |  |  | 2017 | Not Available |  |  | 5.7623 |  |  | 2016 | 1.5558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9016 | 2.3049 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 0 | - |  |  |  | 2009 / 2010 | 48 | 105 | 0 | 57 | 2014 | SUPP | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01981 580352 F: 01981 580197 | School Cluster:- | Ross-on-Wye District- John Kyrle High School and Sixth Form Centre | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 217.36 | 167.88 | 77.2359 |  |  |  | 2010 / 2011 | 43 | 105 | 0 | 62 | [9 empty] | Catchment Analysis | Parental First Preference Applications 2012: 2010; Parental First Preference Applications 2013: 2011; Parental First Preference Applications 2014: 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 804.36 | 619.53 | 77.0215 |  |  |  | 2011 / 2012 | 42 | 105 | 0 | 63 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 93 | 72 | 59 | 62 | 62
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 33 | 105 | 0 | 72 | [12 empty] | Number at School from Catchment | 36 | 30 | 24 | 23 | 23
School Type:- | Community | Building Number:- | ZGA0 | Total | 65.2123 | [5 empty] | Totals | 6.7419 | 0.57623 | 1.7287 | 8.6435 | 1.0948 | 0 | 1.7287 | 0 | 12.7175 | 8.6435 | 12.389 | 10.9484 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 6182.6 | 10510.49 | 170.0011 |  |  |  | 2013 / 2014 | 35 | 105 | 0 | 70 | Pupils eligible for KS2 assessment |  |  |  | 3 | [7 empty] | Percentage at School from Catchment | 75 | 69.7674 | 57.1429 | 69.697 | 65.7143
Current Capacity:- | 105 | Site Area:- | 10510.49 | [30 empty] | Net Site Area (less the building area) | 5378.24 | 9890.96 | 183.907 |  |  |  | Current Occupancy | 37 | 105 | 0 | 68 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | SUPP | [7 empty] | Percentage of Catchment Going to School | 38.7097 | 41.6667 | 40.678 | 37.0968 | 37.0968
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 28.8117 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | SUPP
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | SUPP |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: Catchment vs Nearest School; Parental First Preference Applications 2012: Catchment; Parental First Preference Applications 2013: Nearest
|  |  |  | External Grounds |  | 7.3182 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 36.4007 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 3 |  |  | Reception | 5 | 0 | 10 |  | Percentage making expected progress in reading |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: NOR; Parental First Preference Applications 2012: 37; Parental First Preference Applications 2013: 37
|  |  |  | Roof Works |  | 10.3722 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 33.3333 |  |  | One | 6 | 0 | 9 |  | Percentage making expected progress in writing |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: Total in Area; Parental First Preference Applications 2012: 75; Parental First Preference Applications 2013: 67
|  |  |  | External Walls |  | 1.0948 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 66.6667 |  |  | Two | 5 | 0 | 10 |  | Percentage making expected progress in maths |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: Number at School from Area; Parental First Preference Applications 2012: 27; Parental First Preference Applications 2013: 26
|  |  |  | Windows and Doors |  | 1.7287 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 0 |  |  | Three | 4 | 0 | 11 |  | Average point score |  |  |  | SUPP | [5 empty] | Parental First Preference Applications 2011: Percentage at School; Parental First Preference Applications 2012: 72.973; Parental First Preference Applications 2013: 70.2703
|  |  |  | Internal Works |  | 21.361 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 7 | 0 | 8 | [11 empty] | Parental First Preference Applications 2011: Percentage of area going to School; Parental First Preference Applications 2012: 36; Parental First Preference Applications 2013: 38.806
Asset Summary |  |  |  | Mechanical and Electrical |  | 23.3374 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 5 | 0 | 10 |  | Latest Ofsted Report Date:- |  | 2013-06-19
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 183.3333 |  |  | Six | 5 | 0 | 10 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 549.8744 | [38 empty] | Total | 37 | 0 | 68
Asset Value - Land (£000):- |  | 262.196 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure | [11 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Hall and Studio | Halls, Dining Areas
[39 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Lease Agreement / Notes:- |  | Not Known | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | St Weonard's Primary School |  |  | St Weonard's Primary School |  |  | St Weonard's Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | ZGA0
Site Area:- | 10510.49
Asset Value (Insurance):- | 549874.3719
Asset Value (Land):- | 262196
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not Known
DEC rating:- | E
Electric consumption 2014/child:- | 657.5429
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance & Condition Summary | [5 empty] | BCIS Quarter | 4Q2011 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-11-07 |  |  |  | BCIS Uplift | 1.1525 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 58297.5112 | 58297.5112 | Backlog | 4033.6323 | 576.2332 | 1728.6996 | 8643.4978 | 1094.843 | 0 | 1728.6996 | 0 | 12717.4664 | 8643.4978 | 10487.4439 | 8643.4978 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 1152.4664 | 1152.4664 | 2015 | 1152.4664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 5762.3318 | 5762.3318 | 2016 | 1555.8296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1901.5695 | 2304.9327 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | N | N | N | School Costs | [6 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
|  | 2.1 EXTERNAL GROUNDS - ZGAO-AA | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.1.1 | Paving slabs | Some loose and dislodged concrete slabs located outside assembly fire escape doors leading onto main play ground area. Re-lay and secure fixing. | KD | 3 | 350 | 0 |  | 350 |  |  |  | 0 | 0 | 350 | 0 | 0 | 0 |  |  |  | Individual Category totals | 6741.9283 | 576.2332 | 1728.6996 | 8643.4978 | 1094.843 | 0 | 1728.6996 | 0 | 12717.4664 | 8643.4978 | 12389.0135 | 10948.4305 | 0 | 0 | 1Q2011 | 1.1735
g | 2.1.3 | Timber fences and gates | Generally in good condition, replace where necessary. | KF | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g | 2.1.6 | Decorating | Paint and wood stain fences and gates, repair as necessary replace any defective/rotten timber. | IA | 3 | 3500 | 3500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
g | 2.1.7 | Climbing frames | Carry out annual ROSPA inspection on all play equipment and carry out necessary repairs. £1000 per year x 5. | KC | 2 | 2000 |  | 1000 | 1000 |  |  |  | 3000 | 1000 | 1000 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
|  | 2.2 ROOFS AND FEATURES - ZGAO-AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 7318.1614 | 7318.1614 | [12 empty] | 1Q2012 | 1.1953
r | 2.2.1 | MAIN ROOFS | A number of water stains were found internally on ceiling tiles which would suggest possible defects/problem occurring on roof. A full inspection of the roof needs to be undertaken with adequate safe working access. | AA/AB | 2 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 10372.1973 | 10372.1973 | [12 empty] | 2Q2012 | 1.1174
r | 2.2.2 | MAIN ROOFS - Roof lights | A number of roof lights were cracked and in a poor condition. Cracked glass and units need to be replaced with new and improved units. | AD | 2 | 5000 | 5000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 1094.843 | 1094.843 | [12 empty] | 3Q2012 | 1.1525
r | 2.2.3 | MAIN ROOFS - soffits and fascia | Painted fascia and soffits which appear to be asbestos containing materials, some localised damaged noted towards the North-East end of the building, at high level. Undertake asbestos survey and repair as necessary. | AE | 2 | 2500 | 2500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 1728.6996 | 1728.6996 | [12 empty] | 4Q2012 | 1.1473
|  | 2.3 EXTERNAL ELEVATIONS - ZGAO-AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 21360.9641 | 21360.9641 | [12 empty] | 1Q2013 | 1.0983
e | 2.3.1 | Walls | The main walls are in fair faced brickwork of solid construction in a stretcher bond. | DA | 3 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 23337.4439 | 23337.4439 | [12 empty] | 2Q2013 | 1.089
e | 2.3.1b |  | To plant room at high level, wall is rendered with a paint finish. | DA | 3 | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
w | 2.3.2 | Windows | The windows are of aluminium double glazed type. | DC | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
w | 2.3.3 | Doors | Doors to plant room are timber with louvers and have been decorated in gloss paint. | DC | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 65212.3094 | 65212.3094 | [12 empty] | 1Q2014 | 1.0447
|  | 2.4 INTERNALS - ZGAO-AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
i | 2.4.1 | Ceilings | Broken and stained tiles which suggest water penetration from roof above. Remove and replace damaged/loose tiles. | CA | 3 | 700 | 700 | [5 empty] | 700 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i | 2.4.1 b |  | Loose tiles and water staining which suggests water penetration from roof above. Remove and replace damaged/loose tiles. | CA | 3 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | 2.4.1 c |  | Water staining on ceiling, ceiling damaged and requires repairing. Ceiling may be asbestos containing material, check asbestos register. | CA | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
i | 2.4.1 d |  | Tiles covered in leaves and debris. Unknown as to how leaves/debris have fallen in this location but informed that skylights are installed above ceiling tiles. Remove and clean as necessary. | CA | 3 | 1950 | 1950 | [5 empty] | 1950 | 0 | 0 | 0 | 0 | 0
i | 2.4.1 e |  | Skylight no longer water tight. Leaves and water penetrating into WC, see photos. Unable to | CA | 2 | 650 | 650 | [5 empty] | 650 | 0 | 0 | 0 | 0 | 0
i | 2.4.1 f |  | Skylight no longer water tight. Leaves and water penetrating into WC, see photos. | CA | 2 | 650 | 650 | [5 empty] | 650 | 0 | 0 | 0 | 0 | 0
i | 2.4.1 g |  | Water staining on ceiling which would suggest defect to roof covering/detail above. Remove and replace ceiling. Ceiling may be asbestos containing material, check asbestos register. | CA | 2 | 550 | 550 | [5 empty] | 550 | 0 | 0 | 0 | 0 | 0
i | 2.4.2 | Walls | Minor plaster repairs required, especially to corner details where impact damage was noted in kitchen. | EA | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
i | 2.4.2 b |  | Some tiles cracked and loose. Minor repairs needed. | EA | 4 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
i | 2.4.3 d |  | Some cracked tiles and missing skirting tiles. Replace with new. | EA | 4 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0
w | 2.4.5 | Windows | Ironmongery to door leading onto play yard via assembly hall in poor condition. Overall windows need to be checked and handles/ironmongery to be eased and adjusted. | DC | 4 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0
i | 2.4.6 | Doors and Ironmongery | Majority of the doors do not have intumescent strips fixed. The fire rating of the doors cannot be easily identified. | EB | 4 | 875 | 875 | [5 empty] | 875 | 0 | 0 | 0 | 0 | 0
i | 2.4.9 | Cubicles | Chipped laminate and missing feet have been replaced with make-shift fittings. Replace with correct fittings to secure cubicles. | EA | 4 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0
i | 2.4.10 | Sundry Items | Signage and push bar in poor condition. Test and check sign whether it works and push bar as well. | JA | 2 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
i | 2.4.10 d |  | Provide a fire stop, using an appropriate fire stopping material, 1hour fire stop to be provided. | JA | 2 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0
i | 2.4.11 | Ceilings | Damaged/missing ceiling tiles. | CA | 3 | 225 | 225 | [5 empty] | 225 | 0 | 0 | 0 | 0 | 0
w | 2.4.15 | Windows | Ironmongery to door leading onto play yard via assembly hall in poor condition. Overall windows need to be checked and handles/ironmongery to be eased and adjusted. | DC | 3 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0
i | 2.4.16 | Doors and Ironmongery | Majority of the doors do not have intumescent strips fixed. The fire rating of the doors cannot be easily identified. | EB | 3 | 875 | 875 | [5 empty] | 875 | 0 | 0 | 0 | 0 | 0
i | 2.4.17 | Other joinery items | Mould growth occurring to timber skirting in boys cloakroom/toilets. Remove and replace with new and redecorate. | JA | 3 | 30 | 30 | [5 empty] | 30 | 0 | 0 | 0 | 0 | 0
i | 2.4.18 | Cubicles | Chipped laminate and missing feet have been replaced with make-shift fittings. Replace with correct fittings to secure cubicles. | EA | 3 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0
i | 2.4.21 | Ceilings | Damaged/missing ceiling tiles with water staining visible which suggests defects to roof covering. Remove and replace to match existing. | CA | 3 | 225 | 225 | [5 empty] | 225 | 0 | 0 | 0 | 0 | 0
i | 2.4.21 b |  | Missing ceiling tiles/cracked and missing is places. Replace with new. | CA | 3 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
i | 2.4.21 d |  | Minor repairs required. Need to refer to asbestos register as to whether ceilings are asbestos containing materials. | CA | 2 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0
i | 2.4.22 | Walls and internal partitions | Minor plaster repairs required, especially to corner details where impact damage was noted in kitchen. | EB | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
i | 2.4.23 b |  | Screens/partitions do not appear to be fire rated nor does glazing. Upgrade as necessary. | EB | 2 | 7500 | 7500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.26 | Floor Structure | Minor repairs needed to stair case leading to first floor. | BA | 4 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0
w | 2.4.27 | Windows | Ironmongery to door leading onto play yard via assembly hall in poor condition. Overall windows need to be checked and handles/ironmongery to be eased and adjusted. | EB | 3 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0
i | 2.4.28 | Doors and Ironmongery | Majority of the doors do not have intumescent strips fixed. The fire rating of the doors cannot be easily identified. | EB | 2 | 875 | 875 | [5 empty] | 875 | 0 | 0 | 0 | 0 | 0
i | 2.4.29 | Other joinery items | Mould growth occurring to timber skirting in boys cloakroom/toilets. Remove and replace with new and redecorate. | JA | 3 | 30 | 30 | [5 empty] | 30 | 0 | 0 | 0 | 0 | 0
i | 2.4.30 | Cubicles | Chipped laminate and missing feet have been replaced with make-shift fittings. Replace with correct fittings to secure cubicles. | EA | 3 | 350 | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0
| 3.1.1 | Ventilation - ZGAO/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.b | Computer Room Area - Extract Fan | This fan is old and needs replacing | GE | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.1.c | Kitchen - Fan Coil Unit | Fan Coil Unit within store not working | GE | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.2 | Heating - ZGAO/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.c | Photocopier Room - Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1..2.d | Reading Room - Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.f | Head master WC - Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.g | Women's WC -Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.h | Kitchen WC - Radiator | Radiators are old fittings, currently serviceable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
| 3.1.3 | Domestic Water & Drainage - ZGAO/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.a | Boys WC - CWS tap | not working requires replacement | GD | 1 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
m | 3.1..3.b | Boys wc - Water Heater | Signs of leakage and old model, further investigation to repair or renew | GD | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.c | Boys WC- Urinal Drainage Trap | Signs of leakage which would suggest the seal at the joint is gone | GD | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.1..3.d | Girls WC - Water Heater | old model, will require replacement | GD | 2 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.e | Girls WC - HWS Tap | not working requires replacement | GD | 1 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.f | Kitchen - HWS | Long heat up time of hot water once HWS tap is turned on. HWS requires further investigation for legionnaires and that the system is meeting the required min & max temperatures. | GD | 1 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.g | Boys Changing - HWS | No hot water supply requires further investigation | GD | 2 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
| 3.1.4 | HVAC Plant - ZGAO/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.4a | Plantroom - Boilers | Boilers are generally in good condition and should be serviceable for several more years | GA |  | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0
m | 3.1.4b | Plantroom - HWS Tank & Equipment | Signs of leakage around the tank and around isolation valves which will need repairing, also refer to ref 3.1.3.f |  |  | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.A | Switchgear | Main switch cupboard is used as a store room and the main db board is unreachable. DB Board is in reasonable condition but is approaching its end of life and is recommended that it is replaced with an updated unit. | HA | 3 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.A | Lighting | Faulty luminaires / lamps within some classrooms, needs further investigation to determine. Sky light over first floor computer suite and ground floor Printer/copier/server room in bad state of repair. Luminaires and panels to be replaced. | HC | 2 | 4000 | 4000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.B | Emergency Lighting | As part of replacement of luminaires. | HC | 1 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.C | External Lighting | Yellowing / broken diffusers on many of the luminaires. | HC | 1 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.A | Small Power/ Data Outlets | Sockets, data outlets and FCU are showing signs of wear and tear and will need to be replaced. Classroom 13 CR there is a redundant electrical FCU to old cooker unit which is taped off. Needs to be removed for safety reasons. | HB | 5 | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.B | Distribution boards and isolators | DB board located within 37 ST on the ground floor is not accessible, cupboard needs tidying or DB relocated to allow access. Various isolators within the kitchen needs replacing over 15 years old with the flex broken around the seal. | HB | 5 | 350 | 0 |  | 350 |  |  |  | 0 | 0 | 350 | 0 | 0 | 0
m | 3.3.4.B | White PVC surface mounted conduit | General wear and tear. | HB | 5 | 500 | 0 |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | 3.3.5.A | Data points | Condition is as 3.3.3.A | HF | 5 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.3.6.B | Lightning Protection System | Investigation needed to assess the need for lightning protection. | HI | 1 | 3500 | 3500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | c | 2 | Redecorations, External windows doors etc, Metal painted, Main school | w | wc2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | c | 2 | Roofs, Coverings and insulation, Flat roof glazed areas/ rooflights, Main school | r | rc2 | C2 | 0 | 1 | 0 | 1 | 0 | 1 | 0
|  |  |  | c | 2 | Sanitary services, Generally, Main school | m | mc2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [10 empty] | Compliance Comparison |  |  | 1/half | Form of entry | PAN | 15
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [9 empty] | Total area | Shortfall | Surplus | 2014 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 13, 44, 45 | General classroom | 52.09 | 29.9 | [7 empty] | 81.99 | 0 | 19.99 | ** this school operates with a PAN of 15, but they have subsequently let one classroom out to a PVI Nursery.
|  | Classroom - Year 1 | 1 | 62 | 62 | [11 empty] | 0 | 62 | 0 | 0 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 5 | General classroom | 51.98 | [8 empty] | 51.98 | 10.02 | 0 | 3 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0 | 4 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 6 | General classroom | 51.3 | [8 empty] | 51.3 | 10.7 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [11 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 3 | Practical area (used by ref 5+6) | 13.5 | [8 empty] | 13.5 | 0 | 13.5 | 33.33% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 5a | IT room | 16.75 | [8 empty] | 16.75 | 0 | 16.75 | 66.67% | of classrooms are small
[5 empty] | 248 | [11 empty] | 215.52 | 82.72 | 50.24 | 86.9% | of the recommended basic teaching space required
[19 empty] | 165.28 | 66.65% | of the recommended basic teaching space required ignoring surplus
[20 empty] | 33.35% | shortfall in basic teaching space
Halls and Studios |  |  | 1 | 140 | 140 | 14 | Hall | 108.19 | [8 empty] | 108.19 | 31.81 | 0
| 1 | Main hall |  |  | 140 | [11 empty] | 108.19 | 31.81 | 0 | 77.28% | of the recommended hall size
Storage | [19 empty] | 22.72% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 11a | Cloakroom | 7.87 | [8 empty] | 7.87 | 0 | 4.87
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | 1 | Cloakroom (not actually in classroom, outside room) | 8.43 | [8 empty] | 8.43 | 0 | 5.43
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 4a | Cloakroom | 5.39 | [8 empty] | 5.39 | 0 | 2.39
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 8a | Cloakroom | 8.31 | [8 empty] | 8.31 | 0 | 5.31
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [11 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 9 | Store room (not in room, outside ) | 1.86 | [8 empty] | 1.86 | 0.14 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 6a | Store room (in ref 6) | 0.37 | [8 empty] | 0.37 | 1.63 | 0
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [11 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 1 | 5 | 5 | 3a, 21 | Store room (in practical area), Store room (after school) | 1.14 | 4 | [7 empty] | 5.14 | 0 | 0.14
|  | Indoor PE equipment storage | 1 | 14 | 14 | 27 | Store room (PE) | 6.86 | [8 empty] | 6.86 | 7.14 | 0
|  | Outdoor PE equipment storage | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
| 18 | Bulk stock store | 1 | 4 | 4 | 14a | Store room (art and resources) | 5.55 | [8 empty] | 5.55 | 0 | 1.55
| 19 | Caretakers and maintenance store | 1 | 4 | 4 | 43 | Store room (understairs) | 2 | [8 empty] | 2 | 2 | 0
|  | Cleaning store | 1 | 3 | 3 | 14a | Store room (cleaners, part of 14a) | 2 | [8 empty] | 2 | 1 | 0
| 21 | Table and chair store | 1 | 6 | 6 | 15 | Store room (dining and stage) | 8.55 | [8 empty] | 8.55 | 0 | 2.55
| 22 | Staging/ appliance store | 1 | 4 | 4 | [11 empty] | 0 | 4 | 0
| 23 | Mobility equipment store | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
| 25 | Store for community | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 62 | [11 empty] | 62.33 | 21.91 | 22.24 | 100.5% | of the recommended storage space required
Staff and admin | [19 empty] | 35.34% | shortfall
|  | Heads office | 1 | 12 | 12 | 31 | Heads office | 9.24 | [8 empty] | 9.24 | 2.76 | 0
|  | Staff room work and social | 1 | 21 | 21 | 17 | Staffroom | 18.26 | [8 empty] | 18.26 | 2.74 | 0
| 1 | Staff PPA | 1 | 8 | 8 | 19 | Staffroom | 9.27 | 5.28 | [7 empty] | 14.55 | 0 | 6.55
| 3 | Senior management office | 0 | 10 | 0 | [11 empty] | 0 | 0 | 0
|  | General office (reception) | 1 | 8 | 8 | 30, 30a | Reception (office) | 2.97 | [8 empty] | 2.97 | 5.03 | 0
| 4 | Secure reception | 1 | 4 | 4 | 28 | Entrance | 4.1 | [8 empty] | 4.1 | 0 | 0.1
| 7 | Reprographics room | 1 | 6 | 6 | 16 | Photocopying Room | 8.18 | [8 empty] | 8.18 | 0 | 2.18
| 8 | Meeting room | in head | 0 | 0 | [11 empty] | 0 | 0 | 0
| 9 | Sick bay | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
| 10 | Interview room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
| 11 |  |  |  | 70 | [11 empty] | 57.3 | 21.53 | 8.83 | 81.86% | of the recommended staff and admin space required
Learning resource area | [19 empty] | 30.76% | shortfall
|  | Library (learning resource centre) | 1 | 21 | 21 | 5b | Library | 8.31 | [8 empty] | 8.31 | 12.69 | 0
|  | Small group room | 2 | 11 | 22 | [11 empty] | 0 | 22 | 0
| 1 | SENco office (SEN resource) | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 3 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
[5 empty] | 67 | [11 empty] | 8.31 | 58.69 | 0 | 12.4% | of the recommended learning resource areas
Supplementary area | [19 empty] | 87.6% | shortfall
|  |  | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
| 5 |  | 0 | 0 | 0 | [11 empty] | 0 | 0 | 0
[5 empty] | 0 | [11 empty] | 0 | 0 | 0 | - | of the recommended supplementary areas
Non net areas | [19 empty] | - | shortfall
|  | Reception toilets | 3 | 2 | 12 | [11 empty] | 0 | 12 | 0 | 0 | Number of reception toilets
|  | Pupils toilets | 6 | 2 | 4 | 1a, 8, 4, 11b | Male pupil w.c. (1urinals, 1 WC) (2 WC's, 3 urinals) Female pupil w.c. (2 wcs) (2 wcs) | 8.06 | 8.31 | 10.71 | 8.14 | [5 empty] | 35.22 | 0 | 31.22 | 11 | Number of other pupil toilets
|  | Staff toilets | 2 | 2 |  | 18, 20 | staff w.c. | 3.88 | 1.17 | [7 empty] | 5.05 | 0 | 5.05 | 0% | % of recommended reception toilets
| 2 | Accessible toilet | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0 | 183.3% | % of recommended other pupil toilets
|  | Hygiene room | 1 | 12 | 12 | [11 empty] | 0 | 12 | 0
| 3 | Kitchen facilities (servery) | 1 | 22 | 22 | 22, 22a, 22b, 23, 33 | Kitchen (includes stores, office and staff wc) | 42.81 | 0.88 | 4.24 | 5.5 | 2.69 | 1.61 |  |  |  | 57.73 | 0 | 35.73
| 9 | Corridors | - | 22.5% | 132.075 | 2, 2a, 10, 10a, 10b, 29, 41, 42 | Corridor | 6.8 | 3.46 | 35.8 | 2.92 | 7.89 | 2.52 | 0.28 | 1.08 |  | 60.75 | 71.325 | 0
| 4 | Boiler room | 1 | 1.5% | 8.805 | 24, 34, 36 | Boiler room | 5.22 | 1.91 | 2 | [6 empty] | 9.13 | 0 | 0.325
| 5 | Server | in boiler | [13 empty] | 0 | 0 | 0
| 6 | Walls | - | 4% | 23.48 | [11 empty] | 0 | 23.48 | 0
| 7 |  |  |  | 217.36 | [10 empty] | 8 | 167.88 | 121.805 | 72.325 | 77.24% | of the recommended non net area
Additional area | [19 empty] | 56.04% | shortfall
|  | Nursery class | 1 | 62 | 62 | 11 | Community Use | 52.8 | [8 empty] | 52.8 | 9.2 | 0
|  | Quiet room | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 37 | Store room (in nursery class) | 0.57 | [8 empty] | 0.57 | 1.43 | 0
|  | Nursery office | 1 | 8 | 8 | [11 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [11 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [11 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [11 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [11 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [11 empty] | 53.37 | 37.63 | 0 | 57.47% | of the recommended additional area
[20 empty] | 40.52% | shortfall
Total Net area |  |  |  |  | 587 | [11 empty] | 451.65
Total Non-Net area |  |  |  |  | 217.36 | [11 empty] | 167.88
Gross (total build) area - excluding nursery |  |  |  |  | 804.36 | [11 empty] | 619.53 |  |  | 77.02% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 897.2275 | [11 empty] | 672.9
Net Area Range |  |  |  |  | 780.5-872.5
Mid Range |  |  |  |  | 826.5
Total Site Area Range |  |  |  |  | 5494.5-6870.6
Mid Range |  |  |  |  | 6182.6
2
3
4

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
15 | 105 | 12 | 84
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 48 | 48 | 43 | 42 | 33 | 35
Maximum Capacity | 105 | 105 | 105 | 105 | 105 | 105
Number of Surplus Places | 57 | 57 | 62 | 63 | 72 | 70
% of surplus places | 54.3 | 54.3 | 59 | 60 | 68.6 | 66.6667
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 5 | 6 | 5 | 4 | 7 | 5 | 5 | 37

## School stats
Current Ofsted | Year
Good | 2013-06-19
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 86% | SUPP | SUPP
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 3
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | SUPP | SUPP | NA | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | SUPP | SUPP | NA | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | SUPP | SUPP | NA | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | SUPP | SUPP | NA | SUPP
Percentage of pupils making at least 2 levels of progress in reading | SUPP | SUPP | NA | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | SUPP | SUPP | NA | SUPP
Percentage of pupils making at least 2 levels of progress in maths | SUPP | SUPP | NA | SUPP
Average point score | SUPP
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | SUPP | SUPP
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | SUPP | SUPP | SUPP | SUPP
Reading value added measure | SUPP | SUPP | SUPP | SUPP
Writing TA value added measure | SUPP | SUPP | SUPP | SUPP
Maths value added measure | SUPP | SUPP | SUPP | SUPP
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | SUPP | SUPP | SUPP | SUPP
Percentage achieving Level 4 or above | SUPP | SUPP | SUPP | SUPP
Percentage achieving Level 4b or above | SUPP | SUPP | SUPP | NA
Percentage achieving Level 5 or above | SUPP | SUPP | SUPP | SUPP
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 6.6% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 35
Percentage of pupils eligible for Free School Meals (FSM) | SUPP
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 6275 (99%) | 4525 | 4016 | 4325
Self generated income | 92 (1%) | 144 | 142 | 127
Total income | 6367 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 170 (3%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 171 (3%) | 181 | 174 | 184
ICT learning resources | 126 (2%) | 81 | 62 | 66
Bought in professional services - curriculum | 176 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 1528 (25%) | 406 | 334 | 351
Catering (incl. Staff costs) | -457 (-8%) | 35 | 53 | 75
Premises (incl. Staff costs) | 354 (6%) | 259 | 275 | 301
Other staff costs | 221 (4%) | 153 | 133 | 142
Energy | 302 (5%) | 68 | 62 | 65
Other expenditure | 159 (3%) | 94 | 85 | 88
Total expenditure | 6095 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3363 | 3583 | SUPP | SUPP
Supply staff | 477 | 240 | 367 | 170
Back office (incl. Staff costs) | 640 | 749 | 989 | 1528
Energy | 176 | 193 | 274 | 302
Total expenditure | 5706 | 5755 | 6729 | 6095
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 1 | 236728
Headcount of all teaching assistants in a school | 2 | 239340
Headcount of all support (exc. auxillary) staff in a school | 2 | 77335
Full-time equivalent number of all teachers in a school | 1 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 0.7 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1.1 | 51728.3
Ratio of pupils to teachers in a school | 35 | 20.5
Average gross salary of all teachers in a school | SUPP | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 48 | 43 | 42 | 33 | 35 |  |  |  | NOR |  |  |  |  | 37 | 37
PAN | 15 | 15 | 15 | 15 | 15 | 15 |  |  |  |  | Number | 36 | 30 | 24 | 23 | 23 |  |  |  | Total in area |  |  |  |  | 75 | 67
No. | 6 | 7.95 | 4.95 | 4.95 | 4.995 | 4 |  |  |  |  | % | 75 | 69.7674 | 57.1429 | 69.697 | 65.7143 |  |  |  | Number at School from area |  |  |  |  | 27 | 26
% | 40 | 53 | 33 | 33 | 33.3 | 26.6667 | [13 empty] | % at School |  |  |  |  | 72.973 | 70.2703
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 36 | 38.806
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 93 | 72 | 59 | 62 | 62
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Garway | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Ledbury | Ashfield Park | St Weonards | Walford | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | Lea C E | Llangrove C E | Much Marcle C E | Weston-under-Penyard C E | Whitchurch C E | Out of County | Grand Total
2094 | Kings Caple | Number | 1 | 0 | 8 | 2 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 8 | 1 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 38
2094 | Kings Caple | % | 2.6316 | 0 | 21.0526 | 5.2632 | 13.1579 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 5.2632 | 2.6316 | 21.0526 | 2.6316 | 5.2632 | 18.4211 | 0 | 0 | 0 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 265 | 3 | 9 | 3 | 1 | 0 | 0 | 1 | 8 | 4 | 0 | 1 | 3 | 0 | 2 | 0 | 2 | 307
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.32573 | 1.3029 | 0 | 0 | 86.3192 | 0.9772 | 2.9316 | 0.9772 | 0.32573 | 0 | 0 | 0.32573 | 2.6059 | 1.3029 | 0 | 0.32573 | 0.9772 | 0 | 0.65147 | 0 | 0.65147 | 100
2152 | St Weonards | Number | 4 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 35
2152 | St Weonards | % | 11.4286 | 5.7143 | 2.8571 | 0 | 0 | 0 | 0 | 0 | 65.7143 | 0 | 2.8571 | 0 | 0 | 0 | 5.7143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7143 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 107 | 3 | 54 | 0 | 2 | 0 | 0 | 0 | 2 | 2 | 1 | 2 | 2 | 0 | 9 | 0 | 8 | 194
2155 | Walford | % | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 55.1546 | 1.5464 | 27.8351 | 0 | 1.0309 | 0 | 0 | 0 | 1.0309 | 1.0309 | 0.51546 | 1.0309 | 1.0309 | 0 | 4.6392 | 0 | 4.1237 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 1 | 13 | 64 | 1 | 0 | 0 | 2 | 3 | 2 | 0 | 0 | 5 | 0 | 1 | 6 | 5 | 115
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4348 | 0.86957 | 11.3043 | 55.6522 | 0.86957 | 0 | 0 | 1.7391 | 2.6087 | 1.7391 | 0 | 0 | 4.3478 | 0 | 0.86957 | 5.2174 | 4.3478 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 38 | 0 | 1 | 1 | 62 | 0 | 0 | 2 | 14 | 3 | 0 | 6 | 0 | 4 | 6 | 0 | 56 | 197
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 2.0305 | 0 | 0 | 19.2893 | 0 | 0.50761 | 0.50761 | 31.4721 | 0 | 0 | 1.0152 | 7.1066 | 1.5228 | 0 | 3.0457 | 0 | 2.0305 | 3.0457 | 0 | 28.4264 | 100
3305 | Brampton Abbotts CE | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111
3305 | Brampton Abbotts CE | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.991 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2072 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3307 | Bridstow CE | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 27 | 3 | 1 | 1 | 0 | 0 | 1 | 1 | 5 | 40 | 0 | 0 | 1 | 0 | 1 | 2 | 2 | 89
3307 | Bridstow CE | % | 0 | 0 | 0 | 0 | 3.3708 | 1.1236 | 0 | 30.3371 | 3.3708 | 1.1236 | 1.1236 | 0 | 0 | 1.1236 | 1.1236 | 5.618 | 44.9438 | 0 | 0 | 1.1236 | 0 | 1.1236 | 2.2472 | 2.2472 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 59 | 0 | 0 | 9 | 0 | 22 | 99
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0303 | 0 | 2.0202 | 2.0202 | 1.0101 | 0 | 0 | 0 | 0 | 1.0101 | 0 | 59.596 | 0 | 0 | 9.0909 | 0 | 22.2222 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 33 | 0 | 0 | 1 | 3 | 45
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6667 | 0 | 2.2222 | 0 | 0 | 0 | 0 | 4.4444 | 4.4444 | 0 | 0 | 73.3333 | 0 | 0 | 2.2222 | 6.6667 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 19 | 0 | 4 | 45
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.6667 | 0 | 4.4444 | 2.2222 | 4.4444 | 0 | 0 | 0 | 2.2222 | 4.4444 | 0 | 4.4444 | 0 | 0 | 42.2222 | 0 | 8.8889 | 100
3385 | Whitchurch C E | Number | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 15 | 2 | 6 | 6 | 3 | 0 | 0 | 0 | 3 | 5 | 0 | 0 | 11 | 0 | 0 | 46 | 36 | 136
3385 | Whitchurch C E | % | 0 | 0.73529 | 0 | 1.4706 | 0 | 0 | 0 | 11.0294 | 1.4706 | 4.4118 | 4.4118 | 2.2059 | 0 | 0 | 0 | 2.2059 | 3.6765 | 0 | 0 | 8.0882 | 0 | 0 | 33.8235 | 26.4706 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Garway | Kings Caple | Kingstone & Thruxton | Ashfield Park | St Weonards | Walford | Colwall C E | Goodrich C E | Gorsley Goffs Endowed | Holmer C E | Little Dewchurch CE | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | St Pauls CE | Lea C E | Llangrove C E | Much Marcle C E | St Josephs RC | Weston-under-Penyard C E | Whitchurch C E | Grand Total
2094 | Kings Caple | Number | 0 | 0 | 5 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 6 | 0 | 3 | 5 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 32
2094 | Kings Caple | % | 0 | 0 | 15.625 | 0 | 12.5 | 0 | 0 | 0 | 0 | 12.5 | 0 | 0 | 18.75 | 0 | 9.375 | 15.625 | 3.125 | 0 | 0 | 12.5 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 2 | 265 | 0 | 107 | 0 | 12 | 38 | 0 | 0 | 0 | 101 | 27 | 0 | 0 | 3 | 0 | 4 | 60 | 12 | 15 | 646
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.3096 | 41.0217 | 0 | 16.5635 | 0 | 1.8576 | 5.8824 | 0 | 0 | 0 | 15.6347 | 4.1796 | 0 | 0 | 0.4644 | 0 | 0.6192 | 9.2879 | 1.8576 | 2.322 | 100
2152 | St Weonards | Number | 0 | 7 | 0 | 0 | 3 | 23 | 3 | 0 | 1 | 0 | 0 | 0 | 15 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 2 | 62
2152 | St Weonards | % | 0 | 11.2903 | 0 | 0 | 4.8387 | 37.0968 | 4.8387 | 0 | 1.6129 | 0 | 0 | 0 | 24.1935 | 1.6129 | 4.8387 | 0 | 0 | 0 | 4.8387 | 0 | 1.6129 | 0 | 3.2258 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 9 | 0 | 54 | 0 | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 6 | 89
2155 | Walford | % | 0 | 0 | 0 | 0 | 10.1124 | 0 | 60.6742 | 0 | 14.6067 | 1.1236 | 0 | 0 | 0 | 0 | 1.1236 | 0 | 0 | 2.2472 | 0 | 0 | 1.1236 | 2.2472 | 6.7416 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 64 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 6 | 80
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 3.75 | 1.25 | 0 | 0 | 80 | 1.25 | 0 | 0 | 0 | 0 | 1.25 | 0 | 0 | 2.5 | 1.25 | 0 | 0 | 1.25 | 7.5 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 3 | 74
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 1.3514 | 0 | 2.7027 | 1.3514 | 1.3514 | 83.7838 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3514 | 0 | 0 | 1.3514 | 2.7027 | 4.0541 | 100
3305 | Brampton Abbotts CE | Number | 4 | 0 | 1 | 0 | 8 | 0 | 2 | 0 | 3 | 14 | 1 | 0 | 0 | 8 | 5 | 1 | 0 | 0 | 2 | 1 | 3 | 1 | 3 | 57
3305 | Brampton Abbotts CE | % | 7.0175 | 0 | 1.7544 | 0 | 14.0351 | 0 | 3.5088 | 0 | 5.2632 | 24.5614 | 1.7544 | 0 | 0 | 14.0351 | 8.7719 | 1.7544 | 0 | 0 | 3.5088 | 1.7544 | 5.2632 | 1.7544 | 5.2632 | 100
3307 | Bridstow CE | Number | 0 | 0 | 2 | 0 | 4 | 0 | 2 | 0 | 2 | 3 | 0 | 2 | 2 | 1 | 40 | 0 | 0 | 1 | 2 | 0 | 2 | 2 | 5 | 70
3307 | Bridstow CE | % | 0 | 0 | 2.8571 | 0 | 5.7143 | 0 | 2.8571 | 0 | 2.8571 | 4.2857 | 0 | 2.8571 | 2.8571 | 1.4286 | 57.1429 | 0 | 0 | 1.4286 | 2.8571 | 0 | 2.8571 | 2.8571 | 7.1429 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 59 | 0 | 0 | 0 | 2 | 0 | 72
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 1.3889 | 0 | 2.7778 | 0 | 0 | 8.3333 | 0 | 0 | 0 | 0 | 0 | 2.7778 | 0 | 81.9444 | 0 | 0 | 0 | 2.7778 | 0 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 11 | 55
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 5.4545 | 0 | 3.6364 | 0 | 9.0909 | 0 | 0 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 20 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 9 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 0 | 0 | 6 | 19 | 0 | 53
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 3.7736 | 0 | 16.9811 | 0 | 1.8868 | 11.3208 | 0 | 0 | 0 | 0 | 1.8868 | 0 | 0 | 16.9811 | 0 | 0 | 11.3208 | 35.8491 | 0 | 100
3385 | Whitchurch C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 46 | 55
3385 | Whitchurch C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9091 | 0 | 0 | 0 | 0 | 0 | 3.6364 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 83.6364 | 100

## Disability access
Physical Accessibility Rating | 0
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly