## Cover Page
Wellington Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Wellington Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough Lane
HEREFORD
HR4 0LE

## Summary Info
Wellington Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 12442.72 |  |  |  | Current Capacity (PAN 15):- |  |  |  | 105
Insurance Asset Value (£000):- |  | 990219.7279 |  |  |  | Allocated Capacity Size (PAN 15):- |  |  |  | 105
Land Asset Value (£000):- |  | 247039 |  |  |  | Current Occupancy:- |  |  |  | 77
Land Ownership:- | Owned, field 99 year lease to parish council |  |  |  |  | Current Planned Admission No.:- |  |  |  | 15
[6 empty] | Current Number Over Capacity:- |  |  |  | 0
[6 empty] | Current Number Under Capacity:- |  |  |  | 28
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2011-11-09
Backlog Maintenance Total (£000):- | [6 empty] | 53.5378
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 25.7
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 33.1764
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 46.0614
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 816.76
Actual Number of Classrooms:- | [6 empty] | 4 | Current Building Area (M2):- |  | 1071.2192
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 0 | Area Shortfall (M2):- |  | 0
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 117.0714 | Area Surplus (M2):- |  | 254.4592
Number of Temporary Buildings on Site:- |  |  |  |  | 2 |  |  | Total Percentage Compliance:- |  | 131.1547
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 0
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 0 | Required Net Site Area (M2):- |  | 5365.84
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 233.3333 | Current Net Site Area (M2):- |  | 11371.5008
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 6005.6608
[8 empty] | Total Percentage Compliance:- |  | 211.924
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | C
Electric Consumption 2014/Child:- |  |  |  |  | Not Available
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Good
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 67
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 66.6667
Total Number of Children within Catchment:- | [6 empty] | 179
Total Number of Children at School from Catchment:- | [6 empty] | 68
Percentage of Catchment at School:- | [6 empty] | 79.0698
Percentage of Catchment Going to School:- | [6 empty] | 37.9888

## Report
|  |  | Wellington Primary School | [6 empty] | Wellington Primary School | [14 empty] | Wellington Primary School | [7 empty] | Wellington Primary School |  |  |  |  | Wellington Primary School |  | Wellington Primary School |  |  |  |  | Wellington Primary School | [5 empty] | Wellington Primary School |  |  | Wellington Primary School | [8 empty] | Wellington Primary School |  | Wellington Primary School |  | Wellington Primary School |  | Wellington Primary School |  | Wellington Primary School |  |  | Wellington Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Wellington Primary School |  |  | Survey Date:- | 2011-11-09 |  | Survey Company:- |  | Amey |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-06-11 | [5 empty] | Areas | Standard Criteria (M2) (PAN 15) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | Not Available |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs M Thomas | DFE Number:- | 2157 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 294.07 | 118.5766 |  |  |  | 15 | 105 | 17 | 119 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Shared leadership | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 163.9 | 117.0714 | [17 empty] | PAN | 28 | 28 | 28 | 15 | 15 | 15
Address:- | Wellington Primary School, Hereford HR4 8AZ | Email:- | admin@wellington.hereford.sch.uk | Backlog | 53.5378 | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 67 | 96.99 | 144.7612 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 10.92 | 10.92 | 20.44 | 13.95 | 12 | 10 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015 | 0.58409 |  |  | 53.5378 |  |  | Backlog | 1.1682 | 2.3364 | 11.7402 | 7.0091 | 4.4975 | 2.3364 | 0.40886 | 0 | 4.0653 | 0 | 5.4905 | 14.4855 | 0 | 0 | C1 | [7 empty] | Staff and Admin | 70 | 62.1 | 88.7143 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 93 | 71 | 75 | [5 empty] | Percentage | 39 | 39 | 73 | 93 | 80 | 66.6667
|  |  |  | 2016 | 25.1159 |  |  | 0.58409 |  |  | 2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.58409 | 0 | 0 | 0 | C2 | [7 empty] | Learning Resource | 67 | 38.47 | 57.4179 |  |  |  | 2008 / 2009 | 98 | 196 | 0 | 98 | 2013 | 63 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017 | Not Available |  |  | 25.1159 |  |  | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.1068 | 7.0091 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 135.95 | - |  |  |  | 2009 / 2010 | 93 | 196 | 0 | 103 | 2014 | 67 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01432 830264 F: 01432 830020 | School Cluster:- | Hereford District- Aylestone Business and Enterprise College | 2018 | Not Available |  |  | Not Available |  |  | 2017 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D2 | [7 empty] | Non Net Area | 224.76 | 279.7392 | 124.4613 |  |  |  | 2010 / 2011 | 103 | 196 | 0 | 93 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019 | Not Available |  |  | Not Available |  |  | 2018 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | D3 | [7 empty] | Total Gross Building Area | 816.76 | 1071.2192 | 131.1547 |  |  |  | 2011 / 2012 | 104 | 105 | 0 | 1 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 157 | 168 | 168 | 174 | 179
[8 empty] | Not Available |  |  | 2019 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | [15 empty] | 2012 / 2013 | 94 | 105 | 0 | 11 | [12 empty] | Number at School from Catchment | 73 | 86 | 87 | 72 | 68
School Type:- | Community | Building Number:- | QHAB | Total | 79.2378 | [5 empty] | Totals | 1.1682 | 2.3364 | 11.7402 | 7.0091 | 4.4975 | 2.3364 | 0.40886 | 0 | 4.0653 | 0 | 24.1814 | 21.4945 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 6182.6 | 12442.72 | 201.2538 |  |  |  | 2013 / 2014 | 86 | 105 | 0 | 19 | Pupils eligible for KS2 assessment |  |  |  | 21 | [7 empty] | Percentage at School from Catchment | 78.4946 | 83.4951 | 83.6538 | 76.5957 | 79.0698
Current Capacity:- | 105 | Site Area:- | 12442.72 | [30 empty] | Net Site Area (less the building area) | 5365.84 | 11371.5008 | 211.924 |  |  |  | Current Occupancy | 77 | 105 | 0 | 28 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 19 | [7 empty] | Percentage of Catchment Going to School | 46.4968 | 51.1905 | 51.7857 | 41.3793 | 37.9888
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 33.1764 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 67
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 57 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 5 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 3.5045 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 46.0614 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 4 |  |  | Reception | 9 | 0 | 6 |  | Percentage making expected progress in reading |  |  |  | 84 | [7 empty] | NOR | 77 | 77
|  |  |  | Roof Works |  | 18.7493 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 0 |  |  | One | 12 | 0 | 3 |  | Percentage making expected progress in writing |  |  |  | 89 | [7 empty] | Total in Area | 166 | 81
|  |  |  | External Walls |  | 6.8339 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 100 |  |  | Two | 13 | 0 | 2 |  | Percentage making expected progress in maths |  |  |  | 84 | [7 empty] | Number at School from Area | 55 | 37
|  |  |  | Windows and Doors |  | 0.40886 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 2 |  |  | Three | 9 | 0 | 6 |  | Average point score |  |  |  | 26.3 | [7 empty] | Percentage at School | 71.4286 | 48.0519
|  |  |  | Internal Works |  | 4.0653 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 0 |  |  | Four | 11 | 0 | 4 | [13 empty] | Percentage of area going to School | 33.1325 | 45.679
Asset Summary |  |  |  | Mechanical and Electrical |  | 45.6759 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 0 |  |  | Five | 14 | 0 | 1 |  | Latest Ofsted Report Date:- |  | 2012-09-13
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 233.3333 |  |  | Six | 9 | 0 | 6 |  | Ofsted Result:- |  | Good
Asset Value - Insurance (£000):- |  | 990.2197 | [38 empty] | Total | 77 | 0 | 28
Asset Value - Land (£000):- |  | 247.039 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned, field 99 year lease to parish council | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Wellington Primary School |  |  | Wellington Primary School |  |  | Wellington Primary School
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | QHAB
Site Area:- | 12442.72
Asset Value (Insurance):- | 990219.7279
Asset Value (Land):- | 247039
Land owner:- | Owned, field 99 year lease to parish council
Lease agreement / notes:- | Not known
DEC rating:- | C
Electric consumption 2014/child:- | Not Available
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance and Condition Summary | [5 empty] | BCIS Quarter | 3Q2011 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2011-11-09 |  |  |  | BCIS Uplift | 1.1682 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Amey | [17 empty] | 53537.7727 | 53537.7727 | Backlog | 1168.1818 | 2336.3636 | 11740.2273 | 7009.0909 | 4497.5 | 2336.3636 | 408.8636 | 0 | 4065.2727 | 0 | 5490.4545 | 14485.4545 | 0 | 0 | 2Q2009 | 1.1898
[20 empty] | 584.0909 | 584.0909 | 2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 584.0909 | 0 | 0 | 0 | 3Q2009 | 1.1898
[20 empty] | 25115.9091 | 25115.9091 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18106.8182 | 7009.0909 | 0 | 0 | 4Q2009 | 1.2123
[6 empty] | Year covered? | Y | Y | Y | N | N | N | School Costs | [6 empty] | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works |  |  | Estimated Work Cost | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 | Backlog | 2015 | 2016 | 2017 | 2018 | 2019 |  | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2010 | 1.1789
[20 empty] | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3Q2010 | 1.1735
|  | Fences, Walls, Boundary |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
g | 2.1.5 | Metal railings. | Railings are rusting and require a clean down and re-painting. | KF | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 1168.1818 | 2336.3636 | 11740.2273 | 7009.0909 | 4497.5 | 2336.3636 | 408.8636 | 0 | 4065.2727 | 0 | 24181.3636 | 21494.5455 | 0 | 0 | 1Q2011 | 1.1735
g | 2.1.6 | Brick walls | Missing mortar to joints, blown and defective bricks, repairs needed. | KF | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2011 | 1.1525
g | 2.1.8 | Decoration | Re-paint all previously decorated timber fences, railings etc. | IA | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
|  | 2.2 ROOFS AND FEATURES - QHAB/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | 2.2.1 | Main roofs - pitched | There are approximately 5no. Slipped roof tiles that need to be reinstated. | AB | 2 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 3504.5455 | 3504.5455 | [12 empty] | 1Q2012 | 1.1953
r | 2.2.2 | Chimney stacks | Chimney stack rear to building QHAB/AB has an obvious lean. Further investigation required into extent of delamination and other defects to chimney stack. Repairs needed to brickwork and sandstone inserts are shownig signs of degrading. | AC | 2 | 3500 | 3500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Roof Works |  | 18749.3182 | 18749.3182 | [12 empty] | 2Q2012 | 1.1174
r | 2.2.3 | Fascia and Soffit boards | Some minor timber repairs needed. Asbestos regsiter to be checked confirming soffit board material make up. | AF | 3 | 850 | 850 | [5 empty] | 850 | 0 | 0 | 0 | 0 | 0 |  |  | External Walls |  | 6833.8636 | 6833.8636 | [12 empty] | 3Q2012 | 1.1525
r | 2.2.4 | Gutters | Clean out and remove build up of vegetation. Brackets missing in parts, replace with new. | AE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 408.8636 | 408.8636 | [12 empty] | 4Q2012 | 1.1473
r | 2.2.5 | Lead flashing | Loose and dislodged flashing to be re-dressed. | AF | 2 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0 |  |  | Internal Works |  | 4065.2727 | 4065.2727 | [12 empty] | 1Q2013 | 1.0983
r | 2.2.6 | Copping stones | Build of vegetation, unable to fully ascertain condition from ground level. Undertake further investigation. | AF | 3 | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0 |  |  | Mechanical & Electrical |  | 45675.9091 | 45675.9091 | [12 empty] | 2Q2013 | 1.089
r | 2.2.7 | Eaves details | Missing mortar, reinstate with new mortar mix. | AF | 3 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
|  | 2.3 EXTERNAL ELEVATIONS - QHAB/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
e | 2.3.1 | Walls | Missing mortar to sections. | DA | 4 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 79237.7727 | 79237.7727 | [12 empty] | 1Q2014 | 1.0447
e | 2.3.1 b |  | Some minor cracking to sandstone and repairs required. Some stepped cracking noted to South facing elevation. Some further investigation required. | DA | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
w | 2.3.2 | Wiindows | Loose and missing glazing putty to parts. Allow for raking out, cleaning surfaces and re-putty areas. | DC | 3 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
r | 2.3.4 | Rainwater downpipes | Blocked outlets, loose and missing brackets. Replace brackets and re-fix, clean out blocked outlets. | AE | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
e | 2.3.5 | Decorations | Redecorate | IA | 3 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
|  | 2.4 INTERNAL - QHAB/AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.4.1 | Ceilings | Some minor water staining to ceiling tiles. Replace with new tiles. | CA | 3 | 30 | 30 | [5 empty] | 30 | 0 | 0 | 0 | 0 | 0
i | 2.4.6 | Windows | Handles, opening and closing mechanism to be tested. Allow for easing and adjusting where necessary. | DC | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
i | 2.4.7 | Doors and Ironmongery | Some doors do not have fire instumescent strips fitted nor do original doors appear to be fire rated. Upgrade as necessary. | EB | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
|  | 2.5 ROOFS AND FEATURES - QHAB/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.5.1 | Main roofs - pitched | There are approximately 5no. Slipped roof tiles that need to be reinstated. | AB | 2 | 1500 | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0
r | 2.5.2 | Main roof - chimney stack | Brickwork is de-faced and worn out in parts. Missing mortar to parts. Unsure to ascertain whether coping stone on top of stack is in good and secure condition. Undertake further investigation. | AC | 2 | 2500 | 2500 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.5.3 | Gutters | Gutter have twisted and are loose in sections. Replace defective parts and match existing. | AF | 2 | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0
r | 2.5.4 | Fascia and Soffits | Some minor timber repairs needed. Asbestos regsiter to be checked confirming soffit board material make up. | AF | 3 | 850 | 850 | [5 empty] | 850 | 0 | 0 | 0 | 0 | 0
r | 2.5.6 | Eaves details | Missing mortar, reinstate with new mortar mix. | AF | 3 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
|  | 2.6 EXTERNAL ELEVATIONS - QHAB/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.6.1 | Walls | Missing mortar to sections. | DA | 3 | 400 | 400 | [5 empty] | 400 | 0 | 0 | 0 | 0 | 0
e | 2.6.1 b |  | Some minor cracking to sandstone and repairs required. Some stepped cracking noted to South facing elevation. Some further investigation required. | DA | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
w | 2.6.2 | Wiindows | Loose and missing glazing putty to parts. Allow for raking out, cleaning surfaces and re-putty areas. | DC | 3 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
r | 2.6.4 | Rainwater pipes | Blocked outlets, loose and missing brackets. Replace brackets and re-fix, clean out blocked outlets. | AF | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
e | 2.6.5 | Decorations | Redecorate | IA | 4 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
|  | 2.7 INTERNAL - QHAB/AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.7.2 | Walls | Generally in good condition. Flaking paint and slight damp issue located in library area. Remove flaking paint, rake out mortar, make good to surface, re-point and redecorate. | EA | 3 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0
i | 2.7.5 | Windows | Handles, opening and closing mechanism to be tested. Allow for easing and adjusting where necessary. | DC | 3 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
i | 2.7.6 | Doors and Ironmongery | Some doors do not have fire instumescent strips fitted nor do original doors appear to be fire rated. Upgrade as necessary. | EB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  | 2.8 ROOFS AND FEATURES - ZZVK |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.8.1 | Modular building construction used as classroom facility. | General cleaning out of gutters required. No access was available to inspect the roof. 5no windows are cracked an in need of replacement. Rubber seals also missing and require renewing. | KG | 2 | 600 | 600 | [5 empty] | 600 | 0 | 0 | 0 | 0 | 0
|  | 2.11 ROOFS AND FEATURES - ZZZW |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.11.1 | Modular building construction used as classroom facility. | General cleaning out of gutters required. No access was available to inspect the roof. Modular building appears to be older than building ZZVK, external façade showing signs of decay and general wear and tear. | KG | 2 | 450 | 450 | [5 empty] | 450 | 0 | 0 | 0 | 0 | 0
|  | 2.14 ROOFS AND FEATURES - QHAB/BB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.14.2 | Main roof - roof lights | Clean windows and overhaul. | AD | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  | 2.15 EXTERNAL ELEVATIONS - QHAB/BB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | 2.15.3 b | Doors | Generally in good condition, slight timebr repairs required and decoration. | DC | 3 | 250 | 250 | [5 empty] | 250 | 0 | 0 | 0 | 0 | 0
e | 2.15.5 | Decorations | Re-decorate surfaces. | IA | 3 | 750 | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0
|  | 2.16 INTERNAL - QHAB/BB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.16.1 | Ceilings | 5no. Missing ceiling tiles to be replaced and small signs of water stainig located in boys toilet. | CA | 4 | 150 | 150 | [5 empty] | 150 | 0 | 0 | 0 | 0 | 0
i | 2.16.5 | Windows | Check handles for any loose fittings. Ease and adjust as necessary. | DC | 4 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
i | 2.16.6 | Doors and Ironmongery | 2no. Defective door handles. Remove and replace with new. | EB | 3 | 50 | 50 | [5 empty] | 50 | 0 | 0 | 0 | 0 | 0
|  | 2.17 ROOFS AND FEATURES - QHAB/BA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | 2.17.2 | Roof lights are single glazed made in georgian wire. Detailing around roofs lights are finished in lead. | Clean windows and overhaul. | AD | 4 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
|  | 2.18 EXTERNAL ELEVATIONS - QHAB/BA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
e | 2.18.5 | Decorations | Re-decorate surfaces. | IA | 4 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | 2.19 INTERNAL - QHAB/BA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | 2.19.1 | Ceilings | 21no. Dislodged and broken ceiling tiles. Remove and replace with new. | CA | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
i | 2.19.5 | Windows | Within gym area, roof lights require cleaning and removal of built vegetation. | DC | 3 | 650 | 650 | [5 empty] | 650 | 0 | 0 | 0 | 0 | 0
i | 2.19.6 | Doors and Ironmongery | Good condition. Some doors do not apper to have fire instumescent strips fitted. | EB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
| 3.1.2 | Heating - QHAB-AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.2.h | Library 23 - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.2.i | Staff Room 23 - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.1.2.j | Classroom 24 - Radiators | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
| 3.1.3 | Domestic Water & Drainage - QHAB-AA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.1.3.e | Classroom 24 - Hot Water Heater | old and not working requires further investigation and replacement. | GD | 1 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
| 3.2.1 | Ventilation -QHAB-AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.1.a | WC's - Extract Fan | 2 no. fans, 1 within mens WC, the fans are in a servicable condition and should be for the couple of years, but will require repairing of the pull cord for one so they can be operated as individual. | GE | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
| 3.2.2 | Heating -QHAB-AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.2.a | Classroom 31 - Radiators | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
m | 3.2.2.b | Classroom WC - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
| 3.2.3 | Domestic Water & Drainage -QHAB-AB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.2.3.a | Classroom WC - Hot Water Heater | Hot water heater is in a servicable condition however is old and nearing the end of its expected operating life. Replace individual units as necessary. Allowance made for an annual expenditure. | GD | 2 | 200 | 0 | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
| 3.3.1 | Ventilation - QHAB-BA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.1.a | Hall - Ventilation System | The fan is in a servicable condition and should be for the couple of years, but will require renewal at the end of this period. Replace unit as necessary. | GE | 3 | 1000 | 0 |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | 3.3.1.b | Mens WC - Extract Fan | This fan is old and not working, requires replacement. | GE | 1 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
| 3.3.2 | Heating - QHAB-BA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.b | Men's WC - LTHW pipework | LTHW pipework is rusty and requires painting or replacement | GB | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.3.2.c | Mens WC's - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.3.2.d | Head Office - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.3.2.e | Admin Office - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
m | 3.3.2.f | Circulation Area - Radiators | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 500 | 0 |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | 3.3.2.g | Girls WC's - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
| 3.3.3 | Domestic Water & Drainage - QHAB-BA |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.a | Mens WC - Drainage | The unrinel drainage joint is leaking and requires repairing/renewal. | GD | 1 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.3.3.b | Mens WC - Hot Water Heater | Hot water heater is not working and requires further investigation or renewal. | GD | 1 | 300 | 300 | [5 empty] | 300 | 0 | 0 | 0 | 0 | 0
| 3.4.1 | Ventilation - QHAB - BB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.1.a | Wet Area - Cooker Hood Extract | The cooker hood extract is old but currently servicable, however nearing the ending of its expected operating life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 3 | 200 | 0 | 200 |  |  |  |  | 0 | 200 | 0 | 0 | 0 | 0
m | 3.4.1.b | Boys WC - Extract Fan | Extract fan is old and not working, requires further investigation or renewal. | GE | 2 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.4.1.c | Store - Extract Fan | Extract fan is old but currently in a servicable condition, however nearing the end of it expected operational life. Replace individual units as necessary. Allowance made for an annual expenditure. | GE | 2 | 100 | 0 | 100 |  |  |  |  | 0 | 100 | 0 | 0 | 0 | 0
| 3.4.2 | Heating - QHAB - BB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.2.a | Generally Thought the Extension/Classroom - Radiators | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.4.2.b | Boys WC - Radiator Pipework Valve | Radiators pipework and TRV are old and leaking and requires replacement. | GB | 1 | 100 | 100 | [5 empty] | 100 | 0 | 0 | 0 | 0 | 0
m | 3.4.2.c | Store - Radiator | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 100 | 0 |  | 100 |  |  |  | 0 | 0 | 100 | 0 | 0 | 0
| 3.4.4 | HVAC Plant - QHAB - BB |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.4.a | Plantroom - Boilers | Boilers are currently in a servicable condition however nearing the end of the plant expected operational life and will require replacement in the next few years. | GA | 2 | 2000 | 0 |  | 2000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.4.4.c | Plantroom - Pumps (old) | Pumps are old but currently in a servicable condition, however the plant is nearing the end of its expected operational life and will require replacement in the next few years. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 2 | 600 | 0 |  | 600 |  |  |  | 0 | 0 | 600 | 0 | 0 | 0
| 3.5.2 | Heating - ZZVK |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.2.a | Radiators | Radiators are old fittings, currently servicable. Replace individual units as necessary. Allowance made for an annual expenditure. | GB | 3 | 400 | 0 |  | 400 |  |  |  | 0 | 0 | 400 | 0 | 0 | 0
| 3.5.3 | Domestic Water & Drainage - ZZVK |  |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.5.3.a | Classroom WC - Hot Water Heater | Hot water heater is not working and requires further investigation or renewal. | GD | 2 | 200 | 200 | [5 empty] | 200 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.A | Lighting | A no. of fittings showing signs of aging / discolouration and damage to diffusers. Ceiling mounted bar light c/w spotlight is old and inefficient, replace with fluorescent type luminaire. | HC | 3 | 2400 | 2400 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.B | Emergency Lighting | Install emergency luminaires where needed. Integral battery type luminaires in areas if possible. | HC | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.7.1.C | External Lighting | luminaires showing signs of age, dirt and yellowing diffusers. | HC | 3 | 2000 | 2000 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.7.3.A | Small Power / Data Outlets | Sockets and accessories showing signs of ageing. | HB | 5 | 1000 | 0 |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | 3.7.3.B | Distribution boards and isolators | Showing signs of ageing. | HB | 5 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.7.2.C | White PVC surface mounted conduit | General condition of containment average and would benefit from new containment installed. | HB | 5 | 200 | 0 |  | 200 |  |  |  | 0 | 0 | 200 | 0 | 0 | 0
m | 3.8.1.A | Lighting | Fittings to corridor and cloakroom area, diffusers are either missing, dirty or discolouring. | HC | 5 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.8.3.B | Distribution boards and isolators |  | HA | 5 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.8.3.B | White PVC surface mounted conduit | General condition of containment average and would benefit from new containment installed. New Dado trunking to office areas. | HB | 5 | 1000 | 0 |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | 3.9.1.A | Switchgear | General aging condition | HB | 5 | 1200 | 0 |  | 1200 |  |  |  | 0 | 0 | 1200 | 0 | 0 | 0
m | 3.9.2.A | Lighting | A no. of older fittings showing signs of aging / discolouration and damage to diffusers. | HC | 3 | 5400 | 5400 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.9.2.B | Emergency Lighting | Test and inspect luminaires. Some showing red LED indicating battery not charging properly. Running man exit sign in Hall missing green overlay. | HC | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.9.3.A | Small Power/ Data Outlets | Sockets and accessories showing signs of ageing. | HB | 5 | 1000 | 0 |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | 3.9.3.B | Distribution boards and isolators | Missing blanking off plates within DB board, general condition is acceptable but is getting old. | HA | 5 | 1400 | 0 |  | 1400 |  |  |  | 0 | 0 | 1400 | 0 | 0 | 0
m | 3.9.4.B | White PVC surface mounted conduit | General condition of containment average and would benefit from new containment installed. New Dado trunking to office areas. | HB | 5 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.9.6.B | Lightning Protection System | Investigation needed to assess the need for lightning protection. | HI | 1 | 4000 | 0 |  | 4000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | 3.10.1.A | Lighting | Fittings corridor and cloakroom area. | HC | 5 | 800 | 0 |  | 800 |  |  |  | 0 | 0 | 800 | 0 | 0 | 0
m | 3.10.2.A | Small Power / Data Outlets | Cooker outlets are in need of replacement. | HB | 5 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
m | 3.10.3.B | White PVC surface mounted conduit |  | HB | 5 | 250 | 0 |  | 250 |  |  |  | 0 | 0 | 250 | 0 | 0 | 0
m | 3.11.1.A | Lighting | Fittings to classroom and cloakroom area, diffusers are either missing, dirty or discolouring. | HC | 3 | 2600 | 2600 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | 3.11.1.C | External Lighting | luminaires showing signs of age, dirt and yellowing diffusers. | HC | 3 | 1000 | 1000 | [5 empty] | 1000 | 0 | 0 | 0 | 0 | 0
m | 3.11.2.A | Small Power / Data Outlets | No defects noted | HB | 3 | 500 | 500 | [5 empty] | 500 | 0 | 0 | 0 | 0 | 0
m | 3.11.3.B | Distribution boards and isolators |  | HA | 3 | 800 | 800 | [5 empty] | 800 | 0 | 0 | 0 | 0 | 0
m | 3.11.3.A | White PVC surface mounted conduit | General condition of containment average and would benefit from new containment installed. New Dado trunking to office areas. | HC | 5 | 300 | 0 |  | 300 |  |  |  | 0 | 0 | 300 | 0 | 0 | 0
[6 empty] | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
[9 empty] | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | C2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [7 empty] | Compliance Comparison |  |  | 1/2 | Form of entry | PAN | 15
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [6 empty] | Total area | Shortfall | Surplus | 2010 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 39,39a | General classroom | 49.28 | [5 empty] | 49.28 | 12.72 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 42,42a | General classroom | 48.62 | [5 empty] | 48.62 | 13.38 | 0 | 2 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 0 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 31,31a | General classroom | 53.04 | [5 empty] | 53.04 | 8.96 | 0 | 4
|  | Classroom - Year 4 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0 | 4
|  | Classroom - Year 5 | 1 | 62 | 62 | 24,24a | General classroom | 56.2 | [5 empty] | 56.2 | 5.8 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | [8 empty] | 0 | 0 | 0
|  | Practical area / food bay | 0 | 0 | 0 | 45,45a,45b | Practical area | 48.43 | [5 empty] | 48.43 | 0 | 48.43 | 0% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | 36,36a | IT room | 38.5 | [5 empty] | 38.5 | 0 | 38.5 | 100% | of classrooms are small
[5 empty] | 248 | [8 empty] | 294.07 | 40.86 | 86.93 | 118.6% | of the recommended basic teaching space required
[16 empty] | 207.14 | 83.52% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [16 empty] | 16.48% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 5 | Hall | 163.9 | [5 empty] | 163.9 | 0 | 23.9
[5 empty] | 140 | [8 empty] | 163.9 | 0 | 23.9 | 117.1% | of the recommended hall size
Storage | [16 empty] | 0% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | 29 | Cloakroom | 11.66 | [5 empty] | 11.66 | 0 | 8.66
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 25 | cloakroom | 5.7 | [5 empty] | 5.7 | 0 | 2.7
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [8 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 40 | Store room | 1.22 | [5 empty] | 1.22 | 0.78 | 0
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | 43,44 | Store room | 1.39 | 0.96 |  |  |  |  | 2.35 | 0 | 0.35
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 23b | Store room | 6.92 | [5 empty] | 6.92 | 0 | 4.92
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | [8 empty] | 0 | 0 | 0
| 15 | Specialist walk in stores | 2 | 5 | 10 | 18a,23a,35,41,38,UNB | Store room | 4.14 | 3.23 | 0.85 | 1.31 | 1.61 | 1.3 | 12.44 | 0 | 2.44
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | 32,32a,33 | Store room | 17.12 | [5 empty] | 17.12 | 0 | 3.12
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 7,11a,13 | Store room | 6.86 | 4.27 | 1.5 |  |  |  | 12.63 | 0 | 8.63
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | 46,17 | caretakers room | 3.83 | 2.92 |  |  |  |  | 6.75 | 0 | 2.75
| 22 | Cleaning store | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 23 | Table and chair store | 1 | 6 | 6 | 15,6 | Store room | 13 | 7.2 |  |  |  |  | 20.2 | 0 | 14.2
| 25 | Staging/ appliance store | 1 | 4 | 4 | [8 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0
[5 empty] | 67 | [8 empty] | 96.99 | 17.78 | 47.77 | 144.8% | of the recommended storage space required
Staff and admin | [16 empty] | 26.54% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 14 | Heads Office | 9.25 | [5 empty] | 9.25 | 2.75 | 0
| 3 | Staff room work and social | 1 | 21 | 21 | 28 | Staffroom | 19.81 | [5 empty] | 19.81 | 1.19 | 0
|  | Staff PPA | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [8 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 12 | reception (office) | 8.94 | [5 empty] | 8.94 | 0 | 0.94
| 8 | Secure reception | 1 | 4 | 4 | 8a | Entrance | 24.1 | [5 empty] | 24.1 | 0 | 20.1
| 9 | Reprographics room | 1 | 6 | 6 | [8 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [8 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
[5 empty] | 70 | [8 empty] | 62.1 | 28.94 | 21.04 | 88.71% | of the recommended staff and admin space required
Learning resource area | [16 empty] | 41.34% | shortfall
| 1 | Library (learning resource centre) | 1 | 21 | 21 | 23 | library | 38.47 | [5 empty] | 38.47 | 0 | 17.47
| 3 | Small group room | 2 | 11 | 22 | [8 empty] | 0 | 22 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
[5 empty] | 67 | [8 empty] | 38.47 | 46 | 17.47 | 57.42% | of the recommended learning resource areas
Supplementary area | [16 empty] | 68.66% | shortfall
| 1 | Music classroom | 0 | 0 | 0 | 34,34a | Music classroom | 49.69 | [5 empty] | 49.69 | 0 | 49.69
|  | Staff showers | 0 | 0 | 0 | 30a | Staff showers | 3.6
|  | Common room (breakfast club) | 0 | 0 | 0 | 377378379 | Common room, entrance, store | 58
|  | Common Room (after school club / forest school) | 0 | 0 | 0 | 58,58a,57,58b | Common room, cloakroom, store | 72.32 | 9.26 | 4.68 |  |  |  | 86.26 | 0 | 86.26
[5 empty] | 0 | [8 empty] | 135.95 | 0 | 135.95 | - | of the recommended supplementary areas
Non net areas | [16 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | [8 empty] | 0 | 6 | 0 | 0 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 16,47,47a,47b,48,48a,59 | Pupil w.c - 10 wcs 4 urinals | 12.44 | 8.04 | 15.12 | 6.19 |  |  | 41.79 | 0 | 29.79 | 14 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 9,10,30b | Staff w.c. - 3 wcs | 4.5 | 4.5 | 3.05 |  |  |  | 12.05 | 0 | 8.05 | 0% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0 | 233.3% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [8 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 22 | 22 | [8 empty] | 0 | 22 | 0
| 5 | Corridors | - | 22.5% | 133.2 | 8,17a,17b,18,19,20,20a,22,26,26a,27,27a,30,45c,45d,45e,49,50,51,52,52a,52b,UNA | Corridors, stairs, covered walkways | 181.4 | [5 empty] | 181.4 | 0 | 48.2
| 6 | Boiler room | 1 | 1.5% | 8.88 | 21,63 | Boiler Room | 9.5 | 2 |  |  |  |  | 11.5 | 0 | 2.62
| 7 | Server | in boiler |  |  | 37 | Store room | 1.34 | [5 empty] | 1.34 | 0 | 1.34
|  | Walls | - | 4% | 23.68 |  |  | 31.6592 | [5 empty] | 31.6592 | 0 | 7.9792
[5 empty] | 224.76 | [8 empty] | 279.7392 | 43 | 97.9792 | 124.5% | of the recommended non net area
Additional area | [16 empty] | 19.13% | shortfall
|  | Nursery class | 1 | 62 | 62 | [8 empty] | 0 | 62 | 0
|  | Quiet room | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery office | 1 | 8 | 8 | [8 empty] | 0 | 8 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | [8 empty] | 0 | 3 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | [8 empty] | 0 | 6 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | [8 empty] | 0 | 2 | 0
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [8 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [8 empty] | 0 | 92.8675 | 0 | 0% | of the recommended additional area
[17 empty] | 100% | shortfall
Total Net area |  |  |  |  | 592 | [8 empty] | 791.48
Total Non-Net area |  |  |  |  | 224.76 | [8 empty] | 279.7392
Gross (total build) area - excluding nursery |  |  |  |  | 816.76 | [8 empty] | 1071.2192 |  |  | 131.2% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 909.6275 | [8 empty] | 1071.2192
780.5-872.5
826.5
Total Site Area Range |  |  |  |  | 5494.5-68706
Mid Range |  |  |  |  | 6182.6

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
15 | 105 | 17 | 119
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 98 | 93 | 103 | 104 | 94 | 86
Maximum Capacity | 196 | 196 | 196 | 105 | 105 | 105
Number of Surplus Places | 98 | 103 | 93 | 1 | 11 | 19
% of surplus places | 50 | 52.551 | 47.449 | 1 | 10.5 | 18.0952
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 9 | 12 | 13 | 9 | 11 | 14 | 9 | 77

## School stats
Current Ofsted | Year
Good | 2012-09-13
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 93% | 63% | 67%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 21
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 19% | SUPP | 8% | SUPP
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 67% | SUPP | 85% | SUPP
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 57% | SUPP | 69% | SUPP
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 5% | SUPP | 0% | SUPP
Percentage of pupils making at least 2 levels of progress in reading | 84% | SUPP | 92% | SUPP
Percentage of pupils making at least 2 levels of progress in writing TA | 89% | SUPP | 92% | SUPP
Percentage of pupils making at least 2 levels of progress in maths | 84% | SUPP | 85% | SUPP
Average point score | 26.3
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 38% | 8%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 50% | 77%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 38% | 69%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 0% | 8%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | 67% | 92%
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | 83% | 92%
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 83% | 85%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 99 | 98 | 99.9 | 90%
Reading value added measure | 99.7 | 98.6 | 100.8 | 90%
Writing TA value added measure | 98.9 | 97.7 | 100 | 90%
Maths value added measure | 98.8 | 97.5 | 100 | 90%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 24% | 29% | 38% | 29%
Percentage achieving Level 4 or above | 76% | 71% | 62% | 71%
Percentage achieving Level 4b or above | 76% | 62% | 48% | NA
Percentage achieving Level 5 or above | 57% | 19% | 33% | 14%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 5.9% | 4.8%
Persistent absence: around 15% + | 3.4% | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 86
Percentage of pupils eligible for Free School Meals (FSM) | 14%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 5900 (96%) | 4525 | 4016 | 4325
Self generated income | 265 (4%) | 144 | 142 | 127
Total income | 6165 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | 38 (1%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 227 (4%) | 181 | 174 | 184
ICT learning resources | 50 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 124 (2%) | 88 | 59 | 67
Back office (incl. Staff costs) | 519 (10%) | 406 | 334 | 351
Catering (incl. Staff costs) | 62 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 329 (6%) | 259 | 275 | 301
Other staff costs | 272 (5%) | 153 | 133 | 142
Energy | 98 (2%) | 68 | 62 | 65
Other expenditure | 198 (4%) | 94 | 85 | 88
Total expenditure | 5409 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3002 | 3034 | 3216 | SUPP
Supply staff | 158 | 56 | 59 | 38
Back office (incl. Staff costs) | 320 | 388 | 393 | 519
Energy | 86 | 64 | 98 | 98
Total expenditure | 4638 | 4437 | 4878 | 5409
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 8 | 236728
Headcount of all teaching assistants in a school | 11 | 239340
Headcount of all support (exc. auxillary) staff in a school | 1 | 77335
Full-time equivalent number of all teachers in a school | 6.4 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 3.8 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1 | 51728.3
Ratio of pupils to teachers in a school | 13.5 | 20.5
Average gross salary of all teachers in a school | 35645 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 93 | 103 | 104 | 94 | 86 |  |  |  | NOR |  |  |  |  | 77 | 77
PAN | 28 | 28 | 28 | 15 | 15 | 15 |  |  |  |  | Number | 73 | 86 | 87 | 72 | 68 |  |  |  | Total in area |  |  |  |  | 166 | 81
No. | 10.92 | 10.92 | 20.44 | 13.95 | 12 | 10 |  |  |  |  | % | 78.4946 | 83.4951 | 83.6538 | 76.5957 | 79.0698 |  |  |  | Number at School from area |  |  |  |  | 55 | 37
% | 39 | 39 | 73 | 93 | 80 | 66.6667 | [13 empty] | % at School |  |  |  |  | 71.4286 | 48.0519
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 33.1325 | 45.679
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 157 | 168 | 168 | 174 | 179
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Almeley | Ashperton | Bredenbury | Burghill Community | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kingstone & Thruxton | Leominster Infants’ School | Lugwardine | Marden | Sutton | Wellington | Weobley | Withington | Bosbury C E | Burley Gate C E | Canon Pyon C E | St Mary’s C E, Credenhill | Holmer C E | Mordiford C E | St Michael's C E, Bodenham | St James’ C E | Pembridge C E | St Thomas Cantilupe C E | Riverside Primary | Out of County | Grand Total
2056 | Broadlands | Number | 0 | 0 | 0 | 0 | 121 | 4 | 3 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 3 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 3 | 0 | 12 | 2 | 0 | 156
2056 | Broadlands | % | 0 | 0 | 0 | 0 | 77.5641 | 2.5641 | 1.9231 | 0 | 1.9231 | 0 | 0 | 0 | 0 | 0.64103 | 0.64103 | 0.64103 | 0 | 1.9231 | 0 | 0 | 0 | 0.64103 | 0.64103 | 0 | 0 | 1.9231 | 0 | 7.6923 | 1.2821 | 0 | 100
2115 | Marden | Number | 0 | 0 | 1 | 0 | 4 | 0 | 5 | 0 | 3 | 0 | 0 | 2 | 0 | 36 | 1 | 25 | 0 | 1 | 0 | 0 | 2 | 0 | 1 | 0 | 5 | 1 | 0 | 0 | 0 | 0 | 87
2115 | Marden | % | 0 | 0 | 1.1494 | 0 | 4.5977 | 0 | 5.7471 | 0 | 3.4483 | 0 | 0 | 2.2989 | 0 | 41.3793 | 1.1494 | 28.7356 | 0 | 1.1494 | 0 | 0 | 2.2989 | 0 | 1.1494 | 0 | 5.7471 | 1.1494 | 0 | 0 | 0 | 0 | 100
2154 | Sutton | Number | 0 | 0 | 0 | 1 | 8 | 0 | 1 | 2 | 0 | 1 | 0 | 0 | 1 | 14 | 49 | 14 | 0 | 13 | 0 | 2 | 0 | 0 | 6 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 114
2154 | Sutton | % | 0 | 0 | 0 | 0.87719 | 7.0175 | 0 | 0.87719 | 1.7544 | 0 | 0.87719 | 0 | 0 | 0.87719 | 12.2807 | 42.9825 | 12.2807 | 0 | 11.4035 | 0 | 1.7544 | 0 | 0 | 5.2632 | 0 | 1.7544 | 0 | 0 | 0 | 0 | 0 | 100
2157 | Wellington | Number | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 68 | 2 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 3 | 0 | 2 | 0 | 0 | 0 | 86
2157 | Wellington | % | 0 | 0 | 0 | 3.4884 | 0 | 0 | 2.3256 | 0 | 0 | 2.3256 | 0 | 1.1628 | 0 | 0 | 0 | 79.0698 | 2.3256 | 0 | 0 | 0 | 2.3256 | 0 | 1.1628 | 0 | 3.4884 | 0 | 2.3256 | 0 | 0 | 0 | 100
2160 | Withington | Number | 0 | 4 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 40 | 0 | 4 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
2160 | Withington | % | 0 | 7.2727 | 0 | 0 | 3.6364 | 0 | 0 | 3.6364 | 0 | 0 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 72.7273 | 0 | 7.2727 | 0 | 3.6364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3332 | St James’ C E | Number | 1 | 0 | 0 | 0 | 11 | 11 | 3 | 6 | 29 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 2 | 2 | 0 | 95 | 0 | 31 | 4 | 0 | 200
3332 | St James’ C E | % | 0.5 | 0 | 0 | 0 | 5.5 | 5.5 | 1.5 | 3 | 14.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0.5 | 0 | 0 | 0 | 1 | 1 | 0 | 47.5 | 0 | 15.5 | 2 | 0 | 100
3392 | St Thomas Cantilupe C E | Number | 0 | 1 | 0 | 0 | 39 | 3 | 17 | 16 | 5 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 1 | 0 | 71 | 6 | 1 | 174
3392 | St Thomas Cantilupe C E | % | 0 | 0.57471 | 0 | 0 | 22.4138 | 1.7241 | 9.7701 | 9.1954 | 2.8736 | 1.1494 | 0.57471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57471 | 5.7471 | 0 | 0 | 0.57471 | 0 | 40.8046 | 3.4483 | 0.57471 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Burghill Community | Broadlands | Hampton Dene | Lord Scudamore | Marlbrook | St Martin’s | Trinity | Kingstone & Thruxton | Kington | Leominster Junior | Lugwardine | Marden | Sutton | Wellington | Weobley | Wigmore | Withington | Burley Gate C E | Canon Pyon C E | St Mary’s C E, Credenhill | Holmer C E | Little Dewchurch CE | Mordiford C E | Much Birch C E | Stretton Sugwas C E | St Michael's C E, Bodenham | St Mary’s C E, Fownhope | Our Lady's RC | St Francis Xaviers RC | St James’ C E, Hereford | St Pauls CE | Staunton-on-Wye Endowed | St Thomas Cantilupe C E | Riverside | Grand Total
2056 | Broadlands | Number | 2 | 1 | 121 | 57 | 25 | 0 | 7 | 14 | 0 | 0 | 0 | 13 | 4 | 8 | 0 | 0 | 0 | 2 | 1 | 1 | 1 | 70 | 1 | 4 | 1 | 2 | 6 | 2 | 0 | 94 | 11 | 136 | 0 | 39 | 4 | 627
| Broadlands | % | 0.31898 | 0.15949 | 19.2982 | 9.0909 | 3.9872 | 0 | 1.1164 | 2.2329 | 0 | 0 | 0 | 2.0734 | 0.63796 | 1.2759 | 0 | 0 | 0 | 0.31898 | 0.15949 | 0.15949 | 0.15949 | 11.1643 | 0.15949 | 0.63796 | 0.15949 | 0.31898 | 0.95694 | 0.31898 | 0 | 14.992 | 1.7544 | 21.6906 | 0 | 6.2201 | 0.63796 | 100
2115 | Marden | Number | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 36 | 14 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 72
| Marden | % | 2.7778 | 0 | 1.3889 | 0 | 0 | 1.3889 | 0 | 0 | 0 | 0 | 0 | 2.7778 | 50 | 19.4444 | 0 | 0 | 0 | 1.3889 | 1.3889 | 0 | 2.7778 | 0 | 0 | 2.7778 | 0 | 0 | 12.5 | 0 | 0 | 1.3889 | 0 | 0 | 0 | 0 | 0 | 100
2154 | Sutton | Number | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 49 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 65
| Sutton | % | 0 | 0 | 1.5385 | 1.5385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0769 | 1.5385 | 75.3846 | 0 | 0 | 0 | 0 | 4.6154 | 0 | 0 | 3.0769 | 0 | 0 | 0 | 0 | 4.6154 | 0 | 0 | 0 | 0 | 4.6154 | 0 | 0 | 0 | 100
2157 | Wellington | Number | 0 | 1 | 1 | 2 | 3 | 0 | 0 | 10 | 0 | 1 | 0 | 1 | 25 | 14 | 68 | 2 | 2 | 0 | 5 | 8 | 3 | 26 | 0 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 179
| Wellington | % | 0 | 0.55866 | 0.55866 | 1.1173 | 1.676 | 0 | 0 | 5.5866 | 0 | 0.55866 | 0 | 0.55866 | 13.9665 | 7.8212 | 37.9888 | 1.1173 | 1.1173 | 0 | 2.7933 | 4.4693 | 1.676 | 14.5251 | 0 | 0 | 0 | 2.2346 | 0.55866 | 0 | 0 | 0 | 0 | 0.55866 | 0.55866 | 0 | 0 | 100
2160 | Withington | Number | 16 | 0 | 3 | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 30 | 1 | 13 | 0 | 0 | 0 | 40 | 9 | 0 | 0 | 6 | 0 | 11 | 0 | 0 | 5 | 2 | 0 | 3 | 3 | 3 | 0 | 0 | 0 | 154
| Withington | % | 10.3896 | 0 | 1.9481 | 4.5455 | 0 | 0 | 0 | 0.64935 | 0 | 0 | 0.64935 | 19.4805 | 0.64935 | 8.4416 | 0 | 0 | 0 | 25.974 | 5.8442 | 0 | 0 | 3.8961 | 0 | 7.1429 | 0 | 0 | 3.2468 | 1.2987 | 0 | 1.9481 | 1.9481 | 1.9481 | 0 | 0 | 0 | 100
3332 | St James’ C E, Hereford | Number | 0 | 0 | 3 | 9 | 4 | 0 | 2 | 2 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 1 | 95 | 14 | 0 | 1 | 2 | 142
| St James’ C E, Hereford | % | 0 | 0 | 2.1127 | 6.338 | 2.8169 | 0 | 1.4085 | 1.4085 | 0 | 0 | 0 | 2.1127 | 0.70423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4085 | 0 | 0 | 0.70423 | 0 | 0 | 0 | 1.4085 | 0.70423 | 66.9014 | 9.8592 | 0 | 0.70423 | 1.4085 | 100
2002 | St Thomas Cantilupe C E | Number | 1 | 0 | 12 | 5 | 30 | 1 | 5 | 9 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 19 | 31 | 13 | 0 | 71 | 5 | 231
| St Thomas Cantilupe C E | % | 0.4329 | 0 | 5.1948 | 2.1645 | 12.987 | 0.4329 | 2.1645 | 3.8961 | 0.4329 | 0 | 0 | 0.8658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8225 | 0 | 0 | 0 | 0 | 0.4329 | 0 | 0 | 8.2251 | 13.4199 | 5.6277 | 0 | 30.7359 | 2.1645 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly