## Cover Page
Whitchurch CE Primary School
Summary Report
Contents
|  | Section | Page | No. of pages
Whitchurch CE Primary School |  | Summary Data | 3 | 1
Summary Report |  | General Information and Asset Summary | 4 | 1
|  | Maintenance and Condition Summary | 5 | 2
|  | Education Funding Agency Condition Survey Data | 7 | 1
Schools Capital Investment Strategy |  | Suitability and Compliance Summary | 8 | 2
|  | School Occupancy Summary | 10 | 1
|  | School Statistics | 11 | 1
|  | Environmental Sustainability Condition | 12 | 1
|  | Parental Preference | 13 | 1
|  | Distribution of Children Attending School or Resident in its Catchmnet Area | 14 | 1
|  | Distribution of Children Attending School or Where it is the Nearest School | 15 | 1
|  | Key Services Within 2 Mile Radius of School | 16 | 1
|  | Key Services Adjacent to School | 17 | 1
|  | Disability Access | 18 | 1
Children's Wellbeing
Herefordshire Council
Plough Lane Offices
Plough lane
HEREFORD
HR4 0LE

## Summary Info
Whitchurch CE Primary School
Summary Report
Summary of Headline Information
Asset Summary | [5 empty] | Occupancy Summary
Gross Site Area (M2)(whole site including building):- |  | 7570.68 |  |  |  | Current Capacity (PAN 17):- |  |  |  | 119
Insurance Asset Value (£000):- |  | Not Known |  |  |  | Allocated Capacity Size (PAN 15):- |  |  |  | 105
Land Asset Value (£000):- |  | 185940 |  |  |  | Current Occupancy:- |  |  |  | 145
Land Ownership:- | Owned by the Local Authority |  |  |  |  | Current Planned Admission No.:- |  |  |  | 17
[6 empty] | Current Number Over Capacity:- |  |  |  | 26
[6 empty] | Current Number Under Capacity:- |  |  |  | 0
Maintenance Expenditure Required on the School over a 5 Year Period Summary
Survey Date:- |  |  |  | 2014-06-30
Backlog Maintenance Total (£000):- | [6 empty] | Not Available
Total Forecast Expenditure (5 years) (£000):- | [6 empty] | 318.9554
Total Potential Local Authority Forecast Expenditure (£000):- | [6 empty] | 285.8105
Total Potential School Forecast Expenditure (£000):- | [6 empty] | 33.1448
Suitability and Compliance
Required Number of Classrooms:- | [6 empty] | 4 | Required Building Footprint (M2):- |  | 816.76
Actual Number of Classrooms:- | [6 empty] | 5 | Current Building Area (M2):- |  | 775.2984
Percentage of Classrooms that are the Recommended Size:- | [6 empty] | 20 | Area Shortfall (M2):- |  | 41.4616
Compliance Percentage of Recommended Hall Size:- | [6 empty] | 74.8929 | Area Surplus (M2):- |  | 0
Number of Temporary Buildings on Site:- |  |  |  |  | 1 |  |  | Total Percentage Compliance:- |  | 94.9236
Number of Classrooms in Temporary Buildings:- |  |  |  |  | 1
Compliance Percentage of Recommended Reception Toilets:- | [6 empty] | 66.6667 | Required Net Site Area (M2):- |  | 5365.84
Compliance Percentage of Recommended Other Pupil Toilets:- | [6 empty] | 166.6667 | Current Net Site Area (M2):- |  | 6795.3816
Nursery on Site:- | Yes | [6 empty] | Area Shortfall (M2):- |  | 0
[8 empty] | Area Surplus (M2):- |  | 1429.5416
[8 empty] | Total Percentage Compliance:- |  | 126.6415
Disability Access
Rating:- | 1 |  | Details:- |  |  |  | Partly accessible
Environmental Sustainability Condition
DEC Rating:- |  |  |  |  | No data held
Electric Consumption 2014/Child:- |  |  |  |  | 1496.9779
Gas Consumption 2014/Child:- |  |  |  |  | Not Available
School Statistics
Ofsted Results:- | [8 empty] | Outstanding
Percentage of Children Achieving KS2 Level 4 or Above in Reading, Writing and Maths in 2014:- | [8 empty] | 71
Parental Preference (2014)
Percentage of Parental First Preference Applications:- | [6 empty] | 141.1765
Total Number of Children within Catchment:- | [6 empty] | 55
Total Number of Children at School from Catchment:- | [6 empty] | 46
Percentage of Catchment at School:- | [6 empty] | 33.8235
Percentage of Catchment Going to School:- | [6 empty] | 83.6364

## Report
|  |  | Whitchurch CE Primary School | [6 empty] | Whitchurch CE Primary School | [14 empty] | Whitchurch CE Primary School | [7 empty] | Whitchurch CE Primary School |  |  |  |  | Whitchurch CE Primary School |  | Whitchurch CE Primary School |  |  |  |  | Whitchurch CE Primary School | [5 empty] | Whitchurch CE Primary School |  |  | Whitchurch CE Primary School | [8 empty] | Whitchurch CE Primary School |  | Whitchurch CE Primary School |  | Whitchurch CE Primary School |  | Whitchurch CE Primary School |  | Whitchurch CE Primary School |  |  | Whitchurch CE Primary School
|  |  | Summary Report | [6 empty] | Summary Report | [14 empty] | Summary Report | [7 empty] | Summary Report |  |  |  |  | Summary Report |  | Summary Report |  |  |  |  | Summary Report | [5 empty] | Summary Report |  |  | Summary Report | [8 empty] | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  | Summary Report |  |  | Summary Report
General Information |  |  |  | Maintenance and Condition Summary | [21 empty] | Education Funding Agency Condition Survey Data | [7 empty] | Suitability and Compliance Summary |  |  |  |  | Suitability and Compliance Summary (continued) |  | School Occupancy Summary |  |  |  |  | School Statistics | [5 empty] | Environmental Sustainability Condition |  |  | Parental Preference | [8 empty] | Distribution of Children Attending School or Resident in its Catchment Area |  | Distribution of Children Attending School or Where it is the Nearest School |  | Key Services Within 2 Mile Radius of School |  | Key Services Adjacent to School |  | Disability Access
Maintenance and Condition Summary (continued)
School Name:- | Whitchurch CE Primary School |  |  | Survey Date:- | 2014-06-30 |  | Survey Company:- |  | Hub |  | Key Elements and Annual Forecast Maintenance Costs and Responsibilities | [14 empty] | Date of Survey:- |  | 2013-06-06 | [5 empty] | Areas | Standard Criteria (M2) (PAN 15) | Schools Compliance (M2) | Compliance Percentage |  |  |  | Current Planned Admission No. (PAN) | Current School Capacity | Maximum PAN | Maximum Capacity Based on PAN |  | Year | KS2 Year on Year Results |  |  |  |  | Electric Consumption 2014/Child:- | 1496.9779 |  |  | Parental First Preference Applications | [15 empty] | Physical Accessibility Rating
Head Teacher:- | Mrs C McKeown | DFE Number:- | 3385 | Year | Forecast Maintenance Costs (£ 000) | [5 empty] | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows and Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | Number of Occurences Identified Within the Report | [7 empty] | Basic Teaching Space | 248 | 346.61 | 139.7621 |  |  |  | 17 | 119 | 16 | 112 |  |  | School - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | LA - Percentage Achieving Level 4 or Above in Reading, Writing and Maths | All Schools in England - Percentage Achieving Level 4 or Above in Reading, Writing and Maths |  |  | Gas Consumption 2014/Child:- | Not Available |  |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | [10 empty] | Rating: | 1
Leadership:- | Shared head with Weston Under Penyard. | [24 empty] | Rating (see key below) | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other | Hall and Studio | 140 | 104.85 | 74.8929 | [17 empty] | PAN | 17 | 17 | 17 | 17 | 17 | 17
Address:- | Whitchurch C E Primary School, Ross-on-Wye, Herefordshire HR9 6DA | Email:- | admin@whitchurch.hereford.sch.uk | Backlog | Not Available | [5 empty] | £ 000 | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | School | LA | [8 empty] | Storage | 67 | 73.49 | 109.6866 |  |  |  | Historical Numbers on Roll Data (Spring Census) | [13 empty] | Number | 9.86 | 11.9 | 9.86 | 12.92 | 7.004 | 24 | [10 empty] | Details: | Partly accessible
|  |  |  | 2015-06-30 | 0.6374 |  |  | Not Available |  |  | Backlog | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | C1 | [7 empty] | Staff and Admin | 70 | 59.53 | 85.0429 |  |  |  | Year | Total NOR | Capacity Based on PAN | Shortfall | Surplus | 2012 | 90 | 71 | 75 | [5 empty] | Percentage | 58 | 70 | 58 | 76 | 41.2 | 141.1765
|  |  |  | 2016-06-29 | 22.0541 |  |  | 0.6374 |  |  | 2015-06-30 | 0 | 0 | 0.10198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.53542 | 0 | 0 | 0 | C2 |  | 2 | 3 | 2 |  | 2 |  | Learning Resource | 67 | 13.6 | 20.2985 |  |  |  | 2008 / 2009 | 110 | 119 | 0 | 9 | 2013 | 80 | 71 | 75 | [22 empty] | Description: | Some standards met but some areas not accessible
|  |  |  | 2017-06-29 | 26.2609 |  |  | 22.0541 |  |  | 2016-06-29 | 0 | 0 | 3.8244 | 0 | 0 | 0 | 1.5298 | 0 | 0.50992 | 3.3145 | 7.2664 | 5.6091 | 0 | 0 | D1 | [7 empty] | Supplementary Area | 0 | 13.63 | - |  |  |  | 2009 / 2010 | 105 | 119 | 0 | 14 | 2014 | 71 | 76 | 79 | [5 empty] | Historical Catchment Analysis (Spring Census)
Telephone No.:- | T: 01600 890571 F: 01600 890571 | School Cluster:- | Ross-on-Wye District- John Kyrle High School and Sixth Form Centre | 2018-06-29 | 7.1644 |  |  | 26.2609 |  |  | 2017-06-29 | 0 | 0 | 1.0198 | 5.0992 | 0 | 0 | 1.5298 | 0 | 3.8754 | 0 | 0.45893 | 14.2778 | 0 | 0 | D2 | [7 empty] | Non Net Area | 224.76 | 163.5884 | 72.7836 |  |  |  | 2010 / 2011 | 100 | 119 | 0 | 19 | [9 empty] | Catchment Analysis |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014
|  |  |  | 2019-06-29 | 262.8386 |  |  | 7.1644 |  |  | 2018-06-29 | 0 | 0 | 0.76488 | 0 | 1.8357 | 0 | 0 | 0 | 2.0397 | 0 | 0.48442 | 2.0397 | 0 | 0 | D3 | [7 empty] | Total Gross Building Area | 816.76 | 775.2984 | 94.9236 |  |  |  | 2011 / 2012 | 107 | 119 | 0 | 12 | KS2 Test Results and Progress (2014) | [11 empty] | Total in Catchment | 61 | 63 | 52 | 52 | 55
[8 empty] | 262.8386 |  |  | 2019-06-29 | 0 | 0 | 1.5298 | 131.0496 | 0 | 0 | 0.76488 | 0 | 4.6913 | 0 | 0.38244 | 124.4206 | 0 | 0 | [15 empty] | 2012 / 2013 | 121 | 119 | 2 | 0 | [12 empty] | Number at School from Catchment | 60 | 57 | 48 | 47 | 46
School Type:- | Voluntary Aided | Building Number:- | UHAN | Total | 318.9554 | [5 empty] | Totals | 0 | 0 | 7.2409 | 136.1488 | 1.8357 | 0 | 3.8244 | 0 | 11.1163 | 3.3145 | 9.1276 | 146.3472 | 0 | 0 | *Note the information noted above has been extracted from the EFA survey focusing on elements that are C & D rated. Items with an A or B rating have been excluded. The numbers reference the quantity of elements that the survey has picked up within the relevant category | [7 empty] | Total Gross Site Area | 6182.6 | 7570.68 | 122.4514 |  |  |  | 2013 / 2014 | 136 | 119 | 17 | 0 | Pupils eligible for KS2 assessment |  |  |  | 17 | [7 empty] | Percentage at School from Catchment | 57.1429 | 57 | 44.8598 | 38.843 | 33.8235
Current Capacity:- | 119 | Site Area:- | 7570.68 | [30 empty] | Net Site Area (less the building area) | 5365.84 | 6795.3816 | 126.6415 |  |  |  | Current Occupancy | 145 | 119 | 26 | 0 | Percentage achieving level 3 or below in reading, writing and maths |  |  |  | 6 | [7 empty] | Percentage of Catchment Going to School | 98.3607 | 90.4762 | 92.3077 | 90.3846 | 83.6364
[11 empty] | Total Potential Expenditure - Local Authority (£000) | [6 empty] | 285.8105 | [27 empty] | Percentage achieving level 4 or above in reading, writing and maths |  |  |  | 71
|  |  |  | Key Elements of Forecast Maintenance | [29 empty] | Key Information (based on Building Bulletin 103) | [6 empty] | Current Occupancy Summary (Autumn Census 2014) |  |  |  |  | Percentage achieving level 4B or above in reading and maths and level 4 or above in writing |  |  |  | 59 |  |  |  |  | Catchment and Nearest School Comparison (Autumn Census 2014)
|  |  |  | Categories |  | Totals (£ 000) | [19 empty] | Key | [7 empty] | Required Number of Classrooms |  |  |  | 4 |  |  | Year Group | NOR | Shortfall | Surplus |  | Percentage achieving level 5 or above in reading, writing and maths |  |  |  | 35 | [7 empty] | Catchment vs Nearest School | Catchment | Nearest
|  |  |  | External Grounds |  | 0 |  |  |  |  | Total Potential Expenditure - School (£000) | [6 empty] | 33.1448 | [7 empty] | Condition grade | Definition |  |  |  | Priority rating | Definition |  | Number of Classrooms |  |  |  | 5 |  |  | Reception | 20 | 3 | 0 |  | Percentage making expected progress in reading |  |  |  | 93 | [7 empty] | NOR | 145 | 145
|  |  |  | Roof Works |  | 143.3897 | [27 empty] | Percentage of Classrooms that are the Recommended Size |  |  |  | 20 |  |  | One | 20 | 3 | 0 |  | Percentage making expected progress in writing |  |  |  | 93 | [7 empty] | Total in Area | 61 | 63
|  |  |  | External Walls |  | 1.8357 | [19 empty] | A Good | Performing as intended and operating efficiently |  |  |  | 1 | Immediate or year 1 remedial action required |  | Percentage of Classrooms that are Classed as Small |  |  |  | 80 |  |  | Two | 19 | 2 | 0 |  | Percentage making expected progress in maths |  |  |  | 80 | [7 empty] | Number at School from Area | 50 | 51
|  |  |  | Windows and Doors |  | 3.8244 | [27 empty] | Number of Temporary Buildings on Site |  |  |  | 1 |  |  | Three | 20 | 3 | 0 |  | Average point score |  |  |  | 29.3 | [7 empty] | Percentage at School | 34.4828 | 35.1724
|  |  |  | Internal Works |  | 14.4308 | [19 empty] | B Satisfactory | Performing as intended but exhibiting minor deterioration |  |  |  | 2 | Year 1-2 remedial action required |  | Number of Classrooms in Temporary Buildings |  |  |  | 1 |  |  | Four | 20 | 3 | 0 | [13 empty] | Percentage of area going to School | 81.9672 | 80.9524
Asset Summary |  |  |  | Mechanical and Electrical |  | 155.4748 | [27 empty] | Percentage of Recommended Reception Toilets |  |  |  | 66.6667 |  |  | Five | 20 | 3 | 0 |  | Latest Ofsted Report Date:- |  | 2012-10-31
|  |  |  | Other (e.g. ancillary buildings) |  | 0 | [19 empty] | C Poor | Exhibiting major defects and/or not operating as intended |  |  |  | 3 | Year 3-5 remedial action required |  | Percentage of Recommended Other Pupil Toilets |  |  |  | 166.6667 |  |  | Six | 26 | 9 | 0 |  | Ofsted Result:- |  | Outstanding
Asset Value - Insurance (£000):- |  | Not Known | [38 empty] | Total | 145 | 26 | 0
Asset Value - Land (£000):- |  | 185.94 | [23 empty] | D Bad | Life-expired and/or at serious risk of imminent failure
Land Owner:- |  | Owned by the Local Authority | [36 empty] | Category | Areas Included
[39 empty] | Basic Teaching Spaces | General Classrooms, ICT Rooms, Practical Areas
[39 empty] | Hall and Studio | Halls, Dining Areas
Lease Agreement / Notes:- |  | Not known | [36 empty] | Storage | Coats and Bags, Teaching, Specialist, PE Equipment, Bulk Stock, Cleaning, Caretakers and Maintenance, Tables and Chairs, Staging, Mobility Equipment
Nursery Provision:- |  | PVI Nursery in building | [36 empty] | Staff and Admin | Heads and Staff Offices, Staff Room, Staff PPA,Reprographics Room, Sick Bay, Interview and Meeting Rooms, Secure Entrance
[39 empty] | Learning Resource | Library, Small Group Rooms, SENCO Office, Medical Inspection Room
[39 empty] | Supplementary Area | Any other specialist area at the school e.g. Music Classroom, Swimming Pool, SEN Classrooms
[39 empty] | Non Net Area | Pupil and Staff Toilets, Accessible Toilets, Hygiene Room, Kitchen, Corridors, Server Room, Boilers
[39 empty] | Additional Area | Nursery provision

## Feedback
|  | Whitchurch CE Primary School (3385) |  |  | Whitchurch CE Primary School (3385) |  |  | Whitchurch CE Primary School (3385)
|  | Feedback Form |  |  | Feedback Form |  |  | Feedback Form
General Information and Asset Summary |  |  | School Occupancy Summary |  |  | Parental Preference
Do you believe the data to be accurate? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school? |  |  | Do you believe the data to be a fair reflection of the current and historical position of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Maintenance and Condition Summary |  |  | School Statistics |  |  | Disability Access
Do you believe the data to be a fair reflection of the maintenance and condition of the school? | [5 empty] | Do you believe the data to be a fair reflection of the environmental condition of the school?
Yes | No |  | Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments: |  |  | Additional comments:
Suitability and Compliance Summary |  |  | Environmental Sustainability Condition |  |  | Any Other Comments
Do you believe the data to be a fair reflection of the suitability and compliance issues faced by the school? | [5 empty] | Additional comments about the information provided:
Yes | No |  | Yes | No
Additional comments: |  |  | Additional comments:
If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920 |  |  | If you want assistance in completing this form please contact 01432 260920
Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015 |  |  | Please return to Andy Hough, Head of Education and Development, Plough Lane, Hereford, HR4 0LE by 22 May 2015

## Asset summary
Building ref number:- | UHAN
Site Area:- | 7570.68
Asset Value (Insurance):- | Not Known
Asset Value (Land):- | 185940
Land owner:- | Owned by the Local Authority
Lease agreement / notes:- | Not known
DEC rating:- | No data held
Electric consumption 2014/child:- | 1496.9779
Gas consumption 2014/child:- | Not Available

## Maintenance
Maintenance and Condition Summary |  |  |  | BCIS Quarter | 2Q2014 | [11 empty] | Check | Main year totals | Summary year totals | Year | External Grounds |  | Roof Works |  | External Walls |  | Windows & Doors |  | Internal Works |  | Mechanical & Electrical |  | Other |  | BCIS quarter | BCIS uplift
Year survey undertaken |  | 2014-06-30 |  | BCIS Uplift | 1.0198 | [15 empty] | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | SC | LA | 1Q2009 | 1.1525
Survey company:- |  | Hub | [15 empty] | 0 | 0 | Backlog | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2Q2009 | 1.1898
[18 empty] | 637.4008 | 637.4008 | 42185 | 0 | 0 | 101.9841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 535.4167 | 0 | 0 | 0 | 3Q2009 | 1.1898
[18 empty] | 22054.0675 | 22054.0675 | 42550 | 0 | 0 | 3824.4048 | 0 | 0 | 0 | 1529.7619 | 0 | 509.9206 | 3314.4841 | 7266.369 | 5609.127 | 0 | 0 | 4Q2009 | 1.2123
|  |  |  | Year covered? | N | Y | Y | Y | Y | Y | School Costs | [6 empty] | 26260.9127 | 26260.9127 | 42915 | 0 | 0 | 1019.8413 | 5099.2063 | 0 | 0 | 1529.7619 | 0 | 3875.3968 | 0 | 458.9286 | 14277.7778 | 0 | 0 | 1Q2010 | 1.2297
Category | Ref | Element | Recommended Works | Estimated Work Cost | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 | Backlog | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 |  | 7164.3849 | 7164.3849 | 43280 | 0 | 0 | 764.881 | 0 | 1835.7143 | 0 | 0 | 0 | 2039.6825 | 0 | 484.4246 | 2039.6825 | 0 | 0 | 2Q2010 | 1.1789
[18 empty] | 262838.5913 | 262838.5913 | 43645 | 0 | 0 | 1529.7619 | 131049.6032 | 0 | 0 | 764.881 | 0 | 4691.2698 | 0 | 382.4405 | 124420.6349 | 0 | 0 | 3Q2010 | 1.1735
r | Roofs | Flat | Insulated flat roof with liquid applied coating to majority of roofs, small sections of felt finish remain. Felt now at end of its useful life, infrequent roof leaks experienced. Allow for replacement of felt coverings within 3 years and recover all roofs with 10 years | 60000 |  |  |  | 5000 |  | 55000 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2010 | 1.1682
r | Roofs | Pitched | Cement fibre slates to pyramidal roofs above Hall, CR7, 9, 22 and 26. Part repairs to hips and slopes otherwise satisfactory. 1 nr pyramidal high tensile felt roof above Boiler room. Build up of light moss to all tiled roofs. Allow for reactive repairs and replace slates within 10 years. | 60000 | [5 empty] | 60000 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Individual Category totals | 0 | 0 | 7240.873 | 136148.8095 | 1835.7143 | 0 | 3824.4048 | 0 | 11116.2698 | 3314.4841 | 9127.5794 | 146347.2222 | 0 | 0 | 1Q2011 | 1.1735
r | Roofs | Pitched | Small section of cement fibre slated lean to roof above recently altered entrance (now blocked off) 14C. Renew with any roof works planned above | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500 | [18 empty] | 2Q2011 | 1.1525
r | Roofs | Chimneys | 2 nr stainless steel flues to Boiler Room. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Summary category totals | Main category totals | Check | [11 empty] | 3Q2011 | 1.1682
r | Roofs | Roof lights | 2 nr Velux to lean to roof over 14C. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 4Q2011 | 1.1525
r | Roofs | Roof lights | 16 nr 1200 x 1200 aluminium roof lights with Perspex domes and felted up stands. 2 nr 800 x 800 aluminium roof lights with Perspex domes and felted up stands. 4 nr Perspex flush laylights to pitched roofs excluding Hall. Allow for replacement at time of new of roof covering. | 8500 | [5 empty] | 8500 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | External Grounds |  | 0 | 0 | [12 empty] | 1Q2012 | 1.1953
r | Roofs | Roof Drainage | Aluminium Ogee section guttering to pitched roofs discharging onto flat roof. With Plastic guttering and downpipes to flat roofs. Allow for regular cleaning | 1000 |  |  | 500 |  | 500 |  | 0 | 0 | 500 | 0 | 500 | 0 |  |  | Roof Works |  | 143389.6825 | 143389.6825 | [12 empty] | 2Q2012 | 1.1174
r | Roofs | Other | GRP eaves trim to flat roof areas with painted softwood fascia's in part. 6 nr 400 x 400 fibreglass roof extractors above Activity Areas. Allow for decoration timber fascia's. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0 |  |  | External Walls |  | 1835.7143 | 1835.7143 | [12 empty] | 3Q2012 | 1.1525
r | Roofs | Other | GRP soffit above main entrance. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Windows & Doors |  | 3824.4048 | 3824.4048 | [12 empty] | 4Q2012 | 1.1473
r | Redecoration | External | Painted external doors and casement windows to Kitchen/CR 3. Blistered and flaking paintwork generally, particularly bad to Kitchen/CR 3. | 1000 |  |  |  | 1000 |  |  | 0 | 0 | 0 | 1000 | 0 | 0 |  |  | Internal Works |  | 14430.754 | 14430.754 | [12 empty] | 1Q2013 | 1.0983
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling with fair-faced brickwork. Bitumen d.p.c. GRP cladding/curtain walling sections to toilets. Some sections of painted fair faced brickwork exist around boiler room elevation and reception (Yr R) play area. Allow for external cyclical decoration of these areas. | 1800 |  |  |  |  | 1800 |  | 0 | 0 | 0 | 0 | 1800 | 0 |  |  | Mechanical & Electrical |  | 155474.8016 | 155474.8016 | [12 empty] | 2Q2013 | 1.089
w | External walls, windows and doors | Windows & Doors | Powder coated aluminium and fully glazed new entrance doors and from classrooms. Noted various quarry tiled cills damaged, allow for repairs. | 1500 |  |  |  | 1500 |  |  | 0 | 0 | 0 | 1500 | 0 | 0 |  |  | Other |  | 0 | 0 | [12 empty] | 3Q2013 | 1.0983
w | External walls, windows and doors | Windows & Doors | Louvered timber doors to Boiler room. - Allow for replacement | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0 | [18 empty] | 4Q2013 | 1.0798
w | External walls, windows and doors | Glazed Screen & Curtain Walling | Double glazed curtain walling and powder coated aluminium framing to newly created reception lobby. Erected May 2005. All glazing to BS 6206. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total |  | 318955.3571 | 318955.3571 | [12 empty] | 1Q2014 | 1.0447
i | Internal walls and doors | Walls & Partitions (including finishes) | Plastered masonry load bearing internal walls with emulsion finish. Non load bearing patent screen walls to Hall. Melamine faced (Hills) w.c cubicle partitioning to WC's. Full height 200 x 200mm white ceramic tiling to splash backs. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 2Q2014 | 1.0198
i | Internal walls and doors | Walls & Partitions (including finishes) | Vinyl folding screen within Hall. Bushboard high pressure laminate cubicle partitions to Boys toilet (24A). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 3Q2014 | 1.028
i | Internal walls and doors | Doors & Glazed Screens | Solid flush half hour fire resisting timber door sets with Briton overhead closers with fire seals fitted. Newly fitted doors to Heads Office and entrance lobby and some corridors. Some of the older doors have insufficient planted stops (i.e. less than 25mm) to maintain 30minute fire resisting integrity although not clear which doors are designated as fire doors. Hollow flush doors to Staff room, toilets. Recommend full review of FRA to determine extent of any further door upgrades required. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0 | [18 empty] | 4Q2014 | 1.0078
i | Internal walls and doors | Internal Structural Frame | Exposed steel columns within Hall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 1Q2015 | 1
i | Floors and stairs | Floors (including finishes) | Solid concrete ground floor. Floor finishes comprise: Carpet to CR's; Vinyl sheet to circulation routes and WC's; Granwood to Hall. Allow for rolling programme of floor covering replacements starting from year 3. | 3000 |  |  |  | 1000 | 1000 | 1000 | 0 | 0 | 0 | 1000 | 1000 | 1000
i | Floors and stairs | Floors (including finishes) | New carpet laid within entrance lobby. Heads office (May 2004). Newly fitted non- slip vinyl to Activity Areas, Cloakrooms. Allow for rolling programme of floor covering replacements starting from year 3. | 3000 |  |  |  | 1000 | 1000 | 1000 | 0 | 0 | 0 | 1000 | 1000 | 1000
i | Ceilings | All types | Artex skim on plasterboard throughout flat roof areas. Newly refurbished Heads office and Entrance lobby. Allow for cyclical decoration | 1800 |  |  |  | 1800 |  |  | 0 | 0 | 0 | 1800 | 0 | 0
i | Ceilings | All types | Acoustic fibre boarded tiles following roofline beneath pitched pyramidal roofs. Consider for replacement during any refurbishment works only. A number of water stains were noted on these tiles, especially in the main hall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Fixed furniture and fittings | All types | Melamine faced worktop to Kitchen. Timber cupboards to CR's. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Redecoration | Internal | Emulsion walls and gloss internal joinery. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Low level vitreous china sanitary fittings. Stainless steel inset sink to Kitchen/staff room. Main children's WC's have been refurbished in recent years and are in a good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | 110/40mm diameter uPVC plastic wastes. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | 2 No. Ideal Concord CXA gas fired boilers, approx. 10 years old. Consider for replacement after 10 years. Allow for PPM | 65000 | [5 empty] | 65000 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Mild steel and copper pipework. Steel panel emitters throughout. Assess condition of pipework destruction at time of boiler replacements. Provisional allowance made. | 20000 | [5 empty] | 20000 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Controls | Basic control panel in boiler room now dated. Upgrade controls with any new boiler package replacement. | 12000 | [5 empty] | 12000 | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework to ablutions. Water heater in Room 16. Allow for PPM | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Mechanical services | Hot/Cold Water Distribution | Electric water heater in Rooms 20, 24a & 5a allow for replacement of corroded heater to rm 20, others are recently replaced as part of toilet refurbishments. | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | Mechanical services | Ventilation | Extract ventilation grilles in Rooms 7a (activity), 18 and 19 (ablutions). Allow for cleaning | 100 |  |  | 50 |  | 50 |  | 0 | 0 | 50 | 0 | 50 | 0
m | Mechanical services | Gas Distribution | 2No. Calor gas tanks supplying boilers. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Intake switch gear in Room 11 (Boiler Room), distribution board in Room 10 (Store), 24a, and 13 (Store). All aged but sound, medium term consider for phase replacement. Continue with 5 yearly last sticker on equipment noted as 12/7/11 as last check, evidence eto be provided and PPM continued. | 25600 |  | 150 | 150 | 150 | 150 | 25000 | 0 | 150 | 150 | 150 | 150 | 0
m | Electrical services | Power and Associated Fittings | Flush or surface mounted PVC outlets throughout. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Aged fluorescent luminaires in most rooms, some newer fittings in refurbished rooms. Allow for replacement with new energy efficient fittings from year 3 and PPM checks. | 4300 |  | 100 | 100 | 2000 | 2000 | 100 | 0 | 100 | 100 | 0 | 0 | 100
m | Electrical services | Fire Alarms | Break glass points and bells throughout. Allow for upgrade with new panel, see below. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Fire Alarms | Fire alarm display panel in Room 16 (office). Limited zone control and non-addressable, consider for upgrade and inline with any FRA recommendations. | 12200 |  | 50 | 50 | 12000 | 50 | 50 | 0 | 50 | 50 | 0 | 50 | 50
m | Electrical services | Security Alarms / CCTV | Security system with key pad control and Passive intra red detectors - Allow for PPM. | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
m | Electrical services | Communications Systems | Telephones in offices and hall. IT hub in Room 13 (store). | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Emergency Lighting | Emergency luminaires in hall, and selective corridor/exit points - Allow for PPM | 250 |  | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50
r | Roofs | Pitched | Cement fibre slates, with heavy moss build up. Satisfactory but considered re-roof after 5 years if property to remain in use or earlier if full refurbishment of the property is take place. | 5000 | [5 empty] | 5000 | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof lights | 2 nr stainless steel flues to Boiler Room. Renewal may be required if new boiler fitted / or alternatively removed. | 750 |  |  | 750 |  |  |  | 0 | 0 | 750 | 0 | 0 | 0
r | Roofs | Roof Drainage | Plastic Ogee section guttering and down pipes. Allow for cleaning on a regular basis and cut back overhanging trees to prevent excess build up of leaves etc. Minor damage noted to guttering on corner, allow for localised repair. | 400 |  | 100 | 150 |  | 150 |  | 0 | 100 | 150 | 0 | 150 | 0
r | Roofs | Other | Stained softwood fascia's - Allow for cyclical redecoration. | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
r | Redecoration | External | Painted external doors/stained fascia's - Allow for cyclical decoration | 750 |  |  | 750 |  |  |  | 0 | 0 | 750 | 0 | 0 | 0
e | External walls, windows and doors | Walls (including finishes) | Load bearing cavity masonry walling with fair-faced brickwork. Bitumen d.p.c. Minor damp noted to west elevation. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | Single glazed powder coated windows. Softwood match boarded doors to Changing rooms. Louvered timber doors to Boiler room. Allow for clean and cyclical decoration of joinery. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
i | Redecoration | Internal | Poor, various damage has been repaired and plaster left bare, doors are poor, allow for full internal re-decoration and replacements if block is to be refurbished. Some cracking was also observed to the walls and require re-assessment at the time of next survey and/or refurbishment | 3250 |  |  | 3250 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Boilers | Ideal gas fired boiler in Room 39. - De-commissioned and out of use, will require new boiler | 3000 |  |  | 3000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Heating Distribution | Steel panel emitters and steel heating pipes. Some slight corrosion but sound. Basic controls in boiler room but adequate. All have been out of use now for some time, full replacement required as part of any refurbishment. | 2500 |  |  | 2500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Hot/Cold Water Distribution | Copper pipework to wash hand basins and showers. All have been out of use now for some time, full replacement required as part of any refurbishment. | 1850 |  |  | 1850 |  |  |  | 0 | 0 | 1850 | 0 | 0 | 0
m | Mechanical services | Ventilation | Local ventilation extract fans in showers and toilets. Allow for new extracts if building is refurbished. | 500 |  |  | 500 |  |  |  | 0 | 0 | 500 | 0 | 0 | 0
m | Mechanical services | Gas Distribution | Gas supply from gas tanks to boiler and calorifier. Currently isolated. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Mechanical services | Other | Direct heated Andrews calorifier in Room 39 (boiler room). De-commissioned and out of use, will require new as part of any refurbishment. | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Distribution board in Room 39 (boiler room). Poor allow for full rewire. | 1200 |  |  | 1200 |  |  |  | 0 | 0 | 1200 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent baton and 2D luminaires throughout. Bare GLS lamp in toilets. Out of use and possible damp issues, allow for new fittings throughout. | 1000 |  |  | 1000 |  |  |  | 0 | 0 | 1000 | 0 | 0 | 0
r | Roofs | Flat | The building is roofed with modern mineral felt, This appears to be in good order, no evidence of leakage is visible in the rooms below. The roof rolls over at the eaves to issue water to the gutters. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
r | Roofs | Roof Drainage | The building has black plastic gutters and downpipes present to two faces, these are in good order. Allow for regular cleaning. | 200 |  |  | 100 |  | 100 |  | 0 | 0 | 100 | 0 | 100 | 0
e | External walls, windows and doors | Walls (including finishes) | The building has the usual render/textured finish to the walls, these are in good condition with the unit having been installed within the last two years. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
w | External walls, windows and doors | Windows & Doors | The building has uPVC windows and timber doors. All joinery is in good order. Cyclical decoration of timber to be allowed for. | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 | 750
i | Internal walls and doors | Walls & Partitions (including finishes) | The walls are clad in prefinished plasterboard and joint strips all areas are in good order. Ceramic tiles have been used to form sink splash back. Allow for decoration | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Internal walls and doors | Doors & Glazed Screens | The internal doors are flush painted plywood, and are in good order. Allow for decoration. | 1500 | [5 empty] | 1500 | 0 | 0 | 0 | 0 | 0 | 1500
i | Floors and stairs | Floors (including finishes) | The floor is suspended timber throughout, The floor is finished with carpet and non- slip vinyl and are in good order | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
i | Floors and stairs | Staircases (including finishes) | The building is accessed via a timber staircase/ramp, this has non slip treads/surface in place and are in good order, the fire exit platform and steps remains to rear is also in good order. Allow for treatment of timber on a cyclical basis. | 350 | [5 empty] | 350 | 0 | 0 | 0 | 0 | 0 | 350
i | Ceilings | All types | The ceilings is of the same plasterboard as the walls and is in good order. Allow for redecoration | 750 | [5 empty] | 750 | 0 | 0 | 0 | 0 | 0 | 750
i | Redecoration | Internal | The Internal decoration is in good order. Cost allowed for above. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Fittings | Single stainless steel inset sink and drainer, with units below were in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Sanitary services | Waste Plumbing | All exposed waste plumbing is in good order. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Control Gear and Equipment | Distribution boards in store cupboard, good, allow for PPM checks. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Power and Associated Fittings | PVC socket outlets. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
m | Electrical services | Lighting and Associated Fittings | Fluorescent batons surface fixed to ceilings, with bulkhead emergency lights, Allow for PPM relamping and checks. | 75 |  |  |  | 75 |  |  | 0 | 0 | 0 | 75 | 0 | 0
m | Electrical services | Fire Alarms | Break glass call point and bell and detector. Linked to main school system. Allow for PPM checks | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Security Alarms / CCTV | Passive infra red detector in classroom. Allow for check with main school system. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
m | Electrical services | Electrical Heating | Electric heating units, wall hung and guarded. Allow for PPM checks. | 125 |  | 25 | 25 | 25 | 25 | 25 | 0 | 25 | 25 | 25 | 25 | 25
g | External areas | Roads and Car Parks | Tarmacadam - Main car parking. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Roads and Car Parks | Tarmacadam area where Calor gas compound re-sited. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Playing fields | Grassed playing fields. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Paths & Pedestrian Paved Areas | Concrete paviours to perimeters and outside Changing areas / Area 25. Tarmac hard play areas. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 1500mm high galvanised square mesh fencing with single strange bard wire to northern boundaries. 2500mm high galvanised square mesh security fencing to west boundary (adjacent dual carriageway). Supports to overhead power lines with 2 nr steel ties rods. 1300mm high chainlink on concrete posts to part SW boundary. Four bar timber post and rail fencing to SW boundary. Two bars missing. 1000mm high timber post and rail fencing (Non site boundary) to front hard play area. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | Mixture of timber panel/chain-link fencing to back of houses on SW boundary. Various sections dilapidated/require repair - Assumed to be responsibility of resident's/ occupiers. 1500mm high natural stone walling (both site and non-site boundaries) on S and SE corners. Some missing coping stones to site boundary on south side. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Walls, Fences and Gates | 1500mm high chain-link on concrete posts to part SW boundary. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | 2 nr timber sheds. Steel supported canopy roof to main entrance with felted roof. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Ancillary Buildings | Newly erected canvas canopy supported on galvanised steel posts to hard play area rear of Hall. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
g | External areas | Drainage | Mains separate drains. Plastic 100mm diameter to Changing Block. 100mm diameter vitrified clay elsewhere. No obvious faults or blockages were known or reported at time of survey. | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0

## EFA Property
|  |  | EFA survey data | [6 empty] | External Grounds | Roof Works | External Walls | Windows and Doors | Internal Works | Mechanical & Electrical | Other
DFE | School | School Type | Date received | Condition rating C or D | Priority rating 1 or 2 | Element | Category | CCP rating
|  |  |  | C | 2 | External walls, windows and doors, Walls- external finishes, ceramic tiles | e | eC2 | C1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External walls, windows and doors, Walls- external finishes, render | e | eC2 | C2 | 0 | 2 | 3 | 2 | 0 | 2 | 0
|  |  |  | C | 2 | Electrical services, alarms, generally | m | mC2 | D1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | External walls, windows and doors, metal | w | wC2 | D2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | Redecorations, External windows, doors etc, metal plastic unpainted | e | eC2 | D3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | C | 2 | Roofs, Drainage, Pitched roof, Plastic | r | rC2
|  |  |  | C | 2 | Electrtical services, alarms, generally | m | mC2
|  |  |  | C | 2 | Redecorations, External windows, doors etc, timber | w | wC2
|  |  |  | C | 2 | Roofs, drainage, pitched roof, plastic | r | rC2

## Suitability and Compliance
Space |  |  | BB103 suggested sizes
[6 empty] | Suitability Data | [6 empty] | Compliance Comparison |  |  | 1/2 | Form of entry | PAN | 15
Basic Teaching Spaces |  |  | No. of spaces | m2 | Total m2 | Plan ref | Space | [5 empty] | Total area | Shortfall | Surplus | 2013 | Date of last assessment
|  | Classroom - Year R | 1 | 62 | 62 | 7 | General classroom | 45.15 |  |  |  |  | 45.15 | 16.85 | 0
|  | Classroom - Year 1 | 1 | 62 | 62 | 9 | General classroom | 49.55 |  |  |  |  | 49.55 | 12.45 | 0 | 1 | No. Temp Buildings on Site
|  | Classroom - Year 2 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 1 | No. of Classrooms in Temporary Buildings
|  | Classroom - Year 3 | 1 | 62 | 62 | 22 | General classroom | 48.89 |  |  |  |  | 48.89 | 13.11 | 0 | 5 | No. of Classrooms
|  | Classroom - Year 4 | 0 | 62 | 0 | [7 empty] | 0 | 0 | 0 | 4 | Required No. of Classroooms
|  | Classroom - Year 5 | 1 | 62 | 62 | 26 | General classroom | 44.73 |  |  |  |  | 44.73 | 17.27 | 0
|  | Classroom - Year 6 | 0 | 62 | 0 | 65 | General classroom | 70.18 |  |  |  |  | 70.18 | 0 | 70.18
|  | Practical area / food bay | 0 | 0 | 0 | 7a 26a | Practical area | 49.91 | 38.2 |  |  |  | 88.11 | 0 | 88.11 | 20% | of classrooms are the recommended size
|  | ICT base | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0 | 80% | of classrooms are small
[5 empty] | 248 | [7 empty] | 346.61 | 59.68 | 158.29 | 139.8% | of the recommended basic teaching space required
[15 empty] | 188.32 | 75.94% | of the recommended basic teaching space required ignoring surplus
Halls and Studios | [15 empty] | 24.06% | shortfall in basic teaching space
| 1 | Main hall | 1 | 140 | 140 | 12 | Hall | 104.85 |  |  |  |  | 104.85 | 35.15 | 0
[5 empty] | 140 | [7 empty] | 104.85 | 35.15 | 0 | 74.89% | of the recommended hall size
Storage | [15 empty] | 25.11% | shortfall in hall size
| 1 | Coat and bag storage - Year R | 1 | 3 | 3 | 4 | Cloakroom | 3.03 |  |  |  |  | 3.03 | 0 | 0.03
| 2 | Coat and bag storage - Year 1 | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 3 | Coat and bag storage - Year 2 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 4 | Coat and bag storage - Year 3 | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 5 | Coat and bag storage - Year 4 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 6 | Coat and bag storage - Year 5 | 1 | 3 | 3 | 59 | Cloakroom | 6.47 |  |  |  |  | 6.47 | 0 | 3.47
| 7 | Coat and bag storage - Year 6 | 0 | 3 | 0 | [7 empty] | 0 | 0 | 0
| 8 | Teaching storage - Year R | 1 | 2 | 2 | 46,47 | Store room | 3.15 |  |  |  |  | 3.15 | 0 | 1.15
| 9 | Teaching storage - Year 1 | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 10 | Teaching storage - Year 2 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Teaching storage - Year 3 | 1 | 2 | 2 | 57 | Store room | 2.1 |  |  |  |  | 2.1 | 0 | 0.1
| 12 | Teaching storage - Year 4 | 0 | 2 | 0 | [7 empty] | 0 | 0 | 0
| 13 | Teaching storage - Year 5 | 1 | 2 | 2 | 48,49,50,51,60 | Store room | 4.32 | 2.53 |  |  |  | 6.85 | 0 | 4.85
| 14 | Teaching storage - Year 6 | 0 | 2 | 0 | 64,67 | Store room | 3.34 | 9.98 |  |  |  | 13.32 | 0 | 13.32
| 15 | Specialist walk in stores | 2 | 5 | 10 | 54,55,61,62,52,53,56 | Store room | 1.92 | 3.49 | 1.31 | 3.73 |  | 10.45 | 0 | 0.45
| 18 | Indoor PE equipment storage | 1 | 14 | 14 | [7 empty] | 0 | 14 | 0
| 19 | Outdoor PE equipment storage | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
|  | Bulk stock store | 1 | 4 | 4 | 10,40b,40c | Store room | 9.35 | 2.45 |  |  |  | 11.8 | 0 | 7.8
| 21 | Caretakers and maintenance store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
| 22 | Cleaning store | 1 | 3 | 3 | 20 | Cleaners store room | 2.1 |  |  |  |  | 2.1 | 0.9 | 0
| 23 | Table and chair store | 1 | 6 | 6 | 13 | Store room | 14.22 |  |  |  |  | 14.22 | 0 | 8.22
| 25 | Staging/ appliance store | 1 | 4 | 4 | [7 empty] | 0 | 4 | 0
|  | Mobility equipment store | 1 | 2 | 2 | [7 empty] | 0 | 2 | 0
| 24 | Store for community | 0 | 0 | 0 | [7 empty] | 0 | 0 | 0
[5 empty] | 67 | [7 empty] | 73.49 | 32.9 | 39.39 | 109.7% | of the recommended storage space required
Staff and admin | [15 empty] | 49.1% | shortfall
| 1 | Heads office | 1 | 12 | 12 | 15 | Heads office | 9.32 |  |  |  |  | 9.32 | 2.68 | 0
| 3 | Staff room work and social | 1 | 21 | 21 | 16 | Staffroom | 16.12 |  |  |  |  | 16.12 | 4.88 | 0
|  | Staff PPA | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
| 4 | Senior management office | 0 | 10 | 0 | [7 empty] | 0 | 0 | 0
| 7 | General office (reception) | 1 | 8 | 8 | 43,43a,43b,43c,43d,43e,43f | Reception (office) | 15.49 |  |  |  |  | 15.49 | 0 | 7.49
| 8 | Secure reception | 1 | 4 | 4 | 44,44a,44b,44c,44d,44e | Entrance | 18.6 |  |  |  |  | 18.6 | 0 | 14.6
| 9 | Reprographics room | 1 | 6 | 6 | [7 empty] | 0 | 6 | 0
| 10 | Meeting room | in head | 0 | 0 | [7 empty] | 0 | 0 | 0
| 11 | Sick bay | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0
| 13 | Interview room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
[5 empty] | 70 | [7 empty] | 59.53 | 32.56 | 22.09 | 85.04% | of the recommended staff and admin space required
Learning resource area | [15 empty] | 46.51% | shortfall
| 1 | Library (learning resource centre) | 1 | 21 | 21 | [7 empty] | 0 | 21 | 0
| 3 | Small group room | 2 | 11 | 22 | 23 | Small group room | 13.6 |  |  |  |  | 13.6 | 8.4 | 0
| 5 | SENco office (SEN resource) | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 2 | Medical inspection room/ Therapy room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
[5 empty] | 67 | [7 empty] | 13.6 | 53.4 | 0 | 20.3% | of the recommended learning resource areas
Supplementary area | [15 empty] | 79.7% | shortfall
| 1 |  | 0 | 0 | 0 | 33,37 | pupil changing | 11.15 |  |  |  |  | 11.15 | 0 | 11.15
[5 empty] | 0 | 34,38 | pupil showers | 2.48 |  |  |  |  | 2.48 | 0 | 2.48
[13 empty] | 13.63 | 0 | 13.63 | - | of the recommended supplementary areas
Non net areas | [15 empty] | - | shortfall
| 1 | Reception toilets | 3 | 2 | 6 | 6 | Pupil WC (multi-sex) - 2wcs | 6.93 |  |  |  |  | 6.93 | 0 | 0.93 | 2 | Number of reception toilets
| 1 | Pupils toilets | 6 | 2 | 12 | 25,31,35,63,5a | Pupil WC (multi-sex) - 8wcs, 2 urinals | 4.37 | 1.94 | 1.93 | 4.69 | 8.62 | 21.55 | 0 | 9.55 | 10 | Number of other pupil toilets
| 2 | Staff toilets | 2 | 2 | 4 | 18,19 | Staff wcs - 2 wcs | 3.18 | 3.12 |  |  |  | 6.3 | 0 | 2.3 | 66.67% | % of recommended reception toilets
| 3 | Accessible toilet | 1 | 3 | 3 | [7 empty] | 0 | 3 | 0 | 166.7% | % of recommended other pupil toilets
| 9 | Hygiene room | 1 | 12 | 12 | [7 empty] | 0 | 12 | 0
| 4 | Kitchen facilities (servery) | 1 | 22 | 22 | [7 empty] | 0 | 22 | 0
| 5 | Corridors | - | 22.5% | 133.2 | 5,14,14a,17,24a,26b,30,32,36,37a,40a,58,66 | corridor & entrance | 87.07 |  |  |  |  | 87.07 | 46.13 | 0
| 6 | Boiler room | 1 | 1.5% | 8.88 | 39,11 | Boiler room | 2.16 | 15.11 |  |  |  | 17.27 | 0 | 8.39
| 7 | Server | in boiler | [9 empty] | 0 | 0 | 0
|  | Walls | - | 4% | 23.68 |  |  | 24.4684 |  |  |  |  | 24.4684 | 0 | 0.7884
[5 empty] | 224.76 | [7 empty] | 163.5884 | 83.13 | 21.9584 | 72.78% | of the recommended non net area
Additional area | [15 empty] | 36.99% | shortfall
|  | Nursery class | 1 | 62 | 62 | 3, |  | 51.39 |  |  |  |  | 51.39 | 10.61 | 0
|  | Quiet room | 1 | 8 | 8 | [7 empty] | 0 | 8 | 0
|  | Nursery store room | 1 | 2 | 2 | 40 |  | 10.75 |  |  |  |  | 10.75 | 0 | 8.75
|  | Nursery office | 1 | 8 | 8 | 41,41a |  | 3.07 | 3.15 |  |  |  | 6.22 | 1.78 | 0
|  | Nursery cloakroom | 1 | 3 | 3 | 3b |  | 2.05 |  |  |  |  | 2.05 | 0.95 | 0
|  | Nursery pupils toilets | 3 | 2 | 6 | 3d |  | 4.17 |  |  |  |  | 4.17 | 1.83 | 0
|  | Nursery staff toilets | 1 | 2 | 2 | 3a |  | 2.7 |  |  |  |  | 2.7 | 0 | 0.7
|  | Nursery entrance | 1 | 22.5% | 1.8675 | [7 empty] | 0 | 1.8675 | 0
[5 empty] | 92.8675 | [7 empty] | 77.28 | 25.0375 | 9.45 | 83.22% | of the recommended additional area
[16 empty] | 26.96% | shortfall
Total Net area |  |  |  |  | 592 | [7 empty] | 611.71
Total Non-Net area |  |  |  |  | 224.76 | [7 empty] | 163.5884
Gross (total build) area - excluding nursery |  |  |  |  | 816.76 | [7 empty] | 775.2984 |  |  | 94.92% | of the recommended Gross area
Gross (total build) area - including nursery |  |  |  |  | 909.6275 | [7 empty] | 852.5784
780.5-872.5
826.5
Total Site Area Range |  |  |  |  | 5494.5-68706
Mid Range |  |  |  |  | 6182.6

## Occupancy
Sufficiency Data
Planned Admission Number | Current Capacity | Maximum PAN | Capacity based on max PAN
17 | 119 | 16 | 112
NOR Spring Census
| 2008 / 2009 | 2009 / 2010 | 2010 / 2011 | 2011 / 2012 | 2012 / 2013 | 2013 / 2014
NOR Jan | 110 | 105 | 100 | 107 | 121 | 136
Maximum Capacity | 119 | 119 | 119 | 119 | 119 | 119
Number of Surplus Places | 9 | 14 | 19 | 12 | 0 | 0
% of surplus places | 7.6 | 11.8 | 16 | 10.1 | 0 | 0
Current Numbers on Roll (from Autumn Census)
Year group | R | 1 | 2 | 3 | 4 | 5 | 6 | Total
Number | 20 | 20 | 19 | 20 | 20 | 20 | 26 | 145

## School stats
Current Ofsted | Year
Outstanding | 2012-10-31
2014 KS2 Performance Tables last update : (10 Dec 2014)
Year on year comparisons
Percentage achieving Level 4 or above in reading, writing and maths | 2012 | 2013 | 2014
School | 90% | 80% | 71%
LA | 71% | 71% | 76%
England - All Schools | 75% | 75% | 79%
KS2 test results and progress
| All pupils | Low attainers | Middle attainers | High attainers
Pupils eligible for KS2 assessment | 17
Percentage of pupils achieving 3 or below in reading and maths test and writing TA | 6% | SUPP | SUPP | 0%
Percentage of pupils achieving level 4 or above in reading and maths test and writing TA | 71% | SUPP | SUPP | 100%
Percentage of pupils achieved level 4B or above in reading and maths test and level 4 in writing TA | 59% | SUPP | SUPP | 100%
Percentage of pupils achieving level 5 or above in reading and maths test and writing TA | 35% | SUPP | SUPP | 67%
Percentage of pupils making at least 2 levels of progress in reading | 93% | SUPP | SUPP | 100%
Percentage of pupils making at least 2 levels of progress in writing TA | 93% | SUPP | SUPP | 100%
Percentage of pupils making at least 2 levels of progress in maths | 80% | SUPP | SUPP | 100%
Average point score | 29.3
Closing the Gap
| Disadvantaged pupils | Other pupils
Percentage of disadvantaged pupils achieving level 3 or below in reading and maths tests and writing TA | 0% | 9%
Percentage of disadvantaged pupils achieving level 4 or above in reading and maths tests and writing TA | 67% | 73%
Percentage of disadvantaged pupils achieving level 4B or above in reading and maths tests and writing TA | 67% | 55%
Percentage of disadvantaged pupils achieving level 5 or above in reading and maths tests and writing TA | 33% | 36%
Percentage of disadvantaged pupils making at least 2 levels of progress in reading | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in writing TA | SUPP | SUPP
Percentage of disadvantaged pupils making at least 2 levels of progress in maths | 83% | 78%
Value Added measures
| Measure | Lower CI | Upper CI | Coverage
Overall value added measure | 100 | 98.9 | 101.1 | 82%
Reading value added measure | 99.8 | 98.5 | 101 | 82%
Writing TA value added measure | 101.3 | 100 | 102.5 | 82%
Maths value added measure | 99.4 | 98 | 100.8 | 82%
Subject level results
| Reading test | Maths test | Grammar, punctuation and spelling test | Writing TA
Percentage achieving level 3 or below | 18% | 18% | 18% | 6%
Percentage achieving Level 4 or above | 82% | 82% | 82% | 94%
Percentage achieving Level 4b or above | 71% | 71% | 76% | NA
Percentage achieving Level 5 or above | 59% | 35% | 65% | 59%
Pupil Absence last update : (11 Dec 2013)
| School | England - national (primary state-funded)
Overall absence: percentage | 4.5% | 4.8%
Persistent absence: around 15% + | SUPP | 3.6%
Please note - this year the Department will publish full year 2013/14 absence data in the performance tables in March 2015 rather than just the autumn and spring term data in December as in previous years, and we will continue to do so in future years. This is because the full year data provides the most robust indication of school absence rates.
School level information for the 2013/14 autumn and spring term only is available in our Statistical First Release here
2013-14 Finance last update : (10 Dec 2014)
Contextual information
Number of pupils (FTE) | 136
Percentage of pupils eligible for Free School Meals (FSM) | 6.6%
Free school meals eligibility band | LOW
Spend per pupil data as £ per pupil (in brackets percentage of total income or expenditure)
| School | LA Median | Non-London LAs Median | National Median
Grant funding | 3830 (95%) | 4525 | 4016 | 4325
Self generated income | 190 (5%) | 144 | 142 | 127
Total income | 4020 | 4723 | 4183 | 4479
Teaching staff | SUPP | 2277 | 2045 | 2106
Supply Staff | -23 (-1%) | 87 | 118 | 127
Education support staff | SUPP | 689 | 650 | 733
Learning resources (not ICT equipment) | 181 (5%) | 181 | 174 | 184
ICT learning resources | 56 (1%) | 81 | 62 | 66
Bought in professional services - curriculum | 134 (3%) | 88 | 59 | 67
Back office (incl. Staff costs) | 383 (10%) | 406 | 334 | 351
Catering (incl. Staff costs) | 47 (1%) | 35 | 53 | 75
Premises (incl. Staff costs) | 197 (5%) | 259 | 275 | 301
Other staff costs | 145 (4%) | 153 | 133 | 142
Energy | 58 (1%) | 68 | 62 | 65
Other expenditure | 47 (1%) | 94 | 85 | 88
Total expenditure | 3894 | 4562 | 4143 | 4431
Spend per pupil data as £ per pupil : Comparisons over time
| 2010-11 | 2011-12 | 2012-13 | 2013-14
Teaching staff and Education support staff expenditure | 3027 | 2859 | 2748 | 2668
Supply staff | 132 | 59 | 11 | -23
Back office (incl. Staff costs) | 373 | 377 | 358 | 383
Energy | 66 | 59 | 65 | 58
Total expenditure | 4767 | 4534 | 4132 | 3894
School Workforce last update : (10 Dec 2014)
This data is based upon the November 2013 School Workforce Census
| School | England - national (primary state-funded)
Headcount of all teachers in a school | 8 | 236728
Headcount of all teaching assistants in a school | 6 | 239340
Headcount of all support (exc. auxillary) staff in a school | 1 | 77335
Full-time equivalent number of all teachers in a school | 6.9 | 207827.7
Full-time equivalent number of all teaching assistants in a school | 4.6 | 154245.3
Full-time equivalent number of all support (exc. auxillary) staff in a school | 1 | 51728.3
Ratio of pupils to teachers in a school | 19.6 | 20.5
Average gross salary of all teachers in a school | 35654 | 36559

## Parental Preference
Popularity Data | [10 empty] | Children at School From School Catchment
Parental First Preference Applications | [11 empty] | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  | Catchment vs Nearest School |  |  |  |  | Catchment | Nearest
Year | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  |  |  |  | NOR | 105 | 100 | 107 | 121 | 136 |  |  |  | NOR |  |  |  |  | 145 | 145
PAN | 17 | 17 | 17 | 17 | 17 | 17 |  |  |  |  | Number | 60 | 57 | 48 | 47 | 46 |  |  |  | Total in area |  |  |  |  | 61 | 63
No. | 9.86 | 11.9 | 9.86 | 12.92 | 7.004 | 24 |  |  |  |  | % | 57.1429 | 57 | 44.8598 | 38.843 | 33.8235 |  |  |  | Number at School from area |  |  |  |  | 50 | 51
% | 58 | 70 | 58 | 76 | 41.2 | 141.1765 | [13 empty] | % at School |  |  |  |  | 34.4828 | 35.1724
[11 empty] | Total number in Catchment | [8 empty] | % of area going to School |  |  |  |  | 81.9672 | 80.9524
[12 empty] | 2010 | 2011 | 2012 | 2013 | 2014
[11 empty] | Number | 61 | 63 | 52 | 52 | 55
[11 empty] | % | 100 | 100 | 100 | 100 | 100
Where children at School are coming from (from Spring Census 2014)
DCSF No. | School |  | Garway | Marlbrook | St Martin’s | Holme Lacy | Kings Caple | Kingstone & Thruxton | Ledbury | Ashfield Park | St Weonards | Walford | Goodrich C E | Gorsley Goffs Endowed | Little Dewchurch CE | Mordiford C E | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | Lea C E | Llangrove C E | Much Marcle C E | Weston-under-Penyard C E | Whitchurch C E | Out of County | Grand Total
2094 | Kings Caple | Number | 1 | 0 | 8 | 2 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 8 | 1 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 38
2094 | Kings Caple | % | 2.6316 | 0 | 21.0526 | 5.2632 | 13.1579 | 0 | 2.6316 | 0 | 0 | 0 | 0 | 0 | 5.2632 | 2.6316 | 21.0526 | 2.6316 | 5.2632 | 18.4211 | 0 | 0 | 0 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 1 | 4 | 0 | 0 | 265 | 3 | 9 | 3 | 1 | 0 | 0 | 1 | 8 | 4 | 0 | 1 | 3 | 0 | 2 | 0 | 2 | 307
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.32573 | 1.3029 | 0 | 0 | 86.3192 | 0.9772 | 2.9316 | 0.9772 | 0.32573 | 0 | 0 | 0.32573 | 2.6059 | 1.3029 | 0 | 0.32573 | 0.9772 | 0 | 0.65147 | 0 | 0.65147 | 100
2152 | St Weonards | Number | 4 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 35
2152 | St Weonards | % | 11.4286 | 5.7143 | 2.8571 | 0 | 0 | 0 | 0 | 0 | 65.7143 | 0 | 2.8571 | 0 | 0 | 0 | 5.7143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7143 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 107 | 3 | 54 | 0 | 2 | 0 | 0 | 0 | 2 | 2 | 1 | 2 | 2 | 0 | 9 | 0 | 8 | 194
2155 | Walford | % | 0 | 0 | 0 | 0 | 0 | 0 | 1.0309 | 55.1546 | 1.5464 | 27.8351 | 0 | 1.0309 | 0 | 0 | 0 | 1.0309 | 1.0309 | 0.51546 | 1.0309 | 1.0309 | 0 | 4.6392 | 0 | 4.1237 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 1 | 13 | 64 | 1 | 0 | 0 | 2 | 3 | 2 | 0 | 0 | 5 | 0 | 1 | 6 | 5 | 115
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4348 | 0.86957 | 11.3043 | 55.6522 | 0.86957 | 0 | 0 | 1.7391 | 2.6087 | 1.7391 | 0 | 0 | 4.3478 | 0 | 0.86957 | 5.2174 | 4.3478 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 38 | 0 | 1 | 1 | 62 | 0 | 0 | 2 | 14 | 3 | 0 | 6 | 0 | 4 | 6 | 0 | 56 | 197
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 2.0305 | 0 | 0 | 19.2893 | 0 | 0.50761 | 0.50761 | 31.4721 | 0 | 0 | 1.0152 | 7.1066 | 1.5228 | 0 | 3.0457 | 0 | 2.0305 | 3.0457 | 0 | 28.4264 | 100
3305 | Brampton Abbotts CE | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111
3305 | Brampton Abbotts CE | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.991 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2072 | 0.9009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
3307 | Bridstow CE | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 27 | 3 | 1 | 1 | 0 | 0 | 1 | 1 | 5 | 40 | 0 | 0 | 1 | 0 | 1 | 2 | 2 | 89
3307 | Bridstow CE | % | 0 | 0 | 0 | 0 | 3.3708 | 1.1236 | 0 | 30.3371 | 3.3708 | 1.1236 | 1.1236 | 0 | 0 | 1.1236 | 1.1236 | 5.618 | 44.9438 | 0 | 0 | 1.1236 | 0 | 1.1236 | 2.2472 | 2.2472 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 59 | 0 | 0 | 9 | 0 | 22 | 99
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0303 | 0 | 2.0202 | 2.0202 | 1.0101 | 0 | 0 | 0 | 0 | 1.0101 | 0 | 59.596 | 0 | 0 | 9.0909 | 0 | 22.2222 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 33 | 0 | 0 | 1 | 3 | 45
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6667 | 0 | 2.2222 | 0 | 0 | 0 | 0 | 4.4444 | 4.4444 | 0 | 0 | 73.3333 | 0 | 0 | 2.2222 | 6.6667 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 19 | 0 | 4 | 45
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.6667 | 0 | 4.4444 | 2.2222 | 4.4444 | 0 | 0 | 0 | 2.2222 | 4.4444 | 0 | 4.4444 | 0 | 0 | 42.2222 | 0 | 8.8889 | 100
3385 | Whitchurch C E | Number | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 15 | 2 | 6 | 6 | 3 | 0 | 0 | 0 | 3 | 5 | 0 | 0 | 11 | 0 | 0 | 46 | 36 | 136
3385 | Whitchurch C E | % | 0 | 0.73529 | 0 | 1.4706 | 0 | 0 | 0 | 11.0294 | 1.4706 | 4.4118 | 4.4118 | 2.2059 | 0 | 0 | 0 | 2.2059 | 3.6765 | 0 | 0 | 8.0882 | 0 | 0 | 33.8235 | 26.4706 | 100
Where school children in the Schools Catchment area are going to (from Spring Census 2014)
DCSF No. | School |  | Ashperton | Garway | Kings Caple | Kingstone & Thruxton | Ashfield Park | St Weonards | Walford | Colwall C E | Goodrich C E | Gorsley Goffs Endowed | Holmer C E | Little Dewchurch CE | Much Birch C E | Brampton Abbotts CE | Bridstow CE | St Mary’s C E, Fownhope | St Pauls CE | Lea C E | Llangrove C E | Much Marcle C E | St Josephs RC | Weston-under-Penyard C E | Whitchurch C E | Grand Total
2094 | Kings Caple | Number | 0 | 0 | 5 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 6 | 0 | 3 | 5 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 32
2094 | Kings Caple | % | 0 | 0 | 15.625 | 0 | 12.5 | 0 | 0 | 0 | 0 | 12.5 | 0 | 0 | 18.75 | 0 | 9.375 | 15.625 | 3.125 | 0 | 0 | 12.5 | 0 | 0 | 0 | 100
2138 | Ashfield Park | Number | 0 | 0 | 0 | 2 | 265 | 0 | 107 | 0 | 12 | 38 | 0 | 0 | 0 | 101 | 27 | 0 | 0 | 3 | 0 | 4 | 60 | 12 | 15 | 646
2138 | Ashfield Park | % | 0 | 0 | 0 | 0.3096 | 41.0217 | 0 | 16.5635 | 0 | 1.8576 | 5.8824 | 0 | 0 | 0 | 15.6347 | 4.1796 | 0 | 0 | 0.4644 | 0 | 0.6192 | 9.2879 | 1.8576 | 2.322 | 100
2152 | St Weonards | Number | 0 | 7 | 0 | 0 | 3 | 23 | 3 | 0 | 1 | 0 | 0 | 0 | 15 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 1 | 0 | 2 | 62
2152 | St Weonards | % | 0 | 11.2903 | 0 | 0 | 4.8387 | 37.0968 | 4.8387 | 0 | 1.6129 | 0 | 0 | 0 | 24.1935 | 1.6129 | 4.8387 | 0 | 0 | 0 | 4.8387 | 0 | 1.6129 | 0 | 3.2258 | 100
2155 | Walford | Number | 0 | 0 | 0 | 0 | 9 | 0 | 54 | 0 | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 2 | 6 | 89
2155 | Walford | % | 0 | 0 | 0 | 0 | 10.1124 | 0 | 60.6742 | 0 | 14.6067 | 1.1236 | 0 | 0 | 0 | 0 | 1.1236 | 0 | 0 | 2.2472 | 0 | 0 | 1.1236 | 2.2472 | 6.7416 | 100
3046 | Goodrich C E | Number | 0 | 0 | 0 | 0 | 3 | 1 | 0 | 0 | 64 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 1 | 6 | 80
3046 | Goodrich C E | % | 0 | 0 | 0 | 0 | 3.75 | 1.25 | 0 | 0 | 80 | 1.25 | 0 | 0 | 0 | 0 | 1.25 | 0 | 0 | 2.5 | 1.25 | 0 | 0 | 1.25 | 7.5 | 100
3047 | Gorsley Goffs Endowed | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 1 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 2 | 3 | 74
3047 | Gorsley Goffs Endowed | % | 0 | 0 | 0 | 0 | 1.3514 | 0 | 2.7027 | 1.3514 | 1.3514 | 83.7838 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3514 | 0 | 0 | 1.3514 | 2.7027 | 4.0541 | 100
3305 | Brampton Abbotts CE | Number | 4 | 0 | 1 | 0 | 8 | 0 | 2 | 0 | 3 | 14 | 1 | 0 | 0 | 8 | 5 | 1 | 0 | 0 | 2 | 1 | 3 | 1 | 3 | 57
3305 | Brampton Abbotts CE | % | 7.0175 | 0 | 1.7544 | 0 | 14.0351 | 0 | 3.5088 | 0 | 5.2632 | 24.5614 | 1.7544 | 0 | 0 | 14.0351 | 8.7719 | 1.7544 | 0 | 0 | 3.5088 | 1.7544 | 5.2632 | 1.7544 | 5.2632 | 100
3307 | Bridstow CE | Number | 0 | 0 | 2 | 0 | 4 | 0 | 2 | 0 | 2 | 3 | 0 | 2 | 2 | 1 | 40 | 0 | 0 | 1 | 2 | 0 | 2 | 2 | 5 | 70
3307 | Bridstow CE | % | 0 | 0 | 2.8571 | 0 | 5.7143 | 0 | 2.8571 | 0 | 2.8571 | 4.2857 | 0 | 2.8571 | 2.8571 | 1.4286 | 57.1429 | 0 | 0 | 1.4286 | 2.8571 | 0 | 2.8571 | 2.8571 | 7.1429 | 100
3347 | Lea C E | Number | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 59 | 0 | 0 | 0 | 2 | 0 | 72
3347 | Lea C E | % | 0 | 0 | 0 | 0 | 1.3889 | 0 | 2.7778 | 0 | 0 | 8.3333 | 0 | 0 | 0 | 0 | 0 | 2.7778 | 0 | 81.9444 | 0 | 0 | 0 | 2.7778 | 0 | 100
3351 | Llangrove C E | Number | 0 | 0 | 0 | 0 | 3 | 0 | 2 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 11 | 55
3351 | Llangrove C E | % | 0 | 0 | 0 | 0 | 5.4545 | 0 | 3.6364 | 0 | 9.0909 | 0 | 0 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 20 | 100
3384 | Weston-under-Penyard C E | Number | 0 | 0 | 0 | 0 | 2 | 0 | 9 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 9 | 0 | 0 | 6 | 19 | 0 | 53
3384 | Weston-under-Penyard C E | % | 0 | 0 | 0 | 0 | 3.7736 | 0 | 16.9811 | 0 | 1.8868 | 11.3208 | 0 | 0 | 0 | 0 | 1.8868 | 0 | 0 | 16.9811 | 0 | 0 | 11.3208 | 35.8491 | 0 | 100
3385 | Whitchurch C E | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 46 | 55
3385 | Whitchurch C E | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.9091 | 0 | 0 | 0 | 0 | 0 | 3.6364 | 0 | 0 | 0 | 1.8182 | 0 | 0 | 0 | 83.6364 | 100

## Disability access
Physical Accessibility Rating | 1
Information from https://www.herefordshire.gov.uk/education-and-learning/schools/directory
Ratings and descriptions
Rating | Details | Description
3 | Fully accessible | Will meet the needs of all disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling); Has a full hygiene room and special educational needs or therapy room for pupils who need more assistance with personal care (including hoisting) and regular physio or other treatment
2 | Mainly accessible | Will meet the needs of most disabled pupils: all standards met including all curriculum areas accessible (may be achieved by timetabling) but no hygiene room
1 | Partly accessible | Some standards met but some areas not accessible
0 | Inaccessible | No level access into building and/or no disabled toilet
Summary of physical accessibility standards
Level access into building(s): Main and pupil entrance(s) level, with ramps and hand rails as required
Level access to all curriculum and social areas (not necessarily entire building/site): including assembly hall, canteen (may be achieved by sensitive organisation and timetabling)
Access to upper floors: if required - lift(s) as alternative to steps or stairs
Toilet facilities: small disabled toilet(s) as specified by building regulations - suitable for most disabled pupils. A small number of pupils will require enhanced facilities (hygiene room) to provide greater assistance, including hoisting.
Medical, therapy or SEN room: multi-purpose or flexible use - usually required in addition to a hygiene room, for regular physio and other physical programmes
Emergency evacuation: routes should be level and unobstructed. Evacuation must be documented (using Personal Emergency Evacuation Plans - PEEPs) and practised regularly